## Sheet1
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm (BD at 0.2) | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm
43 | BRN11mar21_007.gcd | 2021-03-11 13:54 | dd-2102-002 | Unknown | 0 | 6.056 | 10077 | 0.013 | ----- | ----- | ----- | ----- | 43 | BRN11mar21_007.gcd | 2021-03-11 13:54 | dd-2102-002 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 43 | BRN11mar21_007.gcd | 2021-03-11 13:54 | dd-2102-002 | Unknown | 0 | 12.208 | 11907 | 1.793 | ----- | ----- | ----- | ----- | 1 |  | 25.0451 | 2233.4885 | 26.1295 | 2270.4551
69 | BRN11mar21_033.gcd | 2021-03-12 03:11 | dd-2102-003 | Unknown | 0 | 6.075 | 10183 | 0.013 | ----- | ----- | ----- | ----- | 69 | BRN11mar21_033.gcd | 2021-03-12 03:11 | dd-2102-003 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 69 | BRN11mar21_033.gcd | 2021-03-12 03:11 | dd-2102-003 | Unknown | 0 | 12.243 | 12853 | 1.922 | ----- | ----- | ----- | ----- | 1 |  | 25.3775 | 2407.4066 | 26.4086 | 2450.9495
53 | BRN11mar21_017.gcd | 2021-03-11 19:01 | dd-2102-004 | Unknown | 0 | 6.028 | 311448 | 0.462 | ----- | ----- | ----- | ----- | 53 | BRN11mar21_017.gcd | 2021-03-11 19:01 | dd-2102-004 | Unknown | 0 | 5.974 | 2430 | 1.044 | ----- | ----- | ----- | ----- | 53 | BRN11mar21_017.gcd | 2021-03-11 19:01 | dd-2102-004 | Unknown | 0 | 12.145 | 60151 | 8.372 | ----- | ----- | ----- | ----- | 1 |  | 899.5571 | 10959.7146 | 808.5271 | 11438.1822
71 | BRN11mar21_035.gcd | 2021-03-12 04:12 | dd-2102-005 | Unknown | 0 | 6.04 | 312841 | 0.464 | ----- | ----- | ----- | ----- | 71 | BRN11mar21_035.gcd | 2021-03-12 04:12 | dd-2102-005 | Unknown | 0 | 5.991 | 3280 | 1.2 | ----- | ----- | ----- | ----- | 71 | BRN11mar21_035.gcd | 2021-03-12 04:12 | dd-2102-005 | Unknown | 0 | 12.144 | 59569 | 8.292 | ----- | ----- | ----- | ----- | 1 |  | 903.2227 | 10856.1854 | 812.0925 | 11328.0367
49 | BRN11mar21_013.gcd | 2021-03-11 16:58 | dd-2102-006 | Unknown | 0 | 6.045 | 307305 | 0.456 | ----- | ----- | ----- | ----- | 49 | BRN11mar21_013.gcd | 2021-03-11 16:58 | dd-2102-006 | Unknown | 0 | 6.003 | 2692 | 1.092 | ----- | ----- | ----- | ----- | 49 | BRN11mar21_013.gcd | 2021-03-11 16:58 | dd-2102-006 | Unknown | 0 | 12.158 | 60615 | 8.435 | ----- | ----- | ----- | ----- | 1 |  | 888.6362 | 11042.2228 | 797.9202 | 11525.9879
57 | BRN11mar21_021.gcd | 2021-03-11 21:03 | dd-2102-007 | Unknown | 0 | 6.047 | 61102 | 0.089 | ----- | ----- | ----- | ----- | 57 | BRN11mar21_021.gcd | 2021-03-11 21:03 | dd-2102-007 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | BRN11mar21_021.gcd | 2021-03-11 21:03 | dd-2102-007 | Unknown | 0 | 12.179 | 41136 | 5.774 | ----- | ----- | ----- | ----- | 1 |  | 189.3443 | 7555.2269 | 160.1413 | 7833.8305
76 | BRN11mar21_040.gcd | 2021-03-12 06:45 | dd-2102-008 | Unknown | 0 | 6.044 | 60325 | 0.088 | ----- | ----- | ----- | ----- | 76 | BRN11mar21_040.gcd | 2021-03-12 06:45 | dd-2102-008 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 76 | BRN11mar21_040.gcd | 2021-03-12 06:45 | dd-2102-008 | Unknown | 0 | 12.167 | 42483 | 5.958 | ----- | ----- | ----- | ----- | 1 |  | 186.9808 | 7797.8906 | 158.1053 | 8089.5455
47 | BRN11mar21_011.gcd | 2021-03-11 15:57 | dd-2102-009 | Unknown | 0 | 6.046 | 59492 | 0.087 | ----- | ----- | ----- | ----- | 47 | BRN11mar21_011.gcd | 2021-03-11 15:57 | dd-2102-009 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 47 | BRN11mar21_011.gcd | 2021-03-11 15:57 | dd-2102-009 | Unknown | 0 | 12.18 | 40965 | 5.751 | ----- | ----- | ----- | ----- | 1 |  | 184.4458 | 7524.4047 | 155.9224 | 7801.3636
45 | BRN11mar21_009.gcd | 2021-03-11 14:56 | dd-2102-010 | Unknown | 0 | 6.095 | 3795 | 0.004 | ----- | ----- | ----- | ----- | 45 | BRN11mar21_009.gcd | 2021-03-11 14:56 | dd-2102-010 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 45 | BRN11mar21_009.gcd | 2021-03-11 14:56 | dd-2102-010 | Unknown | 0 | 12.223 | 4158 | 0.74 | ----- | ----- | ----- | ----- | 1 |  | 6.2005 | 804.638 | 6.9587 | 790.8705
65 | BRN11mar21_029.gcd | 2021-03-12 01:08 | dd-2102-011 | Unknown | 0 | 6.096 | 4238 | 0.004 | ----- | ----- | ----- | ----- | 65 | BRN11mar21_029.gcd | 2021-03-12 01:08 | dd-2102-011 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | BRN11mar21_029.gcd | 2021-03-12 01:08 | dd-2102-011 | Unknown | 0 | 12.204 | 4574 | 0.797 | ----- | ----- | ----- | ----- | 1 |  | 7.4745 | 881.5364 | 8.4461 | 870.3506
61 | BRN11mar21_025.gcd | 2021-03-11 23:06 | dd-2102-012 | Unknown | 0 | 6.083 | 3493 | 0.003 | ----- | ----- | ----- | ----- | 61 | BRN11mar21_025.gcd | 2021-03-11 23:06 | dd-2102-012 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | BRN11mar21_025.gcd | 2021-03-11 23:06 | dd-2102-012 | Unknown | 0 | 12.212 | 4620 | 0.803 | ----- | ----- | ----- | ----- | 1 |  | 5.3368 | 890.0382 | 5.9317 | 879.1389
59 | BRN11mar21_023.gcd | 2021-03-11 22:04 | dd-2102-013 | Unknown | 0 | 6.027 | 50741 | 0.074 | ----- | ----- | ----- | ----- | 59 | BRN11mar21_023.gcd | 2021-03-11 22:04 | dd-2102-013 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | BRN11mar21_023.gcd | 2021-03-11 22:04 | dd-2102-013 | Unknown | 0 | 12.167 | 14338 | 2.124 | ----- | ----- | ----- | ----- | 1 |  | 157.7463 | 2680.1911 | 132.9802 | 2734.2249
73 | BRN11mar21_037.gcd | 2021-03-12 05:13 | dd-2102-014 | Unknown | 0 | 6.022 | 49144 | 0.071 | ----- | ----- | ----- | ----- | 73 | BRN11mar21_037.gcd | 2021-03-12 05:13 | dd-2102-014 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 73 | BRN11mar21_037.gcd | 2021-03-12 05:13 | dd-2102-014 | Unknown | 0 | 12.162 | 13246 | 1.975 | ----- | ----- | ----- | ----- | 1 |  | 152.8603 | 2479.625 | 128.7914 | 2525.9243
63 | BRN11mar21_027.gcd | 2021-03-12 00:07 | dd-2102-015 | Unknown | 0 | 6.044 | 48547 | 0.07 | ----- | ----- | ----- | ----- | 63 | BRN11mar21_027.gcd | 2021-03-12 00:07 | dd-2102-015 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | BRN11mar21_027.gcd | 2021-03-12 00:07 | dd-2102-015 | Unknown | 0 | 12.195 | 13459 | 2.004 | ----- | ----- | ----- | ----- | 1 |  | 151.0327 | 2518.7581 | 127.2253 | 2566.5574
75 | BRN11mar21_039.gcd | 2021-03-12 06:14 | dd-2102-016 | Unknown | 0 | 6.121 | 2544 | 0.002 | ----- | ----- | ----- | ----- | 75 | BRN11mar21_039.gcd | 2021-03-12 06:14 | dd-2102-016 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 75 | BRN11mar21_039.gcd | 2021-03-12 06:14 | dd-2102-016 | Unknown | 0 | 12.163 | 48582 | 6.791 | ----- | ----- | ----- | ----- | 1 |  | 2.648 | 8893.7824 | 2.6357 | 9246.6434
41 | BRN11mar21_005.gcd | 2021-03-11 12:53 | dd-2102-017 | Unknown | 0 | 6.084 | 2674 | 0.002 | ----- | ----- | ----- | ----- | 41 | BRN11mar21_005.gcd | 2021-03-11 12:53 | dd-2102-017 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 41 | BRN11mar21_005.gcd | 2021-03-11 12:53 | dd-2102-017 | Unknown | 0 | 12.178 | 49259 | 6.883 | ----- | ----- | ----- | ----- | 1 |  | 3.0141 | 9015.1404 | 3.0933 | 9375.0087
55 | BRN11mar21_019.gcd | 2021-03-11 20:02 | dd-2102-018 | Unknown | 0 | 6.118 | 2638 | 0.002 | ----- | ----- | ----- | ----- | 55 | BRN11mar21_019.gcd | 2021-03-11 20:02 | dd-2102-018 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | BRN11mar21_019.gcd | 2021-03-11 20:02 | dd-2102-018 | Unknown | 0 | 12.178 | 43141 | 6.048 | ----- | ----- | ----- | ----- | 1 |  | 2.9127 | 7916.3473 | 2.9668 | 8214.439
77 | BRN11mar21_041.gcd | 2021-03-12 07:16 | dd-2102-019 | Unknown | 0 | 6.067 | 5187 | 0.006 | ----- | ----- | ----- | ----- | 77 | BRN11mar21_041.gcd | 2021-03-12 07:16 | dd-2102-019 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 77 | BRN11mar21_041.gcd | 2021-03-12 07:16 | dd-2102-019 | Unknown | 0 | 12.208 | 5041 | 0.86 | ----- | ----- | ----- | ----- | 1 |  | 10.2316 | 967.8363 | 11.5558 | 959.568
42 | BRN11mar21_006.gcd | 2021-03-11 13:24 | dd-2102-020 | Unknown | 0 | 6.07 | 5230 | 0.006 | ----- | ----- | ----- | ----- | 42 | BRN11mar21_006.gcd | 2021-03-11 13:24 | dd-2102-020 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 42 | BRN11mar21_006.gcd | 2021-03-11 13:24 | dd-2102-020 | Unknown | 0 | 12.199 | 5321 | 0.898 | ----- | ----- | ----- | ----- | 1 |  | 10.3574 | 1019.5662 | 11.6942 | 1013.0568
50 | BRN11mar21_014.gcd | 2021-03-11 17:29 | dd-2102-021 | Unknown | 0 | 6.074 | 5415 | 0.006 | ----- | ----- | ----- | ----- | 50 | BRN11mar21_014.gcd | 2021-03-11 17:29 | dd-2102-021 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | BRN11mar21_014.gcd | 2021-03-11 17:29 | dd-2102-021 | Unknown | 0 | 12.234 | 5620 | 0.939 | ----- | ----- | ----- | ----- | 1 |  | 10.8997 | 1074.7954 | 12.2873 | 1070.1724
58 | BRN11mar21_022.gcd | 2021-03-11 21:34 | dd-2102-022 | Unknown | 0 | 6.044 | 54118 | 0.079 | ----- | ----- | ----- | ----- | 58 | BRN11mar21_022.gcd | 2021-03-11 21:34 | dd-2102-022 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | BRN11mar21_022.gcd | 2021-03-11 21:34 | dd-2102-022 | Unknown | 0 | 12.197 | 22010 | 3.168 | ----- | ----- | ----- | ----- | 1 |  | 168.0644 | 4085.0757 | 141.8357 | 4196.577
64 | BRN11mar21_028.gcd | 2021-03-12 00:38 | dd-2102-023 | Unknown | 0 | 6.025 | 52270 | 0.076 | ----- | ----- | ----- | ----- | 64 | BRN11mar21_028.gcd | 2021-03-12 00:38 | dd-2102-023 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | BRN11mar21_028.gcd | 2021-03-12 00:38 | dd-2102-023 | Unknown | 0 | 12.165 | 22574 | 3.245 | ----- | ----- | ----- | ----- | 1 |  | 162.4203 | 4188.0629 | 136.99 | 4304.0049
72 | BRN11mar21_036.gcd | 2021-03-12 04:43 | dd-2102-024 | Unknown | 0 | 6.042 | 51765 | 0.075 | ----- | ----- | ----- | ----- | 72 | BRN11mar21_036.gcd | 2021-03-12 04:43 | dd-2102-024 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 72 | BRN11mar21_036.gcd | 2021-03-12 04:43 | dd-2102-024 | Unknown | 0 | 12.186 | 22632 | 3.252 | ----- | ----- | ----- | ----- | 1 |  | 160.877 | 4198.6515 | 135.6657 | 4315.0519
48 | BRN11mar21_012.gcd | 2021-03-11 16:27 | dd-2102-025 | Unknown | 0 | 6.098 | 3879 | 0.004 | ----- | ----- | ----- | ----- | 48 | BRN11mar21_012.gcd | 2021-03-11 16:27 | dd-2102-025 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | BRN11mar21_012.gcd | 2021-03-11 16:27 | dd-2102-025 | Unknown | 0 | 12.217 | 3693 | 0.677 | ----- | ----- | ----- | ----- | 1 |  | 6.4414 | 718.6561 | 7.2425 | 702.0218
56 | BRN11mar21_020.gcd | 2021-03-11 20:32 | dd-2102-026 | Unknown | 0 | 6.07 | 4203 | 0.004 | ----- | ----- | ----- | ----- | 56 | BRN11mar21_020.gcd | 2021-03-11 20:32 | dd-2102-026 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | BRN11mar21_020.gcd | 2021-03-11 20:32 | dd-2102-026 | Unknown | 0 | 12.189 | 3647 | 0.671 | ----- | ----- | ----- | ----- | 1 |  | 7.3735 | 710.1489 | 8.3294 | 693.2321
44 | BRN11mar21_008.gcd | 2021-03-11 14:25 | dd-2102-027 | Unknown | 0 | 6.086 | 3961 | 0.004 | ----- | ----- | ----- | ----- | 44 | BRN11mar21_008.gcd | 2021-03-11 14:25 | dd-2102-027 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 44 | BRN11mar21_008.gcd | 2021-03-11 14:25 | dd-2102-027 | Unknown | 0 | 12.228 | 3184 | 0.608 | ----- | ----- | ----- | ----- | 1 |  | 6.6769 | 624.5072 | 7.5187 | 604.758
39 | BRN11mar21_003.gcd | 2021-03-11 11:52 | dd-2102-028 | Unknown | 0 | 6.05 | 13946 | 0.019 | ----- | ----- | ----- | ----- | 39 | BRN11mar21_003.gcd | 2021-03-11 11:52 | dd-2102-028 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 39 | BRN11mar21_003.gcd | 2021-03-11 11:52 | dd-2102-028 | Unknown | 0 | 12.151 | 62750 | 8.727 | ----- | ----- | ----- | ----- | 1 |  | 37.4859 | 11421.5192 | 36.3131 | 11929.9172
62 | BRN11mar21_026.gcd | 2021-03-11 23:36 | dd-2102-029 | Unknown | 0 | 6.032 | 14343 | 0.02 | ----- | ----- | ----- | ----- | 62 | BRN11mar21_026.gcd | 2021-03-11 23:36 | dd-2102-029 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | BRN11mar21_026.gcd | 2021-03-11 23:36 | dd-2102-029 | Unknown | 0 | 12.121 | 64574 | 8.976 | ----- | ----- | ----- | ----- | 1 |  | 38.7984 | 11745.1112 | 37.3578 | 12274.8898
68 | BRN11mar21_032.gcd | 2021-03-12 02:40 | dd-2102-030 | Unknown | 0 | 6.048 | 14058 | 0.019 | ----- | ----- | ----- | ----- | 68 | BRN11mar21_032.gcd | 2021-03-12 02:40 | dd-2102-030 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | BRN11mar21_032.gcd | 2021-03-12 02:40 | dd-2102-030 | Unknown | 0 | 12.148 | 61323 | 8.532 | ----- | ----- | ----- | ----- | 1 |  | 37.8555 | 11168.067 | 36.6078 | 11659.9537
74 | BRN11mar21_038.gcd | 2021-03-12 05:44 | dd-2102-031 | Unknown | 0 | 6.041 | 151682 | 0.224 | ----- | ----- | ----- | ----- | 74 | BRN11mar21_038.gcd | 2021-03-12 05:44 | dd-2102-031 | Unknown | 0 | 6 | 937 | 0.77 | ----- | ----- | ----- | ----- | 74 | BRN11mar21_038.gcd | 2021-03-12 05:44 | dd-2102-031 | Unknown | 0 | 12.094 | 132439 | 18.3 | ----- | ----- | ----- | ----- | 1 |  | 458.1247 | 23488.0292 | 396.4894 | 25033.277
40 | BRN11mar21_004.gcd | 2021-03-11 12:22 | dd-2102-032 | Unknown | 0 | 6.049 | 166284 | 0.246 | ----- | ----- | ----- | ----- | 40 | BRN11mar21_004.gcd | 2021-03-11 12:22 | dd-2102-032 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 40 | BRN11mar21_004.gcd | 2021-03-11 12:22 | dd-2102-032 | Unknown | 0 | 12.087 | 139903 | 19.33 | ----- | ----- | ----- | ----- | 1 |  | 500.2 | 24744.2584 | 434.4043 | 26427.3411
66 | BRN11mar21_030.gcd | 2021-03-12 01:39 | dd-2102-033 | Unknown | 0 | 6.024 | 153841 | 0.227 | ----- | ----- | ----- | ----- | 66 | BRN11mar21_030.gcd | 2021-03-12 01:39 | dd-2102-033 | Unknown | 0 | 5.973 | 2438 | 1.045 | ----- | ----- | ----- | ----- | 66 | BRN11mar21_030.gcd | 2021-03-12 01:39 | dd-2102-033 | Unknown | 0 | 12.062 | 132568 | 18.317 | ----- | ----- | ----- | ----- | 1 |  | 464.3677 | 23509.8 | 402.0986 | 25057.3859
70 | BRN11mar21_034.gcd | 2021-03-12 03:41 | dd-2102-034 | Unknown | 0 | 6.084 | 4109 | 0.004 | ----- | ----- | ----- | ----- | 70 | BRN11mar21_034.gcd | 2021-03-12 03:41 | dd-2102-034 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 70 | BRN11mar21_034.gcd | 2021-03-12 03:41 | dd-2102-034 | Unknown | 0 | 12.181 | 27965 | 3.979 | ----- | ----- | ----- | ----- | 1 |  | 7.1026 | 5170.4523 | 8.0153 | 5330.334
60 | BRN11mar21_024.gcd | 2021-03-11 22:35 | dd-2102-035 | Unknown | 0 | 6.068 | 4141 | 0.004 | ----- | ----- | ----- | ----- | 60 | BRN11mar21_024.gcd | 2021-03-11 22:35 | dd-2102-035 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | BRN11mar21_024.gcd | 2021-03-11 22:35 | dd-2102-035 | Unknown | 0 | 12.165 | 26519 | 3.782 | ----- | ----- | ----- | ----- | 1 |  | 7.1948 | 4907.3091 | 8.1223 | 5055.1398
78 | BRN11mar21_042.gcd | 2021-03-12 07:46 | dd-2102-036 | Unknown | 0 | 6.06 | 4392 | 0.005 | ----- | ----- | ----- | ----- | 78 | BRN11mar21_042.gcd | 2021-03-12 07:46 | dd-2102-036 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 78 | BRN11mar21_042.gcd | 2021-03-12 07:46 | dd-2102-036 | Unknown | 0 | 12.144 | 25969 | 3.707 | ----- | ----- | ----- | ----- | 1 |  | 7.9193 | 4807.1512 | 8.9578 | 4950.4492
52 | BRN11mar21_016.gcd | 2021-03-11 18:30 | dd-2102-037 | Unknown | 0 | 6.045 | 52709 | 0.077 | ----- | ----- | ----- | ----- | 52 | BRN11mar21_016.gcd | 2021-03-11 18:30 | dd-2102-037 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | BRN11mar21_016.gcd | 2021-03-11 18:30 | dd-2102-037 | Unknown | 0 | 12.2 | 17707 | 2.582 | ----- | ----- | ----- | ----- | 1 |  | 163.7616 | 3298.027 | 138.1412 | 3376.6223
67 | BRN11mar21_031.gcd | 2021-03-12 02:09 | dd-2102-038 | Unknown | 0 | 6.041 | 52383 | 0.076 | ----- | ----- | ----- | ----- | 67 | BRN11mar21_031.gcd | 2021-03-12 02:09 | dd-2102-038 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | BRN11mar21_031.gcd | 2021-03-12 02:09 | dd-2102-038 | Unknown | 0 | 12.189 | 18325 | 2.666 | ----- | ----- | ----- | ----- | 1 |  | 162.7656 | 3411.2065 | 137.2864 | 3494.4218
46 | BRN11mar21_010.gcd | 2021-03-11 15:26 | dd-2102-039 | Unknown | 0 | 6.046 | 49739 | 0.072 | ----- | ----- | ----- | ----- | 46 | BRN11mar21_010.gcd | 2021-03-11 15:26 | dd-2102-039 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 46 | BRN11mar21_010.gcd | 2021-03-11 15:26 | dd-2102-039 | Unknown | 0 | 12.202 | 17469 | 2.55 | ----- | ----- | ----- | ----- | 1 |  | 154.6811 | 3254.4273 | 130.3521 | 3331.2528
54 | BRN11mar21_018.gcd | 2021-03-11 19:31 | dd-2102-040 | Unknown | 0 | 6.047 | 49598 | 0.072 | ----- | ----- | ----- | ----- | 54 | BRN11mar21_018.gcd | 2021-03-11 19:31 | dd-2102-040 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | BRN11mar21_018.gcd | 2021-03-11 19:31 | dd-2102-040 | Unknown | 0 | 12.208 | 16096 | 2.363 | ----- | ----- | ----- | ----- | 1 |  | 154.2497 | 3002.7659 | 129.9822 | 3069.4845
78 | BRN16mar21_042.gcd | 2021-03-17 08:20 | dd-2102-041 | Unknown | 0 | 6.028 | 51717 | 0.075 | ----- | ----- | ----- | ----- | 78 | BRN16mar21_042.gcd | 2021-03-17 08:20 | dd-2102-041 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 78 | BRN16mar21_042.gcd | 2021-03-17 08:20 | dd-2102-041 | Unknown | 0 | 12.184 | 17046 | 2.492 | ----- | ----- | ----- | ----- | 1 |  | 160.7302 | 3176.9196 | 135.5398 | 3250.6126
59 | BRN16mar21_023.gcd | 2021-03-16 22:38 | dd-2102-042 | Unknown | 0 | 6.027 | 51766 | 0.075 | ----- | ----- | ----- | ----- | 59 | BRN16mar21_023.gcd | 2021-03-16 22:38 | dd-2102-042 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | BRN16mar21_023.gcd | 2021-03-16 22:38 | dd-2102-042 | Unknown | 0 | 12.173 | 16580 | 2.429 | ----- | ----- | ----- | ----- | 1 |  | 160.88 | 3091.5068 | 135.6683 | 3161.7682
49 | BRN16mar21_013.gcd | 2021-03-16 17:31 | dd-2102-043 | Unknown | 0 | 6.061 | 2530 | 0.002 | ----- | ----- | ----- | ----- | 49 | BRN16mar21_013.gcd | 2021-03-16 17:31 | dd-2102-043 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | BRN16mar21_013.gcd | 2021-03-16 17:31 | dd-2102-043 | Unknown | 0 | 12.189 | 32341 | 4.575 | ----- | ----- | ----- | ----- | 1 |  | 2.6087 | 5965.1977 | 2.5863 | 6162.7342
70 | BRN16mar21_034.gcd | 2021-03-17 04:15 | dd-2102-044 | Unknown | 0 | 6.077 | 2289 | 0.002 | ----- | ----- | ----- | ----- | 70 | BRN16mar21_034.gcd | 2021-03-17 04:15 | dd-2102-044 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 70 | BRN16mar21_034.gcd | 2021-03-17 04:15 | dd-2102-044 | Unknown | 0 | 12.182 | 32646 | 4.617 | ----- | ----- | ----- | ----- | 1 |  | 1.9321 | 6020.5006 | 1.7322 | 6220.7279
58 | BRN16mar21_022.gcd | 2021-03-16 22:07 | dd-2102-045 | Unknown | 0 | 6.037 | 2430 | 0.002 | ----- | ----- | ----- | ----- | 58 | BRN16mar21_022.gcd | 2021-03-16 22:07 | dd-2102-045 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | BRN16mar21_022.gcd | 2021-03-16 22:07 | dd-2102-045 | Unknown | 0 | 12.158 | 35973 | 5.07 | ----- | ----- | ----- | ----- | 1 |  | 2.3276 | 6622.9963 | 2.2327 | 6853.1382
53 | BRN16mar21_017.gcd | 2021-03-16 19:34 | dd-2102-046 | Unknown | 0 | 6.056 | 1929 | 0.001 | ----- | ----- | ----- | ----- | 53 | BRN16mar21_017.gcd | 2021-03-16 19:34 | dd-2102-046 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | BRN16mar21_017.gcd | 2021-03-16 19:34 | dd-2102-046 | Unknown | 0 | 12.146 | 49808 | 6.958 | ----- | ----- | ----- | ----- | 1 |  | 0.92602 | 9113.5111 | 0.44393 | 9479.0932
75 | BRN16mar21_039.gcd | 2021-03-17 06:48 | dd-2102-047 | Unknown | 0 | 6.06 | 1678 | 0.001 | ----- | ----- | ----- | ----- | 75 | BRN16mar21_039.gcd | 2021-03-17 06:48 | dd-2102-047 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 75 | BRN16mar21_039.gcd | 2021-03-17 06:48 | dd-2102-047 | Unknown | 0 | 12.125 | 51131 | 7.139 | ----- | ----- | ----- | ----- | 1 |  | 0.22782 | 9350.4128 | -0.46317 | 9729.8794
45 | BRN16mar21_009.gcd | 2021-03-16 15:29 | dd-2102-048 | Unknown | 0 | 6.062 | 2029 | 0.001 | ----- | ----- | ----- | ----- | 45 | BRN16mar21_009.gcd | 2021-03-16 15:29 | dd-2102-048 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 45 | BRN16mar21_009.gcd | 2021-03-16 15:29 | dd-2102-048 | Unknown | 0 | 12.148 | 52446 | 7.318 | ----- | ----- | ----- | ----- | 1 |  | 1.2049 | 9585.6643 | 0.8033 | 9979.0927
66 | BRN16mar21_030.gcd | 2021-03-17 02:12 | dd-2102-049 | Unknown | 0 | 6.044 | 194267 | 0.287 | ----- | ----- | ----- | ----- | 66 | BRN16mar21_030.gcd | 2021-03-17 02:12 | dd-2102-049 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | BRN16mar21_030.gcd | 2021-03-17 02:12 | dd-2102-049 | Unknown | 0 | 12.194 | 22855 | 3.283 | ----- | ----- | ----- | ----- | 1 |  | 579.8597 | 4239.359 | 506.9197 | 4357.5246
63 | BRN16mar21_027.gcd | 2021-03-17 00:40 | dd-2102-050 | Unknown | 0 | 6.043 | 210189 | 0.311 | ----- | ----- | ----- | ----- | 63 | BRN16mar21_027.gcd | 2021-03-17 00:40 | dd-2102-050 | Unknown | 0 | 6.004 | 1726 | 0.914 | ----- | ----- | ----- | ----- | 63 | BRN16mar21_027.gcd | 2021-03-17 00:40 | dd-2102-050 | Unknown | 0 | 12.199 | 24209 | 3.467 | ----- | ----- | ----- | ----- | 1 |  | 624.6146 | 4486.3906 | 548.0956 | 4615.3732
47 | BRN16mar21_011.gcd | 2021-03-16 16:30 | dd-2102-051 | Unknown | 0 | 6.028 | 216508 | 0.321 | ----- | ----- | ----- | ----- | 47 | BRN16mar21_011.gcd | 2021-03-16 16:30 | dd-2102-051 | Unknown | 0 | 5.981 | 1884 | 0.944 | ----- | ----- | ----- | ----- | 47 | BRN16mar21_011.gcd | 2021-03-16 16:30 | dd-2102-051 | Unknown | 0 | 12.174 | 24432 | 3.498 | ----- | ----- | ----- | ----- | 1 |  | 642.2619 | 4527.054 | 564.4202 | 4657.8344
44 | BRN16mar21_008.gcd | 2021-03-16 14:58 | dd-2102-052 | Unknown | 0 | 6.085 | 1822 | 0.001 | ----- | ----- | ----- | ----- | 44 | BRN16mar21_008.gcd | 2021-03-16 14:58 | dd-2102-052 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 44 | BRN16mar21_008.gcd | 2021-03-16 14:58 | dd-2102-052 | Unknown | 0 | 12.195 | 28063 | 3.992 | ----- | ----- | ----- | ----- | 1 |  | 0.62805 | 5188.2768 | 0.05813 | 5348.9823
77 | BRN16mar21_041.gcd | 2021-03-17 07:49 | dd-2102-053 | Unknown | 0 | 6.075 | 1832 | 0.001 | ----- | ----- | ----- | ----- | 77 | BRN16mar21_041.gcd | 2021-03-17 07:49 | dd-2102-053 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 77 | BRN16mar21_041.gcd | 2021-03-17 07:49 | dd-2102-053 | Unknown | 0 | 12.187 | 31290 | 4.432 | ----- | ----- | ----- | ----- | 1 |  | 0.65588 | 5774.5401 | 0.094243 | 5962.8704
52 | BRN16mar21_016.gcd | 2021-03-16 19:03 | dd-2102-054 | Unknown | 0 | 6.065 | 1965 | 0.001 | ----- | ----- | ----- | ----- | 52 | BRN16mar21_016.gcd | 2021-03-16 19:03 | dd-2102-054 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | BRN16mar21_016.gcd | 2021-03-16 19:03 | dd-2102-054 | Unknown | 0 | 12.192 | 29325 | 4.164 | ----- | ----- | ----- | ----- | 1 |  | 1.0264 | 5417.7056 | 0.57344 | 5589.0991
72 | BRN16mar21_036.gcd | 2021-03-17 05:16 | dd-2102-055 | Unknown | 0 | 6.075 | 1246 | 0 | ----- | ----- | ----- | ----- | 72 | BRN16mar21_036.gcd | 2021-03-17 05:16 | dd-2102-055 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 72 | BRN16mar21_036.gcd | 2021-03-17 05:16 | dd-2102-055 | Unknown | 0 | 12.237 | 3966 | 0.714 | ----- | ----- | ----- | ----- | 1 |  | -0.96758 | 769.1391 | -2.0415 | 754.1854
65 | BRN16mar21_029.gcd | 2021-03-17 01:41 | dd-2102-056 | Unknown | 0 | 6.124 | 1863 | 0.001 | ----- | ----- | ----- | ----- | 65 | BRN16mar21_029.gcd | 2021-03-17 01:41 | dd-2102-056 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | BRN16mar21_029.gcd | 2021-03-17 01:41 | dd-2102-056 | Unknown | 0 | 12.261 | 2327 | 0.492 | ----- | ----- | ----- | ----- | 1 |  | 0.74217 | 465.9159 | 0.20612 | 440.9764
43 | BRN16mar21_007.gcd | 2021-03-16 14:27 | dd-2102-057 | Unknown | 0 | 6.097 | 1939 | 0.001 | ----- | ----- | ----- | ----- | 43 | BRN16mar21_007.gcd | 2021-03-16 14:27 | dd-2102-057 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 43 | BRN16mar21_007.gcd | 2021-03-16 14:27 | dd-2102-057 | Unknown | 0 | 12.223 | 2933 | 0.574 | ----- | ----- | ----- | ----- | 1 |  | 0.95389 | 578.0682 | 0.47992 | 556.7917
62 | BRN16mar21_026.gcd | 2021-03-17 00:09 | dd-2102-058 | Unknown | 0 | 6.092 | 1344 | 0 | ----- | ----- | ----- | ----- | 62 | BRN16mar21_026.gcd | 2021-03-17 00:09 | dd-2102-058 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | BRN16mar21_026.gcd | 2021-03-17 00:09 | dd-2102-058 | Unknown | 0 | 12.212 | 3259 | 0.618 | ----- | ----- | ----- | ----- | 1 |  | -0.6971 | 638.3819 | -1.6816 | 619.0901
73 | BRN16mar21_037.gcd | 2021-03-17 05:47 | dd-2102-059 | Unknown | 0 | 6.071 | 1199 | 0 | ----- | ----- | ----- | ----- | 73 | BRN16mar21_037.gcd | 2021-03-17 05:47 | dd-2102-059 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 73 | BRN16mar21_037.gcd | 2021-03-17 05:47 | dd-2102-059 | Unknown | 0 | 12.214 | 3212 | 0.612 | ----- | ----- | ----- | ----- | 1 |  | -1.0972 | 629.6872 | -2.2145 | 610.1086
40 | BRN16mar21_004.gcd | 2021-03-16 12:55 | dd-2102-060 | Unknown | 0 | 6.087 | 1544 | 0 | ----- | ----- | ----- | ----- | 40 | BRN16mar21_004.gcd | 2021-03-16 12:55 | dd-2102-060 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 40 | BRN16mar21_004.gcd | 2021-03-16 12:55 | dd-2102-060 | Unknown | 0 | 12.192 | 4321 | 0.763 | ----- | ----- | ----- | ----- | 1 |  | -0.14382 | 834.7714 | -0.95044 | 822.0136
61 | BRN16mar21_025.gcd | 2021-03-16 23:39 | dd-2102-061 | Unknown | 0 | 6.085 | 1629 | 0.001 | ----- | ----- | ----- | ----- | 61 | BRN16mar21_025.gcd | 2021-03-16 23:39 | dd-2102-061 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | BRN16mar21_025.gcd | 2021-03-16 23:39 | dd-2102-061 | Unknown | 0 | 12.217 | 3534 | 0.656 | ----- | ----- | ----- | ----- | 1 |  | 0.091835 | 689.2497 | -0.64111 | 671.6397
60 | BRN16mar21_024.gcd | 2021-03-16 23:08 | dd-2102-062 | Unknown | 0 | 6.073 | 1436 | 0 | ----- | ----- | ----- | ----- | 60 | BRN16mar21_024.gcd | 2021-03-16 23:08 | dd-2102-062 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | BRN16mar21_024.gcd | 2021-03-16 23:08 | dd-2102-062 | Unknown | 0 | 12.234 | 1978 | 0.444 | ----- | ----- | ----- | ----- | 1 |  | -0.4428 | 401.3056 | -1.3447 | 374.272
64 | BRN16mar21_028.gcd | 2021-03-17 01:11 | dd-2102-063 | Unknown | 0 | 6.088 | 1498 | 0 | ----- | ----- | ----- | ----- | 64 | BRN16mar21_028.gcd | 2021-03-17 01:11 | dd-2102-063 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | BRN16mar21_028.gcd | 2021-03-17 01:11 | dd-2102-063 | Unknown | 0 | 12.254 | 2294 | 0.487 | ----- | ----- | ----- | ----- | 1 |  | -0.27122 | 459.8073 | -1.1182 | 434.6692
39 | BRN16mar21_003.gcd | 2021-03-16 12:25 | dd-2102-064 | Unknown | 0 | 6.09 | 1587 | 0.001 | ----- | ----- | ----- | ----- | 39 | BRN16mar21_003.gcd | 2021-03-16 12:25 | dd-2102-064 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 39 | BRN16mar21_003.gcd | 2021-03-16 12:25 | dd-2102-064 | Unknown | 0 | 12.221 | 2563 | 0.524 | ----- | ----- | ----- | ----- | 1 |  | -0.024645 | 509.5979 | -0.79385 | 486.0808
46 | BRN16mar21_010.gcd | 2021-03-16 15:59 | dd-2102-065 | Unknown | 0 | 6.051 | 122429 | 0.18 | ----- | ----- | ----- | ----- | 46 | BRN16mar21_010.gcd | 2021-03-16 15:59 | dd-2102-065 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 46 | BRN16mar21_010.gcd | 2021-03-16 15:59 | dd-2102-065 | Unknown | 0 | 12.206 | 22857 | 3.283 | ----- | ----- | ----- | ----- | 1 |  | 372.7858 | 4239.7241 | 320.3772 | 4357.9055
54 | BRN16mar21_018.gcd | 2021-03-16 20:04 | dd-2102-066 | Unknown | 0 | 6.045 | 113358 | 0.167 | ----- | ----- | ----- | ----- | 54 | BRN16mar21_018.gcd | 2021-03-16 20:04 | dd-2102-066 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | BRN16mar21_018.gcd | 2021-03-16 20:04 | dd-2102-066 | Unknown | 0 | 12.204 | 23848 | 3.418 | ----- | ----- | ----- | ----- | 1 |  | 346.0395 | 4420.5502 | 296.7337 | 4546.6321
51 | BRN16mar21_015.gcd | 2021-03-16 18:32 | dd-2102-067 | Unknown | 0 | 6.043 | 114753 | 0.169 | ----- | ----- | ----- | ----- | 51 | BRN16mar21_015.gcd | 2021-03-16 18:32 | dd-2102-067 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | BRN16mar21_015.gcd | 2021-03-16 18:32 | dd-2102-067 | Unknown | 0 | 12.2 | 20089 | 2.906 | ----- | ----- | ----- | ----- | 1 |  | 350.1614 | 3733.9986 | 300.371 | 3830.5968
76 | BRN16mar21_040.gcd | 2021-03-17 07:19 | dd-2102-068 | Unknown | 0 | 6.046 | 23285 | 0.033 | ----- | ----- | ----- | ----- | 76 | BRN16mar21_040.gcd | 2021-03-17 07:19 | dd-2102-068 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 76 | BRN16mar21_040.gcd | 2021-03-17 07:19 | dd-2102-068 | Unknown | 0 | 12.203 | 14873 | 2.197 | ----- | ----- | ----- | ----- | 1 |  | 73.1658 | 2778.3991 | 60.8793 | 2836.2628
56 | BRN16mar21_020.gcd | 2021-03-16 21:06 | dd-2102-069 | Unknown | 0 | 6.047 | 22281 | 0.031 | ----- | ----- | ----- | ----- | 56 | BRN16mar21_020.gcd | 2021-03-16 21:06 | dd-2102-069 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | BRN16mar21_020.gcd | 2021-03-16 21:06 | dd-2102-069 | Unknown | 0 | 12.213 | 15176 | 2.238 | ----- | ----- | ----- | ----- | 1 |  | 70.0496 | 2834.0038 | 58.2393 | 2894.0483
69 | BRN16mar21_033.gcd | 2021-03-17 03:44 | dd-2102-070 | Unknown | 0 | 6.026 | 24221 | 0.034 | ----- | ----- | ----- | ----- | 69 | BRN16mar21_033.gcd | 2021-03-17 03:44 | dd-2102-070 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 69 | BRN16mar21_033.gcd | 2021-03-17 03:44 | dd-2102-070 | Unknown | 0 | 12.163 | 15077 | 2.225 | ----- | ----- | ----- | ----- | 1 |  | 76.0695 | 2815.8372 | 63.3403 | 2875.1682
48 | BRN16mar21_012.gcd | 2021-03-16 17:01 | dd-2102-071 | Unknown | 0 | 6.063 | 3844 | 0.004 | ----- | ----- | ----- | ----- | 48 | BRN16mar21_012.gcd | 2021-03-16 17:01 | dd-2102-071 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | BRN16mar21_012.gcd | 2021-03-16 17:01 | dd-2102-071 | Unknown | 0 | 12.175 | 41213 | 5.785 | ----- | ----- | ----- | ----- | 1 |  | 6.341 | 7569.1046 | 7.1243 | 7848.4498
71 | BRN16mar21_035.gcd | 2021-03-17 04:45 | dd-2102-072 | Unknown | 0 | 6.038 | 3769 | 0.004 | ----- | ----- | ----- | ----- | 71 | BRN16mar21_035.gcd | 2021-03-17 04:45 | dd-2102-072 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 71 | BRN16mar21_035.gcd | 2021-03-17 04:45 | dd-2102-072 | Unknown | 0 | 12.146 | 46390 | 6.491 | ----- | ----- | ----- | ----- | 1 |  | 6.126 | 8500.4529 | 6.8707 | 8830.918
42 | BRN16mar21_006.gcd | 2021-03-16 13:57 | dd-2102-073 | Unknown | 0 | 6.065 | 3662 | 0.004 | ----- | ----- | ----- | ----- | 42 | BRN16mar21_006.gcd | 2021-03-16 13:57 | dd-2102-073 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 42 | BRN16mar21_006.gcd | 2021-03-16 13:57 | dd-2102-073 | Unknown | 0 | 12.179 | 45020 | 6.304 | ----- | ----- | ----- | ----- | 1 |  | 5.8197 | 8254.3157 | 6.5077 | 8571.0102
74 | BRN16mar21_038.gcd | 2021-03-17 06:17 | dd-2102-074 | Unknown | 0 | 6.044 | 110478 | 0.163 | ----- | ----- | ----- | ----- | 74 | BRN16mar21_038.gcd | 2021-03-17 06:17 | dd-2102-074 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 74 | BRN16mar21_038.gcd | 2021-03-17 06:17 | dd-2102-074 | Unknown | 0 | 12.178 | 60896 | 8.473 | ----- | ----- | ----- | ----- | 1 |  | 337.5196 | 11092.177 | 289.2228 | 11579.1599
55 | BRN16mar21_019.gcd | 2021-03-16 20:35 | dd-2102-075 | Unknown | 0 | 6.024 | 112949 | 0.166 | ----- | ----- | ----- | ----- | 55 | BRN16mar21_019.gcd | 2021-03-16 20:35 | dd-2102-075 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | BRN16mar21_019.gcd | 2021-03-16 20:35 | dd-2102-075 | Unknown | 0 | 12.129 | 63854 | 8.878 | ----- | ----- | ----- | ----- | 1 |  | 344.8304 | 11617.4274 | 295.6671 | 12138.7294
68 | BRN16mar21_032.gcd | 2021-03-17 03:13 | dd-2102-076 | Unknown | 0 | 6.046 | 104329 | 0.153 | ----- | ----- | ----- | ----- | 68 | BRN16mar21_032.gcd | 2021-03-17 03:13 | dd-2102-076 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | BRN16mar21_032.gcd | 2021-03-17 03:13 | dd-2102-076 | Unknown | 0 | 12.166 | 53511 | 7.464 | ----- | ----- | ----- | ----- | 1 |  | 319.2836 | 9776.0321 | 273.1799 | 10180.8859
41 | BRN16mar21_005.gcd | 2021-03-16 13:26 | dd-2102-077 | Unknown | 0 | 6.04 | 6319 | 0.008 | ----- | ----- | ----- | ----- | 41 | BRN16mar21_005.gcd | 2021-03-16 13:26 | dd-2102-077 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 41 | BRN16mar21_005.gcd | 2021-03-16 13:26 | dd-2102-077 | Unknown | 0 | 12.157 | 37871 | 5.329 | ----- | ----- | ----- | ----- | 1 |  | 13.5704 | 6966.0879 | 15.1286 | 7213.7569
67 | BRN16mar21_031.gcd | 2021-03-17 02:43 | dd-2102-078 | Unknown | 0 | 6.036 | 6485 | 0.008 | ----- | ----- | ----- | ----- | 67 | BRN16mar21_031.gcd | 2021-03-17 02:43 | dd-2102-078 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | BRN16mar21_031.gcd | 2021-03-17 02:43 | dd-2102-078 | Unknown | 0 | 12.139 | 41326 | 5.8 | ----- | ----- | ----- | ----- | 1 |  | 14.0646 | 7589.4694 | 15.6401 | 7869.9037
57 | BRN16mar21_021.gcd | 2021-03-16 21:36 | dd-2102-079 | Unknown | 0 | 6.038 | 6531 | 0.008 | ----- | ----- | ----- | ----- | 57 | BRN16mar21_021.gcd | 2021-03-16 21:36 | dd-2102-079 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | BRN16mar21_021.gcd | 2021-03-16 21:36 | dd-2102-079 | Unknown | 0 | 12.151 | 41338 | 5.802 | ----- | ----- | ----- | ----- | 1 |  | 14.2018 | 7591.6319 | 15.7812 | 7872.182
50 | BRN16mar21_014.gcd | 2021-03-16 18:02 | dd-2102-080 | Unknown | 0 | 6.03 | 89579 | 0.132 | ----- | ----- | ----- | ----- | 50 | BRN16mar21_014.gcd | 2021-03-16 18:02 | dd-2102-080 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | BRN16mar21_014.gcd | 2021-03-16 18:02 | dd-2102-080 | Unknown | 0 | 12.198 | 12080 | 1.817 | ----- | ----- | ----- | ----- | 1 |  | 275.2883 | 2265.3022 | 234.6594 | 2303.4652
1900-02-09 | BRN17mar21_005.gcd | 2021-03-17 14:05 | dd-2102-081 | Unknown | 0 | 6.021 | 95491 | 0.14 | ----- | ----- | ----- | ----- | 41 | BRN17mar21_005.gcd | 2021-03-17 14:05 | dd-2102-081 | Unknown | 0 | 5.984 | 1330 | 0.842 | ----- | ----- | ----- | ----- | 41 | BRN17mar21_005.gcd | 2021-03-17 14:05 | dd-2102-081 | Unknown | 0 | 12.166 | 15066 | 2.223 | ----- | ----- | ----- | ----- | 1 |  | 292.9649 | 2813.8186 | 250.1053 | 2873.0704
1900-02-16 | BRN17mar21_012.gcd | 2021-03-17 17:39 | dd-2102-082 | Unknown | 0 | 6.037 | 91986 | 0.135 | ----- | ----- | ----- | ----- | 48 | BRN17mar21_012.gcd | 2021-03-17 17:39 | dd-2102-082 | Unknown | 0 | 5.99 | 673 | 0.721 | ----- | ----- | ----- | ----- | 48 | BRN17mar21_012.gcd | 2021-03-17 17:39 | dd-2102-082 | Unknown | 0 | 12.195 | 13586 | 2.022 | ----- | ----- | ----- | ----- | 1 |  | 282.492 | 2542.0884 | 240.949 | 2590.7839
1900-03-03 | BRN17mar21_027.gcd | 2021-03-18 01:19 | dd-2102-083 | Unknown | 0 | 6.064 | 1884 | 0.001 | ----- | ----- | ----- | ----- | 63 | BRN17mar21_027.gcd | 2021-03-18 01:19 | dd-2102-083 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | BRN17mar21_027.gcd | 2021-03-18 01:19 | dd-2102-083 | Unknown | 0 | 12.181 | 30542 | 4.33 | ----- | ----- | ----- | ----- | 1 |  | 0.80065 | 5638.7641 | 0.28184 | 5820.6048
1900-03-17 | BRN17mar21_041.gcd | 2021-03-18 08:28 | dd-2102-084 | Unknown | 0 | 6.052 | 2251 | 0.002 | ----- | ----- | ----- | ----- | 77 | BRN17mar21_041.gcd | 2021-03-18 08:28 | dd-2102-084 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 77 | BRN17mar21_041.gcd | 2021-03-18 08:28 | dd-2102-084 | Unknown | 0 | 12.145 | 30694 | 4.35 | ----- | ----- | ----- | ----- | 1 |  | 1.8256 | 5666.3606 | 1.5969 | 5849.5159
1900-02-12 | BRN17mar21_008.gcd | 2021-03-17 15:37 | dd-2102-085 | Unknown | 0 | 6.047 | 2486 | 0.002 | ----- | ----- | ----- | ----- | 44 | BRN17mar21_008.gcd | 2021-03-17 15:37 | dd-2102-085 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 44 | BRN17mar21_008.gcd | 2021-03-17 15:37 | dd-2102-085 | Unknown | 0 | 12.151 | 34267 | 4.838 | ----- | ----- | ----- | ----- | 1 |  | 2.485 | 6314.2256 | 2.4308 | 6528.8995
1900-03-10 | BRN17mar21_034.gcd | 2021-03-18 04:54 | dd-2102-086 | Unknown | 0 | 6.038 | 12460 | 0.017 | ----- | ----- | ----- | ----- | 70 | BRN17mar21_034.gcd | 2021-03-18 04:54 | dd-2102-086 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 70 | BRN17mar21_034.gcd | 2021-03-18 04:54 | dd-2102-086 | Unknown | 0 | 12.096 | 107470 | 14.861 | ----- | ----- | ----- | ----- | 1 |  | 32.6324 | 19234.787 | 32.4022 | 20356.6062
1900-02-24 | BRN17mar21_020.gcd | 2021-03-17 21:45 | dd-2102-087 | Unknown | 0 | 6.021 | 13273 | 0.018 | ----- | ----- | ----- | ----- | 56 | BRN17mar21_020.gcd | 2021-03-17 21:45 | dd-2102-087 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | BRN17mar21_020.gcd | 2021-03-17 21:45 | dd-2102-087 | Unknown | 0 | 12.061 | 119597 | 16.53 | ----- | ----- | ----- | ----- | 1 |  | 35.2761 | 21310.2867 | 34.542 | 22630.5144
1900-03-14 | BRN17mar21_038.gcd | 2021-03-18 06:56 | dd-2102-088 | Unknown | 0 | 6.04 | 12249 | 0.016 | ----- | ----- | ----- | ----- | 74 | BRN17mar21_038.gcd | 2021-03-18 06:56 | dd-2102-088 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 74 | BRN17mar21_038.gcd | 2021-03-18 06:56 | dd-2102-088 | Unknown | 0 | 12.101 | 109862 | 15.19 | ----- | ----- | ----- | ----- | 1 |  | 31.9509 | 19645.6323 | 31.8469 | 20805.5037
1900-02-11 | BRN17mar21_007.gcd | 2021-03-17 15:06 | dd-2102-089 | Unknown | 0 | 6.04 | 50686 | 0.074 | ----- | ----- | ----- | ----- | 43 | BRN17mar21_007.gcd | 2021-03-17 15:06 | dd-2102-089 | Unknown | 0 | 5.995 | 457 | 0.681 | ----- | ----- | ----- | ----- | 43 | BRN17mar21_007.gcd | 2021-03-17 15:06 | dd-2102-089 | Unknown | 0 | 12.193 | 18393 | 2.676 | ----- | ----- | ----- | ----- | 1 |  | 157.5781 | 3423.657 | 132.8359 | 3507.3828
1900-02-28 | BRN17mar21_024.gcd | 2021-03-17 23:47 | dd-2102-090 | Unknown | 0 | 6.019 | 48690 | 0.071 | ----- | ----- | ----- | ----- | 60 | BRN17mar21_024.gcd | 2021-03-17 23:47 | dd-2102-090 | Unknown | 0 | 5.975 | 321 | 0.656 | ----- | ----- | ----- | ----- | 60 | BRN17mar21_024.gcd | 2021-03-17 23:47 | dd-2102-090 | Unknown | 0 | 12.174 | 17357 | 2.535 | ----- | ----- | ----- | ----- | 1 |  | 151.4705 | 3233.9074 | 127.6004 | 3309.9018
1900-02-19 | BRN17mar21_015.gcd | 2021-03-17 19:11 | dd-2102-091 | Unknown | 0 | 6.039 | 48731 | 0.071 | ----- | ----- | ----- | ----- | 51 | BRN17mar21_015.gcd | 2021-03-17 19:11 | dd-2102-091 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | BRN17mar21_015.gcd | 2021-03-17 19:11 | dd-2102-091 | Unknown | 0 | 12.192 | 16527 | 2.422 | ----- | ----- | ----- | ----- | 1 |  | 151.596 | 3081.7907 | 127.708 | 3151.6631
1900-03-09 | BRN17mar21_033.gcd | 2021-03-18 04:23 | dd-2102-092 | Unknown | 0 | 6.036 | 144574 | 0.213 | ----- | ----- | ----- | ----- | 69 | BRN17mar21_033.gcd | 2021-03-18 04:23 | dd-2102-092 | Unknown | 0 | 5.984 | 1101 | 0.8 | ----- | ----- | ----- | ----- | 69 | BRN17mar21_033.gcd | 2021-03-18 04:23 | dd-2102-092 | Unknown | 0 | 12.187 | 17581 | 2.565 | ----- | ----- | ----- | ----- | 1 |  | 437.5172 | 3274.9457 | 378.0144 | 3352.6034
1900-03-15 | BRN17mar21_039.gcd | 2021-03-18 07:27 | dd-2102-093 | Unknown | 0 | 6.039 | 142578 | 0.21 | ----- | ----- | ----- | ----- | 75 | BRN17mar21_039.gcd | 2021-03-18 07:27 | dd-2102-093 | Unknown | 0 | 6 | 1175 | 0.813 | ----- | ----- | ----- | ----- | 75 | BRN17mar21_039.gcd | 2021-03-18 07:27 | dd-2102-093 | Unknown | 0 | 12.195 | 16789 | 2.457 | ----- | ----- | ----- | ----- | 1 |  | 431.7156 | 3129.8176 | 372.8242 | 3201.6156
1900-02-15 | BRN17mar21_011.gcd | 2021-03-17 17:09 | dd-2102-094 | Unknown | 0 | 6.038 | 145435 | 0.215 | ----- | ----- | ----- | ----- | 47 | BRN17mar21_011.gcd | 2021-03-17 17:09 | dd-2102-094 | Unknown | 0 | 6.009 | 2115 | 0.986 | ----- | ----- | ----- | ----- | 47 | BRN17mar21_011.gcd | 2021-03-17 17:09 | dd-2102-094 | Unknown | 0 | 12.195 | 16907 | 2.473 | ----- | ----- | ----- | ----- | 1 |  | 440.0178 | 3151.4452 | 380.2529 | 3224.1125
1900-02-27 | BRN17mar21_023.gcd | 2021-03-17 23:17 | dd-2102-095 | Unknown | 0 | 6.073 | 1808 | 0.001 | ----- | ----- | ----- | ----- | 59 | BRN17mar21_023.gcd | 2021-03-17 23:17 | dd-2102-095 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | BRN17mar21_023.gcd | 2021-03-17 23:17 | dd-2102-095 | Unknown | 0 | 12.182 | 22753 | 3.269 | ----- | ----- | ----- | ----- | 1 |  | 0.5891 | 4220.7402 | 0.0075533 | 4338.0978
1900-03-16 | BRN17mar21_040.gcd | 2021-03-18 07:58 | dd-2102-096 | Unknown | 0 | 6.051 | 1868 | 0.001 | ----- | ----- | ----- | ----- | 76 | BRN17mar21_040.gcd | 2021-03-18 07:58 | dd-2102-096 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 76 | BRN17mar21_040.gcd | 2021-03-18 07:58 | dd-2102-096 | Unknown | 0 | 12.158 | 26615 | 3.795 | ----- | ----- | ----- | ----- | 1 |  | 0.75609 | 4924.7874 | 0.22415 | 5073.4121
1900-02-18 | BRN17mar21_014.gcd | 2021-03-17 18:41 | dd-2102-097 | Unknown | 0 | 6.076 | 2144 | 0.001 | ----- | ----- | ----- | ----- | 50 | BRN17mar21_014.gcd | 2021-03-17 18:41 | dd-2102-097 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | BRN17mar21_014.gcd | 2021-03-17 18:41 | dd-2102-097 | Unknown | 0 | 12.155 | 24212 | 3.468 | ----- | ----- | ----- | ----- | 1 |  | 1.5262 | 4486.9377 | 1.2151 | 4615.9444
1900-02-07 | BRN17mar21_003.gcd | 2021-03-17 13:03 | dd-2102-098 | Unknown | 0 | 6.057 | 3541 | 0.003 | ----- | ----- | ----- | ----- | 39 | BRN17mar21_003.gcd | 2021-03-17 13:03 | dd-2102-098 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 39 | BRN17mar21_003.gcd | 2021-03-17 13:03 | dd-2102-098 | Unknown | 0 | 12.163 | 46493 | 6.505 | ----- | ----- | ----- | ----- | 1 |  | 5.4739 | 8518.9486 | 6.0956 | 8850.456
1900-03-08 | BRN17mar21_032.gcd | 2021-03-18 03:52 | dd-2102-099 | Unknown | 0 | 6.058 | 3080 | 0.003 | ----- | ----- | ----- | ----- | 68 | BRN17mar21_032.gcd | 2021-03-18 03:52 | dd-2102-099 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | BRN17mar21_032.gcd | 2021-03-18 03:52 | dd-2102-099 | Unknown | 0 | 12.16 | 45555 | 6.377 | ----- | ----- | ----- | ----- | 1 |  | 4.162 | 8350.4631 | 4.5101 | 8672.5143
1900-02-26 | BRN17mar21_022.gcd | 2021-03-17 22:46 | dd-2102-100 | Unknown | 0 | 6.046 | 3273 | 0.003 | ----- | ----- | ----- | ----- | 58 | BRN17mar21_022.gcd | 2021-03-17 22:46 | dd-2102-100 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | BRN17mar21_022.gcd | 2021-03-17 22:46 | dd-2102-100 | Unknown | 0 | 12.145 | 51223 | 7.151 | ----- | ----- | ----- | ----- | 1 |  | 4.7101 | 9366.8785 | 5.1769 | 9747.3167
1900-03-02 | BRN17mar21_026.gcd | 2021-03-18 00:48 | dd-2102-101 | Unknown | 0 | 6.042 | 4543 | 0.005 | ----- | ----- | ----- | ----- | 62 | BRN17mar21_026.gcd | 2021-03-18 00:48 | dd-2102-101 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | BRN17mar21_026.gcd | 2021-03-18 00:48 | dd-2102-101 | Unknown | 0 | 12.126 | 81088 | 11.238 | ----- | ----- | ----- | ----- | 1 |  | 8.3564 | 14655.8159 | 9.4569 | 15393.2538
1900-02-14 | BRN17mar21_010.gcd | 2021-03-17 16:38 | dd-2102-102 | Unknown | 0 | 6.035 | 4878 | 0.005 | ----- | ----- | ----- | ----- | 46 | BRN17mar21_010.gcd | 2021-03-17 16:38 | dd-2102-102 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 46 | BRN17mar21_010.gcd | 2021-03-17 16:38 | dd-2102-102 | Unknown | 0 | 12.095 | 85555 | 11.851 | ----- | ----- | ----- | ----- | 1 |  | 9.3296 | 15437.2721 | 10.5547 | 16235.2404
1900-02-20 | BRN17mar21_016.gcd | 2021-03-17 19:42 | dd-2102-103 | Unknown | 0 | 6.05 | 4782 | 0.005 | ----- | ----- | ----- | ----- | 52 | BRN17mar21_016.gcd | 2021-03-17 19:42 | dd-2102-103 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | BRN17mar21_016.gcd | 2021-03-17 19:42 | dd-2102-103 | Unknown | 0 | 12.117 | 83716 | 11.599 | ----- | ----- | ----- | ----- | 1 |  | 9.0502 | 15115.8611 | 10.2414 | 15888.6851
1900-03-01 | BRN17mar21_025.gcd | 2021-03-18 00:18 | dd-2102-104 | Unknown | 0 | 6.039 | 15496 | 0.021 | ----- | ----- | ----- | ----- | 61 | BRN17mar21_025.gcd | 2021-03-18 00:18 | dd-2102-104 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | BRN17mar21_025.gcd | 2021-03-18 00:18 | dd-2102-104 | Unknown | 0 | 12.194 | 15333 | 2.259 | ----- | ----- | ----- | ----- | 1 |  | 48.9471 | 2862.8109 | 40.3918 | 2923.9889
1900-03-13 | BRN17mar21_037.gcd | 2021-03-18 06:26 | dd-2102-105 | Unknown | 0 | 6.038 | 15516 | 0.021 | ----- | ----- | ----- | ----- | 73 | BRN17mar21_037.gcd | 2021-03-18 06:26 | dd-2102-105 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 73 | BRN17mar21_037.gcd | 2021-03-18 06:26 | dd-2102-105 | Unknown | 0 | 12.187 | 15833 | 2.327 | ----- | ----- | ----- | ----- | 1 |  | 49.0095 | 2954.5328 | 40.4445 | 3019.3355
1900-02-13 | BRN17mar21_009.gcd | 2021-03-17 16:07 | dd-2102-106 | Unknown | 0 | 6.042 | 17374 | 0.024 | ----- | ----- | ----- | ----- | 45 | BRN17mar21_009.gcd | 2021-03-17 16:07 | dd-2102-106 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 45 | BRN17mar21_009.gcd | 2021-03-17 16:07 | dd-2102-106 | Unknown | 0 | 12.197 | 17220 | 2.516 | ----- | ----- | ----- | ----- | 1 |  | 54.7956 | 3208.8049 | 45.3329 | 3283.7844
1900-03-04 | BRN17mar21_028.gcd | 2021-03-18 01:50 | dd-2102-107 | Unknown | 0 | 6.043 | 4858 | 0.005 | ----- | ----- | ----- | ----- | 64 | BRN17mar21_028.gcd | 2021-03-18 01:50 | dd-2102-107 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | BRN17mar21_028.gcd | 2021-03-18 01:50 | dd-2102-107 | Unknown | 0 | 12.206 | 6386 | 1.043 | ----- | ----- | ----- | ----- | 1 |  | 9.2714 | 1216.2346 | 10.4895 | 1216.4821
1900-02-21 | BRN17mar21_017.gcd | 2021-03-17 20:13 | dd-2102-108 | Unknown | 0 | 6.048 | 5137 | 0.006 | ----- | ----- | ----- | ----- | 53 | BRN17mar21_017.gcd | 2021-03-17 20:13 | dd-2102-108 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | BRN17mar21_017.gcd | 2021-03-17 20:13 | dd-2102-108 | Unknown | 0 | 12.204 | 6138 | 1.009 | ----- | ----- | ----- | ----- | 1 |  | 10.0853 | 1170.4503 | 11.3945 | 1169.115
1900-03-07 | BRN17mar21_031.gcd | 2021-03-18 03:22 | dd-2102-109 | Unknown | 0 | 6.024 | 5062 | 0.006 | ----- | ----- | ----- | ----- | 67 | BRN17mar21_031.gcd | 2021-03-18 03:22 | dd-2102-109 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | BRN17mar21_031.gcd | 2021-03-18 03:22 | dd-2102-109 | Unknown | 0 | 12.167 | 4045 | 0.725 | ----- | ----- | ----- | ----- | 1 |  | 9.8662 | 783.746 | 11.1521 | 769.28
1900-03-11 | BRN17mar21_035.gcd | 2021-03-18 05:24 | dd-2102-110 | Unknown | 0 | 6.02 | 44716 | 0.065 | ----- | ----- | ----- | ----- | 71 | BRN17mar21_035.gcd | 2021-03-18 05:24 | dd-2102-110 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 71 | BRN17mar21_035.gcd | 2021-03-18 05:24 | dd-2102-110 | Unknown | 0 | 12.14 | 38058 | 5.354 | ----- | ----- | ----- | ----- | 1 |  | 139.2911 | 6999.8664 | 117.1738 | 7249.2804
1900-03-06 | BRN17mar21_030.gcd | 2021-03-18 02:51 | dd-2102-111 | Unknown | 0 | 6.038 | 43562 | 0.063 | ----- | ----- | ----- | ----- | 66 | BRN17mar21_030.gcd | 2021-03-18 02:51 | dd-2102-111 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | BRN17mar21_030.gcd | 2021-03-18 02:51 | dd-2102-111 | Unknown | 0 | 12.174 | 31302 | 4.433 | ----- | ----- | ----- | ----- | 1 |  | 135.7496 | 5776.7178 | 114.1453 | 5965.1526
1900-02-22 | BRN17mar21_018.gcd | 2021-03-17 20:43 | dd-2102-112 | Unknown | 0 | 6.039 | 44464 | 0.064 | ----- | ----- | ----- | ----- | 54 | BRN17mar21_018.gcd | 2021-03-17 20:43 | dd-2102-112 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | BRN17mar21_018.gcd | 2021-03-17 20:43 | dd-2102-112 | Unknown | 0 | 12.171 | 32106 | 4.543 | ----- | ----- | ----- | ----- | 1 |  | 138.518 | 5922.5794 | 116.5125 | 6118.0485
1900-02-10 | BRN17mar21_006.gcd | 2021-03-17 14:35 | dd-2102-113 | Unknown | 0 | 6.042 | 31238 | 0.045 | ----- | ----- | ----- | ----- | 42 | BRN17mar21_006.gcd | 2021-03-17 14:35 | dd-2102-113 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 42 | BRN17mar21_006.gcd | 2021-03-17 14:35 | dd-2102-113 | Unknown | 0 | 12.177 | 47464 | 6.638 | ----- | ----- | ----- | ----- | 1 |  | 97.7923 | 8693.2454 | 81.7831 | 9034.6278
1900-03-05 | BRN17mar21_029.gcd | 2021-03-18 02:20 | dd-2102-114 | Unknown | 0 | 6.038 | 27922 | 0.04 | ----- | ----- | ----- | ----- | 65 | BRN17mar21_029.gcd | 2021-03-18 02:20 | dd-2102-114 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | BRN17mar21_029.gcd | 2021-03-18 02:20 | dd-2102-114 | Unknown | 0 | 12.163 | 42125 | 5.909 | ----- | ----- | ----- | ----- | 1 |  | 87.5369 | 7733.4187 | 73.0691 | 8021.5884
1900-03-12 | BRN17mar21_036.gcd | 2021-03-18 05:55 | dd-2102-115 | Unknown | 0 | 6.021 | 28901 | 0.041 | ----- | ----- | ----- | ----- | 72 | BRN17mar21_036.gcd | 2021-03-18 05:55 | dd-2102-115 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 72 | BRN17mar21_036.gcd | 2021-03-18 05:55 | dd-2102-115 | Unknown | 0 | 12.162 | 49185 | 6.873 | ----- | ----- | ----- | ----- | 1 |  | 90.5665 | 9001.8781 | 75.6421 | 9360.9784
1900-02-08 | BRN17mar21_004.gcd | 2021-03-17 13:34 | dd-2102-116 | Unknown | 0 | 6.053 | 3356 | 0.003 | ----- | ----- | ----- | ----- | 40 | BRN17mar21_004.gcd | 2021-03-17 13:34 | dd-2102-116 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 40 | BRN17mar21_004.gcd | 2021-03-17 13:34 | dd-2102-116 | Unknown | 0 | 12.215 | 12326 | 1.85 | ----- | ----- | ----- | ----- | 1 |  | 4.9463 | 2310.5337 | 5.4623 | 2350.4028
1900-02-23 | BRN17mar21_019.gcd | 2021-03-17 21:14 | dd-2102-117 | Unknown | 0 | 6.049 | 2805 | 0.002 | ----- | ----- | ----- | ----- | 55 | BRN17mar21_019.gcd | 2021-03-17 21:14 | dd-2102-117 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | BRN17mar21_019.gcd | 2021-03-17 21:14 | dd-2102-117 | Unknown | 0 | 12.2 | 10619 | 1.618 | ----- | ----- | ----- | ----- | 1 |  | 3.3837 | 1996.5145 | 3.5526 | 2024.6613
1900-02-17 | BRN17mar21_013.gcd | 2021-03-17 18:10 | dd-2102-118 | Unknown | 0 | 6.058 | 2750 | 0.002 | ----- | ----- | ----- | ----- | 49 | BRN17mar21_013.gcd | 2021-03-17 18:10 | dd-2102-118 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | BRN17mar21_013.gcd | 2021-03-17 18:10 | dd-2102-118 | Unknown | 0 | 12.196 | 10395 | 1.588 | ----- | ----- | ----- | ----- | 1 |  | 3.2285 | 1955.2803 | 3.36 | 1981.909
1900-02-25 | BRN17mar21_021.gcd | 2021-03-17 22:15 | dd-2102-119 | Unknown | 0 | 6.122 | 1674 | 0.001 | ----- | ----- | ----- | ----- | 57 | BRN17mar21_021.gcd | 2021-03-17 22:15 | dd-2102-119 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | BRN17mar21_021.gcd | 2021-03-17 22:15 | dd-2102-119 | Unknown | 0 | 12.289 | 2536 | 0.52 | ----- | ----- | ----- | ----- | 1 |  | 0.21672 | 504.6007 | -0.47769 | 480.9206