## Sheet1
Sample Date First | Sample Date Last | Analysis | Units | Lab | Instrument | MDL | Analysis Date
SiteID | Bottle | Rep | Date | SampleID | CO2 | CH4 | Water_Temp_DegC | Ambient_air | Precision | Flag | Flag_notes
AG-SW | GHG | R1 | 20201031 | AG-SW-GHG-R1-20201031 |  |  | 11.5 | AG Air |  | 1 | Thin (30 gauge) needle used. Difficult injection. Used two needles to vent.
BD-SW | GHG | R1 | 20201030 | BD-SW-GHG-R1-20201030 |  |  | 12.3 | JL Air |  | 0 | NA
CR-SW | GHG | R1 | 20201031 | CR-SW-GHG-R1-20201031 |  |  | 11.5 | CR Air |  | 0 | NA
DB-SW | GHG | R1 | 20201031 | DB-SW-GHG-R1-20201031 |  |  | 9.5 | Beetree Rd Air |  | 1 | Thin (30 gauge) needle used. Difficult injection. Used two needles to vent.
DB-UW1 | GHG | R1 | 20201031 | DB-UW1-GHG-R1-20201031 |  |  | 13.4 | Beetree Rd Air |  | 1 | Thin (30 gauge) needle used. Difficult injection. Used two needles to vent.
DF-SW | GHG | R1 | 20201101 | DF-SW-GHG-R1-20201101 |  |  | 11.6 | Jones Rd S Air |  | 0 | NA
DK-SW | GHG | R1 | 20201030 | DK-SW-GHG-R1-20201030 |  |  | 13 | JL Air |  | 0 | NA
DK-UW1 | GHG | R1 | 20201030 | DK-UW1-GHG-R1-20201030 |  |  | 14.6 | JL Air |  | 0 | NA
DK-UW2 | GHG | R1 | 20201030 | DK-UW2-GHG-R1-20201030 |  |  | 14.6 | JL Air |  | 1 | Temperature not written down assumed the sames as DKUW1
FN-SW | GHG | R1 | 20201031 | FN-SW-GHG-R1-20201031 |  |  | 13.3 | Beetree Rd Air |  | 1 | Rep 3 is probably best. Thin (30 gauge) needle used. Difficult injection. Used two needles to vent.
FR-SW | GHG | R1 | 20201030 | FR-SW-GHG-R1-20201030 |  |  | 12.7 | Beetree Rd Air |  | 1 | Thin (30 gauge) needle used. Difficult injection. Used two needles to vent.
JA-SW | GHG | R1 | 20201101 | JA-SW-GHG-R1-20201101 |  |  | 9.5 | BCN post-rain |  | 0 | NA
JB-SW | GHG | R1 | 20201101 | JB-SW-GHG-R1-20201101 |  |  | 10 | BCN pre-rain |  | 0 | NA
JB-UW1 | GHG | R1 | 20201101 | JB-UW1-GHG-R1-20201101 |  |  | 14.2 | BCN pre-rain |  | 0 | NA
JB-UW2 | GHG | R1 | 20201101 | JB-UW2-GHG-R1-20201101 |  |  | 15 | BCN pre-rain |  | 0 | NA
JC-SW | GHG | R1 | 20201101 | JC-SW-GHG-R1-20201101 |  |  | 9.9 | BCN post-rain |  | 0 | NA
JC-UW1 | GHG | R1 | 20201101 | JC-UW1-GHG-R1-20201101 |  |  | 15 | BCN post-rain |  | 0 | NA
NB-SW | GHG | R1 | 20201101 | NB-SW-GHG-R1-20201101 |  |  | 9.1 | BCN pre-rain |  | 0 | NA
ND-SW | GHG | R1 | 20201030 | ND-SW-GHG-R1-20201030 |  |  | 13.8 | JL Air |  | 0 | NA
ND-UW1 | GHG | R1 | 20201030 | ND-UW1-GHG-R1-20201030 |  |  | 14.4 | JL Air |  | 0 | NA
ND-UW2 | GHG | R1 | 20201030 | ND-UW2-GHG-R1-20201030 |  |  | 15.1 | JL Air |  | 0 | NA
QB-SW | GHG | R1 | 20201101 | QB-SW-GHG-R1-20201101 |  |  | 10.7 | Jones Rd S Air |  | 0 | NA
QB-UW1 | GHG | R1 | 20201101 | QB-UW1-GHG-R1-20201101 |  |  | 15.5 | Jones Rd S Air |  | 0 | NA
QB-UW2 | GHG | R1 | 20201101 | QB-UW2-GHG-R1-20201101 |  |  | 15.2 | Jones Rd S Air |  | 0 | NA
TA-SW | GHG | R1 | 20201031 | TA-SW-GHG-R1-20201031 |  |  | 9.9 | Beetree Rd Air |  | 1 | R3 is likely most consistent. Thin (30 gauge) needle used. Difficult injection. Used two needles to vent.
TB-SW | GHG | R1 | 20201031 | TB-SW-GHG-R1-20201031 |  |  | 10.7 | Beetree Rd Air |  | 1 | Reps 1&2 are probably better. Thin (30 gauge) needle used. Difficult injection. Used two needles to vent.
TB-UW1 | GHG | R1 | 20201031 | TB-UW1-GHG-R1-20201031 |  |  | 13.6 | Beetree Rd Air |  | 1 | Rep 1 is probably best. Thin (30 gauge) needle used. Difficult injection. Used two needles to vent.
TB-UW2 | GHG | R1 | 20201031 | TB-UW2-GHG-R1-20201031 |  |  | 14.7 | Beetree Rd Air |  | 1 | Thin (30 gauge) needle used. Difficult injection. Used two needles to vent.
TB-UW3 | GHG | R1 | 20201031 | TB-UW3-GHG-R1-20201031 |  |  | 16.6 | Beetree Rd Air |  | 1 | Thin (30 gauge) needle used. Difficult injection. Used two needles to vent.
TI-SW | GHG | R1 | 20201101 | TI-SW-GHG-R1-20201101 |  |  | 11 | Jones Rd S Air |  | 0 | NA
TR-SW | GHG | R1 | 20201031 | TR-SW-GHG-R1-20201031 |  |  | 10.1 | NONE |  | 1 | Forgot to take ambient air on site.
TS-SW | GHG | R1 | 20201030 | TS-SW-GHG-R1-20201030 |  |  | 13.2 | JL Air |  | 0 | NA
AG-SW | GHG | R2 | 20201031 | AG-SW-GHG-R2-20201031 |  |  | 11.5 | AG Air |  | 1 | Thin (30 gauge) needle used. Difficult injection. Used two needles to vent.
BD-SW | GHG | R2 | 20201030 | BD-SW-GHG-R2-20201030 |  |  | 12.3 | JL Air |  | 0 | NA
CR-SW | GHG | R2 | 20201031 | CR-SW-GHG-R2-20201031 |  |  | 11.5 | CR Air |  | 0 | NA
DB-SW | GHG | R2 | 20201031 | DB-SW-GHG-R2-20201031 |  |  | 9.5 | Beetree Rd Air |  | 1 | Thin (30 gauge) needle used. Difficult injection. Used two needles to vent.
DB-UW1 | GHG | R2 | 20201031 | DB-UW1-GHG-R2-20201031 |  |  | 13.4 | Beetree Rd Air |  | 1 | Thin (30 gauge) needle used. Difficult injection. Used two needles to vent.
DF-SW | GHG | R2 | 20201101 | DF-SW-GHG-R2-20201101 |  |  | 11.6 | Jones Rd S Air |  | 0 | NA
DK-SW | GHG | R2 | 20201030 | DK-SW-GHG-R2-20201030 |  |  | 13 | JL Air |  | 0 | NA
DK-UW1 | GHG | R2 | 20201030 | DK-UW1-GHG-R2-20201030 |  |  | 14.6 | JL Air |  | 0 | NA
DK-UW2 | GHG | R2 | 20201030 | DK-UW2-GHG-R2-20201030 |  |  | 14.6 | JL Air |  | 1 | Temperature not written down assumed the sames as DKUW1
FN-SW | GHG | R2 | 20201031 | FN-SW-GHG-R2-20201031 |  |  | 13.3 | Beetree Rd Air |  | 1 | Rep 3 is probably best. Thin (30 gauge) needle used. Difficult injection. Used two needles to vent.
FR-SW | GHG | R2 | 20201030 | FR-SW-GHG-R2-20201030 |  |  | 12.7 | Beetree Rd Air |  | 1 | Thin (30 gauge) needle used. Difficult injection. Used two needles to vent.
JA-SW | GHG | R2 | 20201101 | JA-SW-GHG-R2-20201101 |  |  | 9.5 | BCN post-rain |  | 0 | NA
JB-SW | GHG | R2 | 20201101 | JB-SW-GHG-R2-20201101 |  |  | 10 | BCN pre-rain |  | 0 | NA
JB-UW1 | GHG | R2 | 20201101 | JB-UW1-GHG-R2-20201101 |  |  | 14.2 | BCN pre-rain |  | 0 | NA
JB-UW2 | GHG | R2 | 20201101 | JB-UW2-GHG-R2-20201101 |  |  | 15 | BCN pre-rain |  | 0 | NA
JC-SW | GHG | R2 | 20201101 | JC-SW-GHG-R2-20201101 |  |  | 9.9 | BCN post-rain |  | 0 | NA
JC-UW1 | GHG | R2 | 20201101 | JC-UW1-GHG-R2-20201101 |  |  | 15 | BCN post-rain |  | 0 | NA
NB-SW | GHG | R2 | 20201101 | NB-SW-GHG-R2-20201101 |  |  | 9.1 | BCN pre-rain |  | 0 | NA
ND-SW | GHG | R2 | 20201030 | ND-SW-GHG-R2-20201030 |  |  | 13.8 | JL Air |  | 0 | NA
ND-UW1 | GHG | R2 | 20201030 | ND-UW1-GHG-R2-20201030 |  |  | 14.4 | JL Air |  | 0 | NA
ND-UW2 | GHG | R2 | 20201030 | ND-UW2-GHG-R2-20201030 |  |  | 15.1 | JL Air |  | 0 | NA
QB-SW | GHG | R2 | 20201101 | QB-SW-GHG-R2-20201101 |  |  | 10.7 | Jones Rd S Air |  | 0 | NA
QB-UW1 | GHG | R2 | 20201101 | QB-UW1-GHG-R2-20201101 |  |  | 15.5 | Jones Rd S Air |  | 0 | NA
QB-UW2 | GHG | R2 | 20201101 | QB-UW2-GHG-R2-20201101 |  |  | 15.2 | Jones Rd S Air |  | 0 | NA
TA-SW | GHG | R2 | 20201031 | TA-SW-GHG-R2-20201031 |  |  | 9.9 | Beetree Rd Air |  | 1 | R3 is likely most consistent. Thin (30 gauge) needle used. Difficult injection. Used two needles to vent.
TB-SW | GHG | R2 | 20201031 | TB-SW-GHG-R2-20201031 |  |  | 10.7 | Beetree Rd Air |  | 1 | Reps 1&2 are probably better. Thin (30 gauge) needle used. Difficult injection. Used two needles to vent.
TB-UW1 | GHG | R2 | 20201031 | TB-UW1-GHG-R2-20201031 |  |  | 13.6 | Beetree Rd Air |  | 1 | Rep 1 is probably best. Thin (30 gauge) needle used. Difficult injection. Used two needles to vent.
TB-UW2 | GHG | R2 | 20201031 | TB-UW2-GHG-R2-20201031 |  |  | 14.7 | Beetree Rd Air |  | 1 | Thin (30 gauge) needle used. Difficult injection. Used two needles to vent.
TB-UW3 | GHG | R2 | 20201031 | TB-UW3-GHG-R2-20201031 |  |  | 16.6 | Beetree Rd Air |  | 1 | Thin (30 gauge) needle used. Difficult injection. Used two needles to vent.
TI-SW | GHG | R2 | 20201101 | TI-SW-GHG-R2-20201101 |  |  | 11 | Jones Rd S Air |  | 0 | NA
TR-SW | GHG | R2 | 20201031 | TR-SW-GHG-R2-20201031 |  |  | 10.1 | NONE |  | 1 | Forgot to take ambient air on site.
TS-SW | GHG | R2 | 20201030 | TS-SW-GHG-R2-20201030 |  |  | 13.2 | JL Air |  | 0 | NA
AG-SW | GHG | R3 | 20201031 | AG-SW-GHG-R3-20201031 |  |  | 11.5 | AG Air |  | 1 | Thin (30 gauge) needle used. Difficult injection. Used two needles to vent.
BD-SW | GHG | R3 | 20201030 | BD-SW-GHG-R3-20201030 |  |  | 12.3 | JL Air |  | 0 | NA
CR-SW | GHG | R3 | 20201031 | CR-SW-GHG-R3-20201031 |  |  | 11.5 | CR Air |  | 0 | NA
DB-SW | GHG | R3 | 20201031 | DB-SW-GHG-R3-20201031 |  |  | 9.5 | Beetree Rd Air |  | 1 | Thin (30 gauge) needle used. Difficult injection. Used two needles to vent.
DB-UW1 | GHG | R3 | 20201031 | DB-UW1-GHG-R3-20201031 |  |  | 13.4 | Beetree Rd Air |  | 1 | Thin (30 gauge) needle used. Difficult injection. Used two needles to vent.
DF-SW | GHG | R3 | 20201101 | DF-SW-GHG-R3-20201101 |  |  | 11.6 | Jones Rd S Air |  | 0 | NA
DK-SW | GHG | R3 | 20201030 | DK-SW-GHG-R3-20201030 |  |  | 13 | JL Air |  | 0 | NA
DK-UW1 | GHG | R3 | 20201030 | DK-UW1-GHG-R3-20201030 |  |  | 14.6 | JL Air |  | 0 | NA
DK-UW2 | GHG | R3 | 20201030 | DK-UW2-GHG-R3-20201030 |  |  | 14.6 | JL Air |  | 1 | Temperature not written down assumed the sames as DKUW1
FN-SW | GHG | R3 | 20201031 | FN-SW-GHG-R3-20201031 |  |  | 13.3 | Beetree Rd Air |  | 1 | Rep 3 is probably best. Thin (30 gauge) needle used. Difficult injection. Used two needles to vent.
FR-SW | GHG | R3 | 20201030 | FR-SW-GHG-R3-20201030 |  |  | 12.7 | Beetree Rd Air |  | 1 | Thin (30 gauge) needle used. Difficult injection. Used two needles to vent.
JA-SW | GHG | R3 | 20201101 | JA-SW-GHG-R3-20201101 |  |  | 9.5 | BCN post-rain |  | 0 | NA
JB-SW | GHG | R3 | 20201101 | JB-SW-GHG-R3-20201101 |  |  | 10 | BCN pre-rain |  | 0 | NA
JB-UW1 | GHG | R3 | 20201101 | JB-UW1-GHG-R3-20201101 |  |  | 14.2 | BCN pre-rain |  | 0 | NA
JB-UW2 | GHG | R3 | 20201101 | JB-UW2-GHG-R3-20201101 |  |  | 15 | BCN pre-rain |  | 0 | NA
JC-SW | GHG | R3 | 20201101 | JC-SW-GHG-R3-20201101 |  |  | 9.9 | BCN post-rain |  | 0 | NA
JC-UW1 | GHG | R3 | 20201101 | JC-UW1-GHG-R3-20201101 |  |  | 15 | BCN post-rain |  | 0 | NA
NB-SW | GHG | R3 | 20201101 | NB-SW-GHG-R3-20201101 |  |  | 9.1 | BCN pre-rain |  | 0 | NA
ND-SW | GHG | R3 | 20201030 | ND-SW-GHG-R3-20201030 |  |  | 13.8 | JL Air |  | 0 | NA
ND-UW1 | GHG | R3 | 20201030 | ND-UW1-GHG-R3-20201030 |  |  | 14.4 | JL Air |  | 0 | NA
ND-UW2 | GHG | R3 | 20201030 | ND-UW2-GHG-R3-20201030 |  |  | 15.1 | JL Air |  | 0 | NA
QB-SW | GHG | R3 | 20201101 | QB-SW-GHG-R3-20201101 |  |  | 10.7 | Jones Rd S Air |  | 0 | NA
QB-UW1 | GHG | R3 | 20201101 | QB-UW1-GHG-R3-20201101 |  |  | 15.5 | Jones Rd S Air |  | 0 | NA
QB-UW2 | GHG | R3 | 20201101 | QB-UW2-GHG-R3-20201101 |  |  | 15.2 | Jones Rd S Air |  | 0 | NA
TA-SW | GHG | R3 | 20201031 | TA-SW-GHG-R3-20201031 |  |  | 9.9 | Beetree Rd Air |  | 1 | R3 is likely most consistent. Thin (30 gauge) needle used. Difficult injection. Used two needles to vent.
TB-SW | GHG | R3 | 20201031 | TB-SW-GHG-R3-20201031 |  |  | 10.7 | Beetree Rd Air |  | 1 | Reps 1&2 are probably better. Thin (30 gauge) needle used. Difficult injection. Used two needles to vent.
TB-UW1 | GHG | R3 | 20201031 | TB-UW1-GHG-R3-20201031 |  |  | 13.6 | Beetree Rd Air |  | 1 | Rep 1 is probably best. Thin (30 gauge) needle used. Difficult injection. Used two needles to vent.
TB-UW2 | GHG | R3 | 20201031 | TB-UW2-GHG-R3-20201031 |  |  | 14.7 | Beetree Rd Air |  | 1 | Thin (30 gauge) needle used. Difficult injection. Used two needles to vent.
TB-UW3 | GHG | R3 | 20201031 | TB-UW3-GHG-R3-20201031 |  |  | 16.6 | Beetree Rd Air |  | 1 | Thin (30 gauge) needle used. Difficult injection. Used two needles to vent.
TI-SW | GHG | R3 | 20201101 | TI-SW-GHG-R3-20201101 |  |  | 11 | Jones Rd S Air |  | 0 | NA
TR-SW | GHG | R3 | 20201031 | TR-SW-GHG-R3-20201031 |  |  | 10.1 | NONE |  | 1 | Forgot to take ambient air on site.
TS-SW | GHG | R3 | 20201030 | TS-SW-GHG-R3-20201030 |  |  | 13.2 | JL Air |  | 0 | NA