## one
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm
39 | BRN03jun21_001.gcd | 2021-06-03 10:20 | air | Unknown | 0 | 6.049 | 1105 | -0.002 | ----- | ----- | ----- | ----- | 39 | BRN03jun21_001.gcd | 2021-06-03 10:20 | air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 39 | BRN03jun21_001.gcd | 2021-06-03 10:20 | air | Unknown | 0 | 12.219 | 1757 | 0.36 | ----- | ----- | ----- | ----- | 1 |  | -1.356 | 360.384 | -2.5613 | 332.0302
40 | BRN03jun21_002.gcd | 2021-06-03 10:51 | air + 100 | Unknown | 0 | 6.001 | 995919 | 2.073 | ----- | ----- | ----- | ----- | 40 | BRN03jun21_002.gcd | 2021-06-03 10:51 | air + 100 | Unknown | 0 | 5.956 | 8771 | 2.469 | ----- | ----- | ----- | ----- | 40 | BRN03jun21_002.gcd | 2021-06-03 10:51 | air + 100 | Unknown | 0 | 12.16 | 10554 | 2.115 | ----- | ----- | ----- | ----- | 1 |  | 2225.3656 | 1984.5498 | 2533.4404 | 2012.2556
41 | BRN03jun21_003.gcd | 2021-06-03 11:22 | dd cal 011 | Unknown | 0 | 6.033 | 1020 | -0.003 | ----- | ----- | ----- | ----- | 41 | BRN03jun21_003.gcd | 2021-06-03 11:22 | dd cal 011 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 41 | BRN03jun21_003.gcd | 2021-06-03 11:22 | dd cal 011 | Unknown | 0 | 12.187 | 3826 | 0.773 | ----- | ----- | ----- | ----- | 1 |  | -1.5898 | 743.2516 | -2.8758 | 727.4352
42 | BRN03jun21_004.gcd | 2021-06-03 11:53 | dd cal 004 | Unknown | 0 | 6.068 | 1408 | -0.002 | ----- | ----- | ----- | ----- | 42 | BRN03jun21_004.gcd | 2021-06-03 11:53 | dd cal 004 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 42 | BRN03jun21_004.gcd | 2021-06-03 11:53 | dd cal 004 | Unknown | 0 | 12.222 | 3102 | 0.629 | ----- | ----- | ----- | ----- | 1 |  | -0.52023 | 609.3368 | -1.4471 | 589.0879
43 | BRN03jun21_005.gcd | 2021-06-03 12:23 | dd cal 003 | Unknown | 0 | 6.006 | 47506 | 0.094 | ----- | ----- | ----- | ----- | 43 | BRN03jun21_005.gcd | 2021-06-03 12:23 | dd cal 003 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 43 | BRN03jun21_005.gcd | 2021-06-03 12:23 | dd cal 003 | Unknown | 0 | 12.14 | 17173 | 3.433 | ----- | ----- | ----- | ----- | 1 |  | 147.8445 | 3200.1926 | 124.4944 | 3274.8243
44 | BRN03jun21_006.gcd | 2021-06-03 12:54 | dd cal 010 | Unknown | 0 | 6.021 | 1554 | -0.002 | ----- | ----- | ----- | ----- | 44 | BRN03jun21_006.gcd | 2021-06-03 12:54 | dd cal 010 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 44 | BRN03jun21_006.gcd | 2021-06-03 12:54 | dd cal 010 | Unknown | 0 | 12.178 | 3028 | 0.614 | ----- | ----- | ----- | ----- | 1 |  | -0.11611 | 595.6457 | -0.914 | 574.9465
45 | BRN03jun21_007.gcd | 2021-06-03 13:25 | dd cal 002 | Unknown | 0 | 6.038 | 51398 | 0.102 | ----- | ----- | ----- | ----- | 45 | BRN03jun21_007.gcd | 2021-06-03 13:25 | dd cal 002 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 45 | BRN03jun21_007.gcd | 2021-06-03 13:25 | dd cal 002 | Unknown | 0 | 12.176 | 22198 | 4.431 | ----- | ----- | ----- | ----- | 1 |  | 159.7551 | 4119.4092 | 134.7032 | 4232.3875
46 | BRN03jun21_008.gcd | 2021-06-03 13:55 | dd cal 012 | Unknown | 0 | 6.045 | 1157 | -0.002 | ----- | ----- | ----- | ----- | 46 | BRN03jun21_008.gcd | 2021-06-03 13:55 | dd cal 012 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 46 | BRN03jun21_008.gcd | 2021-06-03 13:55 | dd cal 012 | Unknown | 0 | 12.179 | 4775 | 0.963 | ----- | ----- | ----- | ----- | 1 |  | -1.2129 | 918.6838 | -2.3694 | 908.7513
47 | BRN03jun21_009.gcd | 2021-06-03 14:26 | dd cal 001 | Unknown | 0 | 6.029 | 42995 | 0.085 | ----- | ----- | ----- | ----- | 47 | BRN03jun21_009.gcd | 2021-06-03 14:26 | dd cal 001 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 47 | BRN03jun21_009.gcd | 2021-06-03 14:26 | dd cal 001 | Unknown | 0 | 12.163 | 15659 | 3.132 | ----- | ----- | ----- | ----- | 1 |  | 134.0087 | 2922.6171 | 112.6572 | 2986.1558
48 | BRN03jun21_010.gcd | 2021-06-03 14:57 | dd cal 006 | Unknown | 0 | 6.005 | 214251 | 0.442 | ----- | ----- | ----- | ----- | 48 | BRN03jun21_010.gcd | 2021-06-03 14:57 | dd cal 006 | Unknown | 0 | 5.959 | 1614 | 0.548 | ----- | ----- | ----- | ----- | 48 | BRN03jun21_010.gcd | 2021-06-03 14:57 | dd cal 006 | Unknown | 0 | 12.136 | 25464 | 5.079 | ----- | ----- | ----- | ----- | 1 |  | 635.9662 | 4715.1546 | 558.5906 | 4854.3156
49 | BRN03jun21_011.gcd | 2021-06-03 15:27 | dd cal 013 | Unknown | 0 | 6.035 | 1233 | -0.002 | ----- | ----- | ----- | ----- | 49 | BRN03jun21_011.gcd | 2021-06-03 15:27 | dd cal 013 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | BRN03jun21_011.gcd | 2021-06-03 15:27 | dd cal 013 | Unknown | 0 | 12.18 | 3492 | 0.707 | ----- | ----- | ----- | ----- | 1 |  | -1.0034 | 681.4814 | -2.0893 | 663.6141
50 | BRN03jun21_012.gcd | 2021-06-03 15:58 | dd cal 008 | Unknown | 0 | 6.03 | 1557 | -0.002 | ----- | ----- | ----- | ----- | 50 | BRN03jun21_012.gcd | 2021-06-03 15:58 | dd cal 008 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | BRN03jun21_012.gcd | 2021-06-03 15:58 | dd cal 008 | Unknown | 0 | 12.173 | 3378 | 0.684 | ----- | ----- | ----- | ----- | 1 |  | -0.1078 | 660.3949 | -0.90307 | 641.8301
51 | BRN03jun21_013.gcd | 2021-06-03 16:29 | dd cal 005 | Unknown | 0 | 6.007 | 208105 | 0.429 | ----- | ----- | ----- | ----- | 51 | BRN03jun21_013.gcd | 2021-06-03 16:29 | dd cal 005 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | BRN03jun21_013.gcd | 2021-06-03 16:29 | dd cal 005 | Unknown | 0 | 12.137 | 26068 | 5.199 | ----- | ----- | ----- | ----- | 1 |  | 618.7803 | 4825.1824 | 542.7097 | 4969.2943
52 | BRN03jun21_014.gcd | 2021-06-03 17:00 | dd cal 007 | Unknown | 0 | 6.038 | 226228 | 0.467 | ----- | ----- | ----- | ----- | 52 | BRN03jun21_014.gcd | 2021-06-03 17:00 | dd cal 007 | Unknown | 0 | 6.015 | 2193 | 0.703 | ----- | ----- | ----- | ----- | 52 | BRN03jun21_014.gcd | 2021-06-03 17:00 | dd cal 007 | Unknown | 0 | 12.172 | 30488 | 6.074 | ----- | ----- | ----- | ----- | 1 |  | 669.28 | 5628.9593 | 589.5121 | 5810.3336
53 | BRN03jun21_015.gcd | 2021-06-03 17:30 | dd cal 009 | Unknown | 0 | 6.05 | 1246 | -0.002 | ----- | ----- | ----- | ----- | 53 | BRN03jun21_015.gcd | 2021-06-03 17:30 | dd cal 009 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | BRN03jun21_015.gcd | 2021-06-03 17:30 | dd cal 009 | Unknown | 0 | 12.2 | 2365 | 0.482 | ----- | ----- | ----- | ----- | 1 |  | -0.96758 | 472.9499 | -2.0415 | 448.2391