## GC
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm (BD at 0.2) | 2020 CAL Measured headspace CO2 in ppm from GC in ppm
37 | BRN08dec20_001.gcd | 2020-12-08 10:59 | air | Unknown | 0 | 6.135 | 1980 | 0.001 | ----- | ----- | ----- | ----- | 37 | BRN08dec20_001.gcd | 2020-12-08 10:59 | air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 37 | BRN08dec20_001.gcd | 2020-12-08 10:59 | air | Unknown | 0 | 12.304 | 2432 | 0.506 | ----- | ----- | ----- | ----- | 1 |  | 1.0682 | 485.3515
38 | BRN08dec20_002.gcd | 2020-12-08 11:30 | air + 100 | Unknown | 0 | 6.041 | 174519 | 0.258 | ----- | ----- | ----- | ----- | 38 | BRN08dec20_002.gcd | 2020-12-08 11:30 | air + 100 | Unknown | 0 | 5.981 | 1499 | 0.873 | ----- | ----- | ----- | ----- | 38 | BRN08dec20_002.gcd | 2020-12-08 11:30 | air + 100 | Unknown | 0 | 12.259 | 5537 | 0.928 | ----- | ----- | ----- | ----- | 1 |  | 523.7755 | 1059.4654
39 | BRN08dec20_003.gcd | 2020-12-08 12:01 | DD-10-023 | Unknown | 0 | 6.041 | 116424 | 0.171 | ----- | ----- | ----- | ----- | 39 | BRN08dec20_003.gcd | 2020-12-08 12:01 | DD-10-023 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 39 | BRN08dec20_003.gcd | 2020-12-08 12:01 | DD-10-023 | Unknown | 0 | 12.139 | 86626 | 11.998 | ----- | ----- | ----- | ----- | 1 |  | 355.0948 | 15624.2603
40 | BRN08dec20_004.gcd | 2020-12-08 12:31 | DD-10-037 | Unknown | 0 | 6.044 | 149494 | 0.221 | ----- | ----- | ----- | ----- | 40 | BRN08dec20_004.gcd | 2020-12-08 12:31 | DD-10-037 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 40 | BRN08dec20_004.gcd | 2020-12-08 12:31 | DD-10-037 | Unknown | 0 | 12.192 | 27230 | 3.879 | ----- | ----- | ----- | ----- | 1 |  | 451.79 | 5036.7297
41 | BRN08dec20_005.gcd | 2020-12-08 13:02 | DD-10-013 | Unknown | 0 | 6.078 | 4041 | 0.004 | ----- | ----- | ----- | ----- | 41 | BRN08dec20_005.gcd | 2020-12-08 13:02 | DD-10-013 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 41 | BRN08dec20_005.gcd | 2020-12-08 13:02 | DD-10-013 | Unknown | 0 | 12.233 | 7920 | 1.251 | ----- | ----- | ----- | ----- | 1 |  | 6.9069 | 1499.2607
42 | BRN08dec20_006.gcd | 2020-12-08 13:33 | DD-10-033 | Unknown | 0 | 6.105 | 2480 | 0.002 | ----- | ----- | ----- | ----- | 42 | BRN08dec20_006.gcd | 2020-12-08 13:33 | DD-10-033 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 42 | BRN08dec20_006.gcd | 2020-12-08 13:33 | DD-10-033 | Unknown | 0 | 12.267 | 2367 | 0.497 | ----- | ----- | ----- | ----- | 1 |  | 2.4681 | 473.3201
43 | BRN08dec20_007.gcd | 2020-12-08 14:03 | DD-10-010 | Unknown | 0 | 6.052 | 45941 | 0.067 | ----- | ----- | ----- | ----- | 43 | BRN08dec20_007.gcd | 2020-12-08 14:03 | DD-10-010 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 43 | BRN08dec20_007.gcd | 2020-12-08 14:03 | DD-10-010 | Unknown | 0 | 12.153 | 75755 | 10.507 | ----- | ----- | ----- | ----- | 1 |  | 143.0482 | 13719.5813
44 | BRN08dec20_008.gcd | 2020-12-08 14:34 | DD-10-020 | Unknown | 0 | 6.101 | 2561 | 0.002 | ----- | ----- | ----- | ----- | 44 | BRN08dec20_008.gcd | 2020-12-08 14:34 | DD-10-020 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 44 | BRN08dec20_008.gcd | 2020-12-08 14:34 | DD-10-020 | Unknown | 0 | 12.209 | 8800 | 1.371 | ----- | ----- | ----- | ----- | 1 |  | 2.6959 | 1661.4891
45 | BRN08dec20_009.gcd | 2020-12-08 15:04 | DD-10-009 | Unknown | 0 | 6.102 | 2676 | 0.002 | ----- | ----- | ----- | ----- | 45 | BRN08dec20_009.gcd | 2020-12-08 15:04 | DD-10-009 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 45 | BRN08dec20_009.gcd | 2020-12-08 15:04 | DD-10-009 | Unknown | 0 | 12.226 | 3310 | 0.625 | ----- | ----- | ----- | ----- | 1 |  | 3.0198 | 647.8163
46 | BRN08dec20_010.gcd | 2020-12-08 15:35 | DD-10-008 | Unknown | 0 | 6.053 | 145390 | 0.215 | ----- | ----- | ----- | ----- | 46 | BRN08dec20_010.gcd | 2020-12-08 15:35 | DD-10-008 | Unknown | 0 | 5.976 | 1031 | 0.787 | ----- | ----- | ----- | ----- | 46 | BRN08dec20_010.gcd | 2020-12-08 15:35 | DD-10-008 | Unknown | 0 | 12.209 | 27886 | 3.968 | ----- | ----- | ----- | ----- | 1 |  | 439.8871 | 5156.0826
47 | BRN08dec20_011.gcd | 2020-12-08 16:06 | DD-10-018 | Unknown | 0 | 6.057 | 31024 | 0.044 | ----- | ----- | ----- | ----- | 47 | BRN08dec20_011.gcd | 2020-12-08 16:06 | DD-10-018 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 47 | BRN08dec20_011.gcd | 2020-12-08 16:06 | DD-10-018 | Unknown | 0 | 12.222 | 15851 | 2.33 | ----- | ----- | ----- | ----- | 1 |  | 97.131 | 2957.8342
48 | BRN08dec20_012.gcd | 2020-12-08 16:36 | DD-10-028 | Unknown | 0 | 6.042 | 205759 | 0.305 | ----- | ----- | ----- | ----- | 48 | BRN08dec20_012.gcd | 2020-12-08 16:36 | DD-10-028 | Unknown | 0 | 5.993 | 1929 | 0.952 | ----- | ----- | ----- | ----- | 48 | BRN08dec20_012.gcd | 2020-12-08 16:36 | DD-10-028 | Unknown | 0 | 12.198 | 29993 | 4.255 | ----- | ----- | ----- | ----- | 1 |  | 612.204 | 5539.0656
49 | BRN08dec20_013.gcd | 2020-12-08 17:07 | DD-10-012 | Unknown | 0 | 6.053 | 67283 | 0.098 | ----- | ----- | ----- | ----- | 49 | BRN08dec20_013.gcd | 2020-12-08 17:07 | DD-10-012 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | BRN08dec20_013.gcd | 2020-12-08 17:07 | DD-10-012 | Unknown | 0 | 12.133 | 104249 | 14.418 | ----- | ----- | ----- | ----- | 1 |  | 208.1112 | 18680.4194
50 | BRN08dec20_014.gcd | 2020-12-08 17:37 | DD-10-005 | Unknown | 0 | 6.101 | 2383 | 0.002 | ----- | ----- | ----- | ----- | 50 | BRN08dec20_014.gcd | 2020-12-08 17:37 | DD-10-005 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | BRN08dec20_014.gcd | 2020-12-08 17:37 | DD-10-005 | Unknown | 0 | 12.27 | 3539 | 0.656 | ----- | ----- | ----- | ----- | 1 |  | 2.1957 | 690.1744
51 | BRN08dec20_015.gcd | 2020-12-08 18:08 | DD-10-035 | Unknown | 0 | 6.099 | 2356 | 0.002 | ----- | ----- | ----- | ----- | 51 | BRN08dec20_015.gcd | 2020-12-08 18:08 | DD-10-035 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | BRN08dec20_015.gcd | 2020-12-08 18:08 | DD-10-035 | Unknown | 0 | 12.22 | 2924 | 0.573 | ----- | ----- | ----- | ----- | 1 |  | 2.1199 | 576.4029
52 | BRN08dec20_016.gcd | 2020-12-08 18:39 | DD-10-021 | Unknown | 0 | 6.085 | 3093 | 0.003 | ----- | ----- | ----- | ----- | 52 | BRN08dec20_016.gcd | 2020-12-08 18:39 | DD-10-021 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | BRN08dec20_016.gcd | 2020-12-08 18:39 | DD-10-021 | Unknown | 0 | 12.175 | 51984 | 7.255 | ----- | ----- | ----- | ----- | 1 |  | 4.1989 | 9503.038
53 | BRN08dec20_017.gcd | 2020-12-08 19:09 | DD-10-016 | Unknown | 0 | 6.044 | 34082 | 0.049 | ----- | ----- | ----- | ----- | 53 | BRN08dec20_017.gcd | 2020-12-08 19:09 | DD-10-016 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | BRN08dec20_017.gcd | 2020-12-08 19:09 | DD-10-016 | Unknown | 0 | 12.196 | 16146 | 2.37 | ----- | ----- | ----- | ----- | 1 |  | 106.5737 | 3011.9347
54 | BRN08dec20_018.gcd | 2020-12-08 19:40 | DD-10-003 | Unknown | 0 | 6.104 | 2515 | 0.002 | ----- | ----- | ----- | ----- | 54 | BRN08dec20_018.gcd | 2020-12-08 19:40 | DD-10-003 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | BRN08dec20_018.gcd | 2020-12-08 19:40 | DD-10-003 | Unknown | 0 | 12.246 | 3905 | 0.706 | ----- | ----- | ----- | ----- | 1 |  | 2.5665 | 757.8598
55 | BRN08dec20_019.gcd | 2020-12-08 20:11 | DD-10-007 | Unknown | 0 | 6.054 | 136374 | 0.201 | ----- | ----- | ----- | ----- | 55 | BRN08dec20_019.gcd | 2020-12-08 20:11 | DD-10-007 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | BRN08dec20_019.gcd | 2020-12-08 20:11 | DD-10-007 | Unknown | 0 | 12.218 | 19958 | 2.888 | ----- | ----- | ----- | ----- | 1 |  | 413.6414 | 3710.0405
56 | BRN08dec20_020.gcd | 2020-12-08 20:41 | DD-10-019 | Unknown | 0 | 6.086 | 3096 | 0.003 | ----- | ----- | ----- | ----- | 56 | BRN08dec20_020.gcd | 2020-12-08 20:41 | DD-10-019 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | BRN08dec20_020.gcd | 2020-12-08 20:41 | DD-10-019 | Unknown | 0 | 12.181 | 55432 | 7.726 | ----- | ----- | ----- | ----- | 1 |  | 4.2074 | 10119.049
57 | BRN08dec20_021.gcd | 2020-12-08 21:12 | DD-10-039 | Unknown | 0 | 6.054 | 147781 | 0.218 | ----- | ----- | ----- | ----- | 57 | BRN08dec20_021.gcd | 2020-12-08 21:12 | DD-10-039 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | BRN08dec20_021.gcd | 2020-12-08 21:12 | DD-10-039 | Unknown | 0 | 12.207 | 28282 | 4.022 | ----- | ----- | ----- | ----- | 1 |  | 446.8251 | 5228.1049
58 | BRN08dec20_022.gcd | 2020-12-08 21:42 | DD-10-017 | Unknown | 0 | 6.102 | 2569 | 0.002 | ----- | ----- | ----- | ----- | 58 | BRN08dec20_022.gcd | 2020-12-08 21:42 | DD-10-017 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | BRN08dec20_022.gcd | 2020-12-08 21:42 | DD-10-017 | Unknown | 0 | 12.231 | 10946 | 1.663 | ----- | ----- | ----- | ----- | 1 |  | 2.7184 | 2056.6976
59 | BRN08dec20_023.gcd | 2020-12-08 22:13 | DD-10-031 | Unknown | 0 | 6.115 | 2353 | 0.002 | ----- | ----- | ----- | ----- | 59 | BRN08dec20_023.gcd | 2020-12-08 22:13 | DD-10-031 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | BRN08dec20_023.gcd | 2020-12-08 22:13 | DD-10-031 | Unknown | 0 | 12.274 | 2707 | 0.543 | ----- | ----- | ----- | ----- | 1 |  | 2.1115 | 536.2478
60 | BRN08dec20_024.gcd | 2020-12-08 22:44 | DD-10-024 | Unknown | 0 | 6.099 | 2343 | 0.002 | ----- | ----- | ----- | ----- | 60 | BRN08dec20_024.gcd | 2020-12-08 22:44 | DD-10-024 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | BRN08dec20_024.gcd | 2020-12-08 22:44 | DD-10-024 | Unknown | 0 | 12.242 | 2422 | 0.505 | ----- | ----- | ----- | ----- | 1 |  | 2.0835 | 483.5006
61 | BRN08dec20_025.gcd | 2020-12-08 23:14 | DD-10-011 | Unknown | 0 | 6.044 | 48437 | 0.07 | ----- | ----- | ----- | ----- | 61 | BRN08dec20_025.gcd | 2020-12-08 23:14 | DD-10-011 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | BRN08dec20_025.gcd | 2020-12-08 23:14 | DD-10-011 | Unknown | 0 | 12.127 | 87438 | 12.109 | ----- | ----- | ----- | ----- | 1 |  | 150.6959 | 15765.9332
62 | BRN08dec20_026.gcd | 2020-12-08 23:45 | DD-10-038 | Unknown | 0 | 6.057 | 142457 | 0.21 | ----- | ----- | ----- | ----- | 62 | BRN08dec20_026.gcd | 2020-12-08 23:45 | DD-10-038 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | BRN08dec20_026.gcd | 2020-12-08 23:45 | DD-10-038 | Unknown | 0 | 12.21 | 26187 | 3.737 | ----- | ----- | ----- | ----- | 1 |  | 431.3637 | 4846.8547
63 | BRN08dec20_027.gcd | 2020-12-09 00:15 | DD-10-040 | Unknown | 0 | 6.107 | 2180 | 0.001 | ----- | ----- | ----- | ----- | 63 | BRN08dec20_027.gcd | 2020-12-09 00:15 | DD-10-040 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | BRN08dec20_027.gcd | 2020-12-09 00:15 | DD-10-040 | Unknown | 0 | 12.26 | 2758 | 0.55 | ----- | ----- | ----- | ----- | 1 |  | 1.6269 | 545.6857
64 | BRN08dec20_028.gcd | 2020-12-09 00:46 | DD-10-027 | Unknown | 0 | 6.058 | 85099 | 0.125 | ----- | ----- | ----- | ----- | 64 | BRN08dec20_028.gcd | 2020-12-09 00:46 | DD-10-027 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | BRN08dec20_028.gcd | 2020-12-09 00:46 | DD-10-027 | Unknown | 0 | 12.231 | 16253 | 2.384 | ----- | ----- | ----- | ----- | 1 |  | 261.8554 | 3031.5549
65 | BRN08dec20_029.gcd | 2020-12-09 01:17 | DD-10-014 | Unknown | 0 | 6.058 | 74569 | 0.109 | ----- | ----- | ----- | ----- | 65 | BRN08dec20_029.gcd | 2020-12-09 01:17 | DD-10-014 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | BRN08dec20_029.gcd | 2020-12-09 01:17 | DD-10-014 | Unknown | 0 | 12.132 | 117221 | 16.202 | ----- | ----- | ----- | ----- | 1 |  | 230.1529 | 20905.0957
66 | BRN08dec20_030.gcd | 2020-12-09 01:47 | DD-10-032 | Unknown | 0 | 6.111 | 2101 | 0.001 | ----- | ----- | ----- | ----- | 66 | BRN08dec20_030.gcd | 2020-12-09 01:47 | DD-10-032 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | BRN08dec20_030.gcd | 2020-12-09 01:47 | DD-10-032 | Unknown | 0 | 12.261 | 3090 | 0.595 | ----- | ----- | ----- | ----- | 1 |  | 1.406 | 607.1167
67 | BRN08dec20_031.gcd | 2020-12-09 02:18 | DD-10-030 | Unknown | 0 | 6.056 | 192000 | 0.284 | ----- | ----- | ----- | ----- | 67 | BRN08dec20_031.gcd | 2020-12-09 02:18 | DD-10-030 | Unknown | 0 | 6.006 | 2052 | 0.974 | ----- | ----- | ----- | ----- | 67 | BRN08dec20_031.gcd | 2020-12-09 02:18 | DD-10-030 | Unknown | 0 | 12.217 | 22734 | 3.266 | ----- | ----- | ----- | ----- | 1 |  | 573.4538 | 4217.2719
68 | BRN08dec20_032.gcd | 2020-12-09 02:49 | DD-10-001 | Unknown | 0 | 6.139 | 120622 | 0.178 | ----- | ----- | ----- | ----- | 68 | BRN08dec20_032.gcd | 2020-12-09 02:49 | DD-10-001 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | BRN08dec20_032.gcd | 2020-12-09 02:49 | DD-10-001 | Unknown | 0 | 12.284 | 34815 | 4.912 | ----- | ----- | ----- | ----- | 1 |  | 367.4685 | 6413.4485
69 | BRN08dec20_033.gcd | 2020-12-09 03:19 | DD-10-029 | Unknown | 0 | 6.059 | 189441 | 0.28 | ----- | ----- | ----- | ----- | 69 | BRN08dec20_033.gcd | 2020-12-09 03:19 | DD-10-029 | Unknown | 0 | 6.017 | 1631 | 0.897 | ----- | ----- | ----- | ----- | 69 | BRN08dec20_033.gcd | 2020-12-09 03:19 | DD-10-029 | Unknown | 0 | 12.214 | 30656 | 4.345 | ----- | ----- | ----- | ----- | 1 |  | 566.2127 | 5659.4618
70 | BRN08dec20_034.gcd | 2020-12-09 03:50 | DD-10-026 | Unknown | 0 | 6.104 | 2256 | 0.002 | ----- | ----- | ----- | ----- | 70 | BRN08dec20_034.gcd | 2020-12-09 03:50 | DD-10-026 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 70 | BRN08dec20_034.gcd | 2020-12-09 03:50 | DD-10-026 | Unknown | 0 | 12.243 | 3895 | 0.705 | ----- | ----- | ----- | ----- | 1 |  | 1.8396 | 756.0107
71 | BRN08dec20_035.gcd | 2020-12-09 04:20 | DD-10-015 | Unknown | 0 | 6.06 | 45098 | 0.065 | ----- | ----- | ----- | ----- | 71 | BRN08dec20_035.gcd | 2020-12-09 04:20 | DD-10-015 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 71 | BRN08dec20_035.gcd | 2020-12-09 04:20 | DD-10-015 | Unknown | 0 | 12.196 | 74467 | 10.331 | ----- | ----- | ----- | ----- | 1 |  | 140.463 | 13492.9312
72 | BRN08dec20_036.gcd | 2020-12-09 04:51 | DD-10-002 | Unknown | 0 | 6.061 | 107608 | 0.158 | ----- | ----- | ----- | ----- | 72 | BRN08dec20_036.gcd | 2020-12-09 04:51 | DD-10-002 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 72 | BRN08dec20_036.gcd | 2020-12-09 04:51 | DD-10-002 | Unknown | 0 | 12.208 | 38988 | 5.481 | ----- | ----- | ----- | ----- | 1 |  | 329.0158 | 7167.7908
73 | BRN08dec20_037.gcd | 2020-12-09 05:22 | DD-10-025 | Unknown | 0 | 6.059 | 89083 | 0.131 | ----- | ----- | ----- | ----- | 73 | BRN08dec20_037.gcd | 2020-12-09 05:22 | DD-10-025 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 73 | BRN08dec20_037.gcd | 2020-12-09 05:22 | DD-10-025 | Unknown | 0 | 12.229 | 16933 | 2.477 | ----- | ----- | ----- | ----- | 1 |  | 273.8027 | 3156.2104
74 | BRN08dec20_038.gcd | 2020-12-09 05:52 | DD-10-004 | Unknown | 0 | 6.099 | 2056 | 0.001 | ----- | ----- | ----- | ----- | 74 | BRN08dec20_038.gcd | 2020-12-09 05:52 | DD-10-004 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 74 | BRN08dec20_038.gcd | 2020-12-09 05:52 | DD-10-004 | Unknown | 0 | 12.268 | 2924 | 0.573 | ----- | ----- | ----- | ----- | 1 |  | 1.2803 | 576.4029
75 | BRN08dec20_039.gcd | 2020-12-09 06:23 | DD-10-022 | Unknown | 0 | 6.057 | 120233 | 0.177 | ----- | ----- | ----- | ----- | 75 | BRN08dec20_039.gcd | 2020-12-09 06:23 | DD-10-022 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 75 | BRN08dec20_039.gcd | 2020-12-09 06:23 | DD-10-022 | Unknown | 0 | 12.15 | 89744 | 12.425 | ----- | ----- | ----- | ----- | 1 |  | 366.3231 | 16167.8189
76 | BRN08dec20_040.gcd | 2020-12-09 06:54 | DD-10-006 | Unknown | 0 | 6.102 | 2042 | 0.001 | ----- | ----- | ----- | ----- | 76 | BRN08dec20_040.gcd | 2020-12-09 06:54 | DD-10-006 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 76 | BRN08dec20_040.gcd | 2020-12-09 06:54 | DD-10-006 | Unknown | 0 | 12.258 | 3050 | 0.59 | ----- | ----- | ----- | ----- | 1 |  | 1.2412 | 599.7161
77 | BRN08dec20_041.gcd | 2020-12-09 07:24 | DD-10-036 | Unknown | 0 | 6.091 | 2243 | 0.001 | ----- | ----- | ----- | ----- | 77 | BRN08dec20_041.gcd | 2020-12-09 07:24 | DD-10-036 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 77 | BRN08dec20_041.gcd | 2020-12-09 07:24 | DD-10-036 | Unknown | 0 | 12.272 | 2777 | 0.553 | ----- | ----- | ----- | ----- | 1 |  | 1.8032 | 549.2017
78 | BRN08dec20_042.gcd | 2020-12-09 07:55 | DD-10-034 | Unknown | 0 | 6.086 | 2090 | 0.001 | ----- | ----- | ----- | ----- | 78 | BRN08dec20_042.gcd | 2020-12-09 07:55 | DD-10-034 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 78 | BRN08dec20_042.gcd | 2020-12-09 07:55 | DD-10-034 | Unknown | 0 | 12.262 | 2990 | 0.582 | ----- | ----- | ----- | ----- | 1 |  | 1.3753 | 588.6148