## GC
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm (BD at 0.2) | 2020 CAL Measured headspace CO2 in ppm from GC in ppm
37 | BRN09dec20_001.gcd | 2020-12-09 10:36 | air | Unknown | 0 | 6.131 | 1796 | 0.001 | ----- | ----- | ----- | ----- | 37 | BRN09dec20_001.gcd | 2020-12-09 10:36 | n | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 37 | BRN09dec20_001.gcd | 2020-12-09 10:36 | n | Unknown | 0 | 12.33 | 2391 | 0.5 | ----- | ----- | ----- | ----- | 1 |  | 0.55572 | 477.7626
38 | BRN09dec20_002.gcd | 2020-12-09 11:06 | air + 100 | Unknown | 0 | 6.055 | 34253 | 0.049 | ----- | ----- | ----- | ----- | 38 | BRN09dec20_002.gcd | 2020-12-09 11:06 | air + 100 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 38 | BRN09dec20_002.gcd | 2020-12-09 11:06 | air + 100 | Unknown | 0 | 12.252 | 2783 | 0.554 | ----- | ----- | ----- | ----- | 1 |  | 107.1013 | 550.312
39 | BRN09dec20_003.gcd | 2020-12-09 11:37 | dd-10-044 | Unknown | 0 | 6.041 | 542745 | 0.807 | ----- | ----- | ----- | ----- | 39 | BRN09dec20_003.gcd | 2020-12-09 11:37 | dd-10-044 | Unknown | 0 | 5.999 | 4596 | 1.442 | ----- | ----- | ----- | ----- | 39 | BRN09dec20_003.gcd | 2020-12-09 11:37 | dd-10-044 | Unknown | 0 | 12.187 | 37250 | 5.244 | ----- | ----- | ----- | ----- | 1 |  | 1464.8025 | 6853.8827
40 | BRN09dec20_004.gcd | 2020-12-09 12:08 | dd-10-055 | Unknown | 0 | 6.085 | 4061 | 0.004 | ----- | ----- | ----- | ----- | 40 | BRN09dec20_004.gcd | 2020-12-09 12:08 | dd-10-055 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 40 | BRN09dec20_004.gcd | 2020-12-09 12:08 | dd-10-055 | Unknown | 0 | 12.198 | 62794 | 8.733 | ----- | ----- | ----- | ----- | 1 |  | 6.9645 | 11429.3301
41 | BRN09dec20_005.gcd | 2020-12-09 12:38 | dd-10-080 | Unknown | 0 | 6.054 | 84292 | 0.124 | ----- | ----- | ----- | ----- | 41 | BRN09dec20_005.gcd | 2020-12-09 12:38 | dd-10-080 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 41 | BRN09dec20_005.gcd | 2020-12-09 12:38 | dd-10-080 | Unknown | 0 | 12.226 | 11607 | 1.753 | ----- | ----- | ----- | ----- | 1 |  | 259.4322 | 2178.3113
42 | BRN09dec20_006.gcd | 2020-12-09 13:09 | dd-10-065 | Unknown | 0 | 6.088 | 2272 | 0.002 | ----- | ----- | ----- | ----- | 42 | BRN09dec20_006.gcd | 2020-12-09 13:09 | dd-10-065 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 42 | BRN09dec20_006.gcd | 2020-12-09 13:09 | dd-10-065 | Unknown | 0 | 12.244 | 3532 | 0.655 | ----- | ----- | ----- | ----- | 1 |  | 1.8845 | 688.8797
43 | BRN09dec20_007.gcd | 2020-12-09 13:39 | dd-10-041 | Unknown | 0 | 6.065 | 5690 | 0.007 | ----- | ----- | ----- | ----- | 43 | BRN09dec20_007.gcd | 2020-12-09 13:39 | dd-10-041 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 43 | BRN09dec20_007.gcd | 2020-12-09 13:39 | dd-10-041 | Unknown | 0 | 12.245 | 5840 | 0.969 | ----- | ----- | ----- | ----- | 1 |  | 11.7084 | 1115.4252
44 | BRN09dec20_008.gcd | 2020-12-09 14:10 | dd-10-073 | Unknown | 0 | 6.055 | 40312 | 0.058 | ----- | ----- | ----- | ----- | 44 | BRN09dec20_008.gcd | 2020-12-09 14:10 | dd-10-073 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 44 | BRN09dec20_008.gcd | 2020-12-09 14:10 | dd-10-073 | Unknown | 0 | 12.088 | 156236 | 21.587 | ----- | ----- | ----- | ----- | 1 |  | 125.7638 | 27468.7883
45 | BRN09dec20_009.gcd | 2020-12-09 14:41 | dd-10-062 | Unknown | 0 | 6.069 | 4942 | 0.006 | ----- | ----- | ----- | ----- | 45 | BRN09dec20_009.gcd | 2020-12-09 14:41 | dd-10-062 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 45 | BRN09dec20_009.gcd | 2020-12-09 14:41 | dd-10-062 | Unknown | 0 | 12.216 | 8734 | 1.362 | ----- | ----- | ----- | ----- | 1 |  | 9.5161 | 1649.3253
46 | BRN09dec20_010.gcd | 2020-12-09 15:11 | dd-10-075 | Unknown | 0 | 6.055 | 75678 | 0.111 | ----- | ----- | ----- | ----- | 46 | BRN09dec20_010.gcd | 2020-12-09 15:11 | dd-10-075 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 46 | BRN09dec20_010.gcd | 2020-12-09 15:11 | dd-10-075 | Unknown | 0 | 12.224 | 13191 | 1.968 | ----- | ----- | ----- | ----- | 1 |  | 233.5003 | 2469.5193
47 | BRN09dec20_011.gcd | 2020-12-09 15:42 | dd-10-050 | Unknown | 0 | 6.051 | 349857 | 0.519 | ----- | ----- | ----- | ----- | 47 | BRN09dec20_011.gcd | 2020-12-09 15:42 | dd-10-050 | Unknown | 0 | 6.01 | 2974 | 1.144 | ----- | ----- | ----- | ----- | 47 | BRN09dec20_011.gcd | 2020-12-09 15:42 | dd-10-050 | Unknown | 0 | 12.205 | 29060 | 4.128 | ----- | ----- | ----- | ----- | 1 |  | 999.4682 | 5369.5458
48 | BRN09dec20_012.gcd | 2020-12-09 16:13 | dd-10-043 | Unknown | 0 | 6.069 | 5035 | 0.006 | ----- | ----- | ----- | ----- | 48 | BRN09dec20_012.gcd | 2020-12-09 16:13 | dd-10-043 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | BRN09dec20_012.gcd | 2020-12-09 16:13 | dd-10-043 | Unknown | 0 | 12.259 | 6177 | 1.015 | ----- | ----- | ----- | ----- | 1 |  | 9.7874 | 1177.6508
49 | BRN09dec20_013.gcd | 2020-12-09 16:43 | dd-10-067 | Unknown | 0 | 6.053 | 199003 | 0.294 | ----- | ----- | ----- | ----- | 49 | BRN09dec20_013.gcd | 2020-12-09 16:43 | dd-10-067 | Unknown | 0 | 5.993 | 1895 | 0.946 | ----- | ----- | ----- | ----- | 49 | BRN09dec20_013.gcd | 2020-12-09 16:43 | dd-10-067 | Unknown | 0 | 12.221 | 21170 | 3.053 | ----- | ----- | ----- | ----- | 1 |  | 593.2153 | 3931.6164
50 | BRN09dec20_014.gcd | 2020-12-09 17:14 | dd-10-069 | Unknown | 0 | 6.087 | 3317 | 0.003 | ----- | ----- | ----- | ----- | 50 | BRN09dec20_014.gcd | 2020-12-09 17:14 | dd-10-069 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | BRN09dec20_014.gcd | 2020-12-09 17:14 | dd-10-069 | Unknown | 0 | 12.191 | 39411 | 5.539 | ----- | ----- | ----- | ----- | 1 |  | 4.8353 | 7244.1333
51 | BRN09dec20_015.gcd | 2020-12-09 17:44 | dd-10-071 | Unknown | 0 | 6.085 | 3311 | 0.003 | ----- | ----- | ----- | ----- | 51 | BRN09dec20_015.gcd | 2020-12-09 17:44 | dd-10-071 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | BRN09dec20_015.gcd | 2020-12-09 17:44 | dd-10-071 | Unknown | 0 | 12.189 | 38247 | 5.38 | ----- | ----- | ----- | ----- | 1 |  | 4.8182 | 7034.0018
52 | BRN09dec20_016.gcd | 2020-12-09 18:15 | dd-10-057 | Unknown | 0 | 6.086 | 3859 | 0.004 | ----- | ----- | ----- | ----- | 52 | BRN09dec20_016.gcd | 2020-12-09 18:15 | dd-10-057 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | BRN09dec20_016.gcd | 2020-12-09 18:15 | dd-10-057 | Unknown | 0 | 12.143 | 94659 | 13.1 | ----- | ----- | ----- | ----- | 1 |  | 6.384 | 17022.1689
53 | BRN09dec20_017.gcd | 2020-12-09 18:46 | dd-10-059 | Unknown | 0 | 6.099 | 2286 | 0.002 | ----- | ----- | ----- | ----- | 53 | BRN09dec20_017.gcd | 2020-12-09 18:46 | dd-10-059 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | BRN09dec20_017.gcd | 2020-12-09 18:46 | dd-10-059 | Unknown | 0 | 12.24 | 3625 | 0.668 | ----- | ----- | ----- | ----- | 1 |  | 1.9237 | 706.0802
54 | BRN09dec20_018.gcd | 2020-12-09 19:16 | dd-10-046 | Unknown | 0 | 6.049 | 542265 | 0.806 | ----- | ----- | ----- | ----- | 54 | BRN09dec20_018.gcd | 2020-12-09 19:16 | dd-10-046 | Unknown | 0 | 6.005 | 4090 | 1.349 | ----- | ----- | ----- | ----- | 54 | BRN09dec20_018.gcd | 2020-12-09 19:16 | dd-10-046 | Unknown | 0 | 12.201 | 39585 | 5.563 | ----- | ----- | ----- | ----- | 1 |  | 1463.7199 | 7275.5302
55 | BRN09dec20_019.gcd | 2020-12-09 19:47 | dd-10-063 | Unknown | 0 | 6.089 | 2467 | 0.002 | ----- | ----- | ----- | ----- | 55 | BRN09dec20_019.gcd | 2020-12-09 19:47 | dd-10-063 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | BRN09dec20_019.gcd | 2020-12-09 19:47 | dd-10-063 | Unknown | 0 | 12.247 | 2718 | 0.545 | ----- | ----- | ----- | ----- | 1 |  | 2.4316 | 538.2835
56 | BRN09dec20_020.gcd | 2020-12-09 20:17 | dd-10-051 | Unknown | 0 | 6.05 | 330532 | 0.49 | ----- | ----- | ----- | ----- | 56 | BRN09dec20_020.gcd | 2020-12-09 20:17 | dd-10-051 | Unknown | 0 | 6.007 | 2900 | 1.13 | ----- | ----- | ----- | ----- | 56 | BRN09dec20_020.gcd | 2020-12-09 20:17 | dd-10-051 | Unknown | 0 | 12.207 | 26913 | 3.835 | ----- | ----- | ----- | ----- | 1 |  | 949.5002 | 4979.0353
57 | BRN09dec20_021.gcd | 2020-12-09 20:48 | dd-10-076 | Unknown | 0 | 6.04 | 73071 | 0.107 | ----- | ----- | ----- | ----- | 57 | BRN09dec20_021.gcd | 2020-12-09 20:48 | dd-10-076 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | BRN09dec20_021.gcd | 2020-12-09 20:48 | dd-10-076 | Unknown | 0 | 12.206 | 14654 | 2.167 | ----- | ----- | ----- | ----- | 1 |  | 225.6282 | 2738.2024
58 | BRN09dec20_022.gcd | 2020-12-09 21:19 | dd-10-064 | Unknown | 0 | 6.106 | 2523 | 0.002 | ----- | ----- | ----- | ----- | 58 | BRN09dec20_022.gcd | 2020-12-09 21:19 | dd-10-064 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | BRN09dec20_022.gcd | 2020-12-09 21:19 | dd-10-064 | Unknown | 0 | 12.212 | 3452 | 0.644 | ----- | ----- | ----- | ----- | 1 |  | 2.589 | 674.0828
59 | BRN09dec20_023.gcd | 2020-12-09 21:49 | dd-10-070 | Unknown | 0 | 6.079 | 2717 | 0.002 | ----- | ----- | ----- | ----- | 59 | BRN09dec20_023.gcd | 2020-12-09 21:49 | dd-10-070 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | BRN09dec20_023.gcd | 2020-12-09 21:49 | dd-10-070 | Unknown | 0 | 12.217 | 42354 | 5.94 | ----- | ----- | ----- | ----- | 1 |  | 3.1354 | 7774.6609
60 | BRN09dec20_024.gcd | 2020-12-09 22:20 | dd-10-078 | Unknown | 0 | 6.054 | 84271 | 0.124 | ----- | ----- | ----- | ----- | 60 | BRN09dec20_024.gcd | 2020-12-09 22:20 | dd-10-078 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | BRN09dec20_024.gcd | 2020-12-09 22:20 | dd-10-078 | Unknown | 0 | 12.225 | 9599 | 1.48 | ----- | ----- | ----- | ----- | 1 |  | 259.3691 | 1808.7009
61 | BRN09dec20_025.gcd | 2020-12-09 22:50 | dd-10-048 | Unknown | 0 | 6.089 | 2978 | 0.003 | ----- | ----- | ----- | ----- | 61 | BRN09dec20_025.gcd | 2020-12-09 22:50 | dd-10-048 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | BRN09dec20_025.gcd | 2020-12-09 22:50 | dd-10-048 | Unknown | 0 | 12.195 | 35360 | 4.987 | ----- | ----- | ----- | ----- | 1 |  | 3.8729 | 6512.0908
62 | BRN09dec20_026.gcd | 2020-12-09 23:21 | dd-10-053 | Unknown | 0 | 6.079 | 4042 | 0.004 | ----- | ----- | ----- | ----- | 62 | BRN09dec20_026.gcd | 2020-12-09 23:21 | dd-10-053 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | BRN09dec20_026.gcd | 2020-12-09 23:21 | dd-10-053 | Unknown | 0 | 12.172 | 55480 | 7.733 | ----- | ----- | ----- | ----- | 1 |  | 6.9098 | 10127.614
63 | BRN09dec20_027.gcd | 2020-12-09 23:52 | dd-10-052 | Unknown | 0 | 6.05 | 359418 | 0.533 | ----- | ----- | ----- | ----- | 63 | BRN09dec20_027.gcd | 2020-12-09 23:52 | dd-10-052 | Unknown | 0 | 6.005 | 3036 | 1.155 | ----- | ----- | ----- | ----- | 63 | BRN09dec20_027.gcd | 2020-12-09 23:52 | dd-10-052 | Unknown | 0 | 12.19 | 36665 | 5.164 | ----- | ----- | ----- | ----- | 1 |  | 1023.9644 | 6748.1379
64 | BRN09dec20_028.gcd | 2020-12-10 00:22 | dd-10-068 | Unknown | 0 | 6.036 | 197970 | 0.293 | ----- | ----- | ----- | ----- | 64 | BRN09dec20_028.gcd | 2020-12-10 00:22 | dd-10-068 | Unknown | 0 | 5.99 | 2299 | 1.02 | ----- | ----- | ----- | ----- | 64 | BRN09dec20_028.gcd | 2020-12-10 00:22 | dd-10-068 | Unknown | 0 | 12.189 | 18464 | 2.685 | ----- | ----- | ----- | ----- | 1 |  | 590.3054 | 3436.6561
65 | BRN09dec20_029.gcd | 2020-12-10 00:53 | dd-10-047 | Unknown | 0 | 6.077 | 3418 | 0.003 | ----- | ----- | ----- | ----- | 65 | BRN09dec20_029.gcd | 2020-12-10 00:53 | dd-10-047 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | BRN09dec20_029.gcd | 2020-12-10 00:53 | dd-10-047 | Unknown | 0 | 12.192 | 33894 | 4.787 | ----- | ----- | ----- | ----- | 1 |  | 5.1229 | 6246.6672
66 | BRN09dec20_030.gcd | 2020-12-10 01:23 | dd-10-060 | Unknown | 0 | 6.066 | 4577 | 0.005 | ----- | ----- | ----- | ----- | 66 | BRN09dec20_030.gcd | 2020-12-10 01:23 | dd-10-060 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | BRN09dec20_030.gcd | 2020-12-10 01:23 | dd-10-060 | Unknown | 0 | 12.224 | 7479 | 1.192 | ----- | ----- | ----- | ----- | 1 |  | 8.4549 | 1417.9255
67 | BRN09dec20_031.gcd | 2020-12-10 01:54 | dd-10-049 | Unknown | 0 | 6.063 | 3660 | 0.004 | ----- | ----- | ----- | ----- | 67 | BRN09dec20_031.gcd | 2020-12-10 01:54 | dd-10-049 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | BRN09dec20_031.gcd | 2020-12-10 01:54 | dd-10-049 | Unknown | 0 | 12.197 | 37312 | 5.253 | ----- | ----- | ----- | ----- | 1 |  | 5.814 | 6865.0873
68 | BRN09dec20_032.gcd | 2020-12-10 02:25 | dd-10-079 | Unknown | 0 | 6.052 | 78762 | 0.115 | ----- | ----- | ----- | ----- | 68 | BRN09dec20_032.gcd | 2020-12-10 02:25 | dd-10-079 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | BRN09dec20_032.gcd | 2020-12-10 02:25 | dd-10-079 | Unknown | 0 | 12.208 | 18436 | 2.681 | ----- | ----- | ----- | ----- | 1 |  | 242.7984 | 3431.5297
69 | BRN09dec20_033.gcd | 2020-12-10 02:55 | dd-10-061 | Unknown | 0 | 6.069 | 4436 | 0.005 | ----- | ----- | ----- | ----- | 69 | BRN09dec20_033.gcd | 2020-12-10 02:55 | dd-10-061 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 69 | BRN09dec20_033.gcd | 2020-12-10 02:55 | dd-10-061 | Unknown | 0 | 12.21 | 15591 | 2.294 | ----- | ----- | ----- | ----- | 1 |  | 8.0465 | 2910.1433
70 | BRN09dec20_034.gcd | 2020-12-10 03:26 | dd-10-042 | Unknown | 0 | 6.072 | 4702 | 0.005 | ----- | ----- | ----- | ----- | 70 | BRN09dec20_034.gcd | 2020-12-10 03:26 | dd-10-042 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 70 | BRN09dec20_034.gcd | 2020-12-10 03:26 | dd-10-042 | Unknown | 0 | 12.234 | 7276 | 1.164 | ----- | ----- | ----- | ----- | 1 |  | 8.8177 | 1380.4773
71 | BRN09dec20_035.gcd | 2020-12-10 03:57 | dd-10-077 | Unknown | 0 | 6.037 | 77458 | 0.113 | ----- | ----- | ----- | ----- | 71 | BRN09dec20_035.gcd | 2020-12-10 03:57 | dd-10-077 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 71 | BRN09dec20_035.gcd | 2020-12-10 03:57 | dd-10-077 | Unknown | 0 | 12.198 | 16260 | 2.385 | ----- | ----- | ----- | ----- | 1 |  | 238.8688 | 3032.8384
72 | BRN09dec20_036.gcd | 2020-12-10 04:27 | dd-10-045 | Unknown | 0 | 6.051 | 488413 | 0.726 | ----- | ----- | ----- | ----- | 72 | BRN09dec20_036.gcd | 2020-12-10 04:27 | dd-10-045 | Unknown | 0 | 6.005 | 4770 | 1.474 | ----- | ----- | ----- | ----- | 72 | BRN09dec20_036.gcd | 2020-12-10 04:27 | dd-10-045 | Unknown | 0 | 12.18 | 48013 | 6.713 | ----- | ----- | ----- | ----- | 1 |  | 1339.8732 | 8791.7398
73 | BRN09dec20_037.gcd | 2020-12-10 04:58 | dd-10-056 | Unknown | 0 | 6.08 | 3720 | 0.004 | ----- | ----- | ----- | ----- | 73 | BRN09dec20_037.gcd | 2020-12-10 04:58 | dd-10-056 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 73 | BRN09dec20_037.gcd | 2020-12-10 04:58 | dd-10-056 | Unknown | 0 | 12.136 | 89349 | 12.371 | ----- | ----- | ----- | ----- | 1 |  | 5.9857 | 16099.0264
74 | BRN09dec20_038.gcd | 2020-12-10 05:28 | dd-10-072 | Unknown | 0 | 6.037 | 38913 | 0.056 | ----- | ----- | ----- | ----- | 74 | BRN09dec20_038.gcd | 2020-12-10 05:28 | dd-10-072 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 74 | BRN09dec20_038.gcd | 2020-12-10 05:28 | dd-10-072 | Unknown | 0 | 12.057 | 154530 | 21.351 | ----- | ----- | ----- | ----- | 1 |  | 121.46 | 27185.7745
75 | BRN09dec20_039.gcd | 2020-12-10 05:59 | dd-10-058 | Unknown | 0 | 6.054 | 3945 | 0.004 | ----- | ----- | ----- | ----- | 75 | BRN09dec20_039.gcd | 2020-12-10 05:59 | dd-10-058 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 75 | BRN09dec20_039.gcd | 2020-12-10 05:59 | dd-10-058 | Unknown | 0 | 12.108 | 91166 | 12.621 | ----- | ----- | ----- | ----- | 1 |  | 6.6309 | 16415.3099
76 | BRN09dec20_040.gcd | 2020-12-10 06:30 | dd-10-074 | Unknown | 0 | 6.037 | 41502 | 0.06 | ----- | ----- | ----- | ----- | 76 | BRN09dec20_040.gcd | 2020-12-10 06:30 | dd-10-074 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 76 | BRN09dec20_040.gcd | 2020-12-10 06:30 | dd-10-074 | Unknown | 0 | 12.048 | 162526 | 22.458 | ----- | ----- | ----- | ----- | 1 |  | 129.4221 | 28509.0996
77 | BRN09dec20_041.gcd | 2020-12-10 07:00 | dd-10-054 | Unknown | 0 | 6.074 | 3450 | 0.003 | ----- | ----- | ----- | ----- | 77 | BRN09dec20_041.gcd | 2020-12-10 07:00 | dd-10-054 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 77 | BRN09dec20_041.gcd | 2020-12-10 07:00 | dd-10-054 | Unknown | 0 | 12.168 | 67400 | 9.363 | ----- | ----- | ----- | ----- | 1 |  | 5.2142 | 12245.641
78 | BRN09dec20_042.gcd | 2020-12-10 07:31 | dd-10-066 | Unknown | 0 | 6.034 | 211221 | 0.313 | ----- | ----- | ----- | ----- | 78 | BRN09dec20_042.gcd | 2020-12-10 07:31 | dd-10-066 | Unknown | 0 | 5.987 | 1718 | 0.913 | ----- | ----- | ----- | ----- | 78 | BRN09dec20_042.gcd | 2020-12-10 07:31 | dd-10-066 | Unknown | 0 | 12.187 | 19985 | 2.892 | ----- | ----- | ----- | ----- | 1 |  | 627.5012 | 3714.9786