## one
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm (BD at 0.2) | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm
37 | BRN11mar21_001.gcd | 2021-03-11 10:51 | air | Unknown | 0 | 6.119 | 2552 | 0.002 | ----- | ----- | ----- | ----- | 37 | BRN11mar21_001.gcd | 2021-03-11 10:51 | air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 37 | BRN11mar21_001.gcd | 2021-03-11 10:51 | air | Unknown | 0 | 12.286 | 2796 | 0.555 | ----- | ----- | ----- | ----- | 1 |  | 2.6706 | 552.7177 | 2.6639 | 530.6101
38 | BRN11mar21_002.gcd | 2021-03-11 11:21 | air + 100 | Unknown | 0 | 6.04 | 601721 | 0.895 | ----- | ----- | ----- | ----- | 38 | BRN11mar21_002.gcd | 2021-03-11 11:21 | air + 100 | Unknown | 0 | 5.992 | 5356 | 1.581 | ----- | ----- | ----- | ----- | 38 | BRN11mar21_002.gcd | 2021-03-11 11:21 | air + 100 | Unknown | 0 | 12.249 | 8348 | 1.31 | ----- | ----- | ----- | ----- | 1 |  | 1594.9558 | 1578.1748 | 1541.3497 | 1591.1465
39 | BRN11mar21_003.gcd | 2021-03-11 11:52 | dd-2102-028 | Unknown | 0 | 6.05 | 13946 | 0.019 | ----- | ----- | ----- | ----- | 39 | BRN11mar21_003.gcd | 2021-03-11 11:52 | dd-2102-028 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 39 | BRN11mar21_003.gcd | 2021-03-11 11:52 | dd-2102-028 | Unknown | 0 | 12.151 | 62750 | 8.727 | ----- | ----- | ----- | ----- | 1 |  | 37.4859 | 11421.5192 | 36.3131 | 11929.9172
40 | BRN11mar21_004.gcd | 2021-03-11 12:22 | dd-2102-032 | Unknown | 0 | 6.049 | 166284 | 0.246 | ----- | ----- | ----- | ----- | 40 | BRN11mar21_004.gcd | 2021-03-11 12:22 | dd-2102-032 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 40 | BRN11mar21_004.gcd | 2021-03-11 12:22 | dd-2102-032 | Unknown | 0 | 12.087 | 139903 | 19.33 | ----- | ----- | ----- | ----- | 1 |  | 500.2 | 24744.2584 | 434.4043 | 26427.3411
41 | BRN11mar21_005.gcd | 2021-03-11 12:53 | dd-2102-017 | Unknown | 0 | 6.084 | 2674 | 0.002 | ----- | ----- | ----- | ----- | 41 | BRN11mar21_005.gcd | 2021-03-11 12:53 | dd-2102-017 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 41 | BRN11mar21_005.gcd | 2021-03-11 12:53 | dd-2102-017 | Unknown | 0 | 12.178 | 49259 | 6.883 | ----- | ----- | ----- | ----- | 1 |  | 3.0141 | 9015.1404 | 3.0933 | 9375.0087
42 | BRN11mar21_006.gcd | 2021-03-11 13:24 | dd-2102-020 | Unknown | 0 | 6.07 | 5230 | 0.006 | ----- | ----- | ----- | ----- | 42 | BRN11mar21_006.gcd | 2021-03-11 13:24 | dd-2102-020 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 42 | BRN11mar21_006.gcd | 2021-03-11 13:24 | dd-2102-020 | Unknown | 0 | 12.199 | 5321 | 0.898 | ----- | ----- | ----- | ----- | 1 |  | 10.3574 | 1019.5662 | 11.6942 | 1013.0568
43 | BRN11mar21_007.gcd | 2021-03-11 13:54 | dd-2102-002 | Unknown | 0 | 6.056 | 10077 | 0.013 | ----- | ----- | ----- | ----- | 43 | BRN11mar21_007.gcd | 2021-03-11 13:54 | dd-2102-002 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 43 | BRN11mar21_007.gcd | 2021-03-11 13:54 | dd-2102-002 | Unknown | 0 | 12.208 | 11907 | 1.793 | ----- | ----- | ----- | ----- | 1 |  | 25.0451 | 2233.4885 | 26.1295 | 2270.4551
44 | BRN11mar21_008.gcd | 2021-03-11 14:25 | dd-2102-027 | Unknown | 0 | 6.086 | 3961 | 0.004 | ----- | ----- | ----- | ----- | 44 | BRN11mar21_008.gcd | 2021-03-11 14:25 | dd-2102-027 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 44 | BRN11mar21_008.gcd | 2021-03-11 14:25 | dd-2102-027 | Unknown | 0 | 12.228 | 3184 | 0.608 | ----- | ----- | ----- | ----- | 1 |  | 6.6769 | 624.5072 | 7.5187 | 604.758
45 | BRN11mar21_009.gcd | 2021-03-11 14:56 | dd-2102-010 | Unknown | 0 | 6.095 | 3795 | 0.004 | ----- | ----- | ----- | ----- | 45 | BRN11mar21_009.gcd | 2021-03-11 14:56 | dd-2102-010 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 45 | BRN11mar21_009.gcd | 2021-03-11 14:56 | dd-2102-010 | Unknown | 0 | 12.223 | 4158 | 0.74 | ----- | ----- | ----- | ----- | 1 |  | 6.2005 | 804.638 | 6.9587 | 790.8705
46 | BRN11mar21_010.gcd | 2021-03-11 15:26 | dd-2102-039 | Unknown | 0 | 6.046 | 49739 | 0.072 | ----- | ----- | ----- | ----- | 46 | BRN11mar21_010.gcd | 2021-03-11 15:26 | dd-2102-039 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 46 | BRN11mar21_010.gcd | 2021-03-11 15:26 | dd-2102-039 | Unknown | 0 | 12.202 | 17469 | 2.55 | ----- | ----- | ----- | ----- | 1 |  | 154.6811 | 3254.4273 | 130.3521 | 3331.2528
47 | BRN11mar21_011.gcd | 2021-03-11 15:57 | dd-2102-009 | Unknown | 0 | 6.046 | 59492 | 0.087 | ----- | ----- | ----- | ----- | 47 | BRN11mar21_011.gcd | 2021-03-11 15:57 | dd-2102-009 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 47 | BRN11mar21_011.gcd | 2021-03-11 15:57 | dd-2102-009 | Unknown | 0 | 12.18 | 40965 | 5.751 | ----- | ----- | ----- | ----- | 1 |  | 184.4458 | 7524.4047 | 155.9224 | 7801.3636
48 | BRN11mar21_012.gcd | 2021-03-11 16:27 | dd-2102-025 | Unknown | 0 | 6.098 | 3879 | 0.004 | ----- | ----- | ----- | ----- | 48 | BRN11mar21_012.gcd | 2021-03-11 16:27 | dd-2102-025 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | BRN11mar21_012.gcd | 2021-03-11 16:27 | dd-2102-025 | Unknown | 0 | 12.217 | 3693 | 0.677 | ----- | ----- | ----- | ----- | 1 |  | 6.4414 | 718.6561 | 7.2425 | 702.0218
49 | BRN11mar21_013.gcd | 2021-03-11 16:58 | dd-2102-006 | Unknown | 0 | 6.045 | 307305 | 0.456 | ----- | ----- | ----- | ----- | 49 | BRN11mar21_013.gcd | 2021-03-11 16:58 | dd-2102-006 | Unknown | 0 | 6.003 | 2692 | 1.092 | ----- | ----- | ----- | ----- | 49 | BRN11mar21_013.gcd | 2021-03-11 16:58 | dd-2102-006 | Unknown | 0 | 12.158 | 60615 | 8.435 | ----- | ----- | ----- | ----- | 1 |  | 888.6362 | 11042.2228 | 797.9202 | 11525.9879
50 | BRN11mar21_014.gcd | 2021-03-11 17:29 | dd-2102-021 | Unknown | 0 | 6.074 | 5415 | 0.006 | ----- | ----- | ----- | ----- | 50 | BRN11mar21_014.gcd | 2021-03-11 17:29 | dd-2102-021 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | BRN11mar21_014.gcd | 2021-03-11 17:29 | dd-2102-021 | Unknown | 0 | 12.234 | 5620 | 0.939 | ----- | ----- | ----- | ----- | 1 |  | 10.8997 | 1074.7954 | 12.2873 | 1070.1724
51 | BRN11mar21_015.gcd | 2021-03-11 17:59 | dd-2102-001 | Unknown | 0 | 6.057 | 10701 | 0.014 | ----- | ----- | ----- | ----- | 51 | BRN11mar21_015.gcd | 2021-03-11 17:59 | dd-2102-001 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | BRN11mar21_015.gcd | 2021-03-11 17:59 | dd-2102-001 | Unknown | 0 | 12.217 | 12324 | 1.85 | ----- | ----- | ----- | ----- | 1 |  | 27.0086 | 2310.166 | 27.7722 | 2350.0212
52 | BRN11mar21_016.gcd | 2021-03-11 18:30 | dd-2102-037 | Unknown | 0 | 6.045 | 52709 | 0.077 | ----- | ----- | ----- | ----- | 52 | BRN11mar21_016.gcd | 2021-03-11 18:30 | dd-2102-037 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | BRN11mar21_016.gcd | 2021-03-11 18:30 | dd-2102-037 | Unknown | 0 | 12.2 | 17707 | 2.582 | ----- | ----- | ----- | ----- | 1 |  | 163.7616 | 3298.027 | 138.1412 | 3376.6223
53 | BRN11mar21_017.gcd | 2021-03-11 19:01 | dd-2102-004 | Unknown | 0 | 6.028 | 311448 | 0.462 | ----- | ----- | ----- | ----- | 53 | BRN11mar21_017.gcd | 2021-03-11 19:01 | dd-2102-004 | Unknown | 0 | 5.974 | 2430 | 1.044 | ----- | ----- | ----- | ----- | 53 | BRN11mar21_017.gcd | 2021-03-11 19:01 | dd-2102-004 | Unknown | 0 | 12.145 | 60151 | 8.372 | ----- | ----- | ----- | ----- | 1 |  | 899.5571 | 10959.7146 | 808.5271 | 11438.1822
54 | BRN11mar21_018.gcd | 2021-03-11 19:31 | dd-2102-040 | Unknown | 0 | 6.047 | 49598 | 0.072 | ----- | ----- | ----- | ----- | 54 | BRN11mar21_018.gcd | 2021-03-11 19:31 | dd-2102-040 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | BRN11mar21_018.gcd | 2021-03-11 19:31 | dd-2102-040 | Unknown | 0 | 12.208 | 16096 | 2.363 | ----- | ----- | ----- | ----- | 1 |  | 154.2497 | 3002.7659 | 129.9822 | 3069.4845
55 | BRN11mar21_019.gcd | 2021-03-11 20:02 | dd-2102-018 | Unknown | 0 | 6.118 | 2638 | 0.002 | ----- | ----- | ----- | ----- | 55 | BRN11mar21_019.gcd | 2021-03-11 20:02 | dd-2102-018 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | BRN11mar21_019.gcd | 2021-03-11 20:02 | dd-2102-018 | Unknown | 0 | 12.178 | 43141 | 6.048 | ----- | ----- | ----- | ----- | 1 |  | 2.9127 | 7916.3473 | 2.9668 | 8214.439
56 | BRN11mar21_020.gcd | 2021-03-11 20:32 | dd-2102-026 | Unknown | 0 | 6.07 | 4203 | 0.004 | ----- | ----- | ----- | ----- | 56 | BRN11mar21_020.gcd | 2021-03-11 20:32 | dd-2102-026 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | BRN11mar21_020.gcd | 2021-03-11 20:32 | dd-2102-026 | Unknown | 0 | 12.189 | 3647 | 0.671 | ----- | ----- | ----- | ----- | 1 |  | 7.3735 | 710.1489 | 8.3294 | 693.2321
57 | BRN11mar21_021.gcd | 2021-03-11 21:03 | dd-2102-007 | Unknown | 0 | 6.047 | 61102 | 0.089 | ----- | ----- | ----- | ----- | 57 | BRN11mar21_021.gcd | 2021-03-11 21:03 | dd-2102-007 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | BRN11mar21_021.gcd | 2021-03-11 21:03 | dd-2102-007 | Unknown | 0 | 12.179 | 41136 | 5.774 | ----- | ----- | ----- | ----- | 1 |  | 189.3443 | 7555.2269 | 160.1413 | 7833.8305
58 | BRN11mar21_022.gcd | 2021-03-11 21:34 | dd-2102-022 | Unknown | 0 | 6.044 | 54118 | 0.079 | ----- | ----- | ----- | ----- | 58 | BRN11mar21_022.gcd | 2021-03-11 21:34 | dd-2102-022 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | BRN11mar21_022.gcd | 2021-03-11 21:34 | dd-2102-022 | Unknown | 0 | 12.197 | 22010 | 3.168 | ----- | ----- | ----- | ----- | 1 |  | 168.0644 | 4085.0757 | 141.8357 | 4196.577
59 | BRN11mar21_023.gcd | 2021-03-11 22:04 | dd-2102-013 | Unknown | 0 | 6.027 | 50741 | 0.074 | ----- | ----- | ----- | ----- | 59 | BRN11mar21_023.gcd | 2021-03-11 22:04 | dd-2102-013 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | BRN11mar21_023.gcd | 2021-03-11 22:04 | dd-2102-013 | Unknown | 0 | 12.167 | 14338 | 2.124 | ----- | ----- | ----- | ----- | 1 |  | 157.7463 | 2680.1911 | 132.9802 | 2734.2249
60 | BRN11mar21_024.gcd | 2021-03-11 22:35 | dd-2102-035 | Unknown | 0 | 6.068 | 4141 | 0.004 | ----- | ----- | ----- | ----- | 60 | BRN11mar21_024.gcd | 2021-03-11 22:35 | dd-2102-035 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | BRN11mar21_024.gcd | 2021-03-11 22:35 | dd-2102-035 | Unknown | 0 | 12.165 | 26519 | 3.782 | ----- | ----- | ----- | ----- | 1 |  | 7.1948 | 4907.3091 | 8.1223 | 5055.1398
61 | BRN11mar21_025.gcd | 2021-03-11 23:06 | dd-2102-012 | Unknown | 0 | 6.083 | 3493 | 0.003 | ----- | ----- | ----- | ----- | 61 | BRN11mar21_025.gcd | 2021-03-11 23:06 | dd-2102-012 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | BRN11mar21_025.gcd | 2021-03-11 23:06 | dd-2102-012 | Unknown | 0 | 12.212 | 4620 | 0.803 | ----- | ----- | ----- | ----- | 1 |  | 5.3368 | 890.0382 | 5.9317 | 879.1389
62 | BRN11mar21_026.gcd | 2021-03-11 23:36 | dd-2102-029 | Unknown | 0 | 6.032 | 14343 | 0.02 | ----- | ----- | ----- | ----- | 62 | BRN11mar21_026.gcd | 2021-03-11 23:36 | dd-2102-029 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | BRN11mar21_026.gcd | 2021-03-11 23:36 | dd-2102-029 | Unknown | 0 | 12.121 | 64574 | 8.976 | ----- | ----- | ----- | ----- | 1 |  | 38.7984 | 11745.1112 | 37.3578 | 12274.8898
63 | BRN11mar21_027.gcd | 2021-03-12 00:07 | dd-2102-015 | Unknown | 0 | 6.044 | 48547 | 0.07 | ----- | ----- | ----- | ----- | 63 | BRN11mar21_027.gcd | 2021-03-12 00:07 | dd-2102-015 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | BRN11mar21_027.gcd | 2021-03-12 00:07 | dd-2102-015 | Unknown | 0 | 12.195 | 13459 | 2.004 | ----- | ----- | ----- | ----- | 1 |  | 151.0327 | 2518.7581 | 127.2253 | 2566.5574
64 | BRN11mar21_028.gcd | 2021-03-12 00:38 | dd-2102-023 | Unknown | 0 | 6.025 | 52270 | 0.076 | ----- | ----- | ----- | ----- | 64 | BRN11mar21_028.gcd | 2021-03-12 00:38 | dd-2102-023 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | BRN11mar21_028.gcd | 2021-03-12 00:38 | dd-2102-023 | Unknown | 0 | 12.165 | 22574 | 3.245 | ----- | ----- | ----- | ----- | 1 |  | 162.4203 | 4188.0629 | 136.99 | 4304.0049
65 | BRN11mar21_029.gcd | 2021-03-12 01:08 | dd-2102-011 | Unknown | 0 | 6.096 | 4238 | 0.004 | ----- | ----- | ----- | ----- | 65 | BRN11mar21_029.gcd | 2021-03-12 01:08 | dd-2102-011 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | BRN11mar21_029.gcd | 2021-03-12 01:08 | dd-2102-011 | Unknown | 0 | 12.204 | 4574 | 0.797 | ----- | ----- | ----- | ----- | 1 |  | 7.4745 | 881.5364 | 8.4461 | 870.3506
66 | BRN11mar21_030.gcd | 2021-03-12 01:39 | dd-2102-033 | Unknown | 0 | 6.024 | 153841 | 0.227 | ----- | ----- | ----- | ----- | 66 | BRN11mar21_030.gcd | 2021-03-12 01:39 | dd-2102-033 | Unknown | 0 | 5.973 | 2438 | 1.045 | ----- | ----- | ----- | ----- | 66 | BRN11mar21_030.gcd | 2021-03-12 01:39 | dd-2102-033 | Unknown | 0 | 12.062 | 132568 | 18.317 | ----- | ----- | ----- | ----- | 1 |  | 464.3677 | 23509.8 | 402.0986 | 25057.3859
67 | BRN11mar21_031.gcd | 2021-03-12 02:09 | dd-2102-038 | Unknown | 0 | 6.041 | 52383 | 0.076 | ----- | ----- | ----- | ----- | 67 | BRN11mar21_031.gcd | 2021-03-12 02:09 | dd-2102-038 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | BRN11mar21_031.gcd | 2021-03-12 02:09 | dd-2102-038 | Unknown | 0 | 12.189 | 18325 | 2.666 | ----- | ----- | ----- | ----- | 1 |  | 162.7656 | 3411.2065 | 137.2864 | 3494.4218
68 | BRN11mar21_032.gcd | 2021-03-12 02:40 | dd-2102-030 | Unknown | 0 | 6.048 | 14058 | 0.019 | ----- | ----- | ----- | ----- | 68 | BRN11mar21_032.gcd | 2021-03-12 02:40 | dd-2102-030 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | BRN11mar21_032.gcd | 2021-03-12 02:40 | dd-2102-030 | Unknown | 0 | 12.148 | 61323 | 8.532 | ----- | ----- | ----- | ----- | 1 |  | 37.8555 | 11168.067 | 36.6078 | 11659.9537
69 | BRN11mar21_033.gcd | 2021-03-12 03:11 | dd-2102-003 | Unknown | 0 | 6.075 | 10183 | 0.013 | ----- | ----- | ----- | ----- | 69 | BRN11mar21_033.gcd | 2021-03-12 03:11 | dd-2102-003 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 69 | BRN11mar21_033.gcd | 2021-03-12 03:11 | dd-2102-003 | Unknown | 0 | 12.243 | 12853 | 1.922 | ----- | ----- | ----- | ----- | 1 |  | 25.3775 | 2407.4066 | 26.4086 | 2450.9495
70 | BRN11mar21_034.gcd | 2021-03-12 03:41 | dd-2102-034 | Unknown | 0 | 6.084 | 4109 | 0.004 | ----- | ----- | ----- | ----- | 70 | BRN11mar21_034.gcd | 2021-03-12 03:41 | dd-2102-034 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 70 | BRN11mar21_034.gcd | 2021-03-12 03:41 | dd-2102-034 | Unknown | 0 | 12.181 | 27965 | 3.979 | ----- | ----- | ----- | ----- | 1 |  | 7.1026 | 5170.4523 | 8.0153 | 5330.334
71 | BRN11mar21_035.gcd | 2021-03-12 04:12 | dd-2102-005 | Unknown | 0 | 6.04 | 312841 | 0.464 | ----- | ----- | ----- | ----- | 71 | BRN11mar21_035.gcd | 2021-03-12 04:12 | dd-2102-005 | Unknown | 0 | 5.991 | 3280 | 1.2 | ----- | ----- | ----- | ----- | 71 | BRN11mar21_035.gcd | 2021-03-12 04:12 | dd-2102-005 | Unknown | 0 | 12.144 | 59569 | 8.292 | ----- | ----- | ----- | ----- | 1 |  | 903.2227 | 10856.1854 | 812.0925 | 11328.0367
72 | BRN11mar21_036.gcd | 2021-03-12 04:43 | dd-2102-024 | Unknown | 0 | 6.042 | 51765 | 0.075 | ----- | ----- | ----- | ----- | 72 | BRN11mar21_036.gcd | 2021-03-12 04:43 | dd-2102-024 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 72 | BRN11mar21_036.gcd | 2021-03-12 04:43 | dd-2102-024 | Unknown | 0 | 12.186 | 22632 | 3.252 | ----- | ----- | ----- | ----- | 1 |  | 160.877 | 4198.6515 | 135.6657 | 4315.0519
73 | BRN11mar21_037.gcd | 2021-03-12 05:13 | dd-2102-014 | Unknown | 0 | 6.022 | 49144 | 0.071 | ----- | ----- | ----- | ----- | 73 | BRN11mar21_037.gcd | 2021-03-12 05:13 | dd-2102-014 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 73 | BRN11mar21_037.gcd | 2021-03-12 05:13 | dd-2102-014 | Unknown | 0 | 12.162 | 13246 | 1.975 | ----- | ----- | ----- | ----- | 1 |  | 152.8603 | 2479.625 | 128.7914 | 2525.9243
74 | BRN11mar21_038.gcd | 2021-03-12 05:44 | dd-2102-031 | Unknown | 0 | 6.041 | 151682 | 0.224 | ----- | ----- | ----- | ----- | 74 | BRN11mar21_038.gcd | 2021-03-12 05:44 | dd-2102-031 | Unknown | 0 | 6 | 937 | 0.77 | ----- | ----- | ----- | ----- | 74 | BRN11mar21_038.gcd | 2021-03-12 05:44 | dd-2102-031 | Unknown | 0 | 12.094 | 132439 | 18.3 | ----- | ----- | ----- | ----- | 1 |  | 458.1247 | 23488.0292 | 396.4894 | 25033.277
75 | BRN11mar21_039.gcd | 2021-03-12 06:14 | dd-2102-016 | Unknown | 0 | 6.121 | 2544 | 0.002 | ----- | ----- | ----- | ----- | 75 | BRN11mar21_039.gcd | 2021-03-12 06:14 | dd-2102-016 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 75 | BRN11mar21_039.gcd | 2021-03-12 06:14 | dd-2102-016 | Unknown | 0 | 12.163 | 48582 | 6.791 | ----- | ----- | ----- | ----- | 1 |  | 2.648 | 8893.7824 | 2.6357 | 9246.6434
76 | BRN11mar21_040.gcd | 2021-03-12 06:45 | dd-2102-008 | Unknown | 0 | 6.044 | 60325 | 0.088 | ----- | ----- | ----- | ----- | 76 | BRN11mar21_040.gcd | 2021-03-12 06:45 | dd-2102-008 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 76 | BRN11mar21_040.gcd | 2021-03-12 06:45 | dd-2102-008 | Unknown | 0 | 12.167 | 42483 | 5.958 | ----- | ----- | ----- | ----- | 1 |  | 186.9808 | 7797.8906 | 158.1053 | 8089.5455
77 | BRN11mar21_041.gcd | 2021-03-12 07:16 | dd-2102-019 | Unknown | 0 | 6.067 | 5187 | 0.006 | ----- | ----- | ----- | ----- | 77 | BRN11mar21_041.gcd | 2021-03-12 07:16 | dd-2102-019 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 77 | BRN11mar21_041.gcd | 2021-03-12 07:16 | dd-2102-019 | Unknown | 0 | 12.208 | 5041 | 0.86 | ----- | ----- | ----- | ----- | 1 |  | 10.2316 | 967.8363 | 11.5558 | 959.568
78 | BRN11mar21_042.gcd | 2021-03-12 07:46 | dd-2102-036 | Unknown | 0 | 6.06 | 4392 | 0.005 | ----- | ----- | ----- | ----- | 78 | BRN11mar21_042.gcd | 2021-03-12 07:46 | dd-2102-036 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 78 | BRN11mar21_042.gcd | 2021-03-12 07:46 | dd-2102-036 | Unknown | 0 | 12.144 | 25969 | 3.707 | ----- | ----- | ----- | ----- | 1 |  | 7.9193 | 4807.1512 | 8.9578 | 4950.4492