## one
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm (BD at 0.2) | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm
1900-02-05 | BRN17mar21_001.gcd | 2021-03-17 12:02 | air | Unknown | 0 | 6.059 | 1306 | 0 | ----- | ----- | ----- | ----- | 37 | BRN17mar21_001.gcd | 2021-03-17 12:02 | air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 37 | BRN17mar21_001.gcd | 2021-03-17 12:02 | air | Unknown | 0 | 12.269 | 2782 | 0.553 | ----- | ----- | ----- | ----- | 1 |  | -0.80203 | 550.127 | -1.821 | 527.9346
1900-02-06 | BRN17mar21_002.gcd | 2021-03-17 12:33 | air + 100 | Unknown | 0 | 6.04 | 872429 | 1.298 | ----- | ----- | ----- | ----- | 38 | BRN17mar21_002.gcd | 2021-03-17 12:33 | air + 100 | Unknown | 0 | 5.991 | 7415 | 1.96 | ----- | ----- | ----- | ----- | 38 | BRN17mar21_002.gcd | 2021-03-17 12:33 | air + 100 | Unknown | 0 | 12.244 | 9424 | 1.456 | ----- | ----- | ----- | ----- | 1 |  | 1967.7891 | 1776.4649 | 2186.2025 | 1796.5667
1900-02-07 | BRN17mar21_003.gcd | 2021-03-17 13:03 | dd-2102-098 | Unknown | 0 | 6.057 | 3541 | 0.003 | ----- | ----- | ----- | ----- | 39 | BRN17mar21_003.gcd | 2021-03-17 13:03 | dd-2102-098 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 39 | BRN17mar21_003.gcd | 2021-03-17 13:03 | dd-2102-098 | Unknown | 0 | 12.163 | 46493 | 6.505 | ----- | ----- | ----- | ----- | 1 |  | 5.4739 | 8518.9486 | 6.0956 | 8850.456
1900-02-08 | BRN17mar21_004.gcd | 2021-03-17 13:34 | dd-2102-116 | Unknown | 0 | 6.053 | 3356 | 0.003 | ----- | ----- | ----- | ----- | 40 | BRN17mar21_004.gcd | 2021-03-17 13:34 | dd-2102-116 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 40 | BRN17mar21_004.gcd | 2021-03-17 13:34 | dd-2102-116 | Unknown | 0 | 12.215 | 12326 | 1.85 | ----- | ----- | ----- | ----- | 1 |  | 4.9463 | 2310.5337 | 5.4623 | 2350.4028
1900-02-09 | BRN17mar21_005.gcd | 2021-03-17 14:05 | dd-2102-081 | Unknown | 0 | 6.021 | 95491 | 0.14 | ----- | ----- | ----- | ----- | 41 | BRN17mar21_005.gcd | 2021-03-17 14:05 | dd-2102-081 | Unknown | 0 | 5.984 | 1330 | 0.842 | ----- | ----- | ----- | ----- | 41 | BRN17mar21_005.gcd | 2021-03-17 14:05 | dd-2102-081 | Unknown | 0 | 12.166 | 15066 | 2.223 | ----- | ----- | ----- | ----- | 1 |  | 292.9649 | 2813.8186 | 250.1053 | 2873.0704
1900-02-10 | BRN17mar21_006.gcd | 2021-03-17 14:35 | dd-2102-113 | Unknown | 0 | 6.042 | 31238 | 0.045 | ----- | ----- | ----- | ----- | 42 | BRN17mar21_006.gcd | 2021-03-17 14:35 | dd-2102-113 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 42 | BRN17mar21_006.gcd | 2021-03-17 14:35 | dd-2102-113 | Unknown | 0 | 12.177 | 47464 | 6.638 | ----- | ----- | ----- | ----- | 1 |  | 97.7923 | 8693.2454 | 81.7831 | 9034.6278
1900-02-11 | BRN17mar21_007.gcd | 2021-03-17 15:06 | dd-2102-089 | Unknown | 0 | 6.04 | 50686 | 0.074 | ----- | ----- | ----- | ----- | 43 | BRN17mar21_007.gcd | 2021-03-17 15:06 | dd-2102-089 | Unknown | 0 | 5.995 | 457 | 0.681 | ----- | ----- | ----- | ----- | 43 | BRN17mar21_007.gcd | 2021-03-17 15:06 | dd-2102-089 | Unknown | 0 | 12.193 | 18393 | 2.676 | ----- | ----- | ----- | ----- | 1 |  | 157.5781 | 3423.657 | 132.8359 | 3507.3828
1900-02-12 | BRN17mar21_008.gcd | 2021-03-17 15:37 | dd-2102-085 | Unknown | 0 | 6.047 | 2486 | 0.002 | ----- | ----- | ----- | ----- | 44 | BRN17mar21_008.gcd | 2021-03-17 15:37 | dd-2102-085 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 44 | BRN17mar21_008.gcd | 2021-03-17 15:37 | dd-2102-085 | Unknown | 0 | 12.151 | 34267 | 4.838 | ----- | ----- | ----- | ----- | 1 |  | 2.485 | 6314.2256 | 2.4308 | 6528.8995
1900-02-13 | BRN17mar21_009.gcd | 2021-03-17 16:07 | dd-2102-106 | Unknown | 0 | 6.042 | 17374 | 0.024 | ----- | ----- | ----- | ----- | 45 | BRN17mar21_009.gcd | 2021-03-17 16:07 | dd-2102-106 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 45 | BRN17mar21_009.gcd | 2021-03-17 16:07 | dd-2102-106 | Unknown | 0 | 12.197 | 17220 | 2.516 | ----- | ----- | ----- | ----- | 1 |  | 54.7956 | 3208.8049 | 45.3329 | 3283.7844
1900-02-14 | BRN17mar21_010.gcd | 2021-03-17 16:38 | dd-2102-102 | Unknown | 0 | 6.035 | 4878 | 0.005 | ----- | ----- | ----- | ----- | 46 | BRN17mar21_010.gcd | 2021-03-17 16:38 | dd-2102-102 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 46 | BRN17mar21_010.gcd | 2021-03-17 16:38 | dd-2102-102 | Unknown | 0 | 12.095 | 85555 | 11.851 | ----- | ----- | ----- | ----- | 1 |  | 9.3296 | 15437.2721 | 10.5547 | 16235.2404
1900-02-15 | BRN17mar21_011.gcd | 2021-03-17 17:09 | dd-2102-094 | Unknown | 0 | 6.038 | 145435 | 0.215 | ----- | ----- | ----- | ----- | 47 | BRN17mar21_011.gcd | 2021-03-17 17:09 | dd-2102-094 | Unknown | 0 | 6.009 | 2115 | 0.986 | ----- | ----- | ----- | ----- | 47 | BRN17mar21_011.gcd | 2021-03-17 17:09 | dd-2102-094 | Unknown | 0 | 12.195 | 16907 | 2.473 | ----- | ----- | ----- | ----- | 1 |  | 440.0178 | 3151.4452 | 380.2529 | 3224.1125
1900-02-16 | BRN17mar21_012.gcd | 2021-03-17 17:39 | dd-2102-082 | Unknown | 0 | 6.037 | 91986 | 0.135 | ----- | ----- | ----- | ----- | 48 | BRN17mar21_012.gcd | 2021-03-17 17:39 | dd-2102-082 | Unknown | 0 | 5.99 | 673 | 0.721 | ----- | ----- | ----- | ----- | 48 | BRN17mar21_012.gcd | 2021-03-17 17:39 | dd-2102-082 | Unknown | 0 | 12.195 | 13586 | 2.022 | ----- | ----- | ----- | ----- | 1 |  | 282.492 | 2542.0884 | 240.949 | 2590.7839
1900-02-17 | BRN17mar21_013.gcd | 2021-03-17 18:10 | dd-2102-118 | Unknown | 0 | 6.058 | 2750 | 0.002 | ----- | ----- | ----- | ----- | 49 | BRN17mar21_013.gcd | 2021-03-17 18:10 | dd-2102-118 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | BRN17mar21_013.gcd | 2021-03-17 18:10 | dd-2102-118 | Unknown | 0 | 12.196 | 10395 | 1.588 | ----- | ----- | ----- | ----- | 1 |  | 3.2285 | 1955.2803 | 3.36 | 1981.909
1900-02-18 | BRN17mar21_014.gcd | 2021-03-17 18:41 | dd-2102-097 | Unknown | 0 | 6.076 | 2144 | 0.001 | ----- | ----- | ----- | ----- | 50 | BRN17mar21_014.gcd | 2021-03-17 18:41 | dd-2102-097 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | BRN17mar21_014.gcd | 2021-03-17 18:41 | dd-2102-097 | Unknown | 0 | 12.155 | 24212 | 3.468 | ----- | ----- | ----- | ----- | 1 |  | 1.5262 | 4486.9377 | 1.2151 | 4615.9444
1900-02-19 | BRN17mar21_015.gcd | 2021-03-17 19:11 | dd-2102-091 | Unknown | 0 | 6.039 | 48731 | 0.071 | ----- | ----- | ----- | ----- | 51 | BRN17mar21_015.gcd | 2021-03-17 19:11 | dd-2102-091 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | BRN17mar21_015.gcd | 2021-03-17 19:11 | dd-2102-091 | Unknown | 0 | 12.192 | 16527 | 2.422 | ----- | ----- | ----- | ----- | 1 |  | 151.596 | 3081.7907 | 127.708 | 3151.6631
1900-02-20 | BRN17mar21_016.gcd | 2021-03-17 19:42 | dd-2102-103 | Unknown | 0 | 6.05 | 4782 | 0.005 | ----- | ----- | ----- | ----- | 52 | BRN17mar21_016.gcd | 2021-03-17 19:42 | dd-2102-103 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | BRN17mar21_016.gcd | 2021-03-17 19:42 | dd-2102-103 | Unknown | 0 | 12.117 | 83716 | 11.599 | ----- | ----- | ----- | ----- | 1 |  | 9.0502 | 15115.8611 | 10.2414 | 15888.6851
1900-02-21 | BRN17mar21_017.gcd | 2021-03-17 20:13 | dd-2102-108 | Unknown | 0 | 6.048 | 5137 | 0.006 | ----- | ----- | ----- | ----- | 53 | BRN17mar21_017.gcd | 2021-03-17 20:13 | dd-2102-108 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | BRN17mar21_017.gcd | 2021-03-17 20:13 | dd-2102-108 | Unknown | 0 | 12.204 | 6138 | 1.009 | ----- | ----- | ----- | ----- | 1 |  | 10.0853 | 1170.4503 | 11.3945 | 1169.115
1900-02-22 | BRN17mar21_018.gcd | 2021-03-17 20:43 | dd-2102-112 | Unknown | 0 | 6.039 | 44464 | 0.064 | ----- | ----- | ----- | ----- | 54 | BRN17mar21_018.gcd | 2021-03-17 20:43 | dd-2102-112 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | BRN17mar21_018.gcd | 2021-03-17 20:43 | dd-2102-112 | Unknown | 0 | 12.171 | 32106 | 4.543 | ----- | ----- | ----- | ----- | 1 |  | 138.518 | 5922.5794 | 116.5125 | 6118.0485
1900-02-23 | BRN17mar21_019.gcd | 2021-03-17 21:14 | dd-2102-117 | Unknown | 0 | 6.049 | 2805 | 0.002 | ----- | ----- | ----- | ----- | 55 | BRN17mar21_019.gcd | 2021-03-17 21:14 | dd-2102-117 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | BRN17mar21_019.gcd | 2021-03-17 21:14 | dd-2102-117 | Unknown | 0 | 12.2 | 10619 | 1.618 | ----- | ----- | ----- | ----- | 1 |  | 3.3837 | 1996.5145 | 3.5526 | 2024.6613
1900-02-24 | BRN17mar21_020.gcd | 2021-03-17 21:45 | dd-2102-087 | Unknown | 0 | 6.021 | 13273 | 0.018 | ----- | ----- | ----- | ----- | 56 | BRN17mar21_020.gcd | 2021-03-17 21:45 | dd-2102-087 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | BRN17mar21_020.gcd | 2021-03-17 21:45 | dd-2102-087 | Unknown | 0 | 12.061 | 119597 | 16.53 | ----- | ----- | ----- | ----- | 1 |  | 35.2761 | 21310.2867 | 34.542 | 22630.5144
1900-02-25 | BRN17mar21_021.gcd | 2021-03-17 22:15 | dd-2102-119 | Unknown | 0 | 6.122 | 1674 | 0.001 | ----- | ----- | ----- | ----- | 57 | BRN17mar21_021.gcd | 2021-03-17 22:15 | dd-2102-119 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | BRN17mar21_021.gcd | 2021-03-17 22:15 | dd-2102-119 | Unknown | 0 | 12.289 | 2536 | 0.52 | ----- | ----- | ----- | ----- | 1 |  | 0.21672 | 504.6007 | -0.47769 | 480.9206
1900-02-26 | BRN17mar21_022.gcd | 2021-03-17 22:46 | dd-2102-100 | Unknown | 0 | 6.046 | 3273 | 0.003 | ----- | ----- | ----- | ----- | 58 | BRN17mar21_022.gcd | 2021-03-17 22:46 | dd-2102-100 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | BRN17mar21_022.gcd | 2021-03-17 22:46 | dd-2102-100 | Unknown | 0 | 12.145 | 51223 | 7.151 | ----- | ----- | ----- | ----- | 1 |  | 4.7101 | 9366.8785 | 5.1769 | 9747.3167
1900-02-27 | BRN17mar21_023.gcd | 2021-03-17 23:17 | dd-2102-095 | Unknown | 0 | 6.073 | 1808 | 0.001 | ----- | ----- | ----- | ----- | 59 | BRN17mar21_023.gcd | 2021-03-17 23:17 | dd-2102-095 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | BRN17mar21_023.gcd | 2021-03-17 23:17 | dd-2102-095 | Unknown | 0 | 12.182 | 22753 | 3.269 | ----- | ----- | ----- | ----- | 1 |  | 0.5891 | 4220.7402 | 0.0075533 | 4338.0978
1900-02-28 | BRN17mar21_024.gcd | 2021-03-17 23:47 | dd-2102-090 | Unknown | 0 | 6.019 | 48690 | 0.071 | ----- | ----- | ----- | ----- | 60 | BRN17mar21_024.gcd | 2021-03-17 23:47 | dd-2102-090 | Unknown | 0 | 5.975 | 321 | 0.656 | ----- | ----- | ----- | ----- | 60 | BRN17mar21_024.gcd | 2021-03-17 23:47 | dd-2102-090 | Unknown | 0 | 12.174 | 17357 | 2.535 | ----- | ----- | ----- | ----- | 1 |  | 151.4705 | 3233.9074 | 127.6004 | 3309.9018
1900-03-01 | BRN17mar21_025.gcd | 2021-03-18 00:18 | dd-2102-104 | Unknown | 0 | 6.039 | 15496 | 0.021 | ----- | ----- | ----- | ----- | 61 | BRN17mar21_025.gcd | 2021-03-18 00:18 | dd-2102-104 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | BRN17mar21_025.gcd | 2021-03-18 00:18 | dd-2102-104 | Unknown | 0 | 12.194 | 15333 | 2.259 | ----- | ----- | ----- | ----- | 1 |  | 48.9471 | 2862.8109 | 40.3918 | 2923.9889
1900-03-02 | BRN17mar21_026.gcd | 2021-03-18 00:48 | dd-2102-101 | Unknown | 0 | 6.042 | 4543 | 0.005 | ----- | ----- | ----- | ----- | 62 | BRN17mar21_026.gcd | 2021-03-18 00:48 | dd-2102-101 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | BRN17mar21_026.gcd | 2021-03-18 00:48 | dd-2102-101 | Unknown | 0 | 12.126 | 81088 | 11.238 | ----- | ----- | ----- | ----- | 1 |  | 8.3564 | 14655.8159 | 9.4569 | 15393.2538
1900-03-03 | BRN17mar21_027.gcd | 2021-03-18 01:19 | dd-2102-083 | Unknown | 0 | 6.064 | 1884 | 0.001 | ----- | ----- | ----- | ----- | 63 | BRN17mar21_027.gcd | 2021-03-18 01:19 | dd-2102-083 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | BRN17mar21_027.gcd | 2021-03-18 01:19 | dd-2102-083 | Unknown | 0 | 12.181 | 30542 | 4.33 | ----- | ----- | ----- | ----- | 1 |  | 0.80065 | 5638.7641 | 0.28184 | 5820.6048
1900-03-04 | BRN17mar21_028.gcd | 2021-03-18 01:50 | dd-2102-107 | Unknown | 0 | 6.043 | 4858 | 0.005 | ----- | ----- | ----- | ----- | 64 | BRN17mar21_028.gcd | 2021-03-18 01:50 | dd-2102-107 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | BRN17mar21_028.gcd | 2021-03-18 01:50 | dd-2102-107 | Unknown | 0 | 12.206 | 6386 | 1.043 | ----- | ----- | ----- | ----- | 1 |  | 9.2714 | 1216.2346 | 10.4895 | 1216.4821
1900-03-05 | BRN17mar21_029.gcd | 2021-03-18 02:20 | dd-2102-114 | Unknown | 0 | 6.038 | 27922 | 0.04 | ----- | ----- | ----- | ----- | 65 | BRN17mar21_029.gcd | 2021-03-18 02:20 | dd-2102-114 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | BRN17mar21_029.gcd | 2021-03-18 02:20 | dd-2102-114 | Unknown | 0 | 12.163 | 42125 | 5.909 | ----- | ----- | ----- | ----- | 1 |  | 87.5369 | 7733.4187 | 73.0691 | 8021.5884
1900-03-06 | BRN17mar21_030.gcd | 2021-03-18 02:51 | dd-2102-111 | Unknown | 0 | 6.038 | 43562 | 0.063 | ----- | ----- | ----- | ----- | 66 | BRN17mar21_030.gcd | 2021-03-18 02:51 | dd-2102-111 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | BRN17mar21_030.gcd | 2021-03-18 02:51 | dd-2102-111 | Unknown | 0 | 12.174 | 31302 | 4.433 | ----- | ----- | ----- | ----- | 1 |  | 135.7496 | 5776.7178 | 114.1453 | 5965.1526
1900-03-07 | BRN17mar21_031.gcd | 2021-03-18 03:22 | dd-2102-109 | Unknown | 0 | 6.024 | 5062 | 0.006 | ----- | ----- | ----- | ----- | 67 | BRN17mar21_031.gcd | 2021-03-18 03:22 | dd-2102-109 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | BRN17mar21_031.gcd | 2021-03-18 03:22 | dd-2102-109 | Unknown | 0 | 12.167 | 4045 | 0.725 | ----- | ----- | ----- | ----- | 1 |  | 9.8662 | 783.746 | 11.1521 | 769.28
1900-03-08 | BRN17mar21_032.gcd | 2021-03-18 03:52 | dd-2102-099 | Unknown | 0 | 6.058 | 3080 | 0.003 | ----- | ----- | ----- | ----- | 68 | BRN17mar21_032.gcd | 2021-03-18 03:52 | dd-2102-099 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | BRN17mar21_032.gcd | 2021-03-18 03:52 | dd-2102-099 | Unknown | 0 | 12.16 | 45555 | 6.377 | ----- | ----- | ----- | ----- | 1 |  | 4.162 | 8350.4631 | 4.5101 | 8672.5143
1900-03-09 | BRN17mar21_033.gcd | 2021-03-18 04:23 | dd-2102-092 | Unknown | 0 | 6.036 | 144574 | 0.213 | ----- | ----- | ----- | ----- | 69 | BRN17mar21_033.gcd | 2021-03-18 04:23 | dd-2102-092 | Unknown | 0 | 5.984 | 1101 | 0.8 | ----- | ----- | ----- | ----- | 69 | BRN17mar21_033.gcd | 2021-03-18 04:23 | dd-2102-092 | Unknown | 0 | 12.187 | 17581 | 2.565 | ----- | ----- | ----- | ----- | 1 |  | 437.5172 | 3274.9457 | 378.0144 | 3352.6034
1900-03-10 | BRN17mar21_034.gcd | 2021-03-18 04:54 | dd-2102-086 | Unknown | 0 | 6.038 | 12460 | 0.017 | ----- | ----- | ----- | ----- | 70 | BRN17mar21_034.gcd | 2021-03-18 04:54 | dd-2102-086 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 70 | BRN17mar21_034.gcd | 2021-03-18 04:54 | dd-2102-086 | Unknown | 0 | 12.096 | 107470 | 14.861 | ----- | ----- | ----- | ----- | 1 |  | 32.6324 | 19234.787 | 32.4022 | 20356.6062
1900-03-11 | BRN17mar21_035.gcd | 2021-03-18 05:24 | dd-2102-110 | Unknown | 0 | 6.02 | 44716 | 0.065 | ----- | ----- | ----- | ----- | 71 | BRN17mar21_035.gcd | 2021-03-18 05:24 | dd-2102-110 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 71 | BRN17mar21_035.gcd | 2021-03-18 05:24 | dd-2102-110 | Unknown | 0 | 12.14 | 38058 | 5.354 | ----- | ----- | ----- | ----- | 1 |  | 139.2911 | 6999.8664 | 117.1738 | 7249.2804
1900-03-12 | BRN17mar21_036.gcd | 2021-03-18 05:55 | dd-2102-115 | Unknown | 0 | 6.021 | 28901 | 0.041 | ----- | ----- | ----- | ----- | 72 | BRN17mar21_036.gcd | 2021-03-18 05:55 | dd-2102-115 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 72 | BRN17mar21_036.gcd | 2021-03-18 05:55 | dd-2102-115 | Unknown | 0 | 12.162 | 49185 | 6.873 | ----- | ----- | ----- | ----- | 1 |  | 90.5665 | 9001.8781 | 75.6421 | 9360.9784
1900-03-13 | BRN17mar21_037.gcd | 2021-03-18 06:26 | dd-2102-105 | Unknown | 0 | 6.038 | 15516 | 0.021 | ----- | ----- | ----- | ----- | 73 | BRN17mar21_037.gcd | 2021-03-18 06:26 | dd-2102-105 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 73 | BRN17mar21_037.gcd | 2021-03-18 06:26 | dd-2102-105 | Unknown | 0 | 12.187 | 15833 | 2.327 | ----- | ----- | ----- | ----- | 1 |  | 49.0095 | 2954.5328 | 40.4445 | 3019.3355
1900-03-14 | BRN17mar21_038.gcd | 2021-03-18 06:56 | dd-2102-088 | Unknown | 0 | 6.04 | 12249 | 0.016 | ----- | ----- | ----- | ----- | 74 | BRN17mar21_038.gcd | 2021-03-18 06:56 | dd-2102-088 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 74 | BRN17mar21_038.gcd | 2021-03-18 06:56 | dd-2102-088 | Unknown | 0 | 12.101 | 109862 | 15.19 | ----- | ----- | ----- | ----- | 1 |  | 31.9509 | 19645.6323 | 31.8469 | 20805.5037
1900-03-15 | BRN17mar21_039.gcd | 2021-03-18 07:27 | dd-2102-093 | Unknown | 0 | 6.039 | 142578 | 0.21 | ----- | ----- | ----- | ----- | 75 | BRN17mar21_039.gcd | 2021-03-18 07:27 | dd-2102-093 | Unknown | 0 | 6 | 1175 | 0.813 | ----- | ----- | ----- | ----- | 75 | BRN17mar21_039.gcd | 2021-03-18 07:27 | dd-2102-093 | Unknown | 0 | 12.195 | 16789 | 2.457 | ----- | ----- | ----- | ----- | 1 |  | 431.7156 | 3129.8176 | 372.8242 | 3201.6156
1900-03-16 | BRN17mar21_040.gcd | 2021-03-18 07:58 | dd-2102-096 | Unknown | 0 | 6.051 | 1868 | 0.001 | ----- | ----- | ----- | ----- | 76 | BRN17mar21_040.gcd | 2021-03-18 07:58 | dd-2102-096 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 76 | BRN17mar21_040.gcd | 2021-03-18 07:58 | dd-2102-096 | Unknown | 0 | 12.158 | 26615 | 3.795 | ----- | ----- | ----- | ----- | 1 |  | 0.75609 | 4924.7874 | 0.22415 | 5073.4121
1900-03-17 | BRN17mar21_041.gcd | 2021-03-18 08:28 | dd-2102-084 | Unknown | 0 | 6.052 | 2251 | 0.002 | ----- | ----- | ----- | ----- | 77 | BRN17mar21_041.gcd | 2021-03-18 08:28 | dd-2102-084 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 77 | BRN17mar21_041.gcd | 2021-03-18 08:28 | dd-2102-084 | Unknown | 0 | 12.145 | 30694 | 4.35 | ----- | ----- | ----- | ----- | 1 |  | 1.8256 | 5666.3606 | 1.5969 | 5849.5159
1900-03-18 | BRN11mar21_042.gcd | 2021-03-12 07:46 | dd-2102-036 | Unknown | 0 | 6.06 | 4392 | 0.005 | ----- | ----- | ----- | ----- | 78 | BRN11mar21_042.gcd | 2021-03-12 07:46 | dd-2102-036 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 78 | BRN11mar21_042.gcd | 2021-03-12 07:46 | dd-2102-036 | Unknown | 0 | 12.144 | 25969 | 3.707 | ----- | ----- | ----- | ----- | 1 |  | 7.9193 | 4807.1512 | 8.9578 | 4950.4492