## one
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm
39 | BRN08dec21_001.gcd | 2021-12-08 10:26 | air | Unknown | 0 | 6.1 | 1904 | -0.001 | ----- | ----- | ----- | ----- | 39 | BRN08dec21_001.gcd | 2021-12-08 10:26 | air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 39 | BRN08dec21_001.gcd | 2021-12-08 10:26 | air | Unknown | 0 | 12.294 | 2016 | 0.412 | ----- | ----- | ----- | ----- | 1 |  | 0.85636 | 408.3413 | 0.35391 | 381.5351
40 | BRN08dec21_002.gcd | 2021-12-08 10:56 | air + 100 | Unknown | 0 | 6.045 | 903468 | 1.88 | ----- | ----- | ----- | ----- | 40 | BRN08dec21_002.gcd | 2021-12-08 10:56 | air + 100 | Unknown | 0 | 5.999 | 8078 | 2.283 | ----- | ----- | ----- | ----- | 40 | BRN08dec21_002.gcd | 2021-12-08 10:56 | air + 100 | Unknown | 0 | 12.261 | 8943 | 1.794 | ----- | ----- | ----- | ----- | 1 |  | 2093.7266 | 1687.842 | 2355.9896 | 1704.7432
41 | BRN08dec21_003.gcd | 2021-12-08 11:27 | dd-2111-039 | Unknown | 0 | 6.044 | 351273 | 0.728 | ----- | ----- | ----- | ----- | 41 | BRN08dec21_003.gcd | 2021-12-08 11:27 | dd-2111-039 | Unknown | 0 | 5.99 | 3258 | 0.99 | ----- | ----- | ----- | ----- | 41 | BRN08dec21_003.gcd | 2021-12-08 11:27 | dd-2111-039 | Unknown | 0 | 12.196 | 40054 | 7.965 | ----- | ----- | ----- | ----- | 1 |  | 1003.1056 | 7360.1383 | 910.2751 | 7628.3805
42 | BRN08dec21_004.gcd | 2021-12-08 11:58 | dd-2111-020 | Unknown | 0 | 6.054 | 9581 | 0.015 | ----- | ----- | ----- | ----- | 42 | BRN08dec21_004.gcd | 2021-12-08 11:58 | dd-2111-020 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 42 | BRN08dec21_004.gcd | 2021-12-08 11:58 | dd-2111-020 | Unknown | 0 | 12.217 | 16869 | 3.372 | ----- | ----- | ----- | ----- | 1 |  | 23.4963 | 3144.4806 | 24.5936 | 3216.8678
43 | BRN08dec21_005.gcd | 2021-12-08 12:28 | dd-2111-003 | Unknown | 0 | 6.048 | 31219 | 0.06 | ----- | ----- | ----- | ----- | 43 | BRN08dec21_005.gcd | 2021-12-08 12:28 | dd-2111-003 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 43 | BRN08dec21_005.gcd | 2021-12-08 12:28 | dd-2111-003 | Unknown | 0 | 12.209 | 19197 | 3.835 | ----- | ----- | ----- | ----- | 1 |  | 97.7336 | 3570.8215 | 81.7331 | 3660.6162
44 | BRN08dec21_006.gcd | 2021-12-08 12:59 | dd-2111-016 | Unknown | 0 | 6.045 | 55110 | 0.11 | ----- | ----- | ----- | ----- | 44 | BRN08dec21_006.gcd | 2021-12-08 12:59 | dd-2111-016 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 44 | BRN08dec21_006.gcd | 2021-12-08 12:59 | dd-2111-016 | Unknown | 0 | 12.215 | 18640 | 3.724 | ----- | ----- | ----- | ----- | 1 |  | 171.0918 | 3468.8766 | 144.4366 | 3554.4605
45 | BRN08dec21_007.gcd | 2021-12-08 13:29 | dd-2111-023 | Unknown | 0 | 6.046 | 303695 | 0.628 | ----- | ----- | ----- | ----- | 45 | BRN08dec21_007.gcd | 2021-12-08 13:29 | dd-2111-023 | Unknown | 0 | 5.99 | 2667 | 0.831 | ----- | ----- | ----- | ----- | 45 | BRN08dec21_007.gcd | 2021-12-08 13:29 | dd-2111-023 | Unknown | 0 | 12.209 | 27060 | 5.395 | ----- | ----- | ----- | ----- | 1 |  | 879.0975 | 5005.7911 | 788.6745 | 5158.1077
46 | BRN08dec21_008.gcd | 2021-12-08 14:00 | dd-2111-032 | Unknown | 0 | 6.07 | 2751 | 0.001 | ----- | ----- | ----- | ----- | 46 | BRN08dec21_008.gcd | 2021-12-08 14:00 | dd-2111-032 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 46 | BRN08dec21_008.gcd | 2021-12-08 14:00 | dd-2111-032 | Unknown | 0 | 12.191 | 39005 | 7.758 | ----- | ----- | ----- | ----- | 1 |  | 3.2313 | 7170.8593 | 3.3635 | 7429.1602
47 | BRN08dec21_009.gcd | 2021-12-08 14:31 | dd-2111-006 | Unknown | 0 | 6.058 | 5181 | 0.006 | ----- | ----- | ----- | ----- | 47 | BRN08dec21_009.gcd | 2021-12-08 14:31 | dd-2111-006 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 47 | BRN08dec21_009.gcd | 2021-12-08 14:31 | dd-2111-006 | Unknown | 0 | 12.229 | 12077 | 2.419 | ----- | ----- | ----- | ----- | 1 |  | 10.214 | 2264.7505 | 11.5364 | 2302.8928
48 | BRN08dec21_010.gcd | 2021-12-08 15:01 | dd-2111-009 | Unknown | 0 | 6.045 | 169055 | 0.348 | ----- | ----- | ----- | ----- | 48 | BRN08dec21_010.gcd | 2021-12-08 15:01 | dd-2111-009 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | BRN08dec21_010.gcd | 2021-12-08 15:01 | dd-2111-009 | Unknown | 0 | 12.221 | 15237 | 3.048 | ----- | ----- | ----- | ----- | 1 |  | 508.1453 | 2845.1967 | 441.5936 | 2905.6814
49 | BRN08dec21_011.gcd | 2021-12-08 15:32 | dd-2111-014 | Unknown | 0 | 6.071 | 2677 | 0.001 | ----- | ----- | ----- | ----- | 49 | BRN08dec21_011.gcd | 2021-12-08 15:32 | dd-2111-014 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | BRN08dec21_011.gcd | 2021-12-08 15:32 | dd-2111-014 | Unknown | 0 | 12.215 | 9186 | 1.843 | ----- | ----- | ----- | ----- | 1 |  | 3.0226 | 1732.6177 | 3.1039 | 1751.1331
50 | BRN08dec21_012.gcd | 2021-12-08 16:03 | dd-2111-001 | Unknown | 0 | 6.046 | 29861 | 0.057 | ----- | ----- | ----- | ----- | 50 | BRN08dec21_012.gcd | 2021-12-08 16:03 | dd-2111-001 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | BRN08dec21_012.gcd | 2021-12-08 16:03 | dd-2111-001 | Unknown | 0 | 12.212 | 19373 | 3.87 | ----- | ----- | ----- | ----- | 1 |  | 93.5358 | 3603.0258 | 78.1648 | 3694.157
51 | BRN08dec21_013.gcd | 2021-12-08 16:33 | dd-2111-028 | Unknown | 0 | 6.06 | 7042 | 0.01 | ----- | ----- | ----- | ----- | 51 | BRN08dec21_013.gcd | 2021-12-08 16:33 | dd-2111-028 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | BRN08dec21_013.gcd | 2021-12-08 16:33 | dd-2111-028 | Unknown | 0 | 12.228 | 10297 | 2.064 | ----- | ----- | ----- | ----- | 1 |  | 15.7314 | 1937.2384 | 17.3328 | 1963.2044
52 | BRN08dec21_014.gcd | 2021-12-08 17:04 | dd-2111-030 | Unknown | 0 | 6.056 | 7009 | 0.01 | ----- | ----- | ----- | ----- | 52 | BRN08dec21_014.gcd | 2021-12-08 17:04 | dd-2111-030 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | BRN08dec21_014.gcd | 2021-12-08 17:04 | dd-2111-030 | Unknown | 0 | 12.22 | 13518 | 2.706 | ----- | ----- | ----- | ----- | 1 |  | 15.6323 | 2529.5968 | 17.2336 | 2577.8123
53 | BRN08dec21_015.gcd | 2021-12-08 17:34 | dd-2111-021 | Unknown | 0 | 6.053 | 9091 | 0.014 | ----- | ----- | ----- | ----- | 53 | BRN08dec21_015.gcd | 2021-12-08 17:34 | dd-2111-021 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | BRN08dec21_015.gcd | 2021-12-08 17:34 | dd-2111-021 | Unknown | 0 | 12.217 | 22149 | 4.421 | ----- | ----- | ----- | ----- | 1 |  | 21.9764 | 4110.461 | 23.2505 | 4223.054
54 | BRN08dec21_016.gcd | 2021-12-08 18:05 | dd-2111-035 | Unknown | 0 | 6.074 | 2783 | 0.001 | ----- | ----- | ----- | ----- | 54 | BRN08dec21_016.gcd | 2021-12-08 18:05 | dd-2111-035 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | BRN08dec21_016.gcd | 2021-12-08 18:05 | dd-2111-035 | Unknown | 0 | 12.138 | 91859 | 18.106 | ----- | ----- | ----- | ----- | 1 |  | 3.3216 | 16535.8306 | 3.4756 | 17422.3797
55 | BRN08dec21_017.gcd | 2021-12-08 18:36 | dd-2111-021 | Unknown | 0 | 6.05 | 3586 | 0.003 | ----- | ----- | ----- | ----- | 55 | BRN08dec21_017.gcd | 2021-12-08 18:36 | dd-2111-021 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | BRN08dec21_017.gcd | 2021-12-08 18:36 | dd-2111-021 | Unknown | 0 | 12.133 | 89577 | 17.663 | ----- | ----- | ----- | ----- | 1 |  | 5.6024 | 16138.7369 | 6.2491 | 16992.7935
56 | BRN08dec21_018.gcd | 2021-12-08 19:06 | dd-2111-038 | Unknown | 0 | 6.042 | 350196 | 0.725 | ----- | ----- | ----- | ----- | 56 | BRN08dec21_018.gcd | 2021-12-08 19:06 | dd-2111-038 | Unknown | 0 | 5.996 | 2900 | 0.893 | ----- | ----- | ----- | ----- | 56 | BRN08dec21_018.gcd | 2021-12-08 19:06 | dd-2111-038 | Unknown | 0 | 12.186 | 34605 | 6.889 | ----- | ----- | ----- | ----- | 1 |  | 1000.3393 | 6375.4295 | 907.5285 | 6593.1466
57 | BRN08dec21_019.gcd | 2021-12-08 19:37 | dd-2111-007 | Unknown | 0 | 6.044 | 175275 | 0.361 | ----- | ----- | ----- | ----- | 57 | BRN08dec21_019.gcd | 2021-12-08 19:37 | dd-2111-007 | Unknown | 0 | 5.989 | 1276 | 0.457 | ----- | ----- | ----- | ----- | 57 | BRN08dec21_019.gcd | 2021-12-08 19:37 | dd-2111-007 | Unknown | 0 | 12.219 | 14469 | 2.895 | ----- | ----- | ----- | ----- | 1 |  | 525.9342 | 2704.2416 | 457.7243 | 2759.2107
58 | BRN08dec21_020.gcd | 2021-12-08 20:07 | dd-2111-017 | Unknown | 0 | 6.047 | 51428 | 0.102 | ----- | ----- | ----- | ----- | 58 | BRN08dec21_020.gcd | 2021-12-08 20:07 | dd-2111-017 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | BRN08dec21_020.gcd | 2021-12-08 20:07 | dd-2111-017 | Unknown | 0 | 12.216 | 16919 | 3.382 | ----- | ----- | ----- | ----- | 1 |  | 159.8468 | 3153.6445 | 134.7819 | 3226.4003
59 | BRN08dec21_021.gcd | 2021-12-08 20:38 | dd-2111-025 | Unknown | 0 | 6.046 | 52754 | 0.105 | ----- | ----- | ----- | ----- | 59 | BRN08dec21_021.gcd | 2021-12-08 20:38 | dd-2111-025 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | BRN08dec21_021.gcd | 2021-12-08 20:38 | dd-2111-025 | Unknown | 0 | 12.207 | 22972 | 4.585 | ----- | ----- | ----- | ----- | 1 |  | 163.899 | 4260.7143 | 138.2592 | 4379.8078
60 | BRN08dec21_022.gcd | 2021-12-08 21:09 | dd-2111-019 | Unknown | 0 | 6.052 | 9283 | 0.015 | ----- | ----- | ----- | ----- | 60 | BRN08dec21_022.gcd | 2021-12-08 21:09 | dd-2111-019 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | BRN08dec21_022.gcd | 2021-12-08 21:09 | dd-2111-019 | Unknown | 0 | 12.217 | 17611 | 3.52 | ----- | ----- | ----- | ----- | 1 |  | 22.5707 | 3280.4415 | 23.7801 | 3358.3222
61 | BRN08dec21_023.gcd | 2021-12-08 21:39 | dd-2111-034 | Unknown | 0 | 6.064 | 2754 | 0.001 | ----- | ----- | ----- | ----- | 61 | BRN08dec21_023.gcd | 2021-12-08 21:39 | dd-2111-034 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | BRN08dec21_023.gcd | 2021-12-08 21:39 | dd-2111-034 | Unknown | 0 | 12.134 | 92942 | 18.316 | ----- | ----- | ----- | ----- | 1 |  | 3.2397 | 16724.056 | 3.374 | 17626.195
62 | BRN08dec21_024.gcd | 2021-12-08 22:10 | dd-2111-005 | Unknown | 0 | 6.046 | 5250 | 0.006 | ----- | ----- | ----- | ----- | 62 | BRN08dec21_024.gcd | 2021-12-08 22:10 | dd-2111-005 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | BRN08dec21_024.gcd | 2021-12-08 22:10 | dd-2111-005 | Unknown | 0 | 12.219 | 8939 | 1.794 | ----- | ----- | ----- | ----- | 1 |  | 10.416 | 1687.1049 | 11.7585 | 1703.9795
63 | BRN08dec21_025.gcd | 2021-12-08 22:40 | dd-2111-010 | Unknown | 0 | 6.056 | 3137 | 0.002 | ----- | ----- | ----- | ----- | 63 | BRN08dec21_025.gcd | 2021-12-08 22:40 | dd-2111-010 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | BRN08dec21_025.gcd | 2021-12-08 22:40 | dd-2111-010 | Unknown | 0 | 12.131 | 85991 | 16.966 | ----- | ----- | ----- | ----- | 1 |  | 4.3237 | 15513.4116 | 4.7075 | 16317.3874
64 | BRN08dec21_026.gcd | 2021-12-08 23:11 | dd-2111-037 | Unknown | 0 | 6.041 | 340541 | 0.705 | ----- | ----- | ----- | ----- | 64 | BRN08dec21_026.gcd | 2021-12-08 23:11 | dd-2111-037 | Unknown | 0 | 5.993 | 3171 | 0.966 | ----- | ----- | ----- | ----- | 64 | BRN08dec21_026.gcd | 2021-12-08 23:11 | dd-2111-037 | Unknown | 0 | 12.195 | 33893 | 6.748 | ----- | ----- | ----- | ----- | 1 |  | 975.4563 | 6246.4861 | 882.8939 | 6457.8052
65 | BRN08dec21_027.gcd | 2021-12-08 23:42 | dd-2111-024 | Unknown | 0 | 6.045 | 297657 | 0.616 | ----- | ----- | ----- | ----- | 65 | BRN08dec21_027.gcd | 2021-12-08 23:42 | dd-2111-024 | Unknown | 0 | 6.005 | 2339 | 0.743 | ----- | ----- | ----- | ----- | 65 | BRN08dec21_027.gcd | 2021-12-08 23:42 | dd-2111-024 | Unknown | 0 | 12.208 | 26225 | 5.23 | ----- | ----- | ----- | ----- | 1 |  | 863.0958 | 4853.7749 | 773.2034 | 4999.1792
66 | BRN08dec21_028.gcd | 2021-12-09 00:12 | dd-2111-018 | Unknown | 0 | 6.044 | 52605 | 0.105 | ----- | ----- | ----- | ----- | 66 | BRN08dec21_028.gcd | 2021-12-09 00:12 | dd-2111-018 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | BRN08dec21_028.gcd | 2021-12-09 00:12 | dd-2111-018 | Unknown | 0 | 12.209 | 16458 | 3.291 | ----- | ----- | ----- | ----- | 1 |  | 163.4438 | 3069.141 | 137.8685 | 3138.5073
67 | BRN08dec21_029.gcd | 2021-12-09 00:43 | dd-2111-011 | Unknown | 0 | 6.065 | 3375 | 0.002 | ----- | ----- | ----- | ----- | 67 | BRN08dec21_029.gcd | 2021-12-09 00:43 | dd-2111-011 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | BRN08dec21_029.gcd | 2021-12-09 00:43 | dd-2111-011 | Unknown | 0 | 12.151 | 79606 | 15.722 | ----- | ----- | ----- | ----- | 1 |  | 5.0004 | 14396.0017 | 5.5275 | 15113.7677
68 | BRN08dec21_030.gcd | 2021-12-09 01:14 | dd-2111-033 | Unknown | 0 | 6.065 | 2604 | 0.001 | ----- | ----- | ----- | ----- | 68 | BRN08dec21_030.gcd | 2021-12-09 01:14 | dd-2111-033 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | BRN08dec21_030.gcd | 2021-12-09 01:14 | dd-2111-033 | Unknown | 0 | 12.196 | 37400 | 7.441 | ----- | ----- | ----- | ----- | 1 |  | 2.8169 | 6880.9898 | 2.8471 | 7124.2782
69 | BRN08dec21_031.gcd | 2021-12-09 01:44 | dd-2111-027 | Unknown | 0 | 6.045 | 53201 | 0.106 | ----- | ----- | ----- | ----- | 69 | BRN08dec21_031.gcd | 2021-12-09 01:44 | dd-2111-027 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 69 | BRN08dec21_031.gcd | 2021-12-09 01:44 | dd-2111-027 | Unknown | 0 | 12.203 | 21709 | 4.334 | ----- | ----- | ----- | ----- | 1 |  | 165.2644 | 4030.0963 | 139.4313 | 4139.2398
70 | BRN08dec21_032.gcd | 2021-12-09 02:15 | dd-2111-022 | Unknown | 0 | 6.046 | 287627 | 0.595 | ----- | ----- | ----- | ----- | 70 | BRN08dec21_032.gcd | 2021-12-09 02:15 | dd-2111-022 | Unknown | 0 | 5.991 | 2379 | 0.753 | ----- | ----- | ----- | ----- | 70 | BRN08dec21_032.gcd | 2021-12-09 02:15 | dd-2111-022 | Unknown | 0 | 12.207 | 27291 | 5.441 | ----- | ----- | ----- | ----- | 1 |  | 836.383 | 5047.8304 | 747.4841 | 5202.0708
71 | BRN08dec21_033.gcd | 2021-12-09 02:45 | dd-2111-036 | Unknown | 0 | 6.058 | 2707 | 0.001 | ----- | ----- | ----- | ----- | 71 | BRN08dec21_033.gcd | 2021-12-09 02:45 | dd-2111-036 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 71 | BRN08dec21_033.gcd | 2021-12-09 02:45 | dd-2111-036 | Unknown | 0 | 12.106 | 103502 | 20.362 | ----- | ----- | ----- | ----- | 1 |  | 3.1072 | 18551.6669 | 3.2092 | 19611.5365
72 | BRN08dec21_034.gcd | 2021-12-09 03:16 | dd-2111-040 | Unknown | 0 | 6.069 | 2234 | 0 | ----- | ----- | ----- | ----- | 72 | BRN08dec21_034.gcd | 2021-12-09 03:16 | dd-2111-040 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 72 | BRN08dec21_034.gcd | 2021-12-09 03:16 | dd-2111-040 | Unknown | 0 | 12.206 | 28875 | 5.755 | ----- | ----- | ----- | ----- | 1 |  | 1.778 | 5335.9195 | 1.5364 | 5503.485
73 | BRN08dec21_035.gcd | 2021-12-09 03:47 | dd-2111-004 | Unknown | 0 | 6.062 | 4716 | 0.005 | ----- | ----- | ----- | ----- | 73 | BRN08dec21_035.gcd | 2021-12-09 03:47 | dd-2111-004 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 73 | BRN08dec21_035.gcd | 2021-12-09 03:47 | dd-2111-004 | Unknown | 0 | 12.224 | 7306 | 1.468 | ----- | ----- | ----- | ----- | 1 |  | 8.8584 | 1386.0119 | 10.0254 | 1392.1813
74 | BRN08dec21_036.gcd | 2021-12-09 04:17 | dd-2111-026 | Unknown | 0 | 6.057 | 56216 | 0.112 | ----- | ----- | ----- | ----- | 74 | BRN08dec21_036.gcd | 2021-12-09 04:17 | dd-2111-026 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 74 | BRN08dec21_036.gcd | 2021-12-09 04:17 | dd-2111-026 | Unknown | 0 | 12.219 | 23686 | 4.726 | ----- | ----- | ----- | ----- | 1 |  | 174.4653 | 4390.9988 | 147.336 | 4515.7829
75 | BRN08dec21_037.gcd | 2021-12-09 04:48 | dd-2111-029 | Unknown | 0 | 6.052 | 6480 | 0.009 | ----- | ----- | ----- | ----- | 75 | BRN08dec21_037.gcd | 2021-12-09 04:48 | dd-2111-029 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 75 | BRN08dec21_037.gcd | 2021-12-09 04:48 | dd-2111-029 | Unknown | 0 | 12.214 | 11164 | 2.237 | ----- | ----- | ----- | ----- | 1 |  | 14.0497 | 2096.8123 | 15.6247 | 2128.6722
76 | BRN08dec21_038.gcd | 2021-12-09 05:19 | dd-2111-015 | Unknown | 0 | 6.066 | 2136 | 0 | ----- | ----- | ----- | ----- | 76 | BRN08dec21_038.gcd | 2021-12-09 05:19 | dd-2111-015 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 76 | BRN08dec21_038.gcd | 2021-12-09 05:19 | dd-2111-015 | Unknown | 0 | 12.22 | 7574 | 1.521 | ----- | ----- | ----- | ----- | 1 |  | 1.5038 | 1435.4488 | 1.1865 | 1443.358
77 | BRN08dec21_039.gcd | 2021-12-09 05:49 | dd-2111-013 | Unknown | 0 | 6.057 | 1786 | -0.001 | ----- | ----- | ----- | ----- | 77 | BRN08dec21_039.gcd | 2021-12-09 05:49 | dd-2111-013 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 77 | BRN08dec21_039.gcd | 2021-12-09 05:49 | dd-2111-013 | Unknown | 0 | 12.216 | 10974 | 2.199 | ----- | ----- | ----- | ----- | 1 |  | 0.52791 | 2061.8503 | -0.071971 | 2092.4126
78 | BRN08dec21_040.gcd | 2021-12-09 06:20 | dd-2111-002 | Unknown | 0 | 6.045 | 29757 | 0.057 | ----- | ----- | ----- | ----- | 78 | BRN08dec21_040.gcd | 2021-12-09 06:20 | dd-2111-002 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 78 | BRN08dec21_040.gcd | 2021-12-09 06:20 | dd-2111-002 | Unknown | 0 | 12.204 | 19077 | 3.811 | ----- | ----- | ----- | ----- | 1 |  | 93.2142 | 3548.8618 | 77.8915 | 3637.7469
79 | BRN08dec21_041.gcd | 2021-12-09 06:50 | dd-2111-008 | Unknown | 0 | 6.032 | 175852 | 0.362 | ----- | ----- | ----- | ----- | 79 | BRN08dec21_041.gcd | 2021-12-09 06:50 | dd-2111-008 | Unknown | 0 | 5.972 | 1236 | 0.446 | ----- | ----- | ----- | ----- | 79 | BRN08dec21_041.gcd | 2021-12-09 06:50 | dd-2111-008 | Unknown | 0 | 12.206 | 16806 | 3.36 | ----- | ----- | ----- | ----- | 1 |  | 527.5812 | 3132.9335 | 459.2202 | 3204.8567
80 | BRN08dec21_042.gcd | 2021-12-09 07:21 | dd-2111-031 | Unknown | 0 | 6.051 | 2291 | 0 | ----- | ----- | ----- | ----- | 80 | BRN08dec21_042.gcd | 2021-12-09 07:21 | dd-2111-031 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 80 | BRN08dec21_042.gcd | 2021-12-09 07:21 | dd-2111-031 | Unknown | 0 | 12.17 | 41381 | 8.227 | ----- | ----- | ----- | ----- | 1 |  | 1.9377 | 7599.3809 | 1.7393 | 7880.3458
81 | BRN09dec21_001.gcd | 2021-12-09 11:11 | air | Unknown | 0 | 6.098 | 1682 | -0.001 | ----- | ----- | ----- | ----- | 81 | BRN09dec21_001.gcd | 2021-12-09 11:11 | air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 81 | BRN09dec21_001.gcd | 2021-12-09 11:11 | air | Unknown | 0 | 12.269 | 2675 | 0.544 | ----- | ----- | ----- | ----- | 1 |  | 0.23893 | 530.3258 | -0.44866 | 507.4856
82 | BRN09dec21_002.gcd | 2021-12-09 11:42 | air + 100 | Unknown | 0 | 6.037 | 907018 | 1.888 | ----- | ----- | ----- | ----- | 82 | BRN09dec21_002.gcd | 2021-12-09 11:42 | air + 100 | Unknown | 0 | 5.987 | 7924 | 2.242 | ----- | ----- | ----- | ----- | 82 | BRN09dec21_002.gcd | 2021-12-09 11:42 | air + 100 | Unknown | 0 | 12.253 | 9070 | 1.82 | ----- | ----- | ----- | ----- | 1 |  | 2064.4739 | 1711.2442 | 2316.5534 | 1728.9884
83 | BRN09dec21_003.gcd | 2021-12-09 12:12 | dd-2111-057 | Unknown | 0 | 6.043 | 105538 | 0.215 | ----- | ----- | ----- | ----- | 83 | BRN09dec21_003.gcd | 2021-12-09 12:12 | dd-2111-057 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 83 | BRN09dec21_003.gcd | 2021-12-09 12:12 | dd-2111-057 | Unknown | 0 | 12.201 | 27984 | 5.579 | ----- | ----- | ----- | ----- | 1 |  | 322.874 | 5173.9081 | 276.3349 | 5333.9495
84 | BRN09dec21_004.gcd | 2021-12-09 12:43 | dd-2111-059 | Unknown | 0 | 6.078 | 1624 | -0.001 | ----- | ----- | ----- | ----- | 84 | BRN09dec21_004.gcd | 2021-12-09 12:43 | dd-2111-059 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 84 | BRN09dec21_004.gcd | 2021-12-09 12:43 | dd-2111-059 | Unknown | 0 | 12.173 | 45212 | 8.982 | ----- | ----- | ----- | ----- | 1 |  | 0.077964 | 8288.8251 | -0.65928 | 8607.4389
85 | BRN09dec21_005.gcd | 2021-12-09 13:13 | dd-2111-075 | Unknown | 0 | 6.042 | 75131 | 0.152 | ----- | ----- | ----- | ----- | 85 | BRN09dec21_005.gcd | 2021-12-09 13:13 | dd-2111-075 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 85 | BRN09dec21_005.gcd | 2021-12-09 13:13 | dd-2111-075 | Unknown | 0 | 12.083 | 147871 | 28.888 | ----- | ----- | ----- | ----- | 1 |  | 231.8495 | 26077.5951 | 196.8766 | 27913.5388
86 | BRN09dec21_006.gcd | 2021-12-09 13:44 | dd-2111-052 | Unknown | 0 | 6.042 | 82700 | 0.168 | ----- | ----- | ----- | ----- | 86 | BRN09dec21_006.gcd | 2021-12-09 13:44 | dd-2111-052 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 86 | BRN09dec21_006.gcd | 2021-12-09 13:44 | dd-2111-052 | Unknown | 0 | 12.206 | 24638 | 4.915 | ----- | ----- | ----- | ----- | 1 |  | 254.6487 | 4564.6119 | 216.6765 | 4697.0573
87 | BRN09dec21_007.gcd | 2021-12-09 14:15 | dd-2111-050 | Unknown | 0 | 6.035 | 24736 | 0.047 | ----- | ----- | ----- | ----- | 87 | BRN09dec21_007.gcd | 2021-12-09 14:15 | dd-2111-050 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 87 | BRN09dec21_007.gcd | 2021-12-09 14:15 | dd-2111-050 | Unknown | 0 | 12.2 | 18317 | 3.66 | ----- | ----- | ----- | ----- | 1 |  | 77.6666 | 3409.7417 | 64.6943 | 3492.897
88 | BRN09dec21_008.gcd | 2021-12-09 14:45 | dd-2111-044 | Unknown | 0 | 6.034 | 120327 | 0.246 | ----- | ----- | ----- | ----- | 88 | BRN09dec21_008.gcd | 2021-12-09 14:45 | dd-2111-044 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 88 | BRN09dec21_008.gcd | 2021-12-09 14:45 | dd-2111-044 | Unknown | 0 | 12.195 | 23051 | 4.6 | ----- | ----- | ----- | ----- | 1 |  | 366.5999 | 4275.1326 | 314.9001 | 4394.8535
89 | BRN09dec21_009.gcd | 2021-12-09 15:16 | dd-2111-063 | Unknown | 0 | 6.044 | 49661 | 0.099 | ----- | ----- | ----- | ----- | 89 | BRN09dec21_009.gcd | 2021-12-09 15:16 | dd-2111-063 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 89 | BRN09dec21_009.gcd | 2021-12-09 15:16 | dd-2111-063 | Unknown | 0 | 12.067 | 169695 | 33.04 | ----- | ----- | ----- | ----- | 1 |  | 154.4425 | 29688.7334 | 130.1475 | 31973.5966
90 | BRN09dec21_010.gcd | 2021-12-09 15:46 | dd-2111-065 | Unknown | 0 | 6.043 | 198394 | 0.409 | ----- | ----- | ----- | ----- | 90 | BRN09dec21_010.gcd | 2021-12-09 15:46 | dd-2111-065 | Unknown | 0 | 6.013 | 1684 | 0.567 | ----- | ----- | ----- | ----- | 90 | BRN09dec21_010.gcd | 2021-12-09 15:46 | dd-2111-065 | Unknown | 0 | 12.219 | 13212 | 2.645 | ----- | ----- | ----- | ----- | 1 |  | 591.5 | 2473.3779 | 517.5984 | 2519.4381
91 | BRN09dec21_011.gcd | 2021-12-09 16:17 | dd-2111-070 | Unknown | 0 | 6.076 | 2650 | 0.001 | ----- | ----- | ----- | ----- | 91 | BRN09dec21_011.gcd | 2021-12-09 16:17 | dd-2111-070 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 91 | BRN09dec21_011.gcd | 2021-12-09 16:17 | dd-2111-070 | Unknown | 0 | 12.183 | 52119 | 10.342 | ----- | ----- | ----- | ----- | 1 |  | 2.9465 | 9527.1848 | 3.009 | 9917.1263
92 | BRN09dec21_012.gcd | 2021-12-09 16:48 | dd-2111-042 | Unknown | 0 | 6.057 | 2435 | 0 | ----- | ----- | ----- | ----- | 92 | BRN09dec21_012.gcd | 2021-12-09 16:48 | dd-2111-042 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 92 | BRN09dec21_012.gcd | 2021-12-09 16:48 | dd-2111-042 | Unknown | 0 | 12.185 | 31662 | 6.307 | ----- | ----- | ----- | ----- | 1 |  | 2.3417 | 5842.039 | 2.2504 | 6033.616
93 | BRN09dec21_013.gcd | 2021-12-09 17:18 | dd-2111-061 | Unknown | 0 | 6.034 | 54736 | 0.109 | ----- | ----- | ----- | ----- | 93 | BRN09dec21_013.gcd | 2021-12-09 17:18 | dd-2111-061 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 93 | BRN09dec21_013.gcd | 2021-12-09 17:18 | dd-2111-061 | Unknown | 0 | 12.053 | 184357 | 35.815 | ----- | ----- | ----- | ----- | 1 |  | 169.9506 | 32081.2222 | 143.456 | 34692.5636
94 | BRN09dec21_014.gcd | 2021-12-09 17:49 | dd-2111-073 | Unknown | 0 | 6.045 | 48019 | 0.095 | ----- | ----- | ----- | ----- | 94 | BRN09dec21_014.gcd | 2021-12-09 17:49 | dd-2111-073 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 94 | BRN09dec21_014.gcd | 2021-12-09 17:49 | dd-2111-073 | Unknown | 0 | 12.132 | 103553 | 20.372 | ----- | ----- | ----- | ----- | 1 |  | 149.4159 | 18560.4594 | 125.8402 | 19621.116
95 | BRN09dec21_015.gcd | 2021-12-09 18:19 | dd-2111-078 | Unknown | 0 | 6.044 | 53437 | 0.107 | ----- | ----- | ----- | ----- | 95 | BRN09dec21_015.gcd | 2021-12-09 18:19 | dd-2111-078 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 95 | BRN09dec21_015.gcd | 2021-12-09 18:19 | dd-2111-078 | Unknown | 0 | 12.195 | 27240 | 5.431 | ----- | ----- | ----- | ----- | 1 |  | 165.9851 | 5038.5496 | 140.0502 | 5192.3648
96 | BRN09dec21_016.gcd | 2021-12-09 18:50 | dd-2111-080 | Unknown | 0 | 6.048 | 55396 | 0.111 | ----- | ----- | ----- | ----- | 96 | BRN09dec21_016.gcd | 2021-12-09 18:50 | dd-2111-080 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 96 | BRN09dec21_016.gcd | 2021-12-09 18:50 | dd-2111-080 | Unknown | 0 | 12.203 | 28481 | 5.677 | ----- | ----- | ----- | ----- | 1 |  | 171.9643 | 5264.2904 | 145.1864 | 5428.5196
97 | BRN09dec21_017.gcd | 2021-12-09 19:21 | dd-2111-068 | Unknown | 0 | 6.032 | 361089 | 0.748 | ----- | ----- | ----- | ----- | 97 | BRN09dec21_017.gcd | 2021-12-09 19:21 | dd-2111-068 | Unknown | 0 | 5.982 | 2827 | 0.874 | ----- | ----- | ----- | ----- | 97 | BRN09dec21_017.gcd | 2021-12-09 19:21 | dd-2111-068 | Unknown | 0 | 12.193 | 21856 | 4.363 | ----- | ----- | ----- | ----- | 1 |  | 1028.2303 | 4056.9481 | 935.2948 | 4167.242
98 | BRN09dec21_018.gcd | 2021-12-09 19:51 | dd-2111-064 | Unknown | 0 | 6.043 | 194782 | 0.401 | ----- | ----- | ----- | ----- | 98 | BRN09dec21_018.gcd | 2021-12-09 19:51 | dd-2111-064 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 98 | BRN09dec21_018.gcd | 2021-12-09 19:51 | dd-2111-064 | Unknown | 0 | 12.211 | 15180 | 3.037 | ----- | ----- | ----- | ----- | 1 |  | 581.3138 | 2834.7378 | 508.2525 | 2894.8112
99 | BRN09dec21_019.gcd | 2021-12-09 20:22 | dd-2111-043 | Unknown | 0 | 6.042 | 107647 | 0.22 | ----- | ----- | ----- | ----- | 99 | BRN09dec21_019.gcd | 2021-12-09 20:22 | dd-2111-043 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 99 | BRN09dec21_019.gcd | 2021-12-09 20:22 | dd-2111-043 | Unknown | 0 | 12.205 | 21041 | 4.201 | ----- | ----- | ----- | ----- | 1 |  | 329.1314 | 3908.0416 | 281.8378 | 4011.9825
100 | BRN09dec21_020.gcd | 2021-12-09 20:53 | dd-2111-071 | Unknown | 0 | 6.062 | 2783 | 0.001 | ----- | ----- | ----- | ----- | 100 | BRN09dec21_020.gcd | 2021-12-09 20:53 | dd-2111-071 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 100 | BRN09dec21_020.gcd | 2021-12-09 20:53 | dd-2111-071 | Unknown | 0 | 12.182 | 49689 | 9.864 | ----- | ----- | ----- | ----- | 1 |  | 3.3216 | 9092.1917 | 3.4756 | 9456.5329
101 | BRN09dec21_021.gcd | 2021-12-09 21:23 | dd-2111-054 | Unknown | 0 | 6.046 | 79055 | 0.16 | ----- | ----- | ----- | ----- | 101 | BRN09dec21_021.gcd | 2021-12-09 21:23 | dd-2111-054 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 101 | BRN09dec21_021.gcd | 2021-12-09 21:23 | dd-2111-054 | Unknown | 0 | 12.217 | 23001 | 4.59 | ----- | ----- | ----- | ----- | 1 |  | 243.681 | 4266.0072 | 207.1432 | 4385.3309
102 | BRN09dec21_022.gcd | 2021-12-09 21:54 | dd-2111-056 | Unknown | 0 | 6.047 | 100303 | 0.204 | ----- | ----- | ----- | ----- | 102 | BRN09dec21_022.gcd | 2021-12-09 21:54 | dd-2111-056 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 102 | BRN09dec21_022.gcd | 2021-12-09 21:54 | dd-2111-056 | Unknown | 0 | 12.203 | 30571 | 6.091 | ----- | ----- | ----- | ----- | 1 |  | 307.3104 | 5644.0294 | 262.671 | 5826.1208
103 | BRN09dec21_023.gcd | 2021-12-09 22:25 | dd-2111-069 | Unknown | 0 | 6.071 | 2726 | 0.001 | ----- | ----- | ----- | ----- | 103 | BRN09dec21_023.gcd | 2021-12-09 22:25 | dd-2111-069 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 103 | BRN09dec21_023.gcd | 2021-12-09 22:25 | dd-2111-069 | Unknown | 0 | 12.179 | 49433 | 9.814 | ----- | ----- | ----- | ----- | 1 |  | 3.1607 | 9046.3221 | 3.2759 | 9407.9983
104 | BRN09dec21_024.gcd | 2021-12-09 22:55 | dd-2111-047 | Unknown | 0 | 6.05 | 14081 | 0.025 | ----- | ----- | ----- | ----- | 104 | BRN09dec21_024.gcd | 2021-12-09 22:55 | dd-2111-047 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 104 | BRN09dec21_024.gcd | 2021-12-09 22:55 | dd-2111-047 | Unknown | 0 | 12.212 | 20112 | 4.017 | ----- | ----- | ----- | ----- | 1 |  | 37.9314 | 3738.2048 | 36.6684 | 3834.9794
105 | BRN09dec21_025.gcd | 2021-12-09 23:26 | dd-2111-046 | Unknown | 0 | 6.054 | 13636 | 0.024 | ----- | ----- | ----- | ----- | 105 | BRN09dec21_025.gcd | 2021-12-09 23:26 | dd-2111-046 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 105 | BRN09dec21_025.gcd | 2021-12-09 23:26 | dd-2111-046 | Unknown | 0 | 12.218 | 19851 | 3.965 | ----- | ----- | ----- | ----- | 1 |  | 36.4656 | 3690.4701 | 35.4973 | 3785.2457
106 | BRN09dec21_026.gcd | 2021-12-09 23:56 | dd-2111-041 | Unknown | 0 | 6.073 | 2163 | 0 | ----- | ----- | ----- | ----- | 106 | BRN09dec21_026.gcd | 2021-12-09 23:56 | dd-2111-041 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 106 | BRN09dec21_026.gcd | 2021-12-09 23:56 | dd-2111-041 | Unknown | 0 | 12.198 | 31706 | 6.315 | ----- | ----- | ----- | ----- | 1 |  | 1.5793 | 5850.0216 | 1.283 | 6041.9835
107 | BRN09dec21_027.gcd | 2021-12-10 00:27 | dd-2111-062 | Unknown | 0 | 6.035 | 57219 | 0.114 | ----- | ----- | ----- | ----- | 107 | BRN09dec21_027.gcd | 2021-12-10 00:27 | dd-2111-062 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 107 | BRN09dec21_027.gcd | 2021-12-10 00:27 | dd-2111-062 | Unknown | 0 | 12.039 | 194314 | 37.692 | ----- | ----- | ----- | ----- | 1 |  | 177.5228 | 33690.5803 | 149.9651 | 36535.0348
108 | BRN09dec21_028.gcd | 2021-12-10 00:58 | dd-2111-058 | Unknown | 0 | 6.068 | 1506 | -0.002 | ----- | ----- | ----- | ----- | 108 | BRN09dec21_028.gcd | 2021-12-10 00:58 | dd-2111-058 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 108 | BRN09dec21_028.gcd | 2021-12-10 00:58 | dd-2111-058 | Unknown | 0 | 12.181 | 44713 | 8.884 | ----- | ----- | ----- | ----- | 1 |  | -0.24907 | 8199.1271 | -1.089 | 8512.7598
109 | BRN09dec21_029.gcd | 2021-12-10 01:28 | dd-2111-049 | Unknown | 0 | 6.036 | 24063 | 0.045 | ----- | ----- | ----- | ----- | 109 | BRN09dec21_029.gcd | 2021-12-10 01:28 | dd-2111-049 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 109 | BRN09dec21_029.gcd | 2021-12-10 01:28 | dd-2111-049 | Unknown | 0 | 12.209 | 13772 | 2.756 | ----- | ----- | ----- | ----- | 1 |  | 75.5795 | 2576.2533 | 62.9249 | 2626.2644
110 | BRN09dec21_030.gcd | 2021-12-10 01:59 | dd-2111-060 | Unknown | 0 | 6.084 | 1637 | -0.001 | ----- | ----- | ----- | ----- | 110 | BRN09dec21_030.gcd | 2021-12-10 01:59 | dd-2111-060 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 110 | BRN09dec21_030.gcd | 2021-12-10 01:59 | dd-2111-060 | Unknown | 0 | 12.19 | 42304 | 8.409 | ----- | ----- | ----- | ----- | 1 |  | 0.11403 | 7765.6566 | -0.61204 | 8055.5674
111 | BRN09dec21_031.gcd | 2021-12-10 02:30 | dd-2111-067 | Unknown | 0 | 6.045 | 335214 | 0.694 | ----- | ----- | ----- | ----- | 111 | BRN09dec21_031.gcd | 2021-12-10 02:30 | dd-2111-067 | Unknown | 0 | 6 | 3214 | 0.978 | ----- | ----- | ----- | ----- | 111 | BRN09dec21_031.gcd | 2021-12-10 02:30 | dd-2111-067 | Unknown | 0 | 12.217 | 17801 | 3.558 | ----- | ----- | ----- | ----- | 1 |  | 961.6623 | 3315.2451 | 869.2924 | 3394.5408
112 | BRN09dec21_032.gcd | 2021-12-10 03:00 | dd-2111-055 | Unknown | 0 | 6.037 | 105028 | 0.214 | ----- | ----- | ----- | ----- | 112 | BRN09dec21_032.gcd | 2021-12-10 03:00 | dd-2111-055 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 112 | BRN09dec21_032.gcd | 2021-12-10 03:00 | dd-2111-055 | Unknown | 0 | 12.195 | 27119 | 5.407 | ----- | ----- | ----- | ----- | 1 |  | 321.3597 | 5016.529 | 275.004 | 5169.3365
113 | BRN09dec21_033.gcd | 2021-12-10 03:31 | dd-2111-072 | Unknown | 0 | 6.034 | 53524 | 0.107 | ----- | ----- | ----- | ----- | 113 | BRN09dec21_033.gcd | 2021-12-10 03:31 | dd-2111-072 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 113 | BRN09dec21_033.gcd | 2021-12-10 03:31 | dd-2111-072 | Unknown | 0 | 12.1 | 113400 | 22.274 | ----- | ----- | ----- | ----- | 1 |  | 166.2508 | 20251.9954 | 140.2783 | 21469.1256
114 | BRN09dec21_034.gcd | 2021-12-10 04:01 | dd-2111-077 | Unknown | 0 | 6.047 | 68427 | 0.138 | ----- | ----- | ----- | ----- | 114 | BRN09dec21_034.gcd | 2021-12-10 04:01 | dd-2111-077 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 114 | BRN09dec21_034.gcd | 2021-12-10 04:01 | dd-2111-077 | Unknown | 0 | 12.097 | 132697 | 25.985 | ----- | ----- | ----- | ----- | 1 |  | 211.5778 | 23531.5686 | 179.328 | 25081.4943
115 | BRN09dec21_035.gcd | 2021-12-10 04:32 | dd-2111-066 | Unknown | 0 | 6.044 | 340178 | 0.704 | ----- | ----- | ----- | ----- | 115 | BRN09dec21_035.gcd | 2021-12-10 04:32 | dd-2111-066 | Unknown | 0 | 5.997 | 3062 | 0.937 | ----- | ----- | ----- | ----- | 115 | BRN09dec21_035.gcd | 2021-12-10 04:32 | dd-2111-066 | Unknown | 0 | 12.211 | 17925 | 3.582 | ----- | ----- | ----- | ----- | 1 |  | 974.5178 | 3337.9566 | 881.9673 | 3418.1776
116 | BRN09dec21_036.gcd | 2021-12-10 05:03 | dd-2111-045 | Unknown | 0 | 6.046 | 104679 | 0.213 | ----- | ----- | ----- | ----- | 116 | BRN09dec21_036.gcd | 2021-12-10 05:03 | dd-2111-045 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 116 | BRN09dec21_036.gcd | 2021-12-10 05:03 | dd-2111-045 | Unknown | 0 | 12.209 | 20275 | 4.049 | ----- | ----- | ----- | ----- | 1 |  | 320.3233 | 3768.0118 | 274.0933 | 3866.0379
117 | BRN09dec21_037.gcd | 2021-12-10 05:33 | dd-2111-076 | Unknown | 0 | 6.046 | 70458 | 0.142 | ----- | ----- | ----- | ----- | 117 | BRN09dec21_037.gcd | 2021-12-10 05:33 | dd-2111-076 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 117 | BRN09dec21_037.gcd | 2021-12-10 05:33 | dd-2111-076 | Unknown | 0 | 12.096 | 138530 | 27.103 | ----- | ----- | ----- | ----- | 1 |  | 217.7269 | 24513.7005 | 184.6455 | 26171.0395
118 | BRN09dec21_038.gcd | 2021-12-10 06:04 | dd-2111-048 | Unknown | 0 | 6.051 | 13709 | 0.024 | ----- | ----- | ----- | ----- | 118 | BRN09dec21_038.gcd | 2021-12-10 06:04 | dd-2111-048 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 118 | BRN09dec21_038.gcd | 2021-12-10 06:04 | dd-2111-048 | Unknown | 0 | 12.213 | 19933 | 3.981 | ----- | ----- | ----- | ----- | 1 |  | 36.7055 | 3705.4681 | 35.6894 | 3800.8711
119 | BRN09dec21_039.gcd | 2021-12-10 06:35 | dd-2111-053 | Unknown | 0 | 6.047 | 76839 | 0.155 | ----- | ----- | ----- | ----- | 119 | BRN09dec21_039.gcd | 2021-12-10 06:35 | dd-2111-053 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 119 | BRN09dec21_039.gcd | 2021-12-10 06:35 | dd-2111-053 | Unknown | 0 | 12.218 | 23387 | 4.667 | ----- | ----- | ----- | ----- | 1 |  | 237.0025 | 4336.4476 | 201.3458 | 4458.843
120 | BRN09dec21_040.gcd | 2021-12-10 07:05 | dd-2111-074 | Unknown | 0 | 6.034 | 45707 | 0.09 | ----- | ----- | ----- | ----- | 120 | BRN09dec21_040.gcd | 2021-12-10 07:05 | dd-2111-074 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 120 | BRN09dec21_040.gcd | 2021-12-10 07:05 | dd-2111-074 | Unknown | 0 | 12.122 | 94685 | 18.654 | ----- | ----- | ----- | ----- | 1 |  | 142.3307 | 17026.6803 | 119.7743 | 17954.139
121 | BRN09dec21_041.gcd | 2021-12-10 07:36 | dd-2111-079 | Unknown | 0 | 6.046 | 53463 | 0.107 | ----- | ----- | ----- | ----- | 121 | BRN09dec21_041.gcd | 2021-12-10 07:36 | dd-2111-079 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 121 | BRN09dec21_041.gcd | 2021-12-10 07:36 | dd-2111-079 | Unknown | 0 | 12.2 | 26467 | 5.278 | ----- | ----- | ----- | ----- | 1 |  | 166.0645 | 4897.8413 | 140.1183 | 5045.2422
122 | BRN09dec21_042.gcd | 2021-12-10 08:07 | dd-2111-061 | Unknown | 0 | 6.047 | 22975 | 0.043 | ----- | ----- | ----- | ----- | 122 | BRN09dec21_042.gcd | 2021-12-10 08:07 | dd-2111-061 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 122 | BRN09dec21_042.gcd | 2021-12-10 08:07 | dd-2111-061 | Unknown | 0 | 12.223 | 12798 | 2.562 | ----- | ----- | ----- | ----- | 1 |  | 72.2038 | 2397.2982 | 60.0642 | 2440.4564
39 | BRN13dec21_001.gcd | 2021-12-13 10:29 | air | Unknown | 0 | 6.078 | 1685 | -0.001 | ----- | ----- | ----- | ----- | 39 | BRN13dec21_001.gcd | 2021-12-13 10:29 | air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 39 | BRN13dec21_001.gcd | 2021-12-13 10:29 | air | Unknown | 0 | 12.291 | 2293 | 0.467 | ----- | ----- | ----- | ----- | 1 |  | 0.24726 | 459.6222 | -0.43778 | 434.4781
40 | BRN13dec21_002.gcd | 2021-12-13 11:00 | air + 100 | Unknown | 0 | 6.036 | 912296 | 1.899 | ----- | ----- | ----- | ----- | 40 | BRN13dec21_002.gcd | 2021-12-13 11:00 | air + 100 | Unknown | 0 | 5.988 | 7529 | 2.136 | ----- | ----- | ----- | ----- | 40 | BRN13dec21_002.gcd | 2021-12-13 11:00 | air + 100 | Unknown | 0 | 12.25 | 9976 | 2 | ----- | ----- | ----- | ----- | 1 |  | 1989.4433 | 1878.1335 | 2215.3979 | 1901.935
41 | BRN13dec21_003.gcd | 2021-12-13 11:30 | dd-2111-081 | Unknown | 0 | 6.047 | 9940 | 0.016 | ----- | ----- | ----- | ----- | 41 | BRN13dec21_003.gcd | 2021-12-13 11:30 | dd-2111-081 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 41 | BRN13dec21_003.gcd | 2021-12-13 11:30 | dd-2111-081 | Unknown | 0 | 12.156 | 62062 | 12.294 | ----- | ----- | ----- | ----- | 1 |  | 24.6163 | 11299.3541 | 25.56 | 11799.7679
42 | BRN13dec21_004.gcd | 2021-12-13 12:01 | dd-2111-089 | Unknown | 0 | 6.042 | 26904 | 0.051 | ----- | ----- | ----- | ----- | 42 | BRN13dec21_004.gcd | 2021-12-13 12:01 | dd-2111-089 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 42 | BRN13dec21_004.gcd | 2021-12-13 12:01 | dd-2111-089 | Unknown | 0 | 12.21 | 15469 | 3.094 | ----- | ----- | ----- | ----- | 1 |  | 84.3849 | 2887.7624 | 70.3934 | 2949.9239
43 | BRN13dec21_005.gcd | 2021-12-13 12:31 | dd-2111-098 | Unknown | 0 | 6.103 | 1976 | -0.001 | ----- | ----- | ----- | ----- | 43 | BRN13dec21_005.gcd | 2021-12-13 12:31 | dd-2111-098 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 43 | BRN13dec21_005.gcd | 2021-12-13 12:31 | dd-2111-098 | Unknown | 0 | 12.247 | 3055 | 0.619 | ----- | ----- | ----- | ----- | 1 |  | 1.0571 | 600.6412 | 0.61298 | 580.1062
44 | BRN13dec21_006.gcd | 2021-12-13 13:02 | dd-2111-083 | Unknown | 0 | 6.05 | 7139 | 0.01 | ----- | ----- | ----- | ----- | 44 | BRN13dec21_006.gcd | 2021-12-13 13:02 | dd-2111-083 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 44 | BRN13dec21_006.gcd | 2021-12-13 13:02 | dd-2111-083 | Unknown | 0 | 12.159 | 57695 | 11.437 | ----- | ----- | ----- | ----- | 1 |  | 16.023 | 10522.5397 | 17.624 | 10973.3011
45 | BRN13dec21_007.gcd | 2021-12-13 13:33 | dd-2111-110 | Unknown | 0 | 6.071 | 2211 | 0 | ----- | ----- | ----- | ----- | 45 | BRN13dec21_007.gcd | 2021-12-13 13:33 | dd-2111-110 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 45 | BRN13dec21_007.gcd | 2021-12-13 13:33 | dd-2111-110 | Unknown | 0 | 12.257 | 2563 | 0.521 | ----- | ----- | ----- | ----- | 1 |  | 1.7136 | 509.5979 | 1.4544 | 486.0808
46 | BRN13dec21_008.gcd | 2021-12-13 14:03 | dd-2111-114 | Unknown | 0 | 6.079 | 1910 | -0.001 | ----- | ----- | ----- | ----- | 46 | BRN13dec21_008.gcd | 2021-12-13 14:03 | dd-2111-114 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 46 | BRN13dec21_008.gcd | 2021-12-13 14:03 | dd-2111-114 | Unknown | 0 | 12.261 | 3034 | 0.615 | ----- | ----- | ----- | ----- | 1 |  | 0.87307 | 596.7558 | 0.37552 | 576.0931
47 | BRN13dec21_009.gcd | 2021-12-13 14:34 | dd-2111-095 | Unknown | 0 | 6.068 | 1985 | -0.001 | ----- | ----- | ----- | ----- | 47 | BRN13dec21_009.gcd | 2021-12-13 14:34 | dd-2111-095 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 47 | BRN13dec21_009.gcd | 2021-12-13 14:34 | dd-2111-095 | Unknown | 0 | 12.213 | 2694 | 0.547 | ----- | ----- | ----- | ----- | 1 |  | 1.0822 | 533.842 | 0.64532 | 511.1168
48 | BRN13dec21_010.gcd | 2021-12-13 15:05 | dd-2111-088 | Unknown | 0 | 6.034 | 28891 | 0.055 | ----- | ----- | ----- | ----- | 48 | BRN13dec21_010.gcd | 2021-12-13 15:05 | dd-2111-088 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 48 | BRN13dec21_010.gcd | 2021-12-13 15:05 | dd-2111-088 | Unknown | 0 | 12.195 | 16599 | 3.319 | ----- | ----- | ----- | ----- | 1 |  | 90.5356 | 3094.9898 | 75.6158 | 3165.3907
49 | BRN13dec21_011.gcd | 2021-12-13 15:35 | dd-2111-101 | Unknown | 0 | 6.062 | 1671 | -0.001 | ----- | ----- | ----- | ----- | 49 | BRN13dec21_011.gcd | 2021-12-13 15:35 | dd-2111-101 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | BRN13dec21_011.gcd | 2021-12-13 15:35 | dd-2111-101 | Unknown | 0 | 12.253 | 3636 | 0.735 | ----- | ----- | ----- | ----- | 1 |  | 0.20839 | 708.1145 | -0.48858 | 691.1302
50 | BRN13dec21_012.gcd | 2021-12-13 16:06 | dd-2111-115 | Unknown | 0 | 6.077 | 1677 | -0.001 | ----- | ----- | ----- | ----- | 50 | BRN13dec21_012.gcd | 2021-12-13 16:06 | dd-2111-115 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 50 | BRN13dec21_012.gcd | 2021-12-13 16:06 | dd-2111-115 | Unknown | 0 | 12.212 | 3912 | 0.791 | ----- | ----- | ----- | ----- | 1 |  | 0.22505 | 759.1542 | -0.4668 | 743.8676
51 | BRN13dec21_013.gcd | 2021-12-13 16:36 | dd-2111-091 | Unknown | 0 | 6.039 | 91200 | 0.185 | ----- | ----- | ----- | ----- | 51 | BRN13dec21_013.gcd | 2021-12-13 16:36 | dd-2111-091 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | BRN13dec21_013.gcd | 2021-12-13 16:36 | dd-2111-091 | Unknown | 0 | 12.186 | 30188 | 6.015 | ----- | ----- | ----- | ----- | 1 |  | 280.1407 | 5574.4819 | 238.8953 | 5753.2696
52 | BRN13dec21_014.gcd | 2021-12-13 17:07 | dd-2111-109 | Unknown | 0 | 6.07 | 2215 | 0 | ----- | ----- | ----- | ----- | 52 | BRN13dec21_014.gcd | 2021-12-13 17:07 | dd-2111-109 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | BRN13dec21_014.gcd | 2021-12-13 17:07 | dd-2111-109 | Unknown | 0 | 12.218 | 8513 | 1.709 | ----- | ----- | ----- | ----- | 1 |  | 1.7248 | 1608.5912 | 1.4686 | 1622.6492
53 | BRN13dec21_015.gcd | 2021-12-13 17:38 | dd-2111-111 | Unknown | 0 | 6.07 | 1948 | -0.001 | ----- | ----- | ----- | ----- | 53 | BRN13dec21_015.gcd | 2021-12-13 17:38 | dd-2111-111 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | BRN13dec21_015.gcd | 2021-12-13 17:38 | dd-2111-111 | Unknown | 0 | 12.215 | 4631 | 0.934 | ----- | ----- | ----- | ----- | 1 |  | 0.97898 | 892.0712 | 0.5123 | 881.2405
54 | BRN13dec21_016.gcd | 2021-12-13 18:08 | dd-2111-112 | Unknown | 0 | 6.057 | 1857 | -0.001 | ----- | ----- | ----- | ----- | 54 | BRN13dec21_016.gcd | 2021-12-13 18:08 | dd-2111-112 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | BRN13dec21_016.gcd | 2021-12-13 18:08 | dd-2111-112 | Unknown | 0 | 12.253 | 4105 | 0.829 | ----- | ----- | ----- | ----- | 1 |  | 0.72546 | 794.8393 | 0.18447 | 780.744
55 | BRN13dec21_017.gcd | 2021-12-13 18:39 | dd-2111-108 | Unknown | 0 | 6.059 | 2106 | 0 | ----- | ----- | ----- | ----- | 55 | BRN13dec21_017.gcd | 2021-12-13 18:39 | dd-2111-108 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | BRN13dec21_017.gcd | 2021-12-13 18:39 | dd-2111-108 | Unknown | 0 | 12.201 | 3823 | 0.773 | ----- | ----- | ----- | ----- | 1 |  | 1.42 | 742.6968 | 1.0792 | 726.862
56 | BRN13dec21_018.gcd | 2021-12-13 19:09 | dd-2111-090 | Unknown | 0 | 6.041 | 88844 | 0.18 | ----- | ----- | ----- | ----- | 56 | BRN13dec21_018.gcd | 2021-12-13 19:09 | dd-2111-090 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | BRN13dec21_018.gcd | 2021-12-13 19:09 | dd-2111-090 | Unknown | 0 | 12.193 | 29232 | 5.826 | ----- | ----- | ----- | ----- | 1 |  | 273.0867 | 5400.8052 | 232.7385 | 5571.4061
57 | BRN13dec21_019.gcd | 2021-12-13 19:40 | dd-2111-106 | Unknown | 0 | 6.072 | 1421 | -0.002 | ----- | ----- | ----- | ----- | 57 | BRN13dec21_019.gcd | 2021-12-13 19:40 | dd-2111-106 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | BRN13dec21_019.gcd | 2021-12-13 19:40 | dd-2111-106 | Unknown | 0 | 12.267 | 3121 | 0.633 | ----- | ----- | ----- | ----- | 1 |  | -0.48429 | 612.852 | -1.3995 | 592.7188
58 | BRN13dec21_020.gcd | 2021-12-13 20:11 | dd-2111-092 | Unknown | 0 | 6.04 | 87253 | 0.177 | ----- | ----- | ----- | ----- | 58 | BRN13dec21_020.gcd | 2021-12-13 20:11 | dd-2111-092 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | BRN13dec21_020.gcd | 2021-12-13 20:11 | dd-2111-092 | Unknown | 0 | 12.191 | 28978 | 5.775 | ----- | ----- | ----- | ----- | 1 |  | 268.3181 | 5354.6417 | 228.5801 | 5523.0817
59 | BRN13dec21_021.gcd | 2021-12-13 20:41 | dd-2111-085 | Unknown | 0 | 6.046 | 10215 | 0.016 | ----- | ----- | ----- | ----- | 59 | BRN13dec21_021.gcd | 2021-12-13 20:41 | dd-2111-085 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | BRN13dec21_021.gcd | 2021-12-13 20:41 | dd-2111-085 | Unknown | 0 | 12.218 | 11331 | 2.27 | ----- | ----- | ----- | ----- | 1 |  | 25.4779 | 2127.5383 | 26.4928 | 2160.5416
60 | BRN13dec21_022.gcd | 2021-12-13 21:12 | dd-2111-104 | Unknown | 0 | 6.073 | 2235 | 0 | ----- | ----- | ----- | ----- | 60 | BRN13dec21_022.gcd | 2021-12-13 21:12 | dd-2111-104 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | BRN13dec21_022.gcd | 2021-12-13 21:12 | dd-2111-104 | Unknown | 0 | 12.249 | 2841 | 0.577 | ----- | ----- | ----- | ----- | 1 |  | 1.7808 | 561.0448 | 1.5399 | 539.21
61 | BRN13dec21_023.gcd | 2021-12-13 21:42 | dd-2111-099 | Unknown | 0 | 6.064 | 1628 | -0.001 | ----- | ----- | ----- | ----- | 61 | BRN13dec21_023.gcd | 2021-12-13 21:42 | dd-2111-099 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | BRN13dec21_023.gcd | 2021-12-13 21:42 | dd-2111-099 | Unknown | 0 | 12.195 | 2673 | 0.543 | ----- | ----- | ----- | ----- | 1 |  | 0.089061 | 529.9557 | -0.64475 | 507.1034
62 | BRN13dec21_024.gcd | 2021-12-13 22:13 | dd-2111-084 | Unknown | 0 | 6.035 | 11136 | 0.018 | ----- | ----- | ----- | ----- | 62 | BRN13dec21_024.gcd | 2021-12-13 22:13 | dd-2111-084 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | BRN13dec21_024.gcd | 2021-12-13 22:13 | dd-2111-084 | Unknown | 0 | 12.201 | 13953 | 2.792 | ----- | ----- | ----- | ----- | 1 |  | 28.3871 | 2609.4957 | 28.9173 | 2660.79
63 | BRN13dec21_025.gcd | 2021-12-13 22:44 | dd-2111-113 | Unknown | 0 | 6.073 | 2179 | 0 | ----- | ----- | ----- | ----- | 63 | BRN13dec21_025.gcd | 2021-12-13 22:44 | dd-2111-113 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | BRN13dec21_025.gcd | 2021-12-13 22:44 | dd-2111-113 | Unknown | 0 | 12.261 | 3477 | 0.704 | ----- | ----- | ----- | ----- | 1 |  | 1.6241 | 678.7069 | 1.3402 | 660.7478
64 | BRN13dec21_026.gcd | 2021-12-13 23:14 | dd-2111-094 | Unknown | 0 | 6.076 | 1713 | -0.001 | ----- | ----- | ----- | ----- | 64 | BRN13dec21_026.gcd | 2021-12-13 23:14 | dd-2111-094 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | BRN13dec21_026.gcd | 2021-12-13 23:14 | dd-2111-094 | Unknown | 0 | 12.269 | 3299 | 0.668 | ----- | ----- | ----- | ----- | 1 |  | 0.32502 | 645.7814 | -0.33625 | 626.7338
65 | BRN13dec21_027.gcd | 2021-12-13 23:45 | dd-2111-107 | Unknown | 0 | 6.085 | 1919 | -0.001 | ----- | ----- | ----- | ----- | 65 | BRN13dec21_027.gcd | 2021-12-13 23:45 | dd-2111-107 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | BRN13dec21_027.gcd | 2021-12-13 23:45 | dd-2111-107 | Unknown | 0 | 12.252 | 2998 | 0.608 | ----- | ----- | ----- | ----- | 1 |  | 0.89815 | 590.095 | 0.40793 | 569.2135
66 | BRN13dec21_028.gcd | 2021-12-14 00:15 | dd-2111-096 | Unknown | 0 | 6.09 | 1575 | -0.002 | ----- | ----- | ----- | ----- | 66 | BRN13dec21_028.gcd | 2021-12-14 00:15 | dd-2111-096 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | BRN13dec21_028.gcd | 2021-12-14 00:15 | dd-2111-096 | Unknown | 0 | 12.254 | 2926 | 0.594 | ----- | ----- | ----- | ----- | 1 |  | -0.057912 | 576.773 | -0.83753 | 555.454
67 | BRN13dec21_029.gcd | 2021-12-14 00:46 | dd-2111-097 | Unknown | 0 | 6.082 | 1534 | -0.002 | ----- | ----- | ----- | ----- | 67 | BRN13dec21_029.gcd | 2021-12-14 00:46 | dd-2111-097 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | BRN13dec21_029.gcd | 2021-12-14 00:46 | dd-2111-097 | Unknown | 0 | 12.237 | 2952 | 0.599 | ----- | ----- | ----- | ----- | 1 |  | -0.17153 | 581.5838 | -0.98688 | 560.4227
68 | BRN13dec21_030.gcd | 2021-12-14 01:17 | dd-2111-087 | Unknown | 0 | 6.035 | 27737 | 0.053 | ----- | ----- | ----- | ----- | 68 | BRN13dec21_030.gcd | 2021-12-14 01:17 | dd-2111-087 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | BRN13dec21_030.gcd | 2021-12-14 01:17 | dd-2111-087 | Unknown | 0 | 12.208 | 18529 | 3.702 | ----- | ----- | ----- | ----- | 1 |  | 86.9642 | 3448.5562 | 72.5829 | 3533.3044
69 | BRN13dec21_031.gcd | 2021-12-14 01:47 | dd-2111-100 | Unknown | 0 | 6.081 | 1748 | -0.001 | ----- | ----- | ----- | ----- | 69 | BRN13dec21_031.gcd | 2021-12-14 01:47 | dd-2111-100 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 69 | BRN13dec21_031.gcd | 2021-12-14 01:47 | dd-2111-100 | Unknown | 0 | 12.259 | 3282 | 0.665 | ----- | ----- | ----- | ----- | 1 |  | 0.42227 | 642.6367 | -0.20946 | 623.4853
70 | BRN13dec21_032.gcd | 2021-12-14 02:18 | dd-2111-102 | Unknown | 0 | 6.05 | 1976 | -0.001 | ----- | ----- | ----- | ----- | 70 | BRN13dec21_032.gcd | 2021-12-14 02:18 | dd-2111-102 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 70 | BRN13dec21_032.gcd | 2021-12-14 02:18 | dd-2111-102 | Unknown | 0 | 12.234 | 2709 | 0.55 | ----- | ----- | ----- | ----- | 1 |  | 1.0571 | 536.618 | 0.61298 | 513.9835
71 | BRN13dec21_033.gcd | 2021-12-14 02:49 | dd-2111-116 | Unknown | 0 | 6.071 | 1559 | -0.002 | ----- | ----- | ----- | ----- | 71 | BRN13dec21_033.gcd | 2021-12-14 02:49 | dd-2111-116 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 71 | BRN13dec21_033.gcd | 2021-12-14 02:49 | dd-2111-116 | Unknown | 0 | 12.253 | 3732 | 0.755 | ----- | ----- | ----- | ----- | 1 |  | -0.10226 | 725.8686 | -0.89579 | 709.4739
72 | BRN13dec21_034.gcd | 2021-12-14 03:19 | dd-2111-082 | Unknown | 0 | 6.05 | 7226 | 0.01 | ----- | ----- | ----- | ----- | 72 | BRN13dec21_034.gcd | 2021-12-14 03:19 | dd-2111-082 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 72 | BRN13dec21_034.gcd | 2021-12-14 03:19 | dd-2111-082 | Unknown | 0 | 12.165 | 65099 | 12.888 | ----- | ----- | ----- | ----- | 1 |  | 16.2849 | 11838.1729 | 17.8841 | 12374.1629
73 | BRN13dec21_035.gcd | 2021-12-14 03:50 | dd-2111-093 | Unknown | 0 | 6.078 | 1606 | -0.001 | ----- | ----- | ----- | ----- | 73 | BRN13dec21_035.gcd | 2021-12-14 03:50 | dd-2111-093 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 73 | BRN13dec21_035.gcd | 2021-12-14 03:50 | dd-2111-093 | Unknown | 0 | 12.237 | 3801 | 0.768 | ----- | ----- | ----- | ----- | 1 |  | 0.028039 | 738.6285 | -0.72473 | 722.6583
74 | BRN13dec21_036.gcd | 2021-12-14 04:20 | dd-2111-103 | Unknown | 0 | 6.064 | 1833 | -0.001 | ----- | ----- | ----- | ----- | 74 | BRN13dec21_036.gcd | 2021-12-14 04:20 | dd-2111-103 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 74 | BRN13dec21_036.gcd | 2021-12-14 04:20 | dd-2111-103 | Unknown | 0 | 12.257 | 3007 | 0.61 | ----- | ----- | ----- | ----- | 1 |  | 0.65866 | 591.7602 | 0.097853 | 570.9334
75 | BRN13dec21_037.gcd | 2021-12-14 04:51 | dd-2111-086 | Unknown | 0 | 6.087 | 11546 | 0.019 | ----- | ----- | ----- | ----- | 75 | BRN13dec21_037.gcd | 2021-12-14 04:51 | dd-2111-086 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 75 | BRN13dec21_037.gcd | 2021-12-14 04:51 | dd-2111-086 | Unknown | 0 | 12.268 | 11667 | 2.337 | ----- | ----- | ----- | ----- | 1 |  | 29.6938 | 2189.3476 | 29.9965 | 2224.6591
76 | BRN13dec21_038.gcd | 2021-12-14 05:22 | dd-2111-105 | Unknown | 0 | 6.065 | 1375 | -0.002 | ----- | ----- | ----- | ----- | 76 | BRN13dec21_038.gcd | 2021-12-14 05:22 | dd-2111-105 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 76 | BRN13dec21_038.gcd | 2021-12-14 05:22 | dd-2111-105 | Unknown | 0 | 12.262 | 3120 | 0.632 | ----- | ----- | ----- | ----- | 1 |  | -0.61145 | 612.667 | -1.5679 | 592.5277
77 | BRN14dec21_001.gcd | 2021-12-14 10:10 | air | Unknown | 0 | 6.065 | 1417 | -0.002 | ----- | ----- | ----- | ----- | 77 | BRN14dec21_001.gcd | 2021-12-14 10:10 | air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 77 | BRN14dec21_001.gcd | 2021-12-14 10:10 | air | Unknown | 0 | 12.276 | 2453 | 0.499 | ----- | ----- | ----- | ----- | 1 |  | -0.49535 | 489.2385 | -1.4142 | 465.0578
78 | BRN14dec21_002.gcd | 2021-12-14 10:41 | air + 100 | Unknown | 0 | 6.027 | 939459 | 1.955 | ----- | ----- | ----- | ----- | 78 | BRN14dec21_002.gcd | 2021-12-14 10:41 | air + 100 | Unknown | 0 | 5.972 | 7193 | 2.046 | ----- | ----- | ----- | ----- | 78 | BRN14dec21_002.gcd | 2021-12-14 10:41 | air + 100 | Unknown | 0 | 12.243 | 9722 | 1.95 | ----- | ----- | ----- | ----- | 1 |  | 1925.6207 | 1831.356 | 2129.3468 | 1853.4515
79 | BRN14dec21_003.gcd | 2021-12-14 11:11 | dd-2110-D19 | Unknown | 0 | 6.035 | 7070 | 0.01 | ----- | ----- | ----- | ----- | 79 | BRN14dec21_003.gcd | 2021-12-14 11:11 | dd-2110-D19 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 79 | BRN14dec21_003.gcd | 2021-12-14 11:11 | dd-2110-D19 | Unknown | 0 | 12.186 | 20926 | 4.179 | ----- | ----- | ----- | ----- | 1 |  | 15.8155 | 3887.0236 | 17.417 | 3990.073
80 | BRN14dec21_004.gcd | 2021-12-14 11:42 | dd-2110-D31 | Unknown | 0 | 6.039 | 17625 | 0.032 | ----- | ----- | ----- | ----- | 80 | BRN14dec21_004.gcd | 2021-12-14 11:42 | dd-2110-D31 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 80 | BRN14dec21_004.gcd | 2021-12-14 11:42 | dd-2110-D31 | Unknown | 0 | 12.201 | 15751 | 3.15 | ----- | ----- | ----- | ----- | 1 |  | 55.5768 | 2939.4925 | 45.9932 | 3003.6992
81 | BRN14dec21_005.gcd | 2021-12-14 12:13 | dd-2110-D33 | Unknown | 0 | 6.033 | 17867 | 0.032 | ----- | ----- | ----- | ----- | 81 | BRN14dec21_005.gcd | 2021-12-14 12:13 | dd-2110-D33 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 81 | BRN14dec21_005.gcd | 2021-12-14 12:13 | dd-2110-D33 | Unknown | 0 | 12.191 | 17408 | 3.48 | ----- | ----- | ----- | ----- | 1 |  | 56.3299 | 3243.2515 | 46.6299 | 3319.6242
82 | BRN14dec21_006.gcd | 2021-12-14 12:43 | dd-2110-D24 | Unknown | 0 | 6.071 | 1841 | -0.001 | ----- | ----- | ----- | ----- | 82 | BRN14dec21_006.gcd | 2021-12-14 12:43 | dd-2110-D24 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 82 | BRN14dec21_006.gcd | 2021-12-14 12:43 | dd-2110-D24 | Unknown | 0 | 12.216 | 4094 | 0.827 | ----- | ----- | ----- | ----- | 1 |  | 0.68093 | 792.8055 | 0.12673 | 778.6423
83 | BRN14dec21_007.gcd | 2021-12-14 13:14 | dd-2110-D4 | Unknown | 0 | 6.068 | 2424 | 0 | ----- | ----- | ----- | ----- | 83 | BRN14dec21_007.gcd | 2021-12-14 13:14 | dd-2110-D4 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 83 | BRN14dec21_007.gcd | 2021-12-14 13:14 | dd-2110-D4 | Unknown | 0 | 12.215 | 5116 | 1.031 | ----- | ----- | ----- | ----- | 1 |  | 2.3108 | 981.6935 | 2.2115 | 973.8956
84 | BRN14dec21_008.gcd | 2021-12-14 13:44 | dd-2110-D6 | Unknown | 0 | 6.064 | 1660 | -0.001 | ----- | ----- | ----- | ----- | 84 | BRN14dec21_008.gcd | 2021-12-14 13:44 | dd-2110-D6 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 84 | BRN14dec21_008.gcd | 2021-12-14 13:44 | dd-2110-D6 | Unknown | 0 | 12.259 | 2544 | 0.517 | ----- | ----- | ----- | ----- | 1 |  | 0.17786 | 506.0814 | -0.52851 | 482.4496
85 | BRN14dec21_009.gcd | 2021-12-14 14:15 | dd-2110-D3 | Unknown | 0 | 6.04 | 519050 | 1.078 | ----- | ----- | ----- | ----- | 85 | BRN14dec21_009.gcd | 2021-12-14 14:15 | dd-2110-D3 | Unknown | 0 | 5.991 | 4468 | 1.315 | ----- | ----- | ----- | ----- | 85 | BRN14dec21_009.gcd | 2021-12-14 14:15 | dd-2110-D3 | Unknown | 0 | 12.166 | 59885 | 11.867 | ----- | ----- | ----- | ----- | 1 |  | 1410.9114 | 10912.4024 | 1334.7136 | 11387.8422
86 | BRN14dec21_010.gcd | 2021-12-14 14:46 | dd-2110-D16 | Unknown | 0 | 6.07 | 1541 | -0.002 | ----- | ----- | ----- | ----- | 86 | BRN14dec21_010.gcd | 2021-12-14 14:46 | dd-2110-D16 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 86 | BRN14dec21_010.gcd | 2021-12-14 14:46 | dd-2110-D16 | Unknown | 0 | 12.265 | 2828 | 0.574 | ----- | ----- | ----- | ----- | 1 |  | -0.15213 | 558.6392 | -0.96137 | 536.7256
87 | BRN14dec21_011.gcd | 2021-12-14 15:16 | dd-2110-D13 | Unknown | 0 | 6.045 | 30258 | 0.058 | ----- | ----- | ----- | ----- | 87 | BRN14dec21_011.gcd | 2021-12-14 15:16 | dd-2110-D13 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 87 | BRN14dec21_011.gcd | 2021-12-14 15:16 | dd-2110-D13 | Unknown | 0 | 12.207 | 16896 | 3.378 | ----- | ----- | ----- | ----- | 1 |  | 94.7633 | 3149.4291 | 79.208 | 3222.0154
88 | BRN14dec21_012.gcd | 2021-12-14 15:47 | dd-2110-D8 | Unknown | 0 | 6.044 | 22781 | 0.043 | ----- | ----- | ----- | ----- | 88 | BRN14dec21_012.gcd | 2021-12-14 15:47 | dd-2110-D8 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 88 | BRN14dec21_012.gcd | 2021-12-14 15:47 | dd-2110-D8 | Unknown | 0 | 12.203 | 17079 | 3.414 | ----- | ----- | ----- | ----- | 1 |  | 71.6017 | 3182.9671 | 59.5541 | 3256.9039
89 | BRN14dec21_013.gcd | 2021-12-14 16:18 | dd-2110-D11 | Unknown | 0 | 6.078 | 1883 | -0.001 | ----- | ----- | ----- | ----- | 89 | BRN14dec21_013.gcd | 2021-12-14 16:18 | dd-2110-D11 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 89 | BRN14dec21_013.gcd | 2021-12-14 16:18 | dd-2110-D11 | Unknown | 0 | 12.229 | 3513 | 0.711 | ----- | ----- | ----- | ----- | 1 |  | 0.79786 | 685.3655 | 0.27824 | 667.6269
90 | BRN14dec21_014.gcd | 2021-12-14 16:48 | dd-2110-D14 | Unknown | 0 | 6.043 | 28210 | 0.054 | ----- | ----- | ----- | ----- | 90 | BRN14dec21_014.gcd | 2021-12-14 16:48 | dd-2110-D14 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 90 | BRN14dec21_014.gcd | 2021-12-14 16:48 | dd-2110-D14 | Unknown | 0 | 12.211 | 19663 | 3.928 | ----- | ----- | ----- | ----- | 1 |  | 88.4283 | 3656.0812 | 73.826 | 3749.4209
91 | BRN14dec21_015.gcd | 2021-12-14 17:19 | dd-2110-D21 | Unknown | 0 | 6.041 | 6813 | 0.009 | ----- | ----- | ----- | ----- | 91 | BRN14dec21_015.gcd | 2021-12-14 17:19 | dd-2110-D21 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 91 | BRN14dec21_015.gcd | 2021-12-14 17:19 | dd-2110-D21 | Unknown | 0 | 12.191 | 19163 | 3.828 | ----- | ----- | ----- | ----- | 1 |  | 15.0445 | 3564.5998 | 16.6412 | 3654.1366
92 | BRN14dec21_016.gcd | 2021-12-14 17:50 | dd-2110-D12 | Unknown | 0 | 6.068 | 1746 | -0.001 | ----- | ----- | ----- | ----- | 92 | BRN14dec21_016.gcd | 2021-12-14 17:50 | dd-2110-D12 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 92 | BRN14dec21_016.gcd | 2021-12-14 17:50 | dd-2110-D12 | Unknown | 0 | 12.233 | 5115 | 1.031 | ----- | ----- | ----- | ----- | 1 |  | 0.41671 | 981.5087 | -0.2167 | 973.7046
93 | BRN14dec21_017.gcd | 2021-12-14 18:20 | dd-2110-D7 | Unknown | 0 | 6.031 | 23621 | 0.044 | ----- | ----- | ----- | ----- | 93 | BRN14dec21_017.gcd | 2021-12-14 18:20 | dd-2110-D7 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 93 | BRN14dec21_017.gcd | 2021-12-14 18:20 | dd-2110-D7 | Unknown | 0 | 12.187 | 17322 | 3.462 | ----- | ----- | ----- | ----- | 1 |  | 74.2084 | 3227.4946 | 61.7628 | 3303.2296
94 | BRN14dec21_018.gcd | 2021-12-14 18:51 | dd-2110-D10 | Unknown | 0 | 6.06 | 1818 | -0.001 | ----- | ----- | ----- | ----- | 94 | BRN14dec21_018.gcd | 2021-12-14 18:51 | dd-2110-D10 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 94 | BRN14dec21_018.gcd | 2021-12-14 18:51 | dd-2110-D10 | Unknown | 0 | 12.243 | 3080 | 0.624 | ----- | ----- | ----- | ----- | 1 |  | 0.61692 | 605.2665 | 0.043682 | 584.8838
95 | BRN14dec21_019.gcd | 2021-12-14 19:21 | dd-2110-D36 | Unknown | 0 | 6.092 | 1775 | -0.001 | ----- | ----- | ----- | ----- | 95 | BRN14dec21_019.gcd | 2021-12-14 19:21 | dd-2110-D36 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 95 | BRN14dec21_019.gcd | 2021-12-14 19:21 | dd-2110-D36 | Unknown | 0 | 12.241 | 2096 | 0.428 | ----- | ----- | ----- | ----- | 1 |  | 0.49733 | 423.1526 | -0.11175 | 396.8258
96 | BRN14dec21_020.gcd | 2021-12-14 19:52 | dd-2110-D1 | Unknown | 0 | 6.038 | 809595 | 1.684 | ----- | ----- | ----- | ----- | 96 | BRN14dec21_020.gcd | 2021-12-14 19:52 | dd-2110-D1 | Unknown | 0 | 5.994 | 8037 | 2.272 | ----- | ----- | ----- | ----- | 96 | BRN14dec21_020.gcd | 2021-12-14 19:52 | dd-2110-D1 | Unknown | 0 | 12.163 | 55286 | 10.964 | ----- | ----- | ----- | ----- | 1 |  | 2085.9385 | 10092.9953 | 2345.4904 | 10517.1258
97 | BRN14dec21_021.gcd | 2021-12-14 20:23 | dd-2110-D2 | Unknown | 0 | 6.028 | 484758 | 1.006 | ----- | ----- | ----- | ----- | 97 | BRN14dec21_021.gcd | 2021-12-14 20:23 | dd-2110-D2 | Unknown | 0 | 5.971 | 3720 | 1.114 | ----- | ----- | ----- | ----- | 97 | BRN14dec21_021.gcd | 2021-12-14 20:23 | dd-2110-D2 | Unknown | 0 | 12.144 | 64394 | 12.75 | ----- | ----- | ----- | ----- | 1 |  | 1331.296 | 11713.1963 | 1248.5159 | 12240.8513
98 | BRN14dec21_022.gcd | 2021-12-14 20:53 | dd-2110-D28 | Unknown | 0 | 6.046 | 15250 | 0.027 | ----- | ----- | ----- | ----- | 98 | BRN14dec21_022.gcd | 2021-12-14 20:53 | dd-2110-D28 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 98 | BRN14dec21_022.gcd | 2021-12-14 20:53 | dd-2110-D28 | Unknown | 0 | 12.216 | 14999 | 3 | ----- | ----- | ----- | ----- | 1 |  | 48.1806 | 2801.5232 | 39.7445 | 2860.2928
99 | BRN14dec21_023.gcd | 2021-12-14 21:24 | dd-2110-D17 | Unknown | 0 | 6.072 | 1590 | -0.001 | ----- | ----- | ----- | ----- | 99 | BRN14dec21_023.gcd | 2021-12-14 21:24 | dd-2110-D17 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 99 | BRN14dec21_023.gcd | 2021-12-14 21:24 | dd-2110-D17 | Unknown | 0 | 12.248 | 2869 | 0.582 | ----- | ----- | ----- | ----- | 1 |  | -0.016328 | 566.2259 | -0.78293 | 544.561
100 | BRN14dec21_024.gcd | 2021-12-14 21:54 | dd-2110-D20 | Unknown | 0 | 6.048 | 6407 | 0.009 | ----- | ----- | ----- | ----- | 100 | BRN14dec21_024.gcd | 2021-12-14 21:54 | dd-2110-D20 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 100 | BRN14dec21_024.gcd | 2021-12-14 21:54 | dd-2110-D20 | Unknown | 0 | 12.206 | 18252 | 3.647 | ----- | ----- | ----- | ----- | 1 |  | 13.8322 | 3397.8399 | 15.4001 | 3480.5076
101 | BRN14dec21_025.gcd | 2021-12-14 22:25 | dd-2110-D32 | Unknown | 0 | 6.033 | 17702 | 0.032 | ----- | ----- | ----- | ----- | 101 | BRN14dec21_025.gcd | 2021-12-14 22:25 | dd-2110-D32 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 101 | BRN14dec21_025.gcd | 2021-12-14 22:25 | dd-2110-D32 | Unknown | 0 | 12.193 | 15943 | 3.188 | ----- | ----- | ----- | ----- | 1 |  | 55.8164 | 2974.7074 | 46.1958 | 3040.3106
102 | BRN14dec21_026.gcd | 2021-12-14 22:56 | dd-2110-D18 | Unknown | 0 | 6.069 | 1805 | -0.001 | ----- | ----- | ----- | ----- | 102 | BRN14dec21_026.gcd | 2021-12-14 22:56 | dd-2110-D18 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 102 | BRN14dec21_026.gcd | 2021-12-14 22:56 | dd-2110-D18 | Unknown | 0 | 12.236 | 2636 | 0.536 | ----- | ----- | ----- | ----- | 1 |  | 0.58076 | 523.1082 | -0.0032875 | 500.0322
103 | BRN14dec21_027.gcd | 2021-12-14 23:26 | dd-2110-D23 | Unknown | 0 | 6.08 | 1343 | -0.002 | ----- | ----- | ----- | ----- | 103 | BRN14dec21_027.gcd | 2021-12-14 23:26 | dd-2110-D23 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 103 | BRN14dec21_027.gcd | 2021-12-14 23:26 | dd-2110-D23 | Unknown | 0 | 12.243 | 3846 | 0.777 | ----- | ----- | ----- | ----- | 1 |  | -0.69986 | 746.9499 | -1.6852 | 731.2567
104 | BRN14dec21_028.gcd | 2021-12-14 23:57 | dd-2110-D15 | Unknown | 0 | 6.041 | 28036 | 0.054 | ----- | ----- | ----- | ----- | 104 | BRN14dec21_028.gcd | 2021-12-14 23:57 | dd-2110-D15 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 104 | BRN14dec21_028.gcd | 2021-12-14 23:57 | dd-2110-D15 | Unknown | 0 | 12.204 | 16428 | 3.285 | ----- | ----- | ----- | ----- | 1 |  | 87.8897 | 3063.6409 | 73.3687 | 3132.7874
105 | BRN14dec21_029.gcd | 2021-12-15 00:28 | dd-2110-D34 | Unknown | 0 | 6.058 | 1590 | -0.001 | ----- | ----- | ----- | ----- | 105 | BRN14dec21_029.gcd | 2021-12-15 00:28 | dd-2110-D34 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 105 | BRN14dec21_029.gcd | 2021-12-15 00:28 | dd-2110-D34 | Unknown | 0 | 12.244 | 3499 | 0.708 | ----- | ----- | ----- | ----- | 1 |  | -0.016328 | 682.7761 | -0.78293 | 664.9517
106 | BRN14dec21_030.gcd | 2021-12-15 00:58 | dd-2110-D30 | Unknown | 0 | 6.1 | 16771 | 0.03 | ----- | ----- | ----- | ----- | 106 | BRN14dec21_030.gcd | 2021-12-15 00:58 | dd-2110-D30 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 106 | BRN14dec21_030.gcd | 2021-12-15 00:58 | dd-2110-D30 | Unknown | 0 | 12.264 | 17235 | 3.445 | ----- | ----- | ----- | ----- | 1 |  | 52.9183 | 3211.5535 | 43.7465 | 3286.644
107 | BRN14dec21_031.gcd | 2021-12-15 01:29 | dd-2110-D29 | Unknown | 0 | 6.033 | 15436 | 0.027 | ----- | ----- | ----- | ----- | 107 | BRN14dec21_031.gcd | 2021-12-15 01:29 | dd-2110-D29 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 107 | BRN14dec21_031.gcd | 2021-12-15 01:29 | dd-2110-D29 | Unknown | 0 | 12.189 | 15279 | 3.056 | ----- | ----- | ----- | ----- | 1 |  | 48.7602 | 2852.9031 | 40.234 | 2913.6909
108 | BRN14dec21_032.gcd | 2021-12-15 01:59 | dd-2110-D35 | Unknown | 0 | 6.072 | 1555 | -0.002 | ----- | ----- | ----- | ----- | 108 | BRN14dec21_032.gcd | 2021-12-15 01:59 | dd-2110-D35 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 108 | BRN14dec21_032.gcd | 2021-12-15 01:59 | dd-2110-D35 | Unknown | 0 | 12.235 | 2351 | 0.479 | ----- | ----- | ----- | ----- | 1 |  | -0.11334 | 470.3585 | -0.91036 | 445.5633
109 | BRN14dec21_033.gcd | 2021-12-15 02:30 | dd-2110-D22 | Unknown | 0 | 6.093 | 1613 | -0.001 | ----- | ----- | ----- | ----- | 109 | BRN14dec21_033.gcd | 2021-12-15 02:30 | dd-2110-D22 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 109 | BRN14dec21_033.gcd | 2021-12-15 02:30 | dd-2110-D22 | Unknown | 0 | 12.238 | 2777 | 0.564 | ----- | ----- | ----- | ----- | 1 |  | 0.047453 | 549.2017 | -0.69927 | 526.979
110 | BRN14dec21_034.gcd | 2021-12-15 03:01 | dd-2110-D5 | Unknown | 0 | 6.063 | 1932 | -0.001 | ----- | ----- | ----- | ----- | 110 | BRN14dec21_034.gcd | 2021-12-15 03:01 | dd-2110-D5 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 110 | BRN14dec21_034.gcd | 2021-12-15 03:01 | dd-2110-D5 | Unknown | 0 | 12.226 | 3822 | 0.773 | ----- | ----- | ----- | ----- | 1 |  | 0.93438 | 742.5119 | 0.45473 | 726.6709
111 | BRN14dec21_035.gcd | 2021-12-15 03:31 | dd-2110-D26 | Unknown | 0 | 6.041 | 153128 | 0.314 | ----- | ----- | ----- | ----- | 111 | BRN14dec21_035.gcd | 2021-12-15 03:31 | dd-2110-D26 | Unknown | 0 | 6.011 | 1460 | 0.506 | ----- | ----- | ----- | ----- | 111 | BRN14dec21_035.gcd | 2021-12-15 03:31 | dd-2110-D26 | Unknown | 0 | 12.163 | 58728 | 11.64 | ----- | ----- | ----- | ----- | 1 |  | 462.3068 | 10706.5089 | 400.2463 | 11168.8552
112 | BRN14dec21_036.gcd | 2021-12-15 04:02 | dd-2110-D27 | Unknown | 0 | 6.028 | 468607 | 0.972 | ----- | ----- | ----- | ----- | 112 | BRN14dec21_036.gcd | 2021-12-15 04:02 | dd-2110-D27 | Unknown | 0 | 5.983 | 4352 | 1.283 | ----- | ----- | ----- | ----- | 112 | BRN14dec21_036.gcd | 2021-12-15 04:02 | dd-2110-D27 | Unknown | 0 | 12.144 | 55785 | 11.062 | ----- | ----- | ----- | ----- | 1 |  | 1293.1334 | 10182.0309 | 1207.8196 | 10611.6334
113 | BRN14dec21_037.gcd | 2021-12-15 04:33 | dd-2110-D9 | Unknown | 0 | 6.045 | 21367 | 0.04 | ----- | ----- | ----- | ----- | 113 | BRN14dec21_037.gcd | 2021-12-15 04:33 | dd-2110-D9 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 113 | BRN14dec21_037.gcd | 2021-12-15 04:33 | dd-2110-D9 | Unknown | 0 | 12.213 | 16389 | 3.277 | ----- | ----- | ----- | ----- | 1 |  | 67.2113 | 3056.4906 | 55.8357 | 3125.3514
114 | BRN14dec21_038.gcd | 2021-12-15 05:03 | dd-2110-D25 | Unknown | 0 | 6.028 | 688944 | 1.432 | ----- | ----- | ----- | ----- | 114 | BRN14dec21_038.gcd | 2021-12-15 05:03 | dd-2110-D25 | Unknown | 0 | 5.976 | 8380 | 2.364 | ----- | ----- | ----- | ----- | 114 | BRN14dec21_038.gcd | 2021-12-15 05:03 | dd-2110-D25 | Unknown | 0 | 12.142 | 64078 | 12.689 | ----- | ----- | ----- | ----- | 1 |  | 1777.039 | 11657.1582 | 1757.5719 | 12181.0922