## one
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm (BD set at 0.2) | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 near ambient CH4 in ppm from GC in ppm | 2022 near ambient CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
76 | BRN01dec22_028.gcd | 2022-12-02 01:39 | dd-2210-001 | Unknown | 0 | 6.042 | 22724 | 0.041 | ----- | ----- | ----- | ----- | 76 | BRN01dec22_028.gcd | 2022-12-02 01:39 | dd-2210-001 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 76 | BRN01dec22_028.gcd | 2022-12-02 01:39 | dd-2210-001 | Unknown | 0 | 12.2 | 23925 | 4.989 | ----- | ----- | ----- | ----- | 1 |  | 76 | 50.8444 | 4826.9897 | 71.4248 | 4434.5951 | 59.4042 | 4561.2947 | 50.8444 | 4826.9897 | 36.368 | 1597.5215 | 76 | BRN01dec22_028.gcd | 2022-12-02 01:39 | dd-2210-001 | Unknown | 0 | 2.726 | 5048598 | 957.606 | ----- | ----- | ----- | -----
58 | BRN01dec22_010.gcd | 2022-12-01 16:28 | dd-2210-002 | Unknown | 0 | 6.037 | 23328 | 0.042 | ----- | ----- | ----- | ----- | 58 | BRN01dec22_010.gcd | 2022-12-01 16:28 | dd-2210-002 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | BRN01dec22_010.gcd | 2022-12-01 16:28 | dd-2210-002 | Unknown | 0 | 12.2 | 26318 | 5.493 | ----- | ----- | ----- | ----- | 1 |  | 58 | 52.2603 | 5318.5545 | 73.2993 | 4870.7104 | 60.9924 | 5016.8813 | 52.2603 | 5318.5545 | 37.6573 | 1651.1726 | 58 | BRN01dec22_010.gcd | 2022-12-01 16:28 | dd-2210-002 | Unknown | 0 | 2.719 | 5159124 | 958.501 | ----- | ----- | ----- | -----
92 | BRN01dec22_045.gcd | 2022-12-02 11:04 | dd-2210-003 | Unknown | 0 | 6.049 | 17547 | 0.031 | ----- | ----- | ----- | ----- | 92 | BRN01dec22_045.gcd | 2022-12-02 11:04 | dd-2210-003 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 92 | BRN01dec22_045.gcd | 2022-12-02 11:04 | dd-2210-003 | Unknown | 0 | 12.247 | 17992 | 3.738 | ----- | ----- | ----- | ----- | 1 |  | 92 | 38.7056 | 3606.9853 | 55.334 | 3350.2274 | 45.788 | 3430.9488 | 38.7056 | 3606.9853 | 25.7716 | 1379.5385 | 92 | BRN01dec22_045.gcd | 2022-12-02 11:04 | dd-2210-003 | Unknown | 0 | 2.715 | 5232272 | 959.049 | ----- | ----- | ----- | -----
81 | BRN05dec22_033.gcd | 2022-12-06 03:29 | dd-2210-004 | Unknown | 0 | 6.055 | 6350 | 0.008 | ----- | ----- | ----- | ----- | 81 | BRN05dec22_033.gcd | 2022-12-06 03:29 | dd-2210-004 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 81 | BRN05dec22_033.gcd | 2022-12-06 03:29 | dd-2210-004 | Unknown | 0 | 12.212 | 7699 | 1.559 | ----- | ----- | ----- | ----- | 1 |  | 81 | 9.3555 | 1486.1706 | 13.6626 | 1458.5039 | 15.2244 | 1467.227 | 9.3555 | 1486.1706 | 5.6401 | 714.1014 | 81 | BRN05dec22_033.gcd | 2022-12-06 03:29 | dd-2210-004 | Unknown | 0 | 2.724 | 5108885 | 958.105 | ----- | ----- | ----- | -----
81 | BRN01dec22_033.gcd | 2022-12-02 04:12 | dd-2210-005 | Unknown | 0 | 6.049 | 4698 | 0.005 | ----- | ----- | ----- | ----- | 81 | BRN01dec22_033.gcd | 2022-12-02 04:12 | dd-2210-005 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 81 | BRN01dec22_033.gcd | 2022-12-02 04:12 | dd-2210-005 | Unknown | 0 | 12.218 | 6198 | 1.24 | ----- | ----- | ----- | ----- | 1 |  | 81 | 5.3243 | 1176.4462 | 8.8061 | 1181.5279 | 9.9664 | 1180.575 | 5.3243 | 1176.4462 | 2.9926 | 586.6138 | 81 | BRN01dec22_033.gcd | 2022-12-02 04:12 | dd-2210-005 | Unknown | 0 | 2.724 | 5060421 | 957.706 | ----- | ----- | ----- | -----
84 | BRN05dec22_036.gcd | 2022-12-06 05:01 | dd-2210-006 | Unknown | 0 | 6.056 | 6061 | 0.007 | ----- | ----- | ----- | ----- | 84 | BRN05dec22_036.gcd | 2022-12-06 05:01 | dd-2210-006 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 84 | BRN05dec22_036.gcd | 2022-12-06 05:01 | dd-2210-006 | Unknown | 0 | 12.211 | 7189 | 1.451 | ----- | ----- | ----- | ----- | 1 |  | 84 | 8.593 | 1380.9474 | 12.8046 | 1364.4265 | 14.3274 | 1369.8385 | 8.593 | 1380.9474 | 5.171 | 671.6538 | 84 | BRN05dec22_036.gcd | 2022-12-06 05:01 | dd-2210-006 | Unknown | 0 | 2.722 | 5166039 | 958.554 | ----- | ----- | ----- | -----
74 | BRN01dec22_026.gcd | 2022-12-02 00:38 | dd-2210-007 | Unknown | 0 | 6.037 | 107926 | 0.213 | ----- | ----- | ----- | ----- | 74 | BRN01dec22_026.gcd | 2022-12-02 00:38 | dd-2210-007 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 74 | BRN01dec22_026.gcd | 2022-12-02 00:38 | dd-2210-007 | Unknown | 0 | 12.197 | 28968 | 6.049 | ----- | ----- | ----- | ----- | 1 |  | 74 | 250.0021 | 5862.5706 | 329.9587 | 5352.8241 | 282.5657 | 5521.1791 | 250.0021 | 5862.5706 | #VALUE! | 1687.5997 | 74 | BRN01dec22_026.gcd | 2022-12-02 00:38 | dd-2210-007 | Unknown | 0 | 2.724 | 5037838 | 957.513 | ----- | ----- | ----- | -----
84 | BRN01dec22_036.gcd | 2022-12-02 05:44 | dd-2210-008 | Unknown | 0 | 6.039 | 112681 | 0.223 | ----- | ----- | ----- | ----- | 84 | BRN01dec22_036.gcd | 2022-12-02 05:44 | dd-2210-008 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 84 | BRN01dec22_036.gcd | 2022-12-02 05:44 | dd-2210-008 | Unknown | 0 | 12.196 | 27150 | 5.668 | ----- | ----- | ----- | ----- | 1 |  | 84 | 261.0824 | 5489.3936 | 344.0379 | 5022.1708 | 294.9683 | 5175.2364 | 261.0824 | 5489.3936 | #VALUE! | 1665.211 | 84 | BRN01dec22_036.gcd | 2022-12-02 05:44 | dd-2210-008 | Unknown | 0 | 2.726 | 5011650 | 957.285 | ----- | ----- | ----- | -----
89 | BRN05dec22_041.gcd | 2022-12-06 07:34 | dd-2210-009 | Unknown | 0 | 6.037 | 103704 | 0.205 | ----- | ----- | ----- | ----- | 89 | BRN05dec22_041.gcd | 2022-12-06 07:34 | dd-2210-009 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 89 | BRN05dec22_041.gcd | 2022-12-06 07:34 | dd-2210-009 | Unknown | 0 | 12.188 | 26062 | 5.439 | ----- | ----- | ----- | ----- | 1 |  | 89 | 240.1608 | 5265.9815 | 317.4266 | 4824.0897 | 271.5487 | 4968.1522 | 240.1608 | 5265.9815 | #VALUE! | 1646.3741 | 89 | BRN05dec22_041.gcd | 2022-12-06 07:34 | dd-2210-009 | Unknown | 0 | 2.727 | 5144653 | 958.388 | ----- | ----- | ----- | -----
73 | BRN01dec22_025.gcd | 2022-12-02 00:07 | dd-2210-010 | Unknown | 0 | 6.036 | 54164 | 0.105 | ----- | ----- | ----- | ----- | 73 | BRN01dec22_025.gcd | 2022-12-02 00:07 | dd-2210-010 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 73 | BRN01dec22_025.gcd | 2022-12-02 00:07 | dd-2210-010 | Unknown | 0 | 12.055 | 176471 | 35.944 | ----- | ----- | ----- | ----- | 1 |  | 73 | 124.4708 | 35578.1115 | 168.2048 | 30797.7692 | 141.9564 | 33231.0281 | 124.4708 | 35578.1115 | 118.2188 | -34379.4031 | 73 | BRN01dec22_025.gcd | 2022-12-02 00:07 | dd-2210-010 | Unknown | 0 | 2.727 | 4892357 | 956.149 | ----- | ----- | ----- | -----
65 | BRN01dec22_017.gcd | 2022-12-01 20:02 | dd-2210-011 | Unknown | 0 | 6.028 | 55242 | 0.107 | ----- | ----- | ----- | ----- | 65 | BRN01dec22_017.gcd | 2022-12-01 20:02 | dd-2210-011 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | BRN01dec22_017.gcd | 2022-12-01 20:02 | dd-2210-011 | Unknown | 0 | 12.036 | 188568 | 38.306 | ----- | ----- | ----- | ----- | 1 |  | 65 | 126.9924 | 37965.8682 | 171.4945 | 32763.3684 | 144.7826 | 35472.1723 | 126.9924 | 37965.8682 | 121.5581 | -40658.0979 | 65 | BRN01dec22_017.gcd | 2022-12-01 20:02 | dd-2210-011 | Unknown | 0 | 2.711 | 5178783 | 958.651 | ----- | ----- | ----- | -----
71 | BRN05dec22_023.gcd | 2022-12-05 22:23 | dd-2210-012 | Unknown | 0 | 6.027 | 58059 | 0.112 | ----- | ----- | ----- | ----- | 71 | BRN05dec22_023.gcd | 2022-12-05 22:23 | dd-2210-012 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 71 | BRN05dec22_023.gcd | 2022-12-05 22:23 | dd-2210-012 | Unknown | 0 | 12.028 | 187627 | 38.123 | ----- | ----- | ----- | ----- | 1 |  | 71 | 133.581 | 37780.3976 | 180.0822 | 32611.1276 | 152.1668 | 35298.0091 | 133.581 | 37780.3976 | 130.451 | -40151.6353 | 71 | BRN05dec22_023.gcd | 2022-12-05 22:23 | dd-2210-012 | Unknown | 0 | 2.709 | 5271536 | 959.331 | ----- | ----- | ----- | -----
77 | BRN05dec22_029.gcd | 2022-12-06 01:27 | dd-2210-013 | Unknown | 0 | 6.044 | 15486 | 0.026 | ----- | ----- | ----- | ----- | 77 | BRN05dec22_029.gcd | 2022-12-06 01:27 | dd-2210-013 or 018? | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 77 | BRN05dec22_029.gcd | 2022-12-06 01:27 | dd-2210-013 or 018? | Unknown | 0 | 12.216 | 7957 | 1.614 | ----- | ----- | ----- | ----- | 1 |  | 77 | 33.8718 | 1539.3961 | 48.916 | 1506.0836 | 40.3655 | 1516.4909 | 33.8718 | 1539.3961 | 21.7798 | 735.2341 | 77 | BRN05dec22_029.gcd | 2022-12-06 01:27 | dd-2210-013 or 018? | Unknown | 0 | 2.722 | 5136208 | 958.322 | ----- | ----- | ----- | -----
85 | BRN05dec22_037.gcd | 2022-12-06 05:32 | dd-2210-014 | Unknown | 0 | 6.032 | 14905 | 0.025 | ----- | ----- | ----- | ----- | 85 | BRN05dec22_037.gcd | 2022-12-06 05:32 | dd-2210-014 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 85 | BRN05dec22_037.gcd | 2022-12-06 05:32 | dd-2210-014 | Unknown | 0 | 12.173 | 29146 | 6.087 | ----- | ----- | ----- | ----- | 1 |  | 85 | 32.509 | 5899.0992 | 40.6679 | 5385.176 | 38.8367 | 5555.0445 | 32.509 | 5899.0992 | 20.6779 | 1689.1807 | 85 | BRN05dec22_037.gcd | 2022-12-06 05:32 | dd-2210-014 | Unknown | 0 | 2.718 | 5013066 | 957.297 | ----- | ----- | ----- | -----
61 | BRN01dec22_013.gcd | 2022-12-01 18:00 | dd-2210-015 | Unknown | 0 | 6.043 | 13835 | 0.023 | ----- | ----- | ----- | ----- | 61 | BRN01dec22_013.gcd | 2022-12-01 18:00 | dd-2210-015 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | BRN01dec22_013.gcd | 2022-12-01 18:00 | dd-2210-015 | Unknown | 0 | 12.229 | 8586 | 1.747 | ----- | ----- | ----- | ----- | 1 |  | 61 | 29.9992 | 1669.1449 | 37.1201 | 1622.047 | 36.021 | 1636.5865 | 29.9992 | 1669.1449 | 18.6753 | 785.7957 | 61 | BRN01dec22_013.gcd | 2022-12-01 18:00 | dd-2210-015 | Unknown | 0 | 2.723 | 5116129 | 958.163 | ----- | ----- | ----- | -----
55 | BRN05dec22_007.gcd | 2022-12-05 14:14 | dd-2210-016 | Unknown | 0 | 6.038 | 42440 | 0.081 | ----- | ----- | ----- | ----- | 55 | BRN05dec22_007.gcd | 2022-12-05 14:14 | dd-2210-016 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | BRN05dec22_007.gcd | 2022-12-05 14:14 | dd-2210-016 | Unknown | 0 | 12.141 | 76628 | 15.939 | ----- | ----- | ----- | ----- | 1 |  | 55 | 97.0341 | 15585.458 | 132.3041 | 13873.0852 | 111.2005 | 14551.9393 | 97.0341 | 15585.458 | 84.1831 | -1781.4344 | 55 | BRN05dec22_007.gcd | 2022-12-05 14:14 | dd-2210-016 | Unknown | 0 | 2.722 | 5209085 | 958.878 | ----- | ----- | ----- | -----
80 | BRN05dec22_032.gcd | 2022-12-06 02:59 | dd-2210-017 | Unknown | 0 | 6.039 | 38329 | 0.073 | ----- | ----- | ----- | ----- | 80 | BRN05dec22_032.gcd | 2022-12-06 02:59 | dd-2210-017 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 80 | BRN05dec22_032.gcd | 2022-12-06 02:59 | dd-2210-017 | Unknown | 0 | 12.145 | 76736 | 15.961 | ----- | ----- | ----- | ----- | 1 |  | 80 | 87.4082 | 15607.3589 | 119.6625 | 13892.0687 | 100.4082 | 14572.3196 | 87.4082 | 15607.3589 | 73.238 | -1798.1688 | 80 | BRN05dec22_032.gcd | 2022-12-06 02:59 | dd-2210-017 | Unknown | 0 | 2.727 | 5035791 | 957.496 | ----- | ----- | ----- | -----
90 | BRN01dec22_042.gcd | 2022-12-02 08:48 | dd-2210-018 | Unknown | 0 | 6.042 | 39532 | 0.075 | ----- | ----- | ----- | ----- | 90 | BRN01dec22_042.gcd | 2022-12-02 08:48 | dd-2210-018 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 90 | BRN01dec22_042.gcd | 2022-12-02 08:48 | dd-2210-018 | Unknown | 0 | 12.151 | 71443 | 14.874 | ----- | ----- | ----- | ----- | 1 |  | 90 | 90.2253 | 14533.3114 | 123.3647 | 12959.9777 | 103.5668 | 13573.0509 | 90.2253 | 14533.3114 | 76.3877 | -1025.2326 | 90 | BRN01dec22_042.gcd | 2022-12-02 08:48 | dd-2210-018 | Unknown | 0 | 2.729 | 4971464 | 956.921 | ----- | ----- | ----- | -----
58 | BRN05dec22_010.gcd | 2022-12-05 15:45 | dd-2210-019 | Unknown | 0 | 6.032 | 29558 | 0.055 | ----- | ----- | ----- | ----- | 58 | BRN05dec22_010.gcd | 2022-12-05 15:45 | dd-2210-019 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | BRN05dec22_010.gcd | 2022-12-05 15:45 | dd-2210-019 | Unknown | 0 | 12.129 | 80606 | 16.754 | ----- | ----- | ----- | ----- | 1 |  | 58 | 66.8618 | 16391.7484 | 92.5988 | 14571.3452 | 77.3686 | 15302.3627 | 66.8618 | 16391.7484 | 51.6036 | -2424.297 | 58 | BRN05dec22_010.gcd | 2022-12-05 15:45 | dd-2210-019 | Unknown | 0 | 2.71 | 5359451 | 959.936 | ----- | ----- | ----- | -----
53 | BRN01dec22_005.gcd | 2022-12-01 13:55 | dd-2210-020 | Unknown | 0 | 6.039 | 26581 | 0.049 | ----- | ----- | ----- | ----- | 53 | BRN01dec22_005.gcd | 2022-12-01 13:55 | dd-2210-020 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | BRN01dec22_005.gcd | 2022-12-01 13:55 | dd-2210-020 | Unknown | 0 | 12.143 | 76970 | 16.009 | ----- | ----- | ----- | ----- | 1 |  | 53 | 59.8853 | 15654.8088 | 83.3844 | 13933.1946 | 69.5444 | 14616.4756 | 59.8853 | 15654.8088 | 44.7922 | -1834.5643 | 53 | BRN01dec22_005.gcd | 2022-12-01 13:55 | dd-2210-020 | Unknown | 0 | 2.723 | 5058266 | 957.688 | ----- | ----- | ----- | -----
74 | BRN05dec22_026.gcd | 2022-12-05 23:55 | dd-2210-021 | Unknown | 0 | 6.041 | 27427 | 0.051 | ----- | ----- | ----- | ----- | 74 | BRN05dec22_026.gcd | 2022-12-05 23:55 | dd-2210-021 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 74 | BRN05dec22_026.gcd | 2022-12-05 23:55 | dd-2210-021 | Unknown | 0 | 12.143 | 75744 | 15.758 | ----- | ----- | ----- | ----- | 1 |  | 74 | 61.868 | 15406.1726 | 86.0044 | 13717.6465 | 71.7681 | 14385.1087 | 61.868 | 15406.1726 | 46.7004 | -1645.9686 | 74 | BRN05dec22_026.gcd | 2022-12-05 23:55 | dd-2210-021 | Unknown | 0 | 2.725 | 5095082 | 957.993 | ----- | ----- | ----- | -----
54 | BRN05dec22_006.gcd | 2022-12-05 13:43 | dd-2210-022 | Unknown | 0 | 6.064 | 4282 | 0.004 | ----- | ----- | ----- | ----- | 54 | BRN05dec22_006.gcd | 2022-12-05 13:43 | dd-2210-022 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | BRN05dec22_006.gcd | 2022-12-05 13:43 | dd-2210-022 | Unknown | 0 | 12.203 | 17020 | 3.533 | ----- | ----- | ----- | ----- | 1 |  | 54 | 4.4342 | 3406.9414 | 7.6014 | 3172.1548 | 8.5925 | 3245.6558 | 4.4342 | 3406.9414 | 2.339 | 1332.2825 | 54 | BRN05dec22_006.gcd | 2022-12-05 13:43 | dd-2210-022 | Unknown | 0 | 2.713 | 5236205 | 959.077 | ----- | ----- | ----- | -----
80 | BRN01dec22_032.gcd | 2022-12-02 03:42 | dd-2210-023 | Unknown | 0 | 6.054 | 2693 | 0.001 | ----- | ----- | ----- | ----- | 80 | BRN01dec22_032.gcd | 2022-12-02 03:42 | dd-2210-023 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 80 | BRN01dec22_032.gcd | 2022-12-02 03:42 | dd-2210-023 | Unknown | 0 | 12.225 | 13056 | 2.695 | ----- | ----- | ----- | ----- | 1 |  | 80 | 1.4971 | 2590.6251 | 3.0677 | 2444.7127 | 3.1601 | 2489.6775 | 1.4971 | 2590.6251 | -0.10925 | 1105.9092 | 80 | BRN01dec22_032.gcd | 2022-12-02 03:42 | dd-2210-023 | Unknown | 0 | 2.728 | 5075144 | 957.829 | ----- | ----- | ----- | -----
76 | BRN30nov22_028.gcd | 2022-12-01 04:29 | dd-2210-024 | Unknown | 0 | 6.06 | 2941 | 0.001 | ----- | ----- | ----- | ----- | 76 | BRN30nov22_028.gcd | 2022-12-01 04:29 | dd-2210-024 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 76 | BRN30nov22_028.gcd | 2022-12-01 04:29 | dd-2210-024 | Unknown | 0 | 12.216 | 7510 | 1.519 | ----- | ----- | ----- | ----- | [13 empty] | 76 | BRN30nov22_028.gcd | 2022-12-01 04:29 | dd-2210-024 | Unknown | 0 | 2.725 | 4948658 | 956.706 | ----- | ----- | ----- | -----
57 | BRN01dec22_009.gcd | 2022-12-01 15:58 | dd-2210-025 | Unknown | 0 | 6.037 | 41720 | 0.079 | ----- | ----- | ----- | ----- | 57 | BRN01dec22_009.gcd | 2022-12-01 15:58 | dd-2210-025 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | BRN01dec22_009.gcd | 2022-12-01 15:58 | dd-2210-025 | Unknown | 0 | 12.16 | 58720 | 12.25 | ----- | ----- | ----- | ----- | 1 |  | 57 | 95.3484 | 11945.7301 | 130.0921 | 10705.0846 | 109.3107 | 11167.3409 | 95.3484 | 11945.7301 | 82.229 | 438.4513 | 57 | BRN01dec22_009.gcd | 2022-12-01 15:58 | dd-2210-025 | Unknown | 0 | 2.722 | 5062244 | 957.721 | ----- | ----- | ----- | -----
83 | BRN01dec22_035.gcd | 2022-12-02 05:13 | dd-2210-026 | Unknown | 0 | 6.039 | 38729 | 0.073 | ----- | ----- | ----- | ----- | 83 | BRN01dec22_035.gcd | 2022-12-02 05:13 | dd-2210-026 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 83 | BRN01dec22_035.gcd | 2022-12-02 05:13 | dd-2210-026 | Unknown | 0 | 12.166 | 57787 | 12.057 | ----- | ----- | ----- | ----- | 1 |  | 83 | 88.3449 | 11755.653 | 120.8937 | 10538.9296 | 101.4585 | 10990.7188 | 88.3449 | 11755.653 | 74.2804 | 523.8712 | 83 | BRN01dec22_035.gcd | 2022-12-02 05:13 | dd-2210-026 | Unknown | 0 | 2.725 | 5031675 | 957.46 | ----- | ----- | ----- | -----
72 | BRN05dec22_024.gcd | 2022-12-05 22:54 | dd-2210-027 | Unknown | 0 | 6.029 | 40043 | 0.076 | ----- | ----- | ----- | ----- | 72 | BRN05dec22_024.gcd | 2022-12-05 22:54 | dd-2210-027 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 72 | BRN05dec22_024.gcd | 2022-12-05 22:54 | dd-2210-027 | Unknown | 0 | 12.142 | 57607 | 12.02 | ----- | ----- | ----- | ----- | 1 |  | 72 | 91.4218 | 11718.9771 | 124.9365 | 10506.8614 | 104.9083 | 10956.6405 | 91.4218 | 11718.9771 | 77.7389 | 540.0064 | 72 | BRN05dec22_024.gcd | 2022-12-05 22:54 | dd-2210-027 | Unknown | 0 | 2.711 | 5212579 | 958.904 | ----- | ----- | ----- | -----
86 | BRN30nov22_038.gcd | 2022-12-01 09:35 | dd-2210-028 | Unknown | 0 | 6.039 | 86920 | 0.171 | ----- | ----- | ----- | ----- | 86 | BRN30nov22_038.gcd | 2022-12-01 09:35 | dd-2210-028 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 86 | BRN30nov22_038.gcd | 2022-12-01 09:35 | dd-2210-028 | Unknown | 0 | 12.184 | 34988 | 7.312 | ----- | ----- | ----- | ----- | [13 empty] | 86 | BRN30nov22_038.gcd | 2022-12-01 09:35 | dd-2210-028 | Unknown | 0 | 2.728 | 4985415 | 957.049 | ----- | ----- | ----- | -----
83 | BRN05dec22_035.gcd | 2022-12-06 04:30 | dd-2210-029 | Unknown | 0 | 6.035 | 97138 | 0.191 | ----- | ----- | ----- | ----- | 83 | BRN05dec22_035.gcd | 2022-12-06 04:30 | dd-2210-029 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 83 | BRN05dec22_035.gcd | 2022-12-06 04:30 | dd-2210-029 | Unknown | 0 | 12.183 | 31913 | 6.667 | ----- | ----- | ----- | ----- | 1 |  | 83 | 224.8501 | 6466.7265 | 297.8792 | 5887.5727 | 254.4067 | 6081.3478 | 224.8501 | 6466.7265 | 278.7048 | 1699.741 | 83 | BRN05dec22_035.gcd | 2022-12-06 04:30 | dd-2210-029 | Unknown | 0 | 2.724 | 5119546 | 958.19 | ----- | ----- | ----- | -----
78 | BRN01dec22_030.gcd | 2022-12-02 02:40 | dd-2210-030 | Unknown | 0 | 6.04 | 97994 | 0.193 | ----- | ----- | ----- | ----- | 78 | BRN01dec22_030.gcd | 2022-12-02 02:40 | dd-2210-030 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 78 | BRN01dec22_030.gcd | 2022-12-02 02:40 | dd-2210-030 | Unknown | 0 | 12.187 | 35351 | 7.388 | ----- | ----- | ----- | ----- | 1 |  | 78 | 226.8465 | 7171.4595 | 300.4315 | 6510.4622 | 256.6421 | 6734.9332 | 226.8465 | 7171.4595 | 282.4718 | 1676.1698 | 78 | BRN01dec22_030.gcd | 2022-12-02 02:40 | dd-2210-030 | Unknown | 0 | 2.726 | 5085444 | 957.914 | ----- | ----- | ----- | -----
91 | BRN05dec22_043.gcd | 2022-12-06 08:35 | dd-2210-031 | Unknown | 0 | 6.074 | 2839 | 0.001 | ----- | ----- | ----- | ----- | 91 | BRN05dec22_043.gcd | 2022-12-06 08:35 | dd-2210-031 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 91 | BRN05dec22_043.gcd | 2022-12-06 08:35 | dd-2210-031 | Unknown | 0 | 12.192 | 21488 | 4.476 | ----- | ----- | ----- | ----- | 1 |  | 91 | 1.7364 | 4326.0861 | 3.4798 | 3989.7221 | 3.6714 | 4097.1398 | 1.7364 | 4326.0861 | 0.11249 | 1522.6382 | 91 | BRN05dec22_043.gcd | 2022-12-06 08:35 | dd-2210-031 | Unknown | 0 | 2.727 | 5090021 | 957.952 | ----- | ----- | ----- | -----
87 | BRN01dec22_039.gcd | 2022-12-02 07:16 | dd-2210-032 | Unknown | 0 | 6.066 | 2122 | -0.001 | ----- | ----- | ----- | ----- | 87 | BRN01dec22_039.gcd | 2022-12-02 07:16 | dd-2210-032 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 87 | BRN01dec22_039.gcd | 2022-12-02 07:16 | dd-2210-032 | Unknown | 0 | 12.206 | 21959 | 4.575 | ----- | ----- | ----- | ----- | 1 |  | 87 | 0.62093 | 4422.9196 | 1.4647 | 4075.7611 | 1.1365 | 4186.8623 | 0.62093 | 4422.9196 | -0.97025 | 1538.7036 | 87 | BRN01dec22_039.gcd | 2022-12-02 07:16 | dd-2210-032 | Unknown | 0 | 2.728 | 5021644 | 957.373 | ----- | ----- | ----- | -----
88 | BRN05dec22_040.gcd | 2022-12-06 07:03 | dd-2210-033 | Unknown | 0 | 6.071 | 3385 | 0.002 | ----- | ----- | ----- | ----- | 88 | BRN05dec22_040.gcd | 2022-12-06 07:03 | dd-2210-033 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 88 | BRN05dec22_040.gcd | 2022-12-06 07:03 | dd-2210-033 | Unknown | 0 | 12.172 | 23164 | 4.829 | ----- | ----- | ----- | ----- | 1 |  | 88 | 2.686 | 4670.6055 | 5.0289 | 4295.755 | 5.5619 | 4416.3742 | 2.686 | 4670.6055 | 0.94749 | 1576.3315 | 88 | BRN05dec22_040.gcd | 2022-12-06 07:03 | dd-2210-033 | Unknown | 0 | 2.705 | 5424862 | 960.365 | ----- | ----- | ----- | -----
69 | BRN05dec22_021.gcd | 2022-12-05 21:22 | dd-2210-034 | Unknown | 0 | 6.05 | 10769 | 0.017 | ----- | ----- | ----- | ----- | 69 | BRN05dec22_021.gcd | 2022-12-05 21:22 | dd-2210-034 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 69 | BRN05dec22_021.gcd | 2022-12-05 21:22 | dd-2210-034 | Unknown | 0 | 12.121 | 99569 | 20.618 | ----- | ----- | ----- | ----- | 1 |  | 69 | 22.8063 | 20224.2074 | 27.2235 | 17872.6217 | 27.9512 | 18872.5334 | 22.8063 | 20224.2074 | 13.1299 | -6237.0547 | 69 | BRN05dec22_021.gcd | 2022-12-05 21:22 | dd-2210-034 | Unknown | 0 | 2.725 | 5134168 | 958.306 | ----- | ----- | ----- | -----
74 | BRN30nov22_026.gcd | 2022-12-01 03:28 | dd-2210-035 | Unknown | 0 | 6.041 | 9563 | 0.015 | ----- | ----- | ----- | ----- | 74 | BRN30nov22_026.gcd | 2022-12-01 03:28 | dd-2210-035 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 74 | BRN30nov22_026.gcd | 2022-12-01 03:28 | dd-2210-035 | Unknown | 0 | 12.121 | 96108 | 19.915 | ----- | ----- | ----- | ----- | 1 |  | 74 | 19.467 | 19526.1018 | 23.4402 | 17273.4625 | 24.5448 | 18221.8021 | 19.467 | 19526.1018 | 11.027 | -5448.8935 | 74 | BRN30nov22_026.gcd | 2022-12-01 03:28 | dd-2210-035 | Unknown | 0 | 2.727 | 4850621 | 955.706 | ----- | ----- | ----- | -----
68 | BRN01dec22_020.gcd | 2022-12-01 21:34 | dd-2210-036 | Unknown | 0 | 6.036 | 9811 | 0.015 | ----- | ----- | ----- | ----- | 68 | BRN01dec22_020.gcd | 2022-12-01 21:34 | dd-2210-036 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | BRN01dec22_020.gcd | 2022-12-01 21:34 | dd-2210-036 | Unknown | 0 | 12.107 | 101755 | 21.061 | ----- | ----- | ----- | ----- | 1 |  | 68 | 20.3722 | 20664.8224 | 24.2132 | 18250.2814 | 25.2144 | 19283.3407 | 20.3722 | 20664.8224 | 11.4558 | -6756.097 | 68 | BRN01dec22_020.gcd | 2022-12-01 21:34 | dd-2210-036 | Unknown | 0 | 2.71 | 5259448 | 959.245 | ----- | ----- | ----- | -----
88 | BRN01dec22_040.gcd | 2022-12-02 07:46 | dd-2210-037 | Unknown | 0 | 6.064 | 2463 | 0 | ----- | ----- | ----- | ----- | 88 | BRN01dec22_040.gcd | 2022-12-02 07:46 | dd-2210-037 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 88 | BRN01dec22_040.gcd | 2022-12-02 07:46 | dd-2210-037 | Unknown | 0 | 12.178 | 51071 | 10.665 | ----- | ----- | ----- | ----- | 1 |  | 88 | 1.1328 | 10386.1132 | 2.4203 | 9339.6737 | 2.3495 | 9718.5071 | 1.1328 | 10386.1132 | -0.45726 | 1050.3906 | 88 | BRN01dec22_040.gcd | 2022-12-02 07:46 | dd-2210-037 | Unknown | 0 | 2.728 | 4995429 | 957.14 | ----- | ----- | ----- | -----
78 | BRN05dec22_030.gcd | 2022-12-06 01:57 | dd-2210-038 | Unknown | 0 | 6.07 | 4150 | 0.004 | ----- | ----- | ----- | ----- | 78 | BRN05dec22_030.gcd | 2022-12-06 01:57 | dd-2210-038 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 78 | BRN05dec22_030.gcd | 2022-12-06 01:57 | dd-2210-038 | Unknown | 0 | 12.157 | 59041 | 12.317 | ----- | ----- | ----- | ----- | 1 |  | 78 | 4.1623 | 12011.1161 | 7.2207 | 10762.2252 | 8.1524 | 11228.1014 | 4.1623 | 12011.1161 | 2.1327 | 408.3701 | 78 | BRN05dec22_030.gcd | 2022-12-06 01:57 | dd-2210-038 | Unknown | 0 | 2.727 | 5000372 | 957.184 | ----- | ----- | ----- | -----
63 | BRN05dec22_015.gcd | 2022-12-05 18:18 | dd-2210-039 | Unknown | 0 | 6.075 | 4319 | 0.004 | ----- | ----- | ----- | ----- | 63 | BRN05dec22_015.gcd | 2022-12-05 18:18 | dd-2210-039 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | BRN05dec22_015.gcd | 2022-12-05 18:18 | dd-2210-039 | Unknown | 0 | 12.162 | 57273 | 11.951 | ----- | ----- | ----- | ----- | 1 |  | 63 | 4.5113 | 11650.9185 | 7.7083 | 10447.3463 | 8.7156 | 10893.4036 | 4.5113 | 11650.9185 | 2.3969 | 569.6507 | 63 | BRN05dec22_015.gcd | 2022-12-05 18:18 | dd-2210-039 | Unknown | 0 | 2.723 | 5140206 | 958.354 | ----- | ----- | ----- | -----
72 | BRN30nov22_024.gcd | 2022-12-01 02:27 | dd-2210-040 | Unknown | 0 | 6.051 | 17050 | 0.03 | ----- | ----- | ----- | ----- | 72 | BRN30nov22_024.gcd | 2022-12-01 02:27 | dd-2210-040 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 72 | BRN30nov22_024.gcd | 2022-12-01 02:27 | dd-2210-040 | Unknown | 0 | 12.111 | 119430 | 24.628 | ----- | ----- | ----- | ----- | 1 |  | 72 | 37.54 | 24218.4758 | 53.787 | 21281.8305 | 44.4805 | 22599.2331 | 37.54 | 24218.4758 | 24.7972 | -11556.6305 | 72 | BRN30nov22_024.gcd | 2022-12-01 02:27 | dd-2210-040 | Unknown | 0 | 2.745 | 4775037 | 954.816 | ----- | ----- | ----- | -----
84 | BRN30nov22_036.gcd | 2022-12-01 08:34 | dd-2210-041 | Unknown | 0 | 6.039 | 17126 | 0.03 | ----- | ----- | ----- | ----- | 84 | BRN30nov22_036.gcd | 2022-12-01 08:34 | dd-2210-041 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 84 | BRN30nov22_036.gcd | 2022-12-01 08:34 | dd-2210-041 | Unknown | 0 | 12.098 | 124162 | 25.578 | ----- | ----- | ----- | ----- | [13 empty] | 84 | BRN30nov22_036.gcd | 2022-12-01 08:34 | dd-2210-041 | Unknown | 0 | 2.727 | 4938343 | 956.607 | ----- | ----- | ----- | -----
64 | BRN05dec22_016.gcd | 2022-12-05 18:49 | dd-2210-042 | Unknown | 0 | 6.041 | 19562 | 0.035 | ----- | ----- | ----- | ----- | 64 | BRN05dec22_016.gcd | 2022-12-05 18:49 | dd-2210-042 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | BRN05dec22_016.gcd | 2022-12-05 18:49 | dd-2210-042 | Unknown | 0 | 12.093 | 127369 | 26.221 | ----- | ----- | ----- | ----- | 1 |  | 64 | 43.4308 | 25809.4649 | 61.6021 | 22630.7335 | 51.0885 | 24085.3111 | 43.4308 | 25809.4649 | 29.7991 | -14062.6257 | 64 | BRN05dec22_016.gcd | 2022-12-05 18:49 | dd-2210-042 | Unknown | 0 | 2.724 | 5091641 | 957.965 | ----- | ----- | ----- | -----
92 | BRN05dec22_044.gcd | 2022-12-06 09:06 | dd-2210-043 | Unknown | 0 | 6.033 | 83818 | 0.164 | ----- | ----- | ----- | ----- | 92 | BRN05dec22_044.gcd | 2022-12-06 09:06 | dd-2210-043 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 92 | BRN05dec22_044.gcd | 2022-12-06 09:06 | dd-2210-043 | Unknown | 0 | 12.156 | 52514 | 10.965 | ----- | ----- | ----- | ----- | 1 |  | 92 | 193.7688 | 10680.5668 | 258.0084 | 9597.8235 | 219.6 | 9991.9783 | 193.7688 | 10680.5668 | 222.9575 | 950.35 | 92 | BRN05dec22_044.gcd | 2022-12-06 09:06 | dd-2210-043 | Unknown | 0 | 2.725 | 5049439 | 957.613 | ----- | ----- | ----- | -----
94 | BRN05dec22_046.gcd | 2022-12-06 10:07 | dd-2210-044 | Unknown | 0 | 6.022 | 87332 | 0.172 | ----- | ----- | ----- | ----- | 94 | BRN05dec22_046.gcd | 2022-12-06 10:07 | dd-2210-044 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 94 | BRN05dec22_046.gcd | 2022-12-06 10:07 | dd-2210-044 | Unknown | 0 | 12.14 | 52557 | 10.973 | ----- | ----- | ----- | ----- | 1 |  | 94 | 201.9713 | 10689.3396 | 268.555 | 9605.5121 | 228.7866 | 10000.1264 | 201.9713 | 10689.3396 | 237.1406 | 947.259 | 94 | BRN05dec22_046.gcd | 2022-12-06 10:07 | dd-2210-044 | Unknown | 0 | 2.703 | 5433955 | 960.423 | ----- | ----- | ----- | -----
68 | BRN05dec22_020.gcd | 2022-12-05 20:51 | dd-2210-045 | Unknown | 0 | 6.037 | 87372 | 0.172 | ----- | ----- | ----- | ----- | 68 | BRN05dec22_020.gcd | 2022-12-05 20:51 | dd-2210-045 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | BRN05dec22_020.gcd | 2022-12-05 20:51 | dd-2210-045 | Unknown | 0 | 12.168 | 48685 | 10.169 | ----- | ----- | ----- | ----- | 1 |  | 68 | 202.0646 | 9899.0013 | 268.6749 | 8912.2497 | 228.8912 | 9266.1741 | 202.0646 | 9899.0013 | 237.3042 | 1200.0938 | 68 | BRN05dec22_020.gcd | 2022-12-05 20:51 | dd-2210-045 | Unknown | 0 | 2.723 | 5153401 | 958.456 | ----- | ----- | ----- | -----
66 | BRN05dec22_018.gcd | 2022-12-05 19:50 | dd-2210-046 | Unknown | 0 | 6.065 | 4270 | 0.004 | ----- | ----- | ----- | ----- | 66 | BRN05dec22_018.gcd | 2022-12-05 19:50 | dd-2210-046 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | BRN05dec22_018.gcd | 2022-12-05 19:50 | dd-2210-046 | Unknown | 0 | 12.208 | 9446 | 1.93 | ----- | ----- | ----- | ----- | 1 |  | 66 | 4.4093 | 1846.5111 | 7.5668 | 1780.5176 | 8.5526 | 1800.7664 | 4.4093 | 1846.5111 | 2.3202 | 852.7235 | 66 | BRN05dec22_018.gcd | 2022-12-05 19:50 | dd-2210-046 | Unknown | 0 | 2.724 | 5128395 | 958.261 | ----- | ----- | ----- | -----
67 | BRN01dec22_019.gcd | 2022-12-01 21:04 | dd-2210-047 | Unknown | 0 | 6.053 | 3065 | 0.001 | ----- | ----- | ----- | ----- | 67 | BRN01dec22_019.gcd | 2022-12-01 21:04 | dd-2210-047 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | BRN01dec22_019.gcd | 2022-12-01 21:04 | dd-2210-047 | Unknown | 0 | 12.198 | 27394 | 5.719 | ----- | ----- | ----- | ----- | 1 |  | 67 | 2.1189 | 5539.4888 | 4.1195 | 5066.573 | 4.4581 | 5221.6728 | 2.1189 | 5539.4888 | 0.45702 | 1668.8764 | 67 | BRN01dec22_019.gcd | 2022-12-01 21:04 | dd-2210-047 | Unknown | 0 | 2.722 | 5089040 | 957.944 | ----- | ----- | ----- | -----
75 | BRN05dec22_027.gcd | 2022-12-06 00:26 | dd-2210-048 | Unknown | 0 | 6.054 | 4629 | 0.005 | ----- | ----- | ----- | ----- | 75 | BRN05dec22_027.gcd | 2022-12-06 00:26 | dd-2210-048 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 75 | BRN05dec22_027.gcd | 2022-12-06 00:26 | dd-2210-048 | Unknown | 0 | 12.188 | 9821 | 2.009 | ----- | ----- | ----- | ----- | 1 |  | 75 | 5.1732 | 1923.8392 | 8.6058 | 1849.5891 | 9.7399 | 1872.3489 | 5.1732 | 1923.8392 | 2.8838 | 881.1105 | 75 | BRN05dec22_027.gcd | 2022-12-06 00:26 | dd-2210-048 | Unknown | 0 | 2.708 | 5355663 | 959.91 | ----- | ----- | ----- | -----
85 | BRN01dec22_037.gcd | 2022-12-02 06:15 | dd-2210-049 | Unknown | 0 | 6.061 | 2883 | 0.001 | ----- | ----- | ----- | ----- | 85 | BRN01dec22_037.gcd | 2022-12-02 06:15 | dd-2210-049 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 85 | BRN01dec22_037.gcd | 2022-12-02 06:15 | dd-2210-049 | Unknown | 0 | 12.222 | 9894 | 2.025 | ----- | ----- | ----- | ----- | 1 |  | 85 | 1.8097 | 1938.8916 | 3.6041 | 1863.033 | 3.825 | 1886.2831 | 1.8097 | 1938.8916 | 0.17945 | 886.5802 | 85 | BRN01dec22_037.gcd | 2022-12-02 06:15 | dd-2210-049 | Unknown | 0 | 2.727 | 5009569 | 957.266 | ----- | ----- | ----- | -----
82 | BRN01dec22_034.gcd | 2022-12-02 04:43 | dd-2210-050 | Unknown | 0 | 6.058 | 2690 | 0.001 | ----- | ----- | ----- | ----- | 82 | BRN01dec22_034.gcd | 2022-12-02 04:43 | dd-2210-050 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 82 | BRN01dec22_034.gcd | 2022-12-02 04:43 | dd-2210-050 | Unknown | 0 | 12.223 | 5927 | 1.183 | ----- | ----- | ----- | ----- | 1 |  | 82 | 1.4923 | 1120.5144 | 3.0592 | 1131.4907 | 3.1495 | 1128.8132 | 1.4923 | 1120.5144 | -0.1138 | 562.7704 | 82 | BRN01dec22_034.gcd | 2022-12-02 04:43 | dd-2210-050 | Unknown | 0 | 2.73 | 5056243 | 957.671 | ----- | ----- | ----- | -----
75 | BRN01dec22_027.gcd | 2022-12-02 01:08 | dd-2210-051 | Unknown | 0 | 6.057 | 2767 | 0.001 | ----- | ----- | ----- | ----- | 75 | BRN01dec22_027.gcd | 2022-12-02 01:08 | dd-2210-051 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 75 | BRN01dec22_027.gcd | 2022-12-02 01:08 | dd-2210-051 | Unknown | 0 | 12.217 | 8791 | 1.791 | ----- | ----- | ----- | ----- | 1 |  | 75 | 1.6176 | 1711.4275 | 3.2764 | 1659.8304 | 3.4196 | 1675.7246 | 1.6176 | 1711.4275 | 0.0030605 | 801.9804 | 75 | BRN01dec22_027.gcd | 2022-12-02 01:08 | dd-2210-051 | Unknown | 0 | 2.723 | 5026964 | 957.419 | ----- | ----- | ----- | -----
72 | BRN01dec22_024.gcd | 2022-12-01 23:37 | dd-2210-052 | Unknown | 0 | 6.038 | 30572 | 0.057 | ----- | ----- | ----- | ----- | 72 | BRN01dec22_024.gcd | 2022-12-01 23:37 | dd-2210-052 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 72 | BRN01dec22_024.gcd | 2022-12-01 23:37 | dd-2210-052 | Unknown | 0 | 12.15 | 77224 | 16.061 | ----- | ----- | ----- | ----- | 1 |  | 72 | 69.2378 | 15706.3111 | 95.734 | 13977.8278 | 80.0331 | 14664.4035 | 69.2378 | 15706.3111 | 53.9852 | -1874.2837 | 72 | BRN01dec22_024.gcd | 2022-12-01 23:37 | dd-2210-052 | Unknown | 0 | 2.725 | 4997636 | 957.16 | ----- | ----- | ----- | -----
86 | BRN05dec22_038.gcd | 2022-12-06 06:02 | dd-2210-053 | Unknown | 0 | 6.025 | 32539 | 0.061 | ----- | ----- | ----- | ----- | 86 | BRN05dec22_038.gcd | 2022-12-06 06:02 | dd-2210-053 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 86 | BRN05dec22_038.gcd | 2022-12-06 06:02 | dd-2210-053 | Unknown | 0 | 12.12 | 74281 | 15.458 | ----- | ----- | ----- | ----- | 1 |  | 86 | 73.8463 | 15109.3718 | 101.811 | 13460.1834 | 85.2012 | 14108.9519 | 73.8463 | 15109.3718 | 58.6941 | -1427.6817 | 86 | BRN05dec22_038.gcd | 2022-12-06 06:02 | dd-2210-053 | Unknown | 0 | 2.714 | 5051750 | 957.632 | ----- | ----- | ----- | -----
53 | BRN05dec22_005.gcd | 2022-12-05 13:12 | dd-2210-054 | Unknown | 0 | 6.043 | 30910 | 0.058 | ----- | ----- | ----- | ----- | 53 | BRN05dec22_005.gcd | 2022-12-05 13:12 | dd-2210-054 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | BRN05dec22_005.gcd | 2022-12-05 13:12 | dd-2210-054 | Unknown | 0 | 12.151 | 77664 | 16.151 | ----- | ----- | ----- | ----- | 1 |  | 53 | 70.0297 | 15795.5199 | 96.7787 | 14055.126 | 80.9212 | 14747.4234 | 70.0297 | 15795.5199 | 54.786 | -1943.6142 | 53 | BRN05dec22_005.gcd | 2022-12-05 13:12 | dd-2210-054 | Unknown | 0 | 2.723 | 5184904 | 958.697 | ----- | ----- | ----- | -----
56 | BRN05dec22_008.gcd | 2022-12-05 14:44 | dd-2210-055 | Unknown | 0 | 6.037 | 415695 | 0.835 | ----- | ----- | ----- | ----- | 56 | BRN05dec22_008.gcd | 2022-12-05 14:44 | dd-2210-055 | Unknown | 0 | 5.988 | 3736 | 1.067 | ----- | ----- | ----- | ----- | 56 | BRN05dec22_008.gcd | 2022-12-05 14:44 | dd-2210-055 | Unknown | 0 | 12.071 | 162655 | 33.229 | ----- | ----- | ----- | ----- | 1 |  | 56 | 959.6644 | 32841.9148 | 1165.1269 | 28530.3831 | 1074.0534 | 30665.5929 | 959.6644 | 32841.9148 | 484.4911 | -27824.2814 | 56 | BRN05dec22_008.gcd | 2022-12-05 14:44 | dd-2210-055 | Unknown | 0 | 2.726 | 5117398 | 958.173 | ----- | ----- | ----- | -----
54 | BRN01dec22_006.gcd | 2022-12-01 14:26 | dd-2210-056 | Unknown | 0 | 6.033 | 383802 | 0.771 | ----- | ----- | ----- | ----- | 54 | BRN01dec22_006.gcd | 2022-12-01 14:26 | dd-2210-056 | Unknown | 0 | 5.987 | 3147 | 0.922 | ----- | ----- | ----- | ----- | 54 | BRN01dec22_006.gcd | 2022-12-01 14:26 | dd-2210-056 | Unknown | 0 | 12.066 | 158650 | 32.439 | ----- | ----- | ----- | ----- | 1 |  | 54 | 886.8332 | 32046.9211 | 1085.7628 | 27868.6302 | 993.0981 | 29920.7607 | 886.8332 | 32046.9211 | 423.6086 | -26046.836 | 54 | BRN01dec22_006.gcd | 2022-12-01 14:26 | dd-2210-056 | Unknown | 0 | 2.723 | 5038538 | 957.519 | ----- | ----- | ----- | -----
61 | BRN05dec22_013.gcd | 2022-12-05 17:17 | dd-2210-057 | Unknown | 0 | 6.026 | 408706 | 0.821 | ----- | ----- | ----- | ----- | 61 | BRN05dec22_013.gcd | 2022-12-05 17:17 | dd-2210-057 | Unknown | 0 | 5.978 | 3926 | 1.114 | ----- | ----- | ----- | ----- | 61 | BRN05dec22_013.gcd | 2022-12-05 17:17 | dd-2210-057 | Unknown | 0 | 12.058 | 157482 | 32.209 | ----- | ----- | ----- | ----- | 1 |  | 61 | 943.7182 | 31814.9186 | 1147.8772 | 27675.2604 | 1056.334 | 29703.443 | 943.7182 | 31814.9186 | 504.5672 | -25538.8622 | 61 | BRN05dec22_013.gcd | 2022-12-05 17:17 | dd-2210-057 | Unknown | 0 | 2.714 | 5126603 | 958.246 | ----- | ----- | ----- | -----
79 | BRN05dec22_031.gcd | 2022-12-06 02:28 | dd-2210-058 | Unknown | 0 | 6.041 | 8847 | 0.013 | ----- | ----- | ----- | ----- | 79 | BRN05dec22_031.gcd | 2022-12-06 02:28 | dd-2210-058 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 79 | BRN05dec22_031.gcd | 2022-12-06 02:28 | dd-2210-058 | Unknown | 0 | 12.189 | 16662 | 3.457 | ----- | ----- | ----- | ----- | 1 |  | 79 | 16.9539 | 3333.2505 | 21.2234 | 3106.5385 | 22.5714 | 3177.4023 | 16.9539 | 3333.2505 | 9.7994 | 1314.0585 | 79 | BRN05dec22_031.gcd | 2022-12-06 02:28 | dd-2210-058 | Unknown | 0 | 2.71 | 5183452 | 958.686 | ----- | ----- | ----- | -----
81 | BRN30nov22_033.gcd | 2022-12-01 07:02 | dd-2210-059 | Unknown | 0 | 6.071 | 2619 | 0 | ----- | ----- | ----- | ----- | 81 | BRN30nov22_033.gcd | 2022-12-01 07:02 | dd-2210-059 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 81 | BRN30nov22_033.gcd | 2022-12-01 07:02 | dd-2210-059 | Unknown | 0 | 12.174 | 94111 | 19.51 | ----- | ----- | ----- | ----- | [13 empty] | 81 | BRN30nov22_033.gcd | 2022-12-01 07:02 | dd-2210-059 | Unknown | 0 | 2.744 | 4982344 | 957.021 | ----- | ----- | ----- | -----
64 | BRN01dec22_016.gcd | 2022-12-01 19:32 | dd-2210-060 | Unknown | 0 | 6.054 | 2797 | 0.001 | ----- | ----- | ----- | ----- | 64 | BRN01dec22_016.gcd | 2022-12-01 19:32 | dd-2210-060 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | BRN01dec22_016.gcd | 2022-12-01 19:32 | dd-2210-060 | Unknown | 0 | 12.138 | 80745 | 16.783 | ----- | ----- | ----- | ----- | 1 |  | 64 | 1.6669 | 16419.9074 | 3.3611 | 14595.708 | 3.5246 | 15328.5748 | 1.6669 | 16419.9074 | 0.048639 | -2447.7443 | 64 | BRN01dec22_016.gcd | 2022-12-01 19:32 | dd-2210-060 | Unknown | 0 | 2.727 | 4940825 | 956.631 | ----- | ----- | ----- | -----
93 | BRN01dec22_046.gcd | 2022-12-02 11:34 | dd-2210-061 | Unknown | 0 | 6.052 | 2703 | 0.001 | ----- | ----- | ----- | ----- | 93 | BRN01dec22_046.gcd | 2022-12-02 11:34 | dd-2210-061 try again | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 93 | BRN01dec22_046.gcd | 2022-12-02 11:34 | dd-2210-061 try again | Unknown | 0 | 12.123 | 93475 | 19.38 | ----- | ----- | ----- | ----- | 1 |  | 93 | 1.5133 | 18994.5996 | 3.0959 | 16816.6374 | 3.1952 | 17726.489 | 1.5133 | 18994.5996 | -0.094082 | -4876.888 | 93 | BRN01dec22_046.gcd | 2022-12-02 11:34 | dd-2210-061 try again | Unknown | 0 | 2.723 | 5168665 | 958.574 | ----- | ----- | ----- | -----
59 | BRN05dec22_011.gcd | 2022-12-05 16:16 | dd-2210-062 | Unknown | 0 | 6.083 | 3102 | 0.001 | ----- | ----- | ----- | ----- | 59 | BRN05dec22_011.gcd | 2022-12-05 16:16 | dd-2210-062 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | BRN05dec22_011.gcd | 2022-12-05 16:16 | dd-2210-062 | Unknown | 0 | 12.19 | 32299 | 6.748 | ----- | ----- | ----- | ----- | 1 |  | 59 | 2.183 | 6545.8802 | 4.2244 | 5957.5813 | 4.5863 | 6154.748 | 2.183 | 6545.8802 | 0.51357 | 1699.1209 | 59 | BRN05dec22_011.gcd | 2022-12-05 16:16 | dd-2210-062 | Unknown | 0 | 2.718 | 5259303 | 959.244 | ----- | ----- | ----- | -----
65 | BRN05dec22_017.gcd | 2022-12-05 19:20 | dd-2210-063 | Unknown | 0 | 6.09 | 3128 | 0.002 | ----- | ----- | ----- | ----- | 65 | BRN05dec22_017.gcd | 2022-12-05 19:20 | dd-2210-063 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | BRN05dec22_017.gcd | 2022-12-05 19:20 | dd-2210-063 | Unknown | 0 | 12.189 | 30106 | 6.288 | ----- | ----- | ----- | ----- | 1 |  | 65 | 2.2282 | 6096.0796 | 4.2982 | 5559.5895 | 4.6763 | 5737.6716 | 2.2282 | 6096.0796 | 0.55333 | 1695.8283 | 65 | BRN05dec22_017.gcd | 2022-12-05 19:20 | dd-2210-063 | Unknown | 0 | 2.721 | 5136591 | 958.325 | ----- | ----- | ----- | -----
56 | BRN01dec22_008.gcd | 2022-12-01 15:27 | dd-2210-064 | Unknown | 0 | 6.073 | 1939 | -0.001 | ----- | ----- | ----- | ----- | 56 | BRN01dec22_008.gcd | 2022-12-01 15:27 | dd-2210-064 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | BRN01dec22_008.gcd | 2022-12-01 15:27 | dd-2210-064 | Unknown | 0 | 12.187 | 33925 | 7.089 | ----- | ----- | ----- | ----- | 1 |  | 56 | 0.36016 | 6879.2264 | 0.95389 | 6252.2827 | 0.47992 | 6463.8883 | 0.36016 | 6879.2264 | -1.2441 | 1690.8815 | 56 | BRN01dec22_008.gcd | 2022-12-01 15:27 | dd-2210-064 | Unknown | 0 | 2.72 | 5105895 | 958.081 | ----- | ----- | ----- | -----
60 | BRN01dec22_012.gcd | 2022-12-01 17:29 | dd-2210-065 | Unknown | 0 | 6.044 | 7633 | 0.011 | ----- | ----- | ----- | ----- | 60 | BRN01dec22_012.gcd | 2022-12-01 17:29 | dd-2210-065 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | BRN01dec22_012.gcd | 2022-12-01 17:29 | dd-2210-065 | Unknown | 0 | 12.19 | 32714 | 6.835 | ----- | ----- | ----- | ----- | 1 |  | 60 | 13.0334 | 6630.9721 | 17.5143 | 6032.8288 | 19.0896 | 6233.6573 | 13.0334 | 6630.9721 | 7.7535 | 1697.8824 | 60 | BRN01dec22_012.gcd | 2022-12-01 17:29 | dd-2210-065 | Unknown | 0 | 2.72 | 5173467 | 958.61 | ----- | ----- | ----- | -----
80 | BRN30nov22_032.gcd | 2022-12-01 06:32 | dd-2210-066 | Unknown | 0 | 6.028 | 17878 | 0.031 | ----- | ----- | ----- | ----- | 80 | BRN30nov22_032.gcd | 2022-12-01 06:32 | dd-2210-066 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 80 | BRN30nov22_032.gcd | 2022-12-01 06:32 | dd-2210-066 | Unknown | 0 | 12.159 | 52457 | 10.953 | ----- | ----- | ----- | ----- | [13 empty] | 80 | BRN30nov22_032.gcd | 2022-12-01 06:32 | dd-2210-066 | Unknown | 0 | 2.715 | 4957984 | 956.795 | ----- | ----- | ----- | -----
76 | BRN05dec22_028.gcd | 2022-12-06 00:56 | dd-2210-067 | Unknown | 0 | 6.041 | 19475 | 0.035 | ----- | ----- | ----- | ----- | 76 | BRN05dec22_028.gcd | 2022-12-06 00:56 | dd-2210-067 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 76 | BRN05dec22_028.gcd | 2022-12-06 00:56 | dd-2210-067 | Unknown | 0 | 12.153 | 56761 | 11.845 | ----- | ----- | ----- | ----- | 1 |  | 76 | 43.2268 | 11546.5781 | 61.3316 | 10356.0863 | 50.8597 | 10796.4586 | 43.2268 | 11546.5781 | 29.6226 | 614.3486 | 76 | BRN05dec22_028.gcd | 2022-12-06 00:56 | dd-2210-067 | Unknown | 0 | 2.727 | 5042621 | 957.555 | ----- | ----- | ----- | -----
75 | BRN30nov22_027.gcd | 2022-12-01 03:58 | dd-2210-068 | Unknown | 0 | 6.029 | 18201 | 0.032 | ----- | ----- | ----- | ----- | 75 | BRN30nov22_027.gcd | 2022-12-01 03:58 | dd-2210-068 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 75 | BRN30nov22_027.gcd | 2022-12-01 03:58 | dd-2210-068 | Unknown | 0 | 12.157 | 50847 | 10.618 | ----- | ----- | ----- | ----- | [13 empty] | 75 | BRN30nov22_027.gcd | 2022-12-01 03:58 | dd-2210-068 | Unknown | 0 | 2.717 | 4892355 | 956.149 | ----- | ----- | ----- | -----
70 | BRN01dec22_022.gcd | 2022-12-01 22:35 | dd-2210-069 | Unknown | 0 | 6.039 | 45242 | 0.087 | ----- | ----- | ----- | ----- | 70 | BRN01dec22_022.gcd | 2022-12-01 22:35 | dd-2210-069 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 70 | BRN01dec22_022.gcd | 2022-12-01 22:35 | dd-2210-069 | Unknown | 0 | 12.034 | 200212 | 40.569 | ----- | ----- | ----- | ----- | 1 |  | 70 | 103.5934 | 40257.1552 | 140.9047 | 34638.0091 | 118.5541 | 37624.8968 | 103.5934 | 40257.1552 | 91.9375 | -47177.1496 | 70 | BRN01dec22_022.gcd | 2022-12-01 22:35 | dd-2210-069 | Unknown | 0 | 2.731 | 4828876 | 955.463 | ----- | ----- | ----- | -----
93 | BRN05dec22_045.gcd | 2022-12-06 09:36 | dd-2210-070 | Unknown | 0 | 6.035 | 48525 | 0.093 | ----- | ----- | ----- | ----- | 93 | BRN05dec22_045.gcd | 2022-12-06 09:36 | dd-2210-070 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 93 | BRN05dec22_045.gcd | 2022-12-06 09:36 | dd-2210-070 | Unknown | 0 | 12.016 | 211537 | 42.759 | ----- | ----- | ----- | ----- | 1 |  | 93 | 111.2771 | 42479.0314 | 150.9653 | 36444.964 | 127.1676 | 39714.4155 | 111.2771 | 42479.0314 | 101.3268 | -53965.0181 | 93 | BRN05dec22_045.gcd | 2022-12-06 09:36 | dd-2210-070 | Unknown | 0 | 2.728 | 4940733 | 956.63 | ----- | ----- | ----- | -----
98 | BRN05dec22_050.gcd | 2022-12-06 12:09 | dd-2210-071 | Unknown | 0 | 6.038 | 48413 | 0.093 | ----- | ----- | ----- | ----- | 98 | BRN05dec22_050.gcd | 2022-12-06 12:09 | dd-2210-071 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 98 | BRN05dec22_050.gcd | 2022-12-06 12:09 | dd-2210-071 | Unknown | 0 | 12.016 | 208132 | 42.102 | ----- | ----- | ----- | ----- | 1 |  | 98 | 111.015 | 41811.6853 | 150.6224 | 35903.3736 | 126.8738 | 39086.6146 | 111.015 | 41811.6853 | 101.001 | -51877.778 | 98 | BRN05dec22_050.gcd | 2022-12-06 12:09 | dd-2210-071 | Unknown | 0 | 2.732 | 4989115 | 957.083 | ----- | ----- | ----- | -----
69 | BRN01dec22_021.gcd | 2022-12-01 22:05 | dd-2210-072 | Unknown | 0 | 6.039 | 80334 | 0.157 | ----- | ----- | ----- | ----- | 69 | BRN01dec22_021.gcd | 2022-12-01 22:05 | dd-2210-072 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 69 | BRN01dec22_021.gcd | 2022-12-01 22:05 | dd-2210-072 | Unknown | 0 | 12.198 | 33679 | 7.037 | ----- | ----- | ----- | ----- | 1 |  | 69 | 185.6345 | 6828.8026 | 247.5319 | 6207.7182 | 210.4888 | 6417.1235 | 185.6345 | 6828.8026 | 209.266 | 1692.7119 | 69 | BRN01dec22_021.gcd | 2022-12-01 22:05 | dd-2210-072 | Unknown | 0 | 2.729 | 4964676 | 956.857 | ----- | ----- | ----- | -----
89 | BRN01dec22_041.gcd | 2022-12-02 08:17 | dd-2210-073 | Unknown | 0 | 6.041 | 79414 | 0.156 | ----- | ----- | ----- | ----- | 89 | BRN01dec22_041.gcd | 2022-12-02 08:17 | dd-2210-073 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 89 | BRN01dec22_041.gcd | 2022-12-02 08:17 | dd-2210-073 | Unknown | 0 | 12.191 | 35077 | 7.33 | ----- | ----- | ----- | ----- | 1 |  | 89 | 183.4861 | 7115.3162 | 244.7621 | 6460.8738 | 208.0823 | 6682.8582 | 183.4861 | 7115.3162 | 205.7122 | 1679.5395 | 89 | BRN01dec22_041.gcd | 2022-12-02 08:17 | dd-2210-073 | Unknown | 0 | 2.728 | 5010733 | 957.277 | ----- | ----- | ----- | -----
88 | BRN30nov22_040.gcd | 2022-12-01 10:36 | dd-2210-074 | Unknown | 0 | 6.041 | 81507 | 0.16 | ----- | ----- | ----- | ----- | 88 | BRN30nov22_040.gcd | 2022-12-01 10:36 | dd-2210-074 or 079 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 88 | BRN30nov22_040.gcd | 2022-12-01 10:36 | dd-2210-074 or 079 | Unknown | 0 | 12.193 | 32316 | 6.752 | ----- | ----- | ----- | ----- | [13 empty] | 88 | BRN30nov22_040.gcd | 2022-12-01 10:36 | dd-2210-074 or 079 | Unknown | 0 | 2.728 | 5045047 | 957.575 | ----- | ----- | ----- | -----
71 | BRN30nov22_023.gcd | 2022-12-01 01:56 | dd-2210-075 | Unknown | 0 | 6.074 | 2043 | -0.001 | ----- | ----- | ----- | ----- | 71 | BRN30nov22_023.gcd | 2022-12-01 01:56 | dd-2210-075 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 71 | BRN30nov22_023.gcd | 2022-12-01 01:56 | dd-2210-075 | Unknown | 0 | 12.177 | 37346 | 7.805 | ----- | ----- | ----- | ----- | 1 |  | 71 | 0.50716 | 7580.1249 | 1.244 | 6871.2316 | 0.85351 | 7114.019 | 0.50716 | 7580.1249 | -1.0886 | 1643.8492 | 71 | BRN30nov22_023.gcd | 2022-12-01 01:56 | dd-2210-075 | Unknown | 0 | 2.726 | 4931293 | 956.539 | ----- | ----- | ----- | -----
66 | BRN01dec22_018.gcd | 2022-12-01 20:33 | dd-2210-076 | Unknown | 0 | 6.07 | 1658 | -0.001 | ----- | ----- | ----- | ----- | 66 | BRN01dec22_018.gcd | 2022-12-01 20:33 | dd-2210-076 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | BRN01dec22_018.gcd | 2022-12-01 20:33 | dd-2210-076 | Unknown | 0 | 12.187 | 39123 | 8.176 | ----- | ----- | ----- | ----- | 1 |  | 66 | -0.021311 | 7943.963 | 0.17231 | 7192.1579 | -0.53577 | 7451.5719 | -0.021311 | 7943.963 | -1.6626 | 1603.5314 | 66 | BRN01dec22_018.gcd | 2022-12-01 20:33 | dd-2210-076 | Unknown | 0 | 2.722 | 5054514 | 957.656 | ----- | ----- | ----- | -----
59 | BRN01dec22_011.gcd | 2022-12-01 16:59 | dd-2210-077 | Unknown | 0 | 6.081 | 1832 | -0.001 | ----- | ----- | ----- | ----- | 59 | BRN01dec22_011.gcd | 2022-12-01 16:59 | dd-2210-077 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | BRN01dec22_011.gcd | 2022-12-01 16:59 | dd-2210-077 | Unknown | 0 | 12.179 | 38337 | 8.012 | ----- | ----- | ----- | ----- | 1 |  | 59 | 0.2122 | 7783.0505 | 0.65588 | 7050.2551 | 0.094243 | 7302.2787 | 0.2122 | 7783.0505 | -1.4037 | 1622.7044 | 59 | BRN01dec22_011.gcd | 2022-12-01 16:59 | dd-2210-077 | Unknown | 0 | 2.722 | 5094733 | 957.99 | ----- | ----- | ----- | -----
95 | BRN05dec22_047.gcd | 2022-12-06 10:38 | dd-2210-078 | Unknown | 0 | 6.055 | 6608 | 0.009 | ----- | ----- | ----- | ----- | 95 | BRN05dec22_047.gcd | 2022-12-06 10:38 | dd-2210-078 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 95 | BRN05dec22_047.gcd | 2022-12-06 10:38 | dd-2210-078 | Unknown | 0 | 12.135 | 74244 | 15.45 | ----- | ----- | ----- | ----- | 1 |  | 95 | 10.0566 | 15101.8642 | 14.4315 | 13453.6686 | 16.017 | 14101.9669 | 10.0566 | 15101.8642 | 6.0611 | -1422.2566 | 95 | BRN05dec22_047.gcd | 2022-12-06 10:38 | dd-2210-078 | Unknown | 0 | 2.728 | 5022526 | 957.38 | ----- | ----- | ----- | -----
86 | BRN01dec22_038.gcd | 2022-12-02 06:45 | dd-2210-079 | Unknown | 0 | 6.049 | 5726 | 0.007 | ----- | ----- | ----- | ----- | 86 | BRN01dec22_038.gcd | 2022-12-02 06:45 | dd-2210-079 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 86 | BRN01dec22_038.gcd | 2022-12-02 06:45 | dd-2210-079 | Unknown | 0 | 12.153 | 73676 | 15.333 | ----- | ----- | ----- | ----- | 1 |  | 86 | 7.7396 | 14986.6027 | 11.8146 | 13353.6352 | 13.2755 | 13994.7314 | 7.7396 | 14986.6027 | 4.6303 | -1339.5646 | 86 | BRN01dec22_038.gcd | 2022-12-02 06:45 | dd-2210-079 | Unknown | 0 | 2.725 | 5090616 | 957.957 | ----- | ----- | ----- | -----
73 | BRN05dec22_025.gcd | 2022-12-05 23:24 | dd-2210-080 | Unknown | 0 | 6.055 | 6831 | 0.009 | ----- | ----- | ----- | ----- | 73 | BRN05dec22_025.gcd | 2022-12-05 23:24 | dd-2210-080 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 73 | BRN05dec22_025.gcd | 2022-12-05 23:24 | dd-2210-080 | Unknown | 0 | 12.154 | 60042 | 12.524 | ----- | ----- | ----- | ----- | 1 |  | 73 | 10.6783 | 12214.9807 | 15.0984 | 10940.3283 | 16.6958 | 11417.5544 | 10.6783 | 12214.9807 | 6.4266 | 312.2894 | 73 | BRN05dec22_025.gcd | 2022-12-05 23:24 | dd-2210-080 | Unknown | 0 | 2.722 | 5136585 | 958.325 | ----- | ----- | ----- | -----
79 | BRN30nov22_031.gcd | 2022-12-01 06:01 | dd-2210-081 | Unknown | 0 | 6.025 | 133798 | 0.265 | ----- | ----- | ----- | ----- | 79 | BRN30nov22_031.gcd | 2022-12-01 06:01 | dd-2210-081 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 79 | BRN30nov22_031.gcd | 2022-12-01 06:01 | dd-2210-081 | Unknown | 0 | 12.106 | 107235 | 22.17 | ----- | ----- | ----- | ----- | [13 empty] | 79 | BRN30nov22_031.gcd | 2022-12-01 06:01 | dd-2210-081 | Unknown | 0 | 2.716 | 4952935 | 956.747 | ----- | ----- | ----- | -----
62 | BRN05dec22_014.gcd | 2022-12-05 17:48 | dd-2210-082 | Unknown | 0 | 6.027 | 142796 | 0.284 | ----- | ----- | ----- | ----- | 62 | BRN05dec22_014.gcd | 2022-12-05 17:48 | dd-2210-082 | Unknown | 0 | 5.952 | 1143 | 0.43 | ----- | ----- | ----- | ----- | 62 | BRN05dec22_014.gcd | 2022-12-05 17:48 | dd-2210-082 | Unknown | 0 | 12.099 | 109365 | 22.601 | ----- | ----- | ----- | ----- | 1 |  | 62 | 331.1727 | 22196.8084 | 432.3495 | 19560.3277 | 373.3911 | 20712.249 | 331.1727 | 22196.8084 | 231.7927 | -8691.2317 | 62 | BRN05dec22_014.gcd | 2022-12-05 17:48 | dd-2210-082 | Unknown | 0 | 2.708 | 5408006 | 960.256 | ----- | ----- | ----- | -----
71 | BRN01dec22_023.gcd | 2022-12-01 23:06 | dd-2210-083 | Unknown | 0 | 6.037 | 135611 | 0.269 | ----- | ----- | ----- | ----- | 71 | BRN01dec22_023.gcd | 2022-12-01 23:06 | dd-2210-083 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 71 | BRN01dec22_023.gcd | 2022-12-01 23:06 | dd-2210-083 | Unknown | 0 | 12.124 | 103136 | 21.341 | ----- | ----- | ----- | ----- | 1 |  | 71 | 314.4635 | 20943.0541 | 411.4142 | 18488.5577 | 354.7005 | 19542.787 | 314.4635 | 20943.0541 | #VALUE! | -7092.4734 | 71 | BRN01dec22_023.gcd | 2022-12-01 23:06 | dd-2210-083 | Unknown | 0 | 2.728 | 4895035 | 956.177 | ----- | ----- | ----- | -----
62 | BRN01dec22_014.gcd | 2022-12-01 18:31 | dd-2210-084 | Unknown | 0 | 6.043 | 6503 | 0.008 | ----- | ----- | ----- | ----- | 62 | BRN01dec22_014.gcd | 2022-12-01 18:31 | dd-2210-084 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | BRN01dec22_014.gcd | 2022-12-01 18:31 | dd-2210-084 | Unknown | 0 | 12.216 | 9364 | 1.912 | ----- | ----- | ----- | ----- | 1 |  | 62 | 9.7689 | 1829.6011 | 14.1183 | 1765.4116 | 15.6953 | 1785.1131 | 9.7689 | 1829.6011 | 5.8895 | 846.4517 | 62 | BRN01dec22_014.gcd | 2022-12-01 18:31 | dd-2210-084 | Unknown | 0 | 2.72 | 5105045 | 958.074 | ----- | ----- | ----- | -----
70 | BRN05dec22_022.gcd | 2022-12-05 21:53 | dd-2210-085 | Unknown | 0 | 6.055 | 8038 | 0.011 | ----- | ----- | ----- | ----- | 70 | BRN05dec22_022.gcd | 2022-12-05 21:53 | dd-2210-085 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 70 | BRN05dec22_022.gcd | 2022-12-05 21:53 | dd-2210-085 | Unknown | 0 | 12.21 | 12430 | 2.562 | ----- | ----- | ----- | ----- | 1 |  | 70 | 14.2937 | 2461.638 | 18.7447 | 2329.6537 | 20.2702 | 2370.2458 | 14.2937 | 2461.638 | 8.4311 | 1065.2179 | 70 | BRN05dec22_022.gcd | 2022-12-05 21:53 | dd-2210-085 | Unknown | 0 | 2.724 | 5168228 | 958.57 | ----- | ----- | ----- | -----
77 | BRN01dec22_029.gcd | 2022-12-02 02:10 | dd-2210-086 | Unknown | 0 | 6.041 | 6552 | 0.008 | ----- | ----- | ----- | ----- | 77 | BRN01dec22_029.gcd | 2022-12-02 02:10 | dd-2210-086 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 77 | BRN01dec22_029.gcd | 2022-12-02 02:10 | dd-2210-086 | Unknown | 0 | 12.213 | 10600 | 2.174 | ----- | ----- | ----- | ----- | 1 |  | 77 | 9.9028 | 2084.4526 | 14.2644 | 1993.0172 | 15.8456 | 2021.035 | 9.9028 | 2084.4526 | 5.9695 | 938.5336 | 77 | BRN01dec22_029.gcd | 2022-12-02 02:10 | dd-2210-086 | Unknown | 0 | 2.722 | 5121818 | 958.208 | ----- | ----- | ----- | -----
63 | BRN01dec22_015.gcd | 2022-12-01 19:01 | dd-2210-090 | Unknown | 0 | 6.056 | 3408 | 0.002 | ----- | ----- | ----- | ----- | 63 | BRN01dec22_015.gcd | 2022-12-01 19:01 | dd-2210-090 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | BRN01dec22_015.gcd | 2022-12-01 19:01 | dd-2210-090 | Unknown | 0 | 12.14 | 84727 | 17.597 | ----- | ----- | ----- | ----- | 1 |  | 63 | 2.7279 | 17226.1714 | 5.0944 | 15292.611 | 5.6407 | 16079.2193 | 2.7279 | 17226.1714 | 0.98287 | -3147.6758 | 63 | BRN01dec22_015.gcd | 2022-12-01 19:01 | dd-2210-090 | Unknown | 0 | 2.725 | 5054905 | 957.659 | ----- | ----- | ----- | -----
83 | BRN30nov22_035.gcd | 2022-12-01 08:03 | dd-2210-091 | Unknown | 0 | 6.058 | 3468 | 0.002 | ----- | ----- | ----- | ----- | 83 | BRN30nov22_035.gcd | 2022-12-01 08:03 | dd-2210-091 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 83 | BRN30nov22_035.gcd | 2022-12-01 08:03 | dd-2210-091 | Unknown | 0 | 12.141 | 80662 | 16.766 | ----- | ----- | ----- | ----- | [13 empty] | 83 | BRN30nov22_035.gcd | 2022-12-01 08:03 | dd-2210-091 | Unknown | 0 | 2.727 | 4977892 | 956.98 | ----- | ----- | ----- | -----
55 | BRN01dec22_007.gcd | 2022-12-01 14:57 | dd-2210-092 | Unknown | 0 | 6.058 | 3524 | 0.002 | ----- | ----- | ----- | ----- | 55 | BRN01dec22_007.gcd | 2022-12-01 14:57 | dd-2210-092 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | BRN01dec22_007.gcd | 2022-12-01 14:57 | dd-2210-092 | Unknown | 0 | 12.133 | 85311 | 17.716 | ----- | ----- | ----- | ----- | 1 |  | 55 | 2.9416 | 17344.35 | 5.4253 | 15394.6514 | 6.0376 | 16189.2655 | 2.9416 | 17344.35 | 1.1615 | -3254.9141 | 55 | BRN01dec22_007.gcd | 2022-12-01 14:57 | dd-2210-092 | Unknown | 0 | 2.722 | 5095245 | 957.994 | ----- | ----- | ----- | -----
91 | BRN01dec22_043.gcd | 2022-12-02 09:18 | dd-2210-093 | Unknown | 0 | 6.054 | 2922 | 0.001 | ----- | ----- | ----- | ----- | 91 | BRN01dec22_043.gcd | 2022-12-02 09:18 | dd-2210-093 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 91 | BRN01dec22_043.gcd | 2022-12-02 09:18 | dd-2210-093 | Unknown | 0 | 12.231 | 11320 | 2.327 | ----- | ----- | ----- | ----- | 1 |  | 91 | 1.8752 | 2232.8738 | 3.7144 | 2125.5145 | 3.961 | 2158.4424 | 1.8752 | 2232.8738 | 0.23884 | 989.7512 | 91 | BRN01dec22_043.gcd | 2022-12-02 09:18 | dd-2210-093 | Unknown | 0 | 2.73 | 4993320 | 957.121 | ----- | ----- | ----- | -----
73 | BRN30nov22_025.gcd | 2022-12-01 02:57 | dd-2210-094 | Unknown | 0 | 6.059 | 3068 | 0.001 | ----- | ----- | ----- | ----- | 73 | BRN30nov22_025.gcd | 2022-12-01 02:57 | dd-2210-094 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 73 | BRN30nov22_025.gcd | 2022-12-01 02:57 | dd-2210-094 | Unknown | 0 | 12.206 | 12399 | 2.556 | ----- | ----- | ----- | ----- | 1 |  | 73 | 2.1241 | 2455.25 | 4.128 | 2323.9546 | 4.4685 | 2364.3311 | 2.1241 | 2455.25 | 0.4616 | 1063.1678 | 73 | BRN30nov22_025.gcd | 2022-12-01 02:57 | dd-2210-094 | Unknown | 0 | 2.727 | 4946483 | 956.685 | ----- | ----- | ----- | -----
87 | BRN30nov22_039.gcd | 2022-12-01 10:06 | dd-2210-096 | Unknown | 0 | 6.076 | 1909 | -0.001 | ----- | ----- | ----- | ----- | 87 | BRN30nov22_039.gcd | 2022-12-01 10:06 | dd-2210-096 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 87 | BRN30nov22_039.gcd | 2022-12-01 10:06 | dd-2210-096 | Unknown | 0 | 12.233 | 3896 | 0.751 | ----- | ----- | ----- | ----- | [13 empty] | 87 | BRN30nov22_039.gcd | 2022-12-01 10:06 | dd-2210-096 | Unknown | 0 | 2.727 | 5056378 | 957.672 | ----- | ----- | ----- | -----
79 | BRN01dec22_031.gcd | 2022-12-02 03:11 | dd-2210-097 | Unknown | 0 | 6.059 | 1599 | -0.002 | ----- | ----- | ----- | ----- | 79 | BRN01dec22_031.gcd | 2022-12-02 03:11 | dd-2210-097 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 79 | BRN01dec22_031.gcd | 2022-12-02 03:11 | dd-2210-097 | Unknown | 0 | 12.219 | 5752 | 1.146 | ----- | ----- | ----- | ----- | 1 |  | 79 | -0.098492 | 1084.3941 | 0.008627 | 1099.174 | -0.75019 | 1095.3864 | -0.098492 | 1084.3941 | -1.7502 | 547.2391 | 79 | BRN01dec22_031.gcd | 2022-12-02 03:11 | dd-2210-097 | Unknown | 0 | 2.714 | 5210724 | 958.89 | ----- | ----- | ----- | -----
78 | BRN30nov22_030.gcd | 2022-12-01 05:30 | dd-2210-098 | Unknown | 0 | 6.067 | 1755 | -0.001 | ----- | ----- | ----- | ----- | 78 | BRN30nov22_030.gcd | 2022-12-01 05:30 | dd-2210-098 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 78 | BRN30nov22_030.gcd | 2022-12-01 05:30 | dd-2210-098 | Unknown | 0 | 12.242 | 2668 | 0.49 | ----- | ----- | ----- | ----- | [13 empty] | 78 | BRN30nov22_030.gcd | 2022-12-01 05:30 | dd-2210-098 | Unknown | 0 | 2.723 | 5114026 | 958.146 | ----- | ----- | ----- | -----
57 | BRN05dec22_009.gcd | 2022-12-05 15:15 | dd-2210-099 | Unknown | 0 | 6.071 | 2986 | 0.001 | ----- | ----- | ----- | ----- | 57 | BRN05dec22_009.gcd | 2022-12-05 15:15 | dd-2210-099 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | BRN05dec22_009.gcd | 2022-12-05 15:15 | dd-2210-099 | Unknown | 0 | 12.211 | 3362 | 0.637 | ----- | ----- | ----- | ----- | 1 |  | 57 | 1.9835 | 590.9369 | 3.8956 | 657.4353 | 4.1838 | 638.7726 | 1.9835 | 590.9369 | 0.33641 | 324.5821 | 57 | BRN05dec22_009.gcd | 2022-12-05 15:15 | dd-2210-099 | Unknown | 0 | 2.708 | 5480642 | 960.718 | ----- | ----- | ----- | -----
82 | BRN30nov22_034.gcd | 2022-12-01 07:33 | dd-2210-100 | Unknown | 0 | 6.07 | 1613 | -0.002 | ----- | ----- | ----- | ----- | 82 | BRN30nov22_034.gcd | 2022-12-01 07:33 | dd-2210-100 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 82 | BRN30nov22_034.gcd | 2022-12-01 07:33 | dd-2210-100 | Unknown | 0 | 12.251 | 2449 | 0.443 | ----- | ----- | ----- | ----- | [13 empty] | 82 | BRN30nov22_034.gcd | 2022-12-01 07:33 | dd-2210-100 | Unknown | 0 | 2.726 | 5075402 | 957.831 | ----- | ----- | ----- | -----
99 | BRN05dec22_051.gcd | 2022-12-06 12:40 | dd-2210-101 | Unknown | 0 | 6.1 | 2304 | 0 | ----- | ----- | ----- | ----- | 99 | BRN05dec22_051.gcd | 2022-12-06 12:40 | dd-2210-101 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 99 | BRN05dec22_051.gcd | 2022-12-06 12:40 | dd-2210-101 | Unknown | 0 | 12.22 | 3773 | 0.725 | ----- | ----- | ----- | ----- | 1 |  | 99 | 0.88992 | 675.8158 | 1.9741 | 733.4506 | 1.7856 | 717.3081 | 0.88992 | 675.8158 | -0.69689 | 364.2707 | 99 | BRN05dec22_051.gcd | 2022-12-06 12:40 | dd-2210-101 | Unknown | 0 | 2.73 | 5036558 | 957.502 | ----- | ----- | ----- | -----
96 | BRN05dec22_048.gcd | 2022-12-06 11:08 | dd-2210-102 | Unknown | 0 | 6.089 | 2283 | 0 | ----- | ----- | ----- | ----- | 96 | BRN05dec22_048.gcd | 2022-12-06 11:08 | dd-2210-102 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 96 | BRN05dec22_048.gcd | 2022-12-06 11:08 | dd-2210-102 | Unknown | 0 | 12.228 | 3955 | 0.764 | ----- | ----- | ----- | ----- | 1 |  | 96 | 0.85839 | 713.3993 | 1.9153 | 767.1052 | 1.7109 | 752.0837 | 0.85839 | 713.3993 | -0.72849 | 381.66 | 96 | BRN05dec22_048.gcd | 2022-12-06 11:08 | dd-2210-102 | Unknown | 0 | 2.727 | 5201094 | 958.819 | ----- | ----- | ----- | -----
67 | BRN05dec22_019.gcd | 2022-12-05 20:21 | dd-2210-103 | Unknown | 0 | 6.081 | 2819 | 0.001 | ----- | ----- | ----- | ----- | 67 | BRN05dec22_019.gcd | 2022-12-05 20:21 | dd-2210-103 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | BRN05dec22_019.gcd | 2022-12-05 20:21 | dd-2210-103 | Unknown | 0 | 12.249 | 2185 | 0.387 | ----- | ----- | ----- | ----- | 1 |  | 67 | 1.7032 | 347.8177 | 3.4233 | 439.6293 | 3.6015 | 413.8364 | 1.7032 | 347.8177 | 0.08208 | 207.7094 | 67 | BRN05dec22_019.gcd | 2022-12-05 20:21 | dd-2210-103 | Unknown | 0 | 2.717 | 5339992 | 959.805 | ----- | ----- | ----- | -----
85 | BRN30nov22_037.gcd | 2022-12-01 09:04 | dd-2210-104 | Unknown | 0 | 6.081 | 1611 | -0.002 | ----- | ----- | ----- | ----- | 85 | BRN30nov22_037.gcd | 2022-12-01 09:04 | dd-2210-104 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 85 | BRN30nov22_037.gcd | 2022-12-01 09:04 | dd-2210-104 | Unknown | 0 | 12.244 | 2987 | 0.558 | ----- | ----- | ----- | ----- | [13 empty] | 85 | BRN30nov22_037.gcd | 2022-12-01 09:04 | dd-2210-104 | Unknown | 0 | 2.725 | 5072756 | 957.809 | ----- | ----- | ----- | -----
87 | BRN05dec22_039.gcd | 2022-12-06 06:33 | dd-2210-105 | Unknown | 0 | 6.088 | 2297 | 0 | ----- | ----- | ----- | ----- | 87 | BRN05dec22_039.gcd | 2022-12-06 06:33 | dd-2210-105 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 87 | BRN05dec22_039.gcd | 2022-12-06 06:33 | dd-2210-105 | Unknown | 0 | 12.252 | 2705 | 0.498 | ----- | ----- | ----- | ----- | 1 |  | 87 | 0.8794 | 455.2368 | 1.9545 | 535.8777 | 1.7607 | 513.219 | 0.8794 | 455.2368 | -0.70743 | 259.9315 | 87 | BRN05dec22_039.gcd | 2022-12-06 06:33 | dd-2210-105 | Unknown | 0 | 2.721 | 5134931 | 958.312 | ----- | ----- | ----- | -----
60 | BRN05dec22_012.gcd | 2022-12-05 16:47 | dd-2210-106 | Unknown | 0 | 6.09 | 3126 | 0.002 | ----- | ----- | ----- | ----- | 60 | BRN05dec22_012.gcd | 2022-12-05 16:47 | dd-2210-106 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | BRN05dec22_012.gcd | 2022-12-05 16:47 | dd-2210-106 | Unknown | 0 | 12.241 | 2874 | 0.533 | ----- | ----- | ----- | ----- | 1 |  | 60 | 2.2248 | 490.145 | 4.2925 | 567.1511 | 4.6694 | 545.5165 | 2.2248 | 490.145 | 0.55027 | 276.7034 | 60 | BRN05dec22_012.gcd | 2022-12-05 16:47 | dd-2210-106 | Unknown | 0 | 2.724 | 5178904 | 958.652 | ----- | ----- | ----- | -----
82 | BRN05dec22_034.gcd | 2022-12-06 04:00 | dd-2210-107 | Unknown | 0 | 6.089 | 2969 | 0.001 | ----- | ----- | ----- | ----- | 82 | BRN05dec22_034.gcd | 2022-12-06 04:00 | dd-2210-107 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 82 | BRN05dec22_034.gcd | 2022-12-06 04:00 | dd-2210-107 | Unknown | 0 | 12.265 | 3109 | 0.583 | ----- | ----- | ----- | ----- | 1 |  | 82 | 1.9546 | 538.6836 | 3.8475 | 610.6319 | 4.1247 | 590.4256 | 1.9546 | 538.6836 | 0.31048 | 299.862 | 82 | BRN05dec22_034.gcd | 2022-12-06 04:00 | dd-2210-107 | Unknown | 0 | 2.725 | 5153452 | 958.457 | ----- | ----- | ----- | -----
97 | BRN05dec22_049.gcd | 2022-12-06 11:39 | dd-2210-108 | Unknown | 0 | 6.1 | 2473 | 0 | ----- | ----- | ----- | ----- | 97 | BRN05dec22_049.gcd | 2022-12-06 11:39 | dd-2210-108 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 97 | BRN05dec22_049.gcd | 2022-12-06 11:39 | dd-2210-108 | Unknown | 0 | 12.257 | 2764 | 0.51 | ----- | ----- | ----- | ----- | 1 |  | 97 | 1.1483 | 467.4238 | 2.4484 | 546.7961 | 2.3849 | 524.4946 | 1.1483 | 467.4238 | -0.44216 | 265.798 | 97 | BRN05dec22_049.gcd | 2022-12-06 11:39 | dd-2210-108 | Unknown | 0 | 2.727 | 5238158 | 959.091 | ----- | ----- | ----- | -----
77 | BRN30nov22_029.gcd | 2022-12-01 05:00 | dd-2210-109 | Unknown | 0 | 6.075 | 1994 | -0.001 | ----- | ----- | ----- | ----- | 77 | BRN30nov22_029.gcd | 2022-12-01 05:00 | dd-2210-109 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 77 | BRN30nov22_029.gcd | 2022-12-01 05:00 | dd-2210-109 | Unknown | 0 | 12.238 | 3134 | 0.589 | ----- | ----- | ----- | ----- | [13 empty] | 77 | BRN30nov22_029.gcd | 2022-12-01 05:00 | dd-2210-109 | Unknown | 0 | 2.726 | 4995338 | 957.139 | ----- | ----- | ----- | -----
90 | BRN05dec22_042.gcd | 2022-12-06 08:04 | dd-2210-110 | Unknown | 0 | 6.082 | 2656 | 0.001 | ----- | ----- | ----- | ----- | 90 | BRN05dec22_042.gcd | 2022-12-06 08:04 | dd-2210-110 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 90 | BRN05dec22_042.gcd | 2022-12-06 08:04 | dd-2210-110 | Unknown | 0 | 12.234 | 2862 | 0.531 | ----- | ----- | ----- | ----- | 1 |  | 90 | 1.4375 | 487.6664 | 2.9634 | 564.9306 | 3.0301 | 543.2232 | 1.4375 | 487.6664 | -0.16534 | 275.5158 | 90 | BRN05dec22_042.gcd | 2022-12-06 08:04 | dd-2210-110 | Unknown | 0 | 2.723 | 5141124 | 958.361 | ----- | ----- | ----- | -----