## serum CH4 CO2
CH4 by FID | [12 empty] | CH4 by TCD | [12 empty] | CO2 by TCD | [25 empty] | AIR
Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation | Analyst code | Note | Order | Season specific ranged CAL Measured headspace CH4 in ppm from GC in ppm | Season specific CAL Measured headspace CO2 in ppm from GC in ppm | 2020 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2020 CAL Measured headspace CO2 in ppm from GC in ppm | 2021 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2021 CAL Measured headspace CO2 in ppm from GC in ppm | 2022 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2022 CAL Measured headspace CO2 in ppm from GC in ppm | 2023 ranged CAL Measured headspace CH4 in ppm from GC in ppm | 2023 CAL Measured headspace CO2 in ppm from GC in ppm | Data# | Data Filename | Date Acquired | Sample Name | Sample Type | Level# | Ret. Time | Area | Conc. (ppt) | Std. Conc. | Cal. Point | Accuracy[%] | Deviation
49 | CLL11may23_001.gcd | 2023-05-11 12:12 | air | Unknown | 0 | 6.056 | 2300 | -0.003 | ----- | ----- | ----- | ----- | 49 | CLL11may23_001.gcd | 2023-05-11 12:12 | air | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 49 | CLL11may23_001.gcd | 2023-05-11 12:12 | air | Unknown | 0 | 12.23 | 3627 | 0.759 | ----- | ----- | ----- | ----- | 1 |  | 49 | 4.6171 | 857.2679 | 1.9629 | 706.4501 | 1.7713 | 689.4105 | 0.88391 | 645.6652 | 4.6171 | 857.2679 | 49 | CLL11may23_001.gcd | 2023-05-11 12:12 | air | Unknown | 0 | 2.706 | 5422407 | 0 | ----- | ----- | ----- | -----
50 | CLL11may23_002.gcd | 2023-05-11 12:42 | air + 100 | Unknown | 0 | 6.007 | 1268188 | 2.718 | ----- | ----- | ----- | ----- | 50 | CLL11may23_002.gcd | 2023-05-11 12:42 | air + 100 | Unknown | 0 | 5.957 | 11496 | 2.923 | ----- | ----- | ----- | ----- | 50 | CLL11may23_002.gcd | 2023-05-11 12:42 | air + 100 | Unknown | 0 | 12.21 | 5457 | 1.268 | ----- | ----- | ----- | ----- | 1 |  | 50 | 2584.4703 | 1296.2059 | 2743.0245 | 1044.6886 | 3231.022 | 1039.0362 | 3064.9004 | 1023.5019 | 2584.4703 | 1296.2059 | 50 | CLL11may23_002.gcd | 2023-05-11 12:42 | air + 100 | Unknown | 0 | 2.713 | 5339633 | 0 | ----- | ----- | ----- | -----
51 | CLL11may23_003.gcd | 2023-05-11 13:13 | yellow tank | Unknown | 0 | 6.023 | 3238 | -0.001 | ----- | ----- | ----- | ----- | 51 | CLL11may23_003.gcd | 2023-05-11 13:13 | yellow tank | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 51 | CLL11may23_003.gcd | 2023-05-11 13:13 | yellow tank | Unknown | 0 | 12.199 | 2590 | 0.47 | ----- | ----- | ----- | ----- | 1 |  | 51 | 2.9526 | 607.1804 | 4.6106 | 514.5949 | 5.0563 | 491.2409 | 2.4218 | 431.4818 | 2.9526 | 607.1804 | 51 | CLL11may23_003.gcd | 2023-05-11 13:13 | yellow tank | Unknown | 0 | 2.708 | 5303023 | 0 | ----- | ----- | ----- | -----
52 | CLL11may23_004.gcd | 2023-05-11 13:43 | BDA US 011023 | Unknown | 0 | 6.033 | 2327 | -0.002 | ----- | ----- | ----- | ----- | 52 | CLL11may23_004.gcd | 2023-05-11 13:43 | BDA US 011023 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 52 | CLL11may23_004.gcd | 2023-05-11 13:43 | BDA US 011023 | Unknown | 0 | 12.141 | 9955 | 2.515 | ----- | ----- | ----- | ----- | 1 |  | 52 | 4.5559 | 2362.0996 | 2.0386 | 1874.2664 | 1.8673 | 1897.9266 | 0.9246 | 1951.4694 | 4.5559 | 2362.0996 | 52 | CLL11may23_004.gcd | 2023-05-11 13:43 | BDA US 011023 | Unknown | 0 | 2.709 | 5266100 | 0 | ----- | ----- | ----- | -----
53 | CLL11may23_005.gcd | 2023-05-11 14:14 | BDA air 121522 | Unknown | 0 | 6.036 | 2131 | -0.003 | ----- | ----- | ----- | ----- | 53 | CLL11may23_005.gcd | 2023-05-11 14:14 | BDA air 121522 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 53 | CLL11may23_005.gcd | 2023-05-11 14:14 | BDA air 121522 | Unknown | 0 | 12.18 | 11544 | 2.954 | ----- | ----- | ----- | ----- | 1 |  | 53 | 5.018 | 2734.2343 | 1.4899 | 2166.7226 | 1.1687 | 2201.1879 | 0.634 | 2279.0439 | 5.018 | 2734.2343 | 53 | CLL11may23_005.gcd | 2023-05-11 14:14 | BDA air 121522 | Unknown | 0 | 2.7 | 5674485 | 0 | ----- | ----- | ----- | -----
54 | CLL11may23_006.gcd | 2023-05-11 14:44 | BDA DS 121522 | Unknown | 0 | 6.032 | 2730 | -0.002 | ----- | ----- | ----- | ----- | 54 | CLL11may23_006.gcd | 2023-05-11 14:44 | BDA DS 121522 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 54 | CLL11may23_006.gcd | 2023-05-11 14:44 | BDA DS 121522 | Unknown | 0 | 12.152 | 10951 | 2.79 | ----- | ----- | ----- | ----- | 1 |  | 54 | 3.7361 | 2595.6265 | 3.172 | 2057.6177 | 3.2899 | 2088.0232 | 1.5572 | 2156.8112 | 3.7361 | 2595.6265 | 54 | CLL11may23_006.gcd | 2023-05-11 14:44 | BDA DS 121522 | Unknown | 0 | 2.72 | 5062428 | 0 | ----- | ----- | ----- | -----
55 | CLL11may23_007.gcd | 2023-05-11 15:15 | BDA DS 011023 | Unknown | 0 | 6.034 | 2118 | -0.003 | ----- | ----- | ----- | ----- | 55 | CLL11may23_007.gcd | 2023-05-11 15:15 | BDA DS 011023 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 55 | CLL11may23_007.gcd | 2023-05-11 15:15 | BDA DS 011023 | Unknown | 0 | 12.135 | 20734 | 5.475 | ----- | ----- | ----- | ----- | 1 |  | 55 | 5.0501 | 4841.2992 | 1.4535 | 3851.9289 | 1.1222 | 3953.4926 | 0.61512 | 4171.0468 | 5.0501 | 4841.2992 | 55 | CLL11may23_007.gcd | 2023-05-11 15:15 | BDA DS 011023 | Unknown | 0 | 2.713 | 4889601 | 0 | ----- | ----- | ----- | -----
56 | CLL11may23_008.gcd | 2023-05-11 15:46 | BDA DS 012723 | Unknown | 0 | 6.029 | 2085 | -0.003 | ----- | ----- | ----- | ----- | 56 | CLL11may23_008.gcd | 2023-05-11 15:46 | BDA DS 012723 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 56 | CLL11may23_008.gcd | 2023-05-11 15:46 | BDA DS 012723 | Unknown | 0 | 12.12 | 16984 | 4.45 | ----- | ----- | ----- | ----- | 1 |  | 56 | 5.1325 | 3990.8111 | 1.3613 | 3165.5572 | 1.004 | 3238.7925 | 0.56742 | 3399.5314 | 5.1325 | 3990.8111 | 56 | CLL11may23_008.gcd | 2023-05-11 15:46 | BDA DS 012723 | Unknown | 0 | 2.698 | 5194316 | 0 | ----- | ----- | ----- | -----
57 | CLL11may23_009.gcd | 2023-05-11 16:16 | BDA air 011023 | Unknown | 0 | 6.054 | 2135 | -0.003 | ----- | ----- | ----- | ----- | 57 | CLL11may23_009.gcd | 2023-05-11 16:16 | BDA air 011023 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 57 | CLL11may23_009.gcd | 2023-05-11 16:16 | BDA air 011023 | Unknown | 0 | 12.192 | 2705 | 0.503 | ----- | ----- | ----- | ----- | 1 |  | 57 | 5.0082 | 634.9627 | 1.501 | 535.8777 | 1.183 | 513.219 | 0.63982 | 455.2368 | 5.0082 | 634.9627 | 57 | CLL11may23_009.gcd | 2023-05-11 16:16 | BDA air 011023 | Unknown | 0 | 2.712 | 5064225 | 0 | ----- | ----- | ----- | -----
58 | CLL11may23_010.gcd | 2023-05-11 16:47 | BDA DS 3 042823 | Unknown | 0 | 6.019 | 3625 | 0 | ----- | ----- | ----- | ----- | 58 | CLL11may23_010.gcd | 2023-05-11 16:47 | BDA DS 3 042823 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 58 | CLL11may23_010.gcd | 2023-05-11 16:47 | BDA DS 3 042823 | Unknown | 0 | 12.156 | 5356 | 1.24 | ----- | ----- | ----- | ----- | 1 |  | 58 | 2.5428 | 1272.06 | 5.7139 | 1026.0317 | 6.3819 | 1019.7428 | 3.1308 | 1002.6531 | 2.5428 | 1272.06 | 58 | CLL11may23_010.gcd | 2023-05-11 16:47 | BDA DS 3 042823 | Unknown | 0 | 2.702 | 5080376 | 0 | ----- | ----- | ----- | -----
59 | CLL11may23_011.gcd | 2023-05-11 17:17 | BDA US 011023 | Unknown | 0 | 6.033 | 2215 | -0.003 | ----- | ----- | ----- | ----- | 59 | CLL11may23_011.gcd | 2023-05-11 17:17 | BDA US 011023 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 59 | CLL11may23_011.gcd | 2023-05-11 17:17 | BDA US 011023 | Unknown | 0 | 12.142 | 8709 | 2.17 | ----- | ----- | ----- | ----- | 1 |  | 59 | 4.8149 | 2068.6823 | 1.7248 | 1644.7177 | 1.4686 | 1660.0695 | 0.75718 | 1694.5147 | 4.8149 | 2068.6823 | 59 | CLL11may23_011.gcd | 2023-05-11 17:17 | BDA US 011023 | Unknown | 0 | 2.698 | 5211066 | 0 | ----- | ----- | ----- | -----
60 | CLL11may23_012.gcd | 2023-05-11 17:48 | BDA air 011023 | Unknown | 0 | 6.035 | 1801 | -0.004 | ----- | ----- | ----- | ----- | 60 | CLL11may23_012.gcd | 2023-05-11 17:48 | BDA air 011023 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 60 | CLL11may23_012.gcd | 2023-05-11 17:48 | BDA air 011023 | Unknown | 0 | 12.183 | 3642 | 0.764 | ----- | ----- | ----- | ----- | 1 |  | 60 | 5.8898 | 860.8782 | 0.56963 | 709.2242 | -0.017744 | 692.2767 | 0.16995 | 648.7629 | 5.8898 | 860.8782 | 60 | CLL11may23_012.gcd | 2023-05-11 17:48 | BDA air 011023 | Unknown | 0 | 2.697 | 5340074 | 0 | ----- | ----- | ----- | -----
61 | CLL11may23_013.gcd | 2023-05-11 18:18 | BDA air 012723 | Unknown | 0 | 6.051 | 1561 | -0.004 | ----- | ----- | ----- | ----- | 61 | CLL11may23_013.gcd | 2023-05-11 18:18 | BDA air 012723 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 61 | CLL11may23_013.gcd | 2023-05-11 18:18 | BDA air 012723 | Unknown | 0 | 12.19 | 3889 | 0.832 | ----- | ----- | ----- | ----- | 1 |  | 61 | 6.5977 | 920.2978 | -0.096715 | 754.9012 | -0.8885 | 739.4729 | -0.14767 | 699.7703 | 6.5977 | 920.2978 | 61 | CLL11may23_013.gcd | 2023-05-11 18:18 | BDA air 012723 | Unknown | 0 | 2.715 | 5170501 | 0 | ----- | ----- | ----- | -----
62 | CLL11may23_014.gcd | 2023-05-11 18:49 | BDA DS 2 042723 | Unknown | 0 | 6.029 | 2724 | -0.002 | ----- | ----- | ----- | ----- | 62 | CLL11may23_014.gcd | 2023-05-11 18:49 | BDA DS 2 042723 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 62 | CLL11may23_014.gcd | 2023-05-11 18:49 | BDA DS 2 042723 | Unknown | 0 | 12.175 | 5011 | 1.145 | ----- | ----- | ----- | ----- | 1 |  | 62 | 3.747 | 1189.5113 | 3.1551 | 962.2932 | 3.2689 | 953.8369 | 1.5474 | 931.4329 | 3.747 | 1189.5113 | 62 | CLL11may23_014.gcd | 2023-05-11 18:49 | BDA DS 2 042723 | Unknown | 0 | 2.712 | 5087201 | 0 | ----- | ----- | ----- | -----
63 | CLL11may23_015.gcd | 2023-05-11 19:20 | BDA US 1 042723 | Unknown | 0 | 6.024 | 3270 | 0 | ----- | ----- | ----- | ----- | 63 | CLL11may23_015.gcd | 2023-05-11 19:20 | BDA US 1 042723 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 63 | CLL11may23_015.gcd | 2023-05-11 19:20 | BDA US 1 042723 | Unknown | 0 | 12.168 | 4391 | 0.972 | ----- | ----- | ----- | ----- | 1 |  | 63 | 2.9126 | 1040.89 | 4.7016 | 847.7111 | 5.1666 | 835.3877 | 2.4788 | 803.4277 | 2.9126 | 1040.89 | 63 | CLL11may23_015.gcd | 2023-05-11 19:20 | BDA US 1 042723 | Unknown | 0 | 2.719 | 4931875 | 0 | ----- | ----- | ----- | -----
64 | CLL11may23_016.gcd | 2023-05-11 19:50 | BDA air 012723 | Unknown | 0 | 6.037 | 1620 | -0.004 | ----- | ----- | ----- | ----- | 64 | CLL11may23_016.gcd | 2023-05-11 19:50 | BDA air 012723 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 64 | CLL11may23_016.gcd | 2023-05-11 19:50 | BDA air 012723 | Unknown | 0 | 12.191 | 3106 | 0.614 | ----- | ----- | ----- | ----- | 1 |  | 64 | 6.4179 | 731.7439 | 0.066868 | 610.0768 | -0.67382 | 589.8523 | -0.071137 | 538.064 | 6.4179 | 731.7439 | 64 | CLL11may23_016.gcd | 2023-05-11 19:50 | BDA air 012723 | Unknown | 0 | 2.711 | 5202046 | 0 | ----- | ----- | ----- | -----
65 | CLL11may23_017.gcd | 2023-05-11 20:21 | BDA air 1 042823 | Unknown | 0 | 6.064 | 1751 | -0.004 | ----- | ----- | ----- | ----- | 65 | CLL11may23_017.gcd | 2023-05-11 20:21 | BDA air 1 042823 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 65 | CLL11may23_017.gcd | 2023-05-11 20:21 | BDA air 1 042823 | Unknown | 0 | 12.184 | 2388 | 0.414 | ----- | ----- | ----- | ----- | 1 |  | 65 | 6.0321 | 558.3511 | 0.43061 | 477.2073 | -0.1986 | 452.6349 | 0.1024 | 389.7541 | 6.0321 | 558.3511 | 65 | CLL11may23_017.gcd | 2023-05-11 20:21 | BDA air 1 042823 | Unknown | 0 | 2.711 | 5211311 | 0 | ----- | ----- | ----- | -----
66 | CLL11may23_018.gcd | 2023-05-11 20:51 | BDA air 012723 | Unknown | 0 | 6.04 | 1707 | -0.004 | ----- | ----- | ----- | ----- | 66 | CLL11may23_018.gcd | 2023-05-11 20:51 | BDA air 012723 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 66 | CLL11may23_018.gcd | 2023-05-11 20:51 | BDA air 012723 | Unknown | 0 | 12.191 | 2536 | 0.455 | ----- | ----- | ----- | ----- | 1 |  | 66 | 6.1596 | 594.1307 | 0.30835 | 504.6007 | -0.358 | 480.9206 | 0.043557 | 420.3271 | 6.1596 | 594.1307 | 66 | CLL11may23_018.gcd | 2023-05-11 20:51 | BDA air 012723 | Unknown | 0 | 2.696 | 5393051 | 0 | ----- | ----- | ----- | -----
67 | CLL11may23_019.gcd | 2023-05-11 21:22 | BDA US 012723 | Unknown | 0 | 6.042 | 1522 | -0.004 | ----- | ----- | ----- | ----- | 67 | CLL11may23_019.gcd | 2023-05-11 21:22 | BDA US 012723 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 67 | CLL11may23_019.gcd | 2023-05-11 21:22 | BDA US 012723 | Unknown | 0 | 12.199 | 3068 | 0.604 | ----- | ----- | ----- | ----- | 1 |  | 67 | 6.7186 | 722.5789 | -0.20476 | 603.0464 | -1.0306 | 582.5906 | -0.1977 | 530.2154 | 6.7186 | 722.5789 | 67 | CLL11may23_019.gcd | 2023-05-11 21:22 | BDA US 012723 | Unknown | 0 | 2.715 | 5156961 | 0 | ----- | ----- | ----- | -----
68 | CLL11may23_020.gcd | 2023-05-11 21:53 | BDA DS 1 042823 | Unknown | 0 | 6.03 | 3306 | 0 | ----- | ----- | ----- | ----- | 68 | CLL11may23_020.gcd | 2023-05-11 21:53 | BDA DS 1 042823 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 68 | CLL11may23_020.gcd | 2023-05-11 21:53 | BDA DS 1 042823 | Unknown | 0 | 12.157 | 2979 | 0.579 | ----- | ----- | ----- | ----- | 1 |  | 68 | 2.8689 | 701.1084 | 4.804 | 586.5796 | 5.2905 | 565.5825 | 2.5433 | 511.8328 | 2.8689 | 701.1084 | 68 | CLL11may23_020.gcd | 2023-05-11 21:53 | BDA DS 1 042823 | Unknown | 0 | 2.718 | 5078183 | 0 | ----- | ----- | ----- | -----
69 | CLL11may23_021.gcd | 2023-05-11 22:23 | BDA US 012723 | Unknown | 0 | 6.047 | 1508 | -0.004 | ----- | ----- | ----- | ----- | 69 | CLL11may23_021.gcd | 2023-05-11 22:23 | BDA US 012723 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 69 | CLL11may23_021.gcd | 2023-05-11 22:23 | BDA US 012723 | Unknown | 0 | 12.193 | 3339 | 0.679 | ----- | ----- | ----- | ----- | 1 |  | 69 | 6.7624 | 787.911 | -0.24354 | 653.1808 | -1.0817 | 634.3775 | -0.21555 | 586.1868 | 6.7624 | 787.911 | 69 | CLL11may23_021.gcd | 2023-05-11 22:23 | BDA US 012723 | Unknown | 0 | 2.717 | 5079832 | 0 | ----- | ----- | ----- | -----
70 | CLL11may23_022.gcd | 2023-05-11 22:54 | BDA DS 121522 | Unknown | 0 | 6.029 | 2392 | -0.002 | ----- | ----- | ----- | ----- | 70 | CLL11may23_022.gcd | 2023-05-11 22:54 | BDA DS 121522 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 70 | CLL11may23_022.gcd | 2023-05-11 22:54 | BDA DS 121522 | Unknown | 0 | 12.124 | 38632 | 10.309 | ----- | ----- | ----- | ----- | 1 |  | 70 | 4.4118 | 8723.79 | 2.2209 | 7103.5229 | 2.098 | 7358.3135 | 1.0234 | 7843.4476 | 4.4118 | 8723.79 | 70 | CLL11may23_022.gcd | 2023-05-11 22:54 | BDA DS 121522 | Unknown | 0 | 2.716 | 4934618 | 0 | ----- | ----- | ----- | -----
71 | CLL11may23_023.gcd | 2023-05-11 23:24 | BDA DS 3 042723 | Unknown | 0 | 6.035 | 2596 | -0.002 | ----- | ----- | ----- | ----- | 71 | CLL11may23_023.gcd | 2023-05-11 23:24 | BDA DS 3 042723 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 71 | CLL11may23_023.gcd | 2023-05-11 23:24 | BDA DS 3 042723 | Unknown | 0 | 12.166 | 5018 | 1.146 | ----- | ----- | ----- | ----- | 1 |  | 71 | 3.9892 | 1191.1873 | 2.7944 | 963.5866 | 2.819 | 955.1742 | 1.3416 | 932.878 | 3.9892 | 1191.1873 | 71 | CLL11may23_023.gcd | 2023-05-11 23:24 | BDA DS 3 042723 | Unknown | 0 | 2.719 | 4953061 | 0 | ----- | ----- | ----- | -----
72 | CLL11may23_024.gcd | 2023-05-11 23:55 | BDA DS 011023 | Unknown | 0 | 6.038 | 1853 | -0.003 | ----- | ----- | ----- | ----- | 72 | CLL11may23_024.gcd | 2023-05-11 23:55 | BDA DS 011023 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 72 | CLL11may23_024.gcd | 2023-05-11 23:55 | BDA DS 011023 | Unknown | 0 | 12.148 | 11910 | 3.055 | ----- | ----- | ----- | ----- | 1 |  | 72 | 5.7446 | 2819.6231 | 0.71433 | 2234.0402 | 0.17004 | 2271.0275 | 0.24097 | 2354.477 | 5.7446 | 2819.6231 | 72 | CLL11may23_024.gcd | 2023-05-11 23:55 | BDA DS 011023 | Unknown | 0 | 2.714 | 5028625 | 0 | ----- | ----- | ----- | -----
73 | CLL11may23_025.gcd | 2023-05-12 00:26 | BDA air 011023 | Unknown | 0 | 6.061 | 1583 | -0.004 | ----- | ----- | ----- | ----- | 73 | CLL11may23_025.gcd | 2023-05-12 00:26 | BDA air 011023 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 73 | CLL11may23_025.gcd | 2023-05-12 00:26 | BDA air 011023 | Unknown | 0 | 12.187 | 2798 | 0.528 | ----- | ----- | ----- | ----- | 1 |  | 73 | 6.5302 | 657.4213 | -0.035735 | 553.0878 | -0.80841 | 530.9923 | -0.11925 | 474.4468 | 6.5302 | 657.4213 | 73 | CLL11may23_025.gcd | 2023-05-12 00:26 | BDA air 011023 | Unknown | 0 | 2.715 | 5053097 | 0 | ----- | ----- | ----- | -----
74 | CLL11may23_026.gcd | 2023-05-12 00:56 | BDA US 2 042723 | Unknown | 0 | 6.031 | 2614 | -0.002 | ----- | ----- | ----- | ----- | 74 | CLL11may23_026.gcd | 2023-05-12 00:56 | BDA US 2 042723 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 74 | CLL11may23_026.gcd | 2023-05-12 00:56 | BDA US 2 042723 | Unknown | 0 | 12.16 | 4522 | 1.008 | ----- | ----- | ----- | ----- | 1 |  | 74 | 3.9541 | 1072.3214 | 2.8451 | 871.9252 | 2.8823 | 860.4159 | 1.3703 | 830.4756 | 3.9541 | 1072.3214 | 74 | CLL11may23_026.gcd | 2023-05-12 00:56 | BDA US 2 042723 | Unknown | 0 | 2.717 | 5062792 | 0 | ----- | ----- | ----- | -----
75 | CLL11may23_027.gcd | 2023-05-12 01:27 | BDA DS 1 042723 | Unknown | 0 | 6.037 | 2591 | -0.002 | ----- | ----- | ----- | ----- | 75 | CLL11may23_027.gcd | 2023-05-12 01:27 | BDA DS 1 042723 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 75 | CLL11may23_027.gcd | 2023-05-12 01:27 | BDA DS 1 042723 | Unknown | 0 | 12.195 | 3287 | 0.665 | ----- | ----- | ----- | ----- | 1 |  | 75 | 3.9991 | 775.3801 | 2.7803 | 643.5616 | 2.8014 | 624.4407 | 1.3337 | 575.4472 | 3.9991 | 775.3801 | 75 | CLL11may23_027.gcd | 2023-05-12 01:27 | BDA DS 1 042723 | Unknown | 0 | 2.721 | 4876260 | 0 | ----- | ----- | ----- | -----
76 | CLL11may23_028.gcd | 2023-05-12 01:57 | BDA US 121522 | Unknown | 0 | 6.014 | 2994 | -0.001 | ----- | ----- | ----- | ----- | 76 | CLL11may23_028.gcd | 2023-05-12 01:57 | BDA US 121522 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 76 | CLL11may23_028.gcd | 2023-05-12 01:57 | BDA US 121522 | Unknown | 0 | 12.126 | 17982 | 4.723 | ----- | ----- | ----- | ----- | 1 |  | 76 | 3.2942 | 4218.407 | 3.9183 | 3348.396 | 4.2116 | 3429.0427 | 1.9972 | 3604.9274 | 3.2942 | 4218.407 | 76 | CLL11may23_028.gcd | 2023-05-12 01:57 | BDA US 121522 | Unknown | 0 | 2.699 | 5155493 | 0 | ----- | ----- | ----- | -----
77 | CLL11may23_029.gcd | 2023-05-12 02:28 | BDA US 121522 | Unknown | 0 | 6.033 | 3044 | -0.001 | ----- | ----- | ----- | ----- | 77 | CLL11may23_029.gcd | 2023-05-12 02:28 | BDA US 121522 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 77 | CLL11may23_029.gcd | 2023-05-12 02:28 | BDA US 121522 | Unknown | 0 | 12.148 | 11754 | 3.012 | ----- | ----- | ----- | ----- | 1 |  | 77 | 3.2189 | 2783.2428 | 4.0599 | 2205.3495 | 4.3853 | 2241.2604 | 2.0828 | 2322.326 | 3.2189 | 2783.2428 | 77 | CLL11may23_029.gcd | 2023-05-12 02:28 | BDA US 121522 | Unknown | 0 | 2.716 | 4910878 | 0 | ----- | ----- | ----- | -----
78 | CLL11may23_030.gcd | 2023-05-12 02:59 | BDA US 1 042723 | Unknown | 0 | 6.017 | 3134 | -0.001 | ----- | ----- | ----- | ----- | 78 | CLL11may23_030.gcd | 2023-05-12 02:59 | BDA US 1 042723 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 78 | CLL11may23_030.gcd | 2023-05-12 02:59 | BDA US 1 042723 | Unknown | 0 | 12.158 | 5202 | 1.197 | ----- | ----- | ----- | ----- | 1 |  | 78 | 3.0903 | 1235.2256 | 4.3152 | 997.5822 | 4.6971 | 990.3244 | 2.2387 | 970.8628 | 3.0903 | 1235.2256 | 78 | CLL11may23_030.gcd | 2023-05-12 02:59 | BDA US 1 042723 | Unknown | 0 | 2.718 | 4999821 | 0 | ----- | ----- | ----- | -----
79 | CLL11may23_031.gcd | 2023-05-12 03:29 | BDA air 121522 | Unknown | 0 | 6.057 | 1729 | -0.004 | ----- | ----- | ----- | ----- | 79 | CLL11may23_031.gcd | 2023-05-12 03:29 | BDA air 121522 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 79 | CLL11may23_031.gcd | 2023-05-12 03:29 | BDA air 121522 | Unknown | 0 | 12.176 | 9706 | 2.446 | ----- | ----- | ----- | ----- | 1 |  | 79 | 6.0956 | 2303.5764 | 0.36947 | 1828.4091 | -0.27827 | 1850.3974 | 0.072908 | 1900.1261 | 6.0956 | 2303.5764 | 79 | CLL11may23_031.gcd | 2023-05-12 03:29 | BDA air 121522 | Unknown | 0 | 2.716 | 5000864 | 0 | ----- | ----- | ----- | -----
80 | CLL11may23_032.gcd | 2023-05-12 04:00 | BDA air 2 042823 | Unknown | 0 | 6.046 | 1588 | -0.004 | ----- | ----- | ----- | ----- | 80 | CLL11may23_032.gcd | 2023-05-12 04:00 | BDA air 2 042823 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 80 | CLL11may23_032.gcd | 2023-05-12 04:00 | BDA air 2 042823 | Unknown | 0 | 12.143 | 2678 | 0.495 | ----- | ----- | ----- | ----- | 1 |  | 80 | 6.5149 | 628.441 | -0.021873 | 530.881 | -0.79021 | 508.059 | -0.11277 | 449.6596 | 6.5149 | 628.441 | 80 | CLL11may23_032.gcd | 2023-05-12 04:00 | BDA air 2 042823 | Unknown | 0 | 2.72 | 4890913 | 0 | ----- | ----- | ----- | -----
81 | CLL11may23_033.gcd | 2023-05-12 04:30 | BDA DS 011023 | Unknown | 0 | 6.023 | 1862 | -0.003 | ----- | ----- | ----- | ----- | 81 | CLL11may23_033.gcd | 2023-05-12 04:30 | BDA DS 011023 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 81 | CLL11may23_033.gcd | 2023-05-12 04:30 | BDA DS 011023 | Unknown | 0 | 12.14 | 7219 | 1.758 | ----- | ----- | ----- | ----- | 1 |  | 81 | 5.7198 | 1715.9468 | 0.73938 | 1369.9614 | 0.20251 | 1375.5674 | 0.25335 | 1387.1374 | 5.7198 | 1715.9468 | 81 | CLL11may23_033.gcd | 2023-05-12 04:30 | BDA DS 011023 | Unknown | 0 | 2.698 | 5231359 | 0 | ----- | ----- | ----- | -----
82 | CLL11may23_034.gcd | 2023-05-12 05:01 | BDA US 011023 | Unknown | 0 | 6.03 | 1842 | -0.004 | ----- | ----- | ----- | ----- | 82 | CLL11may23_034.gcd | 2023-05-12 05:01 | BDA US 011023 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 82 | CLL11may23_034.gcd | 2023-05-12 05:01 | BDA US 011023 | Unknown | 0 | 12.148 | 7952 | 1.961 | ----- | ----- | ----- | ----- | 1 |  | 82 | 5.7751 | 1889.7268 | 0.68371 | 1505.1616 | 0.13034 | 1515.5362 | 0.22588 | 1538.3647 | 5.7751 | 1889.7268 | 82 | CLL11may23_034.gcd | 2023-05-12 05:01 | BDA US 011023 | Unknown | 0 | 2.718 | 4942293 | 0 | ----- | ----- | ----- | -----
83 | CLL11may23_035.gcd | 2023-05-12 05:31 | BDA DS 012723 | Unknown | 0 | 6.037 | 2108 | -0.003 | ----- | ----- | ----- | ----- | 83 | CLL11may23_035.gcd | 2023-05-12 05:31 | BDA DS 012723 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 83 | CLL11may23_035.gcd | 2023-05-12 05:31 | BDA DS 012723 | Unknown | 0 | 12.156 | 14837 | 3.86 | ----- | ----- | ----- | ----- | 1 |  | 83 | 5.075 | 3498.1037 | 1.4256 | 2771.7918 | 1.0864 | 2829.397 | 0.60063 | 2957.49 | 5.075 | 3498.1037 | 83 | CLL11may23_035.gcd | 2023-05-12 05:31 | BDA DS 012723 | Unknown | 0 | 2.716 | 4937805 | 0 | ----- | ----- | ----- | -----
84 | CLL11may23_036.gcd | 2023-05-12 06:02 | BDA DS 2 042823 | Unknown | 0 | 6.023 | 3992 | 0.001 | ----- | ----- | ----- | ----- | 84 | CLL11may23_036.gcd | 2023-05-12 06:02 | BDA DS 2 042823 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 84 | CLL11may23_036.gcd | 2023-05-12 06:02 | BDA DS 2 042823 | Unknown | 0 | 12.161 | 6842 | 1.653 | ----- | ----- | ----- | ----- | 1 |  | 84 | 2.3036 | 1626.3766 | 6.766 | 1300.3984 | 7.6229 | 1303.5712 | 3.8434 | 1309.3467 | 2.3036 | 1626.3766 | 84 | CLL11may23_036.gcd | 2023-05-12 06:02 | BDA DS 2 042823 | Unknown | 0 | 2.72 | 4872087 | 0 | ----- | ----- | ----- | -----
85 | CLL11may23_037.gcd | 2023-05-12 06:33 | BDA air 2 042723 | Unknown | 0 | 6.042 | 1494 | -0.004 | ----- | ----- | ----- | ----- | 85 | CLL11may23_037.gcd | 2023-05-12 06:33 | BDA air 2 042723 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 85 | CLL11may23_037.gcd | 2023-05-12 06:33 | BDA air 2 042723 | Unknown | 0 | 12.183 | 3095 | 0.611 | ----- | ----- | ----- | ----- | 1 |  | 85 | 6.8064 | 729.091 | -0.2823 | 608.0417 | -1.1328 | 587.7502 | -0.23334 | 535.792 | 6.8064 | 729.091 | 85 | CLL11may23_037.gcd | 2023-05-12 06:33 | BDA air 2 042723 | Unknown | 0 | 2.719 | 4862426 | 0 | ----- | ----- | ----- | -----
86 | CLL11may23_038.gcd | 2023-05-12 07:03 | BDA DS 012723 | Unknown | 0 | 6.019 | 1945 | -0.003 | ----- | ----- | ----- | ----- | 86 | CLL11may23_038.gcd | 2023-05-12 07:03 | BDA DS 012723 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 86 | CLL11may23_038.gcd | 2023-05-12 07:03 | BDA DS 012723 | Unknown | 0 | 12.123 | 21197 | 5.601 | ----- | ----- | ----- | ----- | 1 |  | 86 | 5.4949 | 4945.4164 | 0.97061 | 3936.5504 | 0.50151 | 4041.7026 | 0.36855 | 4266.2534 | 5.4949 | 4945.4164 | 86 | CLL11may23_038.gcd | 2023-05-12 07:03 | BDA DS 012723 | Unknown | 0 | 2.704 | 4990953 | 0 | ----- | ----- | ----- | -----
87 | CLL11may23_039.gcd | 2023-05-12 07:34 | BDA air 3 042723 | Unknown | 0 | 6.044 | 1479 | -0.004 | ----- | ----- | ----- | ----- | 87 | CLL11may23_039.gcd | 2023-05-12 07:34 | BDA air 3 042723 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 87 | CLL11may23_039.gcd | 2023-05-12 07:34 | BDA air 3 042723 | Unknown | 0 | 12.173 | 2140 | 0.345 | ----- | ----- | ----- | ----- | 1 |  | 87 | 6.8538 | 498.3512 | -0.32382 | 431.2985 | -1.1875 | 405.2355 | -0.25235 | 338.5211 | 6.8538 | 498.3512 | 87 | CLL11may23_039.gcd | 2023-05-12 07:34 | BDA air 3 042723 | Unknown | 0 | 2.696 | 5325261 | 0 | ----- | ----- | ----- | -----
88 | CLL11may23_040.gcd | 2023-05-12 08:04 | BDA US 121522 | Unknown | 0 | 6.028 | 2962 | -0.001 | ----- | ----- | ----- | ----- | 88 | CLL11may23_040.gcd | 2023-05-12 08:04 | BDA US 121522 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 88 | CLL11may23_040.gcd | 2023-05-12 08:04 | BDA US 121522 | Unknown | 0 | 12.141 | 15851 | 4.139 | ----- | ----- | ----- | ----- | 1 |  | 88 | 3.3437 | 3731.327 | 3.8276 | 2957.8342 | 4.1003 | 3022.7678 | 1.9428 | 3166.2897 | 3.3437 | 3731.327 | 88 | CLL11may23_040.gcd | 2023-05-12 08:04 | BDA US 121522 | Unknown | 0 | 2.718 | 4938632 | 0 | ----- | ----- | ----- | -----
89 | CLL11may23_041.gcd | 2023-05-12 08:35 | BDA US 012723 | Unknown | 0 | 6.054 | 1574 | -0.004 | ----- | ----- | ----- | ----- | 89 | CLL11may23_041.gcd | 2023-05-12 08:35 | BDA US 012723 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 89 | CLL11may23_041.gcd | 2023-05-12 08:35 | BDA US 012723 | Unknown | 0 | 12.168 | 3452 | 0.711 | ----- | ----- | ----- | ----- | 1 |  | 89 | 6.5577 | 815.133 | -0.060684 | 674.0828 | -0.84117 | 655.9706 | -0.13089 | 609.5243 | 6.5577 | 815.133 | 89 | CLL11may23_041.gcd | 2023-05-12 08:35 | BDA US 012723 | Unknown | 0 | 2.707 | 4937703 | 0 | ----- | ----- | ----- | -----
90 | CLL11may23_042.gcd | 2023-05-12 09:06 | BDA air 121522 | Unknown | 0 | 6.045 | 1508 | -0.004 | ----- | ----- | ----- | ----- | 90 | CLL11may23_042.gcd | 2023-05-12 09:06 | BDA air 121522 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 90 | CLL11may23_042.gcd | 2023-05-12 09:06 | BDA air 121522 | Unknown | 0 | 12.158 | 10800 | 2.748 | ----- | ----- | ----- | ----- | 1 |  | 90 | 6.7624 | 2560.2805 | -0.24354 | 2029.8285 | -1.0817 | 2059.2054 | -0.21555 | 2125.6833 | 6.7624 | 2560.2805 | 90 | CLL11may23_042.gcd | 2023-05-12 09:06 | BDA air 121522 | Unknown | 0 | 2.699 | 5118030 | 0 | ----- | ----- | ----- | -----
91 | CLL11may23_043.gcd | 2023-05-12 09:36 | BDA US 3 042823 | Unknown | 0 | 6.022 | 3409 | 0 | ----- | ----- | ----- | ----- | 91 | CLL11may23_043.gcd | 2023-05-12 09:36 | BDA US 3 042823 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 91 | CLL11may23_043.gcd | 2023-05-12 09:36 | BDA US 3 042823 | Unknown | 0 | 12.168 | 4490 | 1 | ----- | ----- | ----- | ----- | 1 |  | 91 | 2.7516 | 1064.645 | 5.0973 | 866.0106 | 5.6442 | 854.3022 | 2.7297 | 823.8685 | 2.7516 | 1064.645 | 91 | CLL11may23_043.gcd | 2023-05-12 09:36 | BDA US 3 042823 | Unknown | 0 | 2.725 | 4939676 | 0 | ----- | ----- | ----- | -----
92 | CLL11may23_044.gcd | 2023-05-12 10:07 | BDA US 2 042823 | Unknown | 0 | 6.014 | 3336 | 0 | ----- | ----- | ----- | ----- | 92 | CLL11may23_044.gcd | 2023-05-12 10:07 | BDA US 2 042823 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 92 | CLL11may23_044.gcd | 2023-05-12 10:07 | BDA US 2 042823 | Unknown | 0 | 12.136 | 5758 | 1.352 | ----- | ----- | ----- | ----- | 1 |  | 92 | 2.8336 | 1368.1102 | 4.8894 | 1100.2821 | 5.3936 | 1096.5325 | 2.5973 | 1085.6325 | 2.8336 | 1368.1102 | 92 | CLL11may23_044.gcd | 2023-05-12 10:07 | BDA US 2 042823 | Unknown | 0 | 2.701 | 5035242 | 0 | ----- | ----- | ----- | -----
93 | CLL11may23_045.gcd | 2023-05-12 10:38 | BDA air 1 042723 | Unknown | 0 | 6.046 | 1479 | -0.004 | ----- | ----- | ----- | ----- | 93 | CLL11may23_045.gcd | 2023-05-12 10:38 | BDA air 1 042723 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 93 | CLL11may23_045.gcd | 2023-05-12 10:38 | BDA air 1 042723 | Unknown | 0 | 12.182 | 1907 | 0.28 | ----- | ----- | ----- | ----- | 1 |  | 93 | 6.8538 | 441.9293 | -0.32382 | 388.1595 | -1.1875 | 360.7013 | -0.25235 | 290.3841 | 6.8538 | 441.9293 | 93 | CLL11may23_045.gcd | 2023-05-12 10:38 | BDA air 1 042723 | Unknown | 0 | 2.719 | 4923074 | 0 | ----- | ----- | ----- | -----
94 | CLL11may23_046.gcd | 2023-05-12 11:08 | BDA US 3 042723 | Unknown | 0 | 6.042 | 1375 | -0.005 | ----- | ----- | ----- | ----- | 94 | CLL11may23_046.gcd | 2023-05-12 11:08 | BDA US 3 042723 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 94 | CLL11may23_046.gcd | 2023-05-12 11:08 | BDA US 3 042723 | Unknown | 0 | 12.186 | 2336 | 0.4 | ----- | ----- | ----- | ----- | 1 |  | 94 | 7.1891 | 545.7751 | -0.61145 | 467.5819 | -1.5679 | 442.6965 | -0.3823 | 379.0119 | 7.1891 | 545.7751 | 94 | CLL11may23_046.gcd | 2023-05-12 11:08 | BDA US 3 042723 | Unknown | 0 | 2.716 | 5021313 | 0 | ----- | ----- | ----- | -----
95 | CLL11may23_047.gcd | 2023-05-12 11:39 | BDA DS 121522 | Unknown | 0 | 6.023 | 2851 | -0.001 | ----- | ----- | ----- | ----- | 95 | CLL11may23_047.gcd | 2023-05-12 11:39 | BDA DS 121522 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 95 | CLL11may23_047.gcd | 2023-05-12 11:39 | BDA DS 121522 | Unknown | 0 | 12.101 | 38827 | 10.361 | ----- | ----- | ----- | ----- | 1 |  | 95 | 3.5242 | 8764.4809 | 3.5137 | 7138.7278 | 3.7133 | 7395.3519 | 1.7563 | 7883.3686 | 3.5242 | 8764.4809 | 95 | CLL11may23_047.gcd | 2023-05-12 11:39 | BDA DS 121522 | Unknown | 0 | 2.696 | 5224704 | 0 | ----- | ----- | ----- | -----
96 | CLL11may23_048.gcd | 2023-05-12 12:10 | BDA air 3 042823 | Unknown | 0 | 6.06 | 1811 | -0.004 | ----- | ----- | ----- | ----- | 96 | CLL11may23_048.gcd | 2023-05-12 12:10 | BDA air 3 042823 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 96 | CLL11may23_048.gcd | 2023-05-12 12:10 | BDA air 3 042823 | Unknown | 0 | 12.179 | 2864 | 0.547 | ----- | ----- | ----- | ----- | 1 |  | 96 | 5.8616 | 673.3548 | 0.59745 | 565.3007 | 0.018393 | 543.6054 | 0.18355 | 488.0795 | 5.8616 | 673.3548 | 96 | CLL11may23_048.gcd | 2023-05-12 12:10 | BDA air 3 042823 | Unknown | 0 | 2.7 | 5178425 | 0 | ----- | ----- | ----- | -----
97 | CLL19may23_049.gcd | 2023-05-20 15:58 | BD-SW-1-2212 | Unknown | 0 | 6.022 | 3211 | -0.001 | ----- | ----- | ----- | ----- | 97 | CLL19may23_049.gcd | 2023-05-20 15:58 | BD-SW-1-2212 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 97 | CLL19may23_049.gcd | 2023-05-20 15:58 | BD-SW-1-2212 | Unknown | 0 | 12.096 | 65378 | 17.356 | ----- | ----- | ----- | ----- | 1 |  | 97 | 2.9873 | 14242.3124 | 4.5339 | 11887.6145 | 4.9632 | 12426.9158 | 2.374 | 13300.8529 | 2.9873 | 14242.3124 | 97 | CLL19may23_049.gcd | 2023-05-20 15:58 | BD-SW-1-2212 | Unknown | 0 | 2.723 | 4939002 | 0 | ----- | ----- | ----- | -----
98 | CLL19may23_050.gcd | 2023-05-20 16:29 | DK-UW1-2-2212 | Unknown | 0 | 6.022 | 21567 | 0.039 | ----- | ----- | ----- | ----- | 98 | CLL19may23_050.gcd | 2023-05-20 16:29 | DK-UW1-2-2212 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 98 | CLL19may23_050.gcd | 2023-05-20 16:29 | DK-UW1-2-2212 | Unknown | 0 | 12.108 | 63904 | 16.973 | ----- | ----- | ----- | ----- | 1 |  | 98 | 54.4749 | 13884.9966 | 67.8325 | 11626.2964 | 56.3617 | 12148.1855 | 48.1319 | 13001.0402 | 54.4749 | 13884.9966 | 98 | CLL19may23_050.gcd | 2023-05-20 16:29 | DK-UW1-2-2212 | Unknown | 0 | 2.725 | 5341785 | 0 | ----- | ----- | ----- | -----
99 | CLL19may23_051.gcd | 2023-05-20 16:59 | DK-CH-2-2212 | Unknown | 0 | 6.028 | 5117 | 0.004 | ----- | ----- | ----- | ----- | 99 | CLL19may23_051.gcd | 2023-05-20 16:59 | DK-CH-2-2212 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 99 | CLL19may23_051.gcd | 2023-05-20 16:59 | DK-CH-2-2212 | Unknown | 0 | 12.106 | 66914 | 17.754 | ----- | ----- | ----- | ----- | 1 |  | 99 | 2.4767 | 14614.4687 | 10.0269 | 12159.634 | 11.3299 | 12717.2949 | 6.2717 | 13613.1584 | 2.4767 | 14614.4687 | 99 | CLL19may23_051.gcd | 2023-05-20 16:59 | DK-CH-2-2212 | Unknown | 0 | 2.728 | 4889842 | 0 | ----- | ----- | ----- | -----
100 | CLL19may23_052.gcd | 2023-05-20 17:30 | OB-CH-3-2212 | Unknown | 0 | 6.01 | 1987 | -0.003 | ----- | ----- | ----- | ----- | 100 | CLL19may23_052.gcd | 2023-05-20 17:30 | OB-CH-3-2212 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 100 | CLL19may23_052.gcd | 2023-05-20 17:30 | OB-CH-3-2212 | Unknown | 0 | 12.127 | 30433 | 8.107 | ----- | ----- | ----- | ----- | 1 |  | 100 | 5.384 | 6981.507 | 1.0877 | 5618.9727 | 0.6525 | 5799.8721 | 0.42762 | 6163.1653 | 5.384 | 6981.507 | 100 | CLL19may23_052.gcd | 2023-05-20 17:30 | OB-CH-3-2212 | Unknown | 0 | 2.709 | 4866629 | 0 | ----- | ----- | ----- | -----
101 | CLL19may23_053.gcd | 2023-05-20 18:01 | MB-CH-2-2212 | Unknown | 0 | 5.995 | 64027 | 0.13 | ----- | ----- | ----- | ----- | 101 | CLL19may23_053.gcd | 2023-05-20 18:01 | MB-CH-2-2212 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 101 | CLL19may23_053.gcd | 2023-05-20 18:01 | MB-CH-2-2212 | Unknown | 0 | 12.062 | 76964 | 20.346 | ----- | ----- | ----- | ----- | 1 |  | 101 | 177.9493 | 17044.7134 | 198.233 | 13932.1402 | 167.8044 | 14615.3434 | 147.5352 | 15653.5922 | 177.9493 | 17044.7134 | 101 | CLL19may23_053.gcd | 2023-05-20 18:01 | MB-CH-2-2212 | Unknown | 0 | 2.699 | 5219353 | 0 | ----- | ----- | ----- | -----
102 | CLL19may23_054.gcd | 2023-05-20 18:31 | ND-UW2-3-2212 | Unknown | 0 | 6.057 | 174778 | 0.367 | ----- | ----- | ----- | ----- | 102 | CLL19may23_054.gcd | 2023-05-20 18:31 | ND-UW2-3-2212 | Unknown | 0 | 5.997 | 1277 | 0.296 | ----- | ----- | ----- | ----- | 102 | CLL19may23_054.gcd | 2023-05-20 18:31 | ND-UW2-3-2212 | Unknown | 0 | 12.128 | 86040 | 22.664 | ----- | ----- | ----- | ----- | 1 |  | 102 | 473.2563 | 19232.3301 | 524.5152 | 15521.9671 | 456.4358 | 16326.6191 | 405.4485 | 17491.8465 | 473.2563 | 19232.3301 | 102 | CLL19may23_054.gcd | 2023-05-20 18:31 | ND-UW2-3-2212 | Unknown | 0 | 2.757 | 5539132 | 0 | ----- | ----- | ----- | -----
103 | CLL19may23_055.gcd | 2023-05-20 19:02 | MB-CH-3-2212 | Unknown | 0 | 6.013 | 60637 | 0.123 | ----- | ----- | ----- | ----- | 103 | CLL19may23_055.gcd | 2023-05-20 19:02 | MB-CH-3-2212 | Unknown | 0 | ----- | ----- | ----- | ----- | ----- | ----- | ----- | 103 | CLL19may23_055.gcd | 2023-05-20 19:02 | MB-CH-3-2212 | Unknown | 0 | 12.088 | 75509 | 19.972 | ----- | ----- | ----- | ----- | 1 |  | 103 | 168.3 | 16693.3835 | 187.93 | 13676.3086 | 158.9229 | 14340.7546 | 139.6095 | 15358.5052 | 168.3 | 16693.3835 | 103 | CLL19may23_055.gcd | 2023-05-20 19:02 | MB-CH-3-2212 | Unknown | 0 | 2.727 | 4815170 | 0 | ----- | ----- | ----- | -----